## Table of Contents
Table of Contents
Click on Table Name
Wholesale Cost
Monthly Weather and Energy
Daily Weather and Energy
System Marginal Price
Monthly Generation Fuel Mix
Daily Generation Fuel Mix
Monthly Uplift
Monthly Zonal Uplift
Daily Uplift
High Uplift Days
Uneconomic CC, CT, Steam Hours
Reliability and Deviations BOR
Operating Reserve
Balancing Operating Reserve MWh
Balancing Operating Reserve $
Monthly LOC
Daily LOC
Monthly Load Weighted LMP
Annual LMP Averages
LMP Suspensions and Reruns
Annual DR Estimated Revenue
Demand Response
Incs, Decs and Up-Tos
Congestion and FTR Revenue
Average Interface Prices
Market to Market Congestion
Regulation and Sync Reserve
Regulation Daily
Synchronized Reserve Daily
Daily Marginal Losses
Monthly Marginal Losses
Sychronized Reserve Performance

## Wholesale Cost
Wholesale Cost
($/MWh of Load)
Click to return to Table of Contents
Year | Energy | Reliability Capacity | Transmission | Regulation | Operating Reserve | PJM Cost | Reactive | Transmission Owner Control | Synchronized Reserve | Black Start | Total
2016 | 29.27 | 9.39 | 7.63 | 0.11 | 0.17 | 0.32 | 0.39 | 0.09 | 0.05 | 0.08 | 47.49
2017 | 31.06 | 8.73 | 8.58 | 0.13 | 0.16 | 0.36 | 0.42 | 0.09 | 0.05 | 0.09 | 49.64
2018 | 37.83 | 11.89 | 8.84 | 0.18 | 0.25 | 0.36 | 0.41 | 0.09 | 0.06 | 0.08 | 59.96
2019 | 27.15 | 11.05 | 9.52 | 0.11 | 0.11 | 0.38 | 0.44 | 0.09 | 0.04 | 0.08 | 48.98
2020 | 21.4 | 9.21 | 10.82 | 0.09 | 0.1 | 0.38 | 0.46 | 0.09 | 0.02 | 0.09 | 42.66

## Monthly Weather and Energy
Monthly Weather and Energy
Click to return to Table of Contents
Date | Current Month HDD+CDD | Monthly Average HDD+CDD | Current Month Energy (TWh) | Monthly Average Energy (TWh)
AUG18 | 361.08 | 303.57 | 77.52 | 74.74
SEP18 | 225.16 | 153.09 | 66.6 | 63.16
OCT18 | 285.38 | 192.34 | 61.46 | 59.64
NOV18 | 572.74 | 429.85 | 63.1 | 60.48
DEC18 | 674.46 | 747.56 | 68.21 | 69.27
JAN19 | 906.61 | 886.55 | 74.03 | 72.42
FEB19 | 682.9 | 732.95 | 63.43 | 64.13
MAR19 | 609.06 | 557.15 | 65.28 | 64.55
APR19 | 186.56 | 257.4 | 55.03 | 57.04
MAY19 | 159.36 | 139.81 | 60.08 | 60.63
JUN19 | 217.39 | 235.65 | 64.36 | 67.82
JUL19 | 421.52 | 342.83 | 79.83 | 76.01
AUG19 | 310.12 | 306.31 | 73.49 | 74.87
SEP19 | 215.52 | 156.52 | 64.57 | 63.33
OCT19 | 160.61 | 196.77 | 57.87 | 59.72
NOV19 | 574.68 | 436.65 | 61.77 | 60.6
DEC19 | 674.02 | 744.08 | 67.39 | 69.22
JAN20 | 696.2 | 887.46 | 68.22 | 72.5
FEB20 | 619 | 730.67 | 62.91 | 64.1
MAR20 | 393.51 | 559.51 | 59.36 | 64.59
APR20 | 289.59 | 254.18 | 51.79 | 56.95
MAY20 | 180.48 | 140.69 | 54.44 | 60.6
JUN20 | 262.83 | 234.82 | 64.88 | 67.67
JUL20 | 461.66 | 346.41 | 80.29 | 76.18
AUG20 | 341.41 | 306.48 | 73.84 | 74.81

## Daily Weather and Energy
Daily Weather and Energy
Click to return to Table of Contents
Date | Current Day HDD+CDD | Daily Average HDD+CDD | Current Day Energy (TWh) | Daily Average Energy (TWh) | Current Day Average Temperature | Daily Average Temperature
01AUG2020 | 12.14 | 9.89 | 2.3065 | 2.4 | 77.14 | 74.84
02AUG2020 | 13.64 | 9.89 | 2.365 | 2.4 | 78.64 | 74.84
03AUG2020 | 10.83 | 9.89 | 2.4306 | 2.4 | 75.83 | 74.84
04AUG2020 | 7.99 | 9.89 | 2.2399 | 2.4 | 72.99 | 74.84
05AUG2020 | 8.96 | 9.89 | 2.2669 | 2.4 | 73.96 | 74.84
06AUG2020 | 8.51 | 9.89 | 2.2762 | 2.4 | 73.51 | 74.84
07AUG2020 | 9.29 | 9.89 | 2.3042 | 2.4 | 74.29 | 74.84
08AUG2020 | 10.5 | 9.89 | 2.2414 | 2.4 | 75.5 | 74.84
09AUG2020 | 13.18 | 9.89 | 2.3933 | 2.4 | 78.18 | 74.84
10AUG2020 | 14.98 | 9.89 | 2.6936 | 2.4 | 79.98 | 74.84
11AUG2020 | 13.87 | 9.89 | 2.6675 | 2.4 | 78.87 | 74.84
12AUG2020 | 13.57 | 9.89 | 2.6385 | 2.4 | 78.57 | 74.84
13AUG2020 | 12.68 | 9.89 | 2.5419 | 2.4 | 77.68 | 74.84
14AUG2020 | 13.09 | 9.89 | 2.5343 | 2.4 | 78.09 | 74.84
15AUG2020 | 10.06 | 9.89 | 2.2099 | 2.4 | 75.06 | 74.84
16AUG2020 | 6.87 | 9.89 | 2.04 | 2.4 | 71.87 | 74.84
17AUG2020 | 8 | 9.89 | 2.2738 | 2.4 | 73 | 74.84
18AUG2020 | 8.12 | 9.89 | 2.273 | 2.4 | 73.12 | 74.84
19AUG2020 | 6.52 | 9.89 | 2.2251 | 2.4 | 71.52 | 74.84
20AUG2020 | 7.11 | 9.89 | 2.2413 | 2.4 | 72.11 | 74.84
21AUG2020 | 9.68 | 9.89 | 2.3243 | 2.4 | 74.68 | 74.84
22AUG2020 | 12.13 | 9.89 | 2.32 | 2.4 | 77.13 | 74.84
23AUG2020 | 12.64 | 9.89 | 2.346 | 2.4 | 77.64 | 74.84
24AUG2020 | 14.76 | 9.89 | 2.6689 | 2.4 | 79.76 | 74.84
25AUG2020 | 15.32 | 9.89 | 2.6993 | 2.4 | 80.32 | 74.84
26AUG2020 | 12.64 | 9.89 | 2.524 | 2.4 | 77.64 | 74.84
27AUG2020 | 16.1 | 9.89 | 2.7165 | 2.4 | 81.1 | 74.84
28AUG2020 | 14.26 | 9.89 | 2.6279 | 2.4 | 79.26 | 74.84
29AUG2020 | 11.42 | 9.89 | 2.3029 | 2.4 | 76.42 | 74.84
30AUG2020 | 6.86 | 9.89 | 2.0076 | 2.4 | 71.86 | 74.84
31AUG2020 | 5.7 | 9.89 | 2.1419 | 2.4 | 70.7 | 74.84

## System Marginal Price
Daily Difference in Day-Ahead and Real-Time System Marginal Price
($/MWh of Load)
Click to return to Table of Contents
Date | DA SMP - RT SMP
01AUG2020 | $-2.32
02AUG2020 | $-1.54
03AUG2020 | $-3.22
04AUG2020 | $-3.58
05AUG2020 | $-2.44
06AUG2020 | 1.87
07AUG2020 | $-2.43
08AUG2020 | $-2.97
09AUG2020 | $-1.84
10AUG2020 | $-3.68
11AUG2020 | 2.36
12AUG2020 | 1.04
13AUG2020 | $-9.38
14AUG2020 | $-2.12
15AUG2020 | 0.5
16AUG2020 | $-2.78
17AUG2020 | 1.29
18AUG2020 | $-2.86
19AUG2020 | $-4.93
20AUG2020 | 0.34
21AUG2020 | 3.6
22AUG2020 | $-5.21
23AUG2020 | $-5.77
24AUG2020 | $-6.30
25AUG2020 | 8.02
26AUG2020 | 4.37
27AUG2020 | 5.61
28AUG2020 | 3.33
29AUG2020 | $-3.56
30AUG2020 | 0.85
31AUG2020 | 0.32

## Monthly Generation Fuel Mix
Monthly Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01AUG2018 | 24161083.6 | 0 | 27660100.7 | 2029004.7 | 740571.1 | 24933501.7 | 196767.5 | 96218.5 | 540535 | 184793.2 | 0 | 971911.7 | 81514487.7
01SEP2018 | 17732107.7 | 0 | 25029233.8 | 1724083.7 | 662630.1 | 23276466.6 | 154713.6 | 40121.5 | 443431.2 | 118339 | 0 | 1174771.7 | 70355898.9
01OCT2018 | 16276675 | 0 | 20775996.5 | 1756923 | 517237.7 | 22546730.7 | 151816.8 | 78305 | 469498.1 | 122871.4 | 0 | 2063360.9 | 64759415.1
01NOV2018 | 17428028.4 | 0 | 19765607.5 | 1751167.2 | 149651.7 | 23384058.6 | 174466.1 | 24359.9 | 444425.3 | 105572.1 | 0 | 2040198.4 | 65267535.2
01DEC2018 | 20141389.5 | 0 | 21252495.9 | 1672476.6 | 22310.1 | 25683083.2 | 187811.5 | 23622.9 | 439295.2 | 90560.2 | 0 | 2307441.7 | 71820486.8
01JAN2019 | 23066657 | 0 | 23470282.1 | 1787311.3 | 187413.5 | 25621047.6 | 215350.1 | 22968.8 | 469659.1 | 114128.9 | 0 | 2615368.8 | 77570187.2
01FEB2019 | 16445833.1 | 0 | 23353560.8 | 1443410.6 | 34486.9 | 22328214.2 | 126892.6 | 19208.7 | 380138.1 | 121867.1 | 0 | 2209837.8 | 66463449.9
01MAR2019 | 17423912.7 | 0 | 23517985.9 | 1675788.4 | 208083.6 | 21938997.1 | 142435.2 | 24460.2 | 422264.6 | 198911.2 | 0 | 2429181.3 | 67982020.2
01APR2019 | 12888946.7 | 0 | 19060524.5 | 1584642.4 | 214468.7 | 21100368 | 96928.1 | 5029.8 | 432401.2 | 220513.8 | 0 | 2663102.3 | 58266925.5
01MAY2019 | 14839814.8 | 0 | 20607602.9 | 1725341.3 | 127579.6 | 24012565.9 | 167866.5 | 0 | 474783.5 | 255075 | 0 | 1945113.9 | 64155743.4
01JUN2019 | 15081917.9 | 0 | 25631711.3 | 1506290.9 | 263304.8 | 23730381.5 | 151030.7 | 0 | 484966.4 | 255959.9 | 0 | 1747969.7 | 68853533.1
01JUL2019 | 21513690.3 | 0 | 33976732.5 | 1519095.1 | 639151.1 | 24695776.7 | 269211.1 | 0 | 530181.4 | 293379.9 | 0 | 1050184.7 | 84487402.8
01AUG2019 | 17929364.9 | 0 | 32092070 | 1175560.7 | 555917.9 | 24497528.3 | 252382.3 | 0 | 534571 | 247592.6 | 0 | 917529.6 | 78202517.3
01SEP2019 | 15832779.2 | 0 | 26768586.3 | 897161.6 | 580464.2 | 22807214.2 | 127161.9 | 0 | 500502.2 | 234227 | 0 | 1331131.5 | 69079228.1
01OCT2019 | 11684379.8 | 0 | 23280593.6 | 844023.1 | 664552.9 | 21489501.2 | 53573.8 | 0 | 441700.3 | 185532.1 | 0 | 2172276.2 | 60816133
01NOV2019 | 15463250.1 | 0 | 21840793.9 | 1082672.2 | 407662.6 | 21941742.2 | 53614.1 | 2126 | 365563.3 | 153428.6 | 0 | 2133690 | 63444543
01DEC2019 | 14627602 | 0 | 25703508.7 | 1295334 | 169862.3 | 24952957.4 | 127480.2 | 22970.8 | 433121.4 | 128149.6 | 0 | 2848445.9 | 70309432.3
01JAN2020 | 13283414.3 | 0 | 27949748.1 | 1453545.8 | 223593.7 | 25023496.7 | 127281.5 | 37586.1 | 430206.9 | 163520.4 | 0 | 2555578.4 | 71247971.9
01JAN2020 | 13283414.3 | 0 | 27949748.1 | 1453545.8 | 223593.7 | 25023496.7 | 127281.5 | 37586.1 | 430206.9 | 163520.4 | 0 | 2555578.4 | 71247971.9
01JAN2020 | 13283414.3 | 0 | 27949748.1 | 1453545.8 | 223593.7 | 25023496.7 | 127281.5 | 37586.1 | 430206.9 | 163520.4 | 0 | 2555578.4 | 71247971.9
01FEB2020 | 12833381.9 | 0 | 25881355.9 | 1534213.8 | 128862.8 | 22081411.9 | 158912.6 | 37118.8 | 379653.1 | 179152.3 | 0 | 2503537.5 | 65717600.6
01MAR2020 | 9985928.5 | 0 | 25798184 | 1481591.6 | 214651.5 | 22079255.9 | 164659.3 | 34032.5 | 476094 | 261221.5 | 0 | 2672025.1 | 63167643.9
01APR2020 | 7986262.5 | 0 | 21519320.2 | 1391708.8 | 282014.9 | 20918827.1 | 159597.9 | 32575.9 | 378891.1 | 332907.4 | 0 | 2651021.8 | 55653127.6
01MAY2020 | 9736225.9 | 0 | 21252498.1 | 1641778.9 | 439755.4 | 22715706.8 | 152183.6 | 32131.5 | 408656 | 367702.9 | 0 | 2236449.9 | 58983089
01JUN2020 | 13985358.2 | 0 | 27844844.6 | 1555793 | 538085.2 | 23684217 | 165128.5 | 33596.5 | 411609.1 | 390948.5 | 0 | 1634627.6 | 70244208.2
01JUL2020 | 19488735.9 | 0 | 37747570.4 | 1366544.8 | 957930.2 | 24183875.4 | 313125 | 25259.3 | 495628.4 | 424390.9 | 0 | 945310 | 85948370.3
01AUG2020 | 17641294.3 | 0 | 33659064.8 | 1298878.5 | 705600.4 | 24220639.5 | 177425.6 | 21395.4 | 482335.7 | 332827.5 | 0 | 919832.8 | 79459294.5

## Daily Generation Fuel Mix
Daily Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01AUG2020 | 497385.9 | 0 | 1087732.4 | 37225.6 | 13693.1 | 783474.5 | 4720.7 | 798 | 15393 | 10095.6 | 0 | 25233.6 | 2475752.4
02AUG2020 | 505421.7 | 0 | 1084432.9 | 37905.3 | 20501.5 | 783646.2 | 5255.7 | 616.5 | 16007.8 | 13844.7 | 0 | 44512.4 | 2512144.7
03AUG2020 | 494710.7 | 0 | 1197211.4 | 41219.2 | 26577.1 | 788230.5 | 5483.6 | 812.4 | 16151.6 | 8837.1 | 0 | 27320 | 2606553.6
04AUG2020 | 467906.4 | 0 | 1008085.2 | 42770.8 | 9527.7 | 789510.6 | 8004.7 | 763.2 | 14540.5 | 5757.2 | 0 | 40657.1 | 2387523.4
05AUG2020 | 495239.7 | 0 | 1010827.8 | 43838.6 | 14453.2 | 787734.6 | 16650.3 | 630 | 15177.9 | 10987.2 | 0 | 8030.6 | 2403569.9
06AUG2020 | 523468.3 | 0 | 1016049.2 | 44114.3 | 15652.7 | 788844.4 | 7774.1 | 648.4 | 16148.5 | 8290.4 | 0 | 3630.1 | 2424620.4
07AUG2020 | 540276.1 | 0 | 1036715.4 | 40673.6 | 15221.9 | 787361.5 | 5456.4 | 732.5 | 16516.7 | 8030.5 | 0 | 9188.4 | 2460173
08AUG2020 | 499344 | 0 | 1012678.4 | 39924.8 | 19512.6 | 786839.4 | 4547.4 | 1156.9 | 16349.1 | 10439.8 | 0 | 34148.2 | 2424940.6
09AUG2020 | 560487 | 0 | 1108027 | 35238.2 | 20342.5 | 785830.9 | 4281.2 | 903 | 16017.3 | 13072.1 | 0 | 37922.4 | 2582121.6
10AUG2020 | 665090.9 | 0 | 1280817 | 44698.7 | 42441.5 | 782218.9 | 7404 | 937.4 | 16059.6 | 13246.2 | 0 | 38590.1 | 2891504.3
11AUG2020 | 681775.5 | 0 | 1263486.3 | 46004.8 | 38029.3 | 780755.1 | 7123.7 | 572.6 | 14971 | 13074.2 | 0 | 18509.8 | 2864302.3
12AUG2020 | 721345.2 | 0 | 1216126.5 | 49903.4 | 33335.7 | 763524.7 | 7124.8 | 576.6 | 15201.3 | 12004.2 | 0 | 10792 | 2829934.4
13AUG2020 | 663984.3 | 0 | 1217669.4 | 50644.7 | 19851 | 763550.1 | 5789.2 | 593.4 | 15477 | 8398.6 | 0 | 15555.7 | 2761513.4
14AUG2020 | 618903.8 | 0 | 1223658.9 | 46428.6 | 25190.3 | 762990.3 | 4746.2 | 604.2 | 16417.8 | 10093.9 | 0 | 14564.8 | 2723598.8
15AUG2020 | 522306.1 | 0 | 1030848.8 | 39328.4 | 16510 | 764689.4 | 4571.3 | 608.7 | 15572.8 | 6488.7 | 0 | 21525.9 | 2422450.1
16AUG2020 | 471134 | 0 | 902757.9 | 33395 | 14767.4 | 770045.2 | 4300.3 | 1044.8 | 15821.6 | 4690.5 | 0 | 37123 | 2255079.7
17AUG2020 | 535303.3 | 0 | 1047229.2 | 37374.1 | 17733.2 | 787180.2 | 4403.4 | 795.6 | 15249.5 | 12847.1 | 0 | 21293.4 | 2479409
18AUG2020 | 518525 | 0 | 1020086.6 | 40527.7 | 18903.1 | 788586.2 | 4671.2 | 905.4 | 14517 | 14362.9 | 0 | 30729.9 | 2451815
19AUG2020 | 525016.4 | 0 | 992235.6 | 37043.5 | 24295.6 | 790881.1 | 4601.2 | 765.3 | 14605.7 | 9450.9 | 0 | 12261.7 | 2411157
20AUG2020 | 520633.8 | 0 | 994291.5 | 38795.2 | 29767.4 | 790346.6 | 4432.6 | 610 | 14136.1 | 12240.6 | 0 | 9390.1 | 2414643.9
21AUG2020 | 533501.6 | 0 | 1087817.6 | 38903.2 | 28832.6 | 787811.6 | 5116.9 | 632.4 | 14425.8 | 11061.5 | 0 | 8337.8 | 2516441
22AUG2020 | 545338.8 | 0 | 1051664.3 | 39836.4 | 30501.8 | 785677.5 | 4679.8 | 593 | 14547.6 | 9664.4 | 0 | 7255.1 | 2489758.7
23AUG2020 | 563316.8 | 0 | 1076485.2 | 39709.8 | 25343.1 | 784680.8 | 4924.9 | 824.8 | 15566.4 | 11523.9 | 0 | 22791.5 | 2545167.2
24AUG2020 | 675252.7 | 0 | 1258165.8 | 48767.6 | 22890.2 | 782429 | 6881.9 | 690.4 | 15023.4 | 9340.5 | 0 | 31873.6 | 2851315.1
25AUG2020 | 720946.3 | 0 | 1215290.7 | 44532.6 | 28097.8 | 780780.3 | 5287.1 | 620.5 | 15392.3 | 14930.7 | 0 | 50838.7 | 2876717
26AUG2020 | 684908.2 | 0 | 1068016.9 | 43545 | 28027.6 | 783922.6 | 5023.9 | 995.6 | 16046.6 | 15336.4 | 0 | 56047.2 | 2701870
27AUG2020 | 718938.9 | 0 | 1177957.2 | 46724.1 | 23851.5 | 777899.3 | 5353.7 | 922.6 | 16116.5 | 13028.4 | 0 | 84729 | 2865521.2
28AUG2020 | 703325.8 | 0 | 1162806.6 | 46455.1 | 25248.2 | 779626.9 | 4907.8 | 195.4 | 16459.9 | 10974.7 | 0 | 44128.8 | 2794129.2
29AUG2020 | 526303.2 | 0 | 1004378.5 | 40578.9 | 21315.7 | 768171.6 | 5140.5 | 355.6 | 16335.2 | 7114.5 | 0 | 77813.3 | 2467507
30AUG2020 | 452426 | 0 | 853232.7 | 39803.8 | 15986.6 | 776480.6 | 4425.5 | 214.8 | 16446.1 | 15080.6 | 0 | 26659.4 | 2200756.1
31AUG2020 | 488777.9 | 0 | 952281.9 | 42967.5 | 19198.5 | 786918.9 | 4341.6 | 275.4 | 15644.1 | 8519.5 | 0 | 48379.2 | 2367304.5

## Monthly Uplift
Monthly Uplift
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve ($ Millions) | Balancing Operating Reserve ($ Millions) | Reactive ($ Millions) | Blackstart ($ Millions) | Lost Opportunity Cost ($ Millions) | Total Uplift ($ Millions) | Day-Ahead Operating Reserve ($/MWh) | Balancing Operating Reserve ($/MWh) | Reactive ($/MWh) | Blackstart ($/MWh) | Lost Opportunity Cost ($/MWh) | Total Uplift ($/MWh)
AUG18 | 0.75 | 7.32 | 0.19 | 0 | 1.93 | 10.18 | 0.01 | 0.09 | 0 | 0 | 0.02 | 0.13
SEP18 | 1.35 | 10.16 | 1 | 0 | 2.84 | 15.35 | 0.02 | 0.15 | 0.02 | 0 | 0.04 | 0.23
OCT18 | 1.03 | 6.49 | 0.51 | 0.06 | 2.51 | 10.53 | 0.02 | 0.11 | 0.01 | 0 | 0.04 | 0.17
NOV18 | 0.63 | 6.34 | 0.18 | 0.04 | 0.7 | 7.85 | 0.01 | 0.1 | 0 | 0 | 0.01 | 0.12
DEC18 | 0.55 | 1.97 | 0.02 | 0 | 0.76 | 3.3 | 0.01 | 0.03 | 0 | 0 | 0.01 | 0.05
JAN19 | 1.03 | 5.84 | 0.08 | 0 | 0.75 | 7.7 | 0.01 | 0.08 | 0 | 0 | 0.01 | 0.1
FEB19 | 0.79 | 3.76 | 0.04 | 0 | 0.16 | 4.75 | 0.01 | 0.06 | 0 | 0 | 0 | 0.07
MAR19 | 2.3 | 4.13 | 0 | 0.01 | 0.49 | 6.92 | 0.04 | 0.06 | 0 | 0 | 0.01 | 0.11
APR19 | 0.1 | 3.5 | 0 | 0.02 | 0.55 | 4.15 | 0 | 0.06 | 0 | 0 | 0.01 | 0.08
MAY19 | 1.43 | 2.69 | 0.14 | 0.06 | 1.63 | 5.89 | 0.02 | 0.04 | 0 | 0 | 0.03 | 0.1
JUN19 | 2.6 | 4.08 | 0.18 | 0 | 0.68 | 7.54 | 0.04 | 0.06 | 0 | 0 | 0.01 | 0.12
JUL19 | 1.39 | 8.78 | 0 | 0 | 2 | 12.17 | 0.02 | 0.11 | 0 | 0 | 0.03 | 0.15
AUG19 | 2.67 | 5.09 | 0 | 0.01 | 1.73 | 9.49 | 0.04 | 0.07 | 0 | 0 | 0.02 | 0.13
SEP19 | 1.66 | 5.71 | 0.01 | 0.01 | 4.92 | 12.29 | 0.03 | 0.09 | 0 | 0 | 0.08 | 0.19
OCT19 | 0.87 | 6 | 0 | 0.02 | 2.34 | 9.2 | 0.01 | 0.1 | 0 | 0 | 0.04 | 0.16
NOV19 | 0.19 | 4 | 0 | 0 | 1.59 | 5.77 | 0 | 0.06 | 0 | 0 | 0.03 | 0.09
DEC19 | 0.5 | 1.73 | 0.1 | 0.02 | 0.79 | 3.12 | 0.01 | 0.03 | 0 | 0 | 0.01 | 0.05
JAN20 | 0.11 | 3.15 | 0.01 | 0 | 0.86 | 4.13 | 0 | 0.05 | 0 | 0 | 0.01 | 0.06
FEB20 | 0.17 | 0.81 | 0 | 0.02 | 0.43 | 1.41 | 0 | 0.01 | 0 | 0 | 0.01 | 0.02
MAR20 | 0.02 | 0.96 | 0.04 | 0 | 0.65 | 1.66 | 0 | 0.02 | 0 | 0 | 0.01 | 0.03
APR20 | 0.75 | 1.18 | 0.07 | 0.06 | 0.43 | 2.43 | 0.01 | 0.02 | 0 | 0 | 0.01 | 0.05
MAY20 | 0.99 | 1.91 | 0.23 | 0.02 | 0.83 | 3.96 | 0.02 | 0.04 | 0 | 0 | 0.02 | 0.07
JUN20 | 0.93 | 5.1 | 0.02 | 0 | 3.4 | 9.45 | 0.01 | 0.08 | 0 | 0 | 0.05 | 0.15
JUL20 | 1.19 | 8.8 | 0 | 0 | 4.22 | 14.21 | 0.01 | 0.11 | 0 | 0 | 0.05 | 0.18
AUG20 | 0.8 | 8.15 | 0.02 | 0 | 4.54 | 13.52 | 0.01 | 0.11 | 0 | 0 | 0.06 | 0.18

## Monthly Zonal Uplift
Monthly Zonal Uplift
($ Millions)
Click to return to Table of Contents
Date | Zone | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01AUG2020 | AECO | 0 | 0.12 | 0 | 0 | 0.04 | 0.16
01AUG2020 | AEP | 0.01 | 1.27 | 0 | 0 | 0.77 | 2.05
01AUG2020 | APS | 0 | 0.21 | 0 | 0 | 0.06 | 0.27
01AUG2020 | ATSI | 0.01 | 0.32 | 0 | 0 | 0.02 | 0.35
01AUG2020 | BGE | 0.11 | 0.31 | 0 | 0 | 0.59 | 1.01
01AUG2020 | COMED | 0.05 | 2.3 | 0 | 0 | 2.24 | 4.59
01AUG2020 | DAY | 0 | 0.23 | 0 | 0 | 0.01 | 0.24
01AUG2020 | DEOK | 0 | 0.14 | 0 | 0 | 0 | 0.14
01AUG2020 | DOM | 0.01 | 1.15 | 0 | 0 | 0.49 | 1.65
01AUG2020 | DPL | 0.54 | 0.67 | 0 | 0 | 0.05 | 1.26
01AUG2020 | DUQ | 0.01 | 0.01 | 0 | 0 | 0 | 0.01
01AUG2020 | EKPC | 0 | 0.41 | 0.02 | 0 | 0.12 | 0.55
01AUG2020 | JCPL | 0.01 | 0.07 | 0 | 0 | 0 | 0.08
01AUG2020 | METED | 0 | 0.23 | 0 | 0 | 0.03 | 0.26
01AUG2020 | PECO | 0 | 0.17 | 0 | 0 | 0 | 0.17
01AUG2020 | PENELEC | 0 | 0.04 | 0 | 0 | 0.1 | 0.14
01AUG2020 | PEPCO | 0.01 | 0.12 | 0 | 0 | 0.01 | 0.14
01AUG2020 | PPL | 0.04 | 0.2 | 0 | 0 | 0.01 | 0.25
01AUG2020 | PSEG | 0 | 0.17 | 0 | 0 | 0 | 0.17

## Daily Uplift
Daily Uplift
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01AUG2020 | 0 | 0.09 | 0 | 0 | 0.12 | 0.21
02AUG2020 | 0.02 | 0.24 | 0 | 0 | 0.07 | 0.34
03AUG2020 | 0.03 | 0.28 | 0 | 0 | 0.07 | 0.37
04AUG2020 | 0 | 0.43 | 0 | 0 | 0.22 | 0.66
05AUG2020 | 0.08 | 0.04 | 0 | 0 | 0.4 | 0.52
06AUG2020 | 0.06 | 0.07 | 0 | 0 | 0.03 | 0.16
07AUG2020 | 0.02 | 0.15 | 0 | 0 | 0.31 | 0.49
08AUG2020 | 0 | 0.2 | 0 | 0 | 0.21 | 0.41
09AUG2020 | 0 | 0.48 | 0 | 0 | 0.22 | 0.7
10AUG2020 | 0.07 | 0.78 | 0 | 0 | 0.13 | 0.99
11AUG2020 | 0.19 | 0.37 | 0.02 | 0 | 0.03 | 0.61
12AUG2020 | 0.07 | 0.45 | 0 | 0 | 0.03 | 0.56
13AUG2020 | 0 | 0.12 | 0 | 0 | 0.64 | 0.76
14AUG2020 | 0 | 0.44 | 0 | 0 | 0.04 | 0.48
15AUG2020 | 0 | 0.19 | 0 | 0 | 0.17 | 0.36
16AUG2020 | 0 | 0.01 | 0 | 0 | 0.04 | 0.05
17AUG2020 | 0 | 0.23 | 0 | 0 | 0.02 | 0.25
18AUG2020 | 0.01 | 0.16 | 0 | 0 | 0.06 | 0.23
19AUG2020 | 0 | 0.05 | 0 | 0 | 0.31 | 0.36
20AUG2020 | 0 | 0.25 | 0 | 0 | 0.04 | 0.29
21AUG2020 | 0 | 0.87 | 0 | 0 | 0.02 | 0.89
22AUG2020 | 0 | 0.18 | 0 | 0 | 0.2 | 0.38
23AUG2020 | 0.03 | 0.28 | 0 | 0 | 0.25 | 0.56
24AUG2020 | 0 | 0.79 | 0 | 0 | 0.11 | 0.9
25AUG2020 | 0.06 | 0.18 | 0 | 0 | 0.02 | 0.26
26AUG2020 | 0.01 | 0.11 | 0 | 0 | 0.5 | 0.62
27AUG2020 | 0.07 | 0.23 | 0 | 0 | 0.18 | 0.48
28AUG2020 | 0.06 | 0.34 | 0 | 0 | 0.05 | 0.44
29AUG2020 | 0 | 0.1 | 0 | 0 | 0.01 | 0.11
30AUG2020 | 0 | 0.02 | 0 | 0 | 0 | 0.03
31AUG2020 | 0 | 0.01 | 0 | 0 | 0.03 | 0.04

## High Uplift Days
High Uplift Days
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift | Reason
10AUG2020 | 0.07 | 0.78 | 0 | 0 | 0.13 | 0.99
21AUG2020 | 0 | 0.87 | 0 | 0 | 0.02 | 0.89
24AUG2020 | 0 | 0.79 | 0 | 0 | 0.11 | 0.9

## Uneconomic CC, CT, Steam Hours
Percent of Total CC, CT, and Steam Hours - LMP < Offer
Click to return to Table of Contents
Date | CT | CC and STEAM
AUG18 | 12% | 9%
SEP18 | 14% | 8%
OCT18 | 16% | 8%
NOV18 | 23% | 6%
DEC18 | 30% | 6%
JAN19 | 37% | 7%
FEB19 | 37% | 6%
MAR19 | 27% | 7%
APR19 | 26% | 7%
MAY19 | 19% | 8%
JUN19 | 19% | 8%
JUL19 | 15% | 8%
AUG19 | 13% | 8%
SEP19 | 10% | 7%
OCT19 | 12% | 7%
NOV19 | 14% | 7%
DEC19 | 19% | 5%
JAN20 | 22% | 4%
FEB20 | 22% | 3%
MAR20 | 13% | 2%
APR20 | 26% | 3%
MAY20 | 17% | 4%
JUN20 | 9% | 5%
JUL20 | 8% | 6%
AUG20 | 11% | 7%

## Reliability and Deviations BOR
Reliability and Deviations Balancing Operating Reserve Rates
($/MWh of Load)
Click to return to Table of Contents
Date | Reliability Balancing Operating Reserve Rate RTO | Reliability Balancing Operating Reserve Rate East | Reliability Balancing Operating Reserve Rate West | Deviations Balancing Operating Reserve Rate RTO | Deviations Balancing Operating Reserve Rate East | Deviations Balancing Operating Reserve Rate West
AUG2018 | 0.03 | 0 | 0 | 0.5 | 0.02 | 0.02
SEP2018 | 0.04 | 0.01 | 0 | 0.51 | 0.06 | 0.07
OCT2018 | 0.04 | 0.01 | 0.01 | 0.37 | 0.05 | 0.02
NOV2018 | 0.04 | 0.01 | 0 | 0.27 | 0.08 | 0.01
DEC2018 | 0.01 | 0 | 0 | 0.11 | 0.04 | 0.02
JAN2019 | 0.03 | 0.01 | 0 | 0.1 | 0.05 | 0
FEB2019 | 0.02 | 0 | 0 | 0.1 | 0.04 | 0
MAR2019 | 0.02 | 0 | 0 | 0.15 | 0.03 | 0.02
APR2019 | 0.03 | 0 | 0 | 0.19 | 0.01 | 0
MAY2019 | 0.01 | 0 | 0 | 0.23 | 0.01 | 0.01
JUN2019 | 0.02 | 0 | 0 | 0.24 | 0.01 | 0
JUL2019 | 0.03 | 0.01 | 0 | 0.48 | 0.02 | 0.02
AUG2019 | 0.02 | 0 | 0 | 0.4 | 0.01 | 0
SEP2019 | 0.03 | 0 | 0 | 0.59 | 0.03 | 0.01
OCT2019 | 0.03 | 0 | 0 | 0.47 | 0.07 | 0.01
NOV2019 | 0.02 | 0 | 0 | 0.28 | 0.03 | 0.01
DEC2019 | 0.01 | 0 | 0 | 0.12 | 0.04 | 0.01
JAN2020 | 0.01 | 0 | 0 | 0.12 | 0.03 | 0
FEB2020 | 0 | 0 | 0 | 0.07 | 0 | 0
MAR2020 | 0 | 0 | 0 | 0.09 | 0.02 | 0
APR2020 | 0.01 | 0 | 0 | 0.08 | 0.05 | 0
MAY2020 | 0.01 | 0 | 0 | 0.12 | 0.02 | 0
JUN2020 | 0.02 | 0.01 | 0 | 0.41 | 0.01 | 0.02
JUL2020 | 0.04 | 0.01 | 0 | 0.59 | 0.04 | 0.02
AUG2020 | 0.03 | 0.02 | 0 | 0.68 | 0.05 | 0

## Operating Reserve
Operating Reserve
($/MWh of Load)
Click to return to Table of Contents
Date | Day-Ahead Allocated to Entire RTO | Day-Ahead Allocated Locally | Real-Time
AUG2018 | 0.01 | 0 | 0.12
SEP2018 | 0.02 | 0.01 | 0.2
OCT2018 | 0.02 | 0.01 | 0.15
NOV2018 | 0.01 | 0 | 0.11
DEC2018 | 0.01 | 0 | 0.04
JAN2019 | 0.01 | 0 | 0.09
FEB2019 | 0.01 | 0 | 0.06
MAR2019 | 0.04 | 0 | 0.07
APR2019 | 0 | 0 | 0.07
MAY2019 | . | . | 0
JUN2019 | 0.04 | 0 | 0.07
JUL2019 | 0.02 | 0 | 0.14
AUG2019 | 0.04 | 0 | 0.09
SEP2019 | 0.03 | 0 | 0.16
OCT2019 | 0.01 | 0 | 0.14
NOV2019 | 0 | 0 | 0.09
DEC2019 | 0.01 | 0 | 0.04
JAN2020 | 0 | 0 | 0.06
FEB2020 | 0 | 0 | 0.02
MAR2020 | 0 | 0 | 0.03
APR2020 | 0.01 | 0 | 0.03
MAY2020 | 0.02 | 0 | 0.05
JUN2020 | 0.01 | 0 | 0.13
JUL2020 | 0.01 | 0 | 0.16
AUG2020 | 0.01 | 0 | 0.17

## Balancing Operating Reserve MWh
Balancing Operating Reserve MWh by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01AUG2020 | 24504.71 | 702.81 | . | . | . | 6165.14 | 19042.39 | 25207.52
02AUG2020 | 33656.39 | 5237.72 | . | . | . | 11262.2 | 27631.91 | 38894.11
03AUG2020 | 42950.24 | 4497.61 | . | . | . | 6896.21 | 40551.64 | 47447.85
04AUG2020 | 5569.45 | 15724.77 | . | . | . | 16817.49 | 4476.73 | 21294.23
05AUG2020 | 19907.87 | 866.95 | . | . | . | 13973.34 | 6801.48 | 20774.82
06AUG2020 | 26987.25 | . | . | . | . | 10089.84 | 16897.41 | 26987.25
07AUG2020 | 52967.38 | 90.21 | . | . | . | 6197.33 | 46860.26 | 53057.59
08AUG2020 | 51250.24 | 8162.46 | . | . | . | 12430.46 | 46982.25 | 59412.7
09AUG2020 | 120733.89 | 1957.23 | . | . | . | 20425.54 | 102265.57 | 122691.11
10AUG2020 | 107285.88 | 1598.17 | 140.48 | . | 1141.92 | 21146.78 | 86735.82 | 109024.53
11AUG2020 | 101796.64 | 707.23 | . | . | . | 15960.82 | 86543.04 | 102503.87
12AUG2020 | 82109.3 | 5004.93 | . | . | . | 18293.33 | 68820.89 | 87114.23
13AUG2020 | 58277.13 | 760.41 | . | . | . | 4907.46 | 54130.09 | 59037.54
14AUG2020 | 104145.37 | 609.17 | . | . | . | 5205.5 | 99549.04 | 104754.54
15AUG2020 | 59252 | . | 510 | . | . | 15561.35 | 44200.65 | 59762
16AUG2020 | 7748.12 | 900.57 | . | . | . | 864.79 | 7783.91 | 8648.69
17AUG2020 | 60845.16 | 114.91 | . | . | . | 6687.85 | 54272.22 | 60960.07
18AUG2020 | 22385.17 | 150.05 | . | . | . | 2248.24 | 20286.98 | 22535.22
19AUG2020 | 5449.72 | 12630.91 | . | . | . | 3942.39 | 14138.24 | 18080.63
20AUG2020 | 39885.73 | 20153.12 | . | . | . | 6825.3 | 53213.55 | 60038.85
21AUG2020 | 160569.1 | 2502.56 | . | . | . | 38661.24 | 124410.42 | 163071.66
22AUG2020 | 25458.35 | 5668.3 | . | . | . | 5048.15 | 26078.5 | 31126.65
23AUG2020 | 76209.24 | 2122.76 | . | . | . | 2685.11 | 75646.89 | 78332
24AUG2020 | 144067.69 | 194.3 | . | . | . | 11897.66 | 132364.33 | 144261.99
25AUG2020 | 49217.96 | 176.23 | . | . | . | 18932.43 | 30461.75 | 49394.19
26AUG2020 | 9164.94 | 9.94 | 3783 | . | . | 5220.88 | 7737 | 12957.88
27AUG2020 | 50882.19 | 1279.59 | . | . | . | 21549.36 | 30612.41 | 52161.78
28AUG2020 | 94848.06 | . | . | . | . | 8222.71 | 86625.34 | 94848.06
29AUG2020 | 22742.15 | 1359.58 | . | . | . | 7862.28 | 16239.45 | 24101.73
30AUG2020 | 8137.67 | 1.66 | . | . | . | 2696.8 | 5442.52 | 8139.33
31AUG2020 | 7536.82 | 2084.29 | . | . | . | 746.24 | 8874.87 | 9621.11

## Balancing Operating Reserve $
Balancing Operating Reserve $ by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01AUG2020 | 86711.89 | 3434.16 | . | . | . | 44455.26 | 45690.79 | 90146.05
02AUG2020 | 156200.37 | 87116.14 | . | . | . | 114649.22 | 128667.29 | 243316.51
03AUG2020 | 129373.57 | 147213.29 | . | . | . | 79544.01 | 197042.85 | 276586.86
04AUG2020 | 40207.63 | 391362.23 | . | . | . | 411014.78 | 20555.08 | 431569.86
05AUG2020 | 40142.66 | 209.66 | . | . | . | 26362.38 | 13989.94 | 40352.32
06AUG2020 | 74994.88 | . | . | . | . | 40042.24 | 34952.64 | 74994.88
07AUG2020 | 148250.74 | 5235.49 | . | . | . | 50612.77 | 102873.46 | 153486.23
08AUG2020 | 182885.53 | 13871.84 | . | . | . | 81017.49 | 115739.88 | 196757.37
09AUG2020 | 470422.6 | 9806.38 | . | . | . | 155278.66 | 324950.32 | 480228.98
10AUG2020 | 731144.35 | 49856.41 | 604.37 | . | 79066.71 | 299317.3 | 403221.12 | 781605.13
11AUG2020 | 355686.12 | 17751.7 | . | . | . | 118486.66 | 254951.16 | 373437.82
12AUG2020 | 392479.11 | 62418.64 | . | . | . | 187245.79 | 267651.96 | 454897.75
13AUG2020 | 100267.66 | 19006.24 | . | . | . | 20448.41 | 98825.49 | 119273.9
14AUG2020 | 433654.94 | 6051.66 | . | . | . | 92703.47 | 347003.13 | 439706.6
15AUG2020 | 147535.68 | . | 47060.93 | . | . | 103272.76 | 91323.85 | 194596.61
16AUG2020 | 10153.83 | 968.46 | . | . | . | 8430.3 | 2691.99 | 11122.29
17AUG2020 | 226125.24 | 3562.06 | . | . | . | 30433.05 | 199254.25 | 229687.3
18AUG2020 | 155966.19 | 2223.71 | . | . | . | 3421.61 | 154768.29 | 158189.9
19AUG2020 | 38103.23 | 16085.25 | . | . | . | 16634.65 | 37553.83 | 54188.48
20AUG2020 | 178444.7 | 74664.43 | . | . | . | 61978.97 | 191130.16 | 253109.13
21AUG2020 | 849642.56 | 20686.98 | . | . | . | 338614.29 | 531715.25 | 870329.54
22AUG2020 | 149550.36 | 26477.88 | . | . | . | 24684.76 | 151343.48 | 176028.24
23AUG2020 | 271423.81 | 6084.95 | . | . | . | 17450.34 | 260058.42 | 277508.76
24AUG2020 | 783163.15 | 863.06 | . | . | . | 182165.5 | 601860.71 | 784026.21
25AUG2020 | 176141.28 | 1701.75 | . | . | . | 61767.33 | 116075.7 | 177843.03
26AUG2020 | 27922.09 | 0.54 | 77748.02 | . | . | 78182.55 | 27488.1 | 105670.65
27AUG2020 | 223009.73 | 2389 | . | . | . | 105899.48 | 119499.25 | 225398.73
28AUG2020 | 340177.58 | . | . | . | . | 51700.57 | 288477.01 | 340177.58
29AUG2020 | 94625.13 | 2210.43 | . | . | . | 66387.91 | 30447.65 | 96835.56
30AUG2020 | 23349.4 | 62.04 | . | . | . | 17947.26 | 5464.18 | 23411.44
31AUG2020 | 8714.56 | 1300.26 | . | . | . | 5948.77 | 4066.05 | 10014.82

## Monthly LOC
Monthly Lost Oppotunity Cost
Click to return to Table of Contents
Date | MWh Reduced Wind (MWh) | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01AUG2018 | 0 | 0 | 1931384
01SEP2018 | 0 | 0 | 2842552
01OCT2018 | 1586 | 120028 | 2505227
01NOV2018 | 7354 | 148407 | 702687
01DEC2018 | 0 | 0 | 758702
01JAN2019 | 26 | 755 | 752917
01FEB2019 | 0 | 0 | 163429
01MAR2019 | 0 | 0 | 492678
01APR2019 | 7 | 192 | 548196
01MAY2019 | 385 | 39089 | 1633430
01JUN2019 | 0 | 0 | 676319
01JUL2019 | 126 | 2198 | 1984872
01AUG2019 | 403 | 12208 | 1733237
01SEP2019 | 1508 | 63466 | 4922740
01OCT2019 | 320 | 29514 | 2336648
01NOV2019 | 375 | 38178 | 1585548
01DEC2019 | 9 | 450 | 786628
01JAN2020 | 239 | 5954 | 855472
01FEB2020 | 4 | 439 | 426371
01MAR2020 | 1604 | 16461 | 649690
01APR2020 | 64 | 680 | 433039
01MAY2020 | 308 | 9012 | 834424
01JUN2020 | 850 | 20361 | 3403889
01JUL2020 | 0 | 0 | 4222766
01AUG2020 | 148 | 4924 | 4542311

## Daily LOC
Daily Lost Oppotunity Cost
Click to return to Table of Contents
Date | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01AUG2020 | 0 | 121826
02AUG2020 | 0 | 69506
03AUG2020 | 0 | 66354
04AUG2020 | 0 | 222135
05AUG2020 | 0 | 396531
06AUG2020 | 0 | 26481
07AUG2020 | 0 | 313127
08AUG2020 | 1604 | 210912
09AUG2020 | 1202 | 222265
10AUG2020 | 0 | 129925
11AUG2020 | 0 | 30638
12AUG2020 | 0 | 27101
13AUG2020 | 0 | 642139
14AUG2020 | 0 | 35415
15AUG2020 | 0 | 170184
16AUG2020 | 0 | 41942
17AUG2020 | 0 | 16497
18AUG2020 | 0 | 63163
19AUG2020 | 0 | 306606
20AUG2020 | 0 | 35587
21AUG2020 | 0 | 24596
22AUG2020 | 0 | 204160
23AUG2020 | 0 | 254758
24AUG2020 | 0 | 114983
25AUG2020 | 0 | 24212
26AUG2020 | 0 | 498782
27AUG2020 | 1966 | 180180
28AUG2020 | 152 | 47769
29AUG2020 | 0 | 12842
30AUG2020 | 0 | 2056
31AUG2020 | 0 | 29638

## Monthly Load Weighted LMP
Monthly Load Weighted LMP
Click to return to Table of Contents
Date | Load Weighted LMP ($/MWh)
AUG2018 | 34.3
SEP2018 | 35.1
OCT2018 | 33.9
NOV2018 | 33.4
DEC2018 | 31
JAN2019 | 32.1
FEB2019 | 28.1
MAR2019 | 29.9
APR2019 | 26.4
MAY2019 | 24.2
JUN2019 | 23.1
JUL2019 | 29.8
AUG2019 | 24.2
SEP2019 | 29.4
OCT2019 | 27.9
NOV2019 | 27.2
DEC2019 | 22.5
JAN2020 | 22
FEB2020 | 19.4
MAR2020 | 17.9
APR2020 | 17.6
MAY2020 | 18.3
JUN2020 | 20.5
JUL2020 | 26.9
AUG2020 | 25.2

## Annual LMP Averages
Annual Fuel Cost Adjusted and Load Weighted LMP
Click to return to Table of Contents
Year | Fuel Cost Adjusted LMP ($/MWh) | Load Weighted LMP ($/MWh)
2011 | 20.42 | 45.94
2012 | 21.12 | 35.23
2013 | 20.97 | 38.67
2014 | 26.02 | 53.13
2015 | 28.33 | 36.25
2016 | 26.95 | 29.27
2017 | 31.56 | 31.06
2018 | 33.66 | 37.83
2019 | 31.46 | 27.15
2020 | 30.61 | 21.4
The 2020 value is through the last day of AUG, 2020.

## LMP Suspensions and Reruns
LMP Suspensions and Reruns
Click to return to Table of Contents
Date | Percentage of Intervals Price Posting Suspended | Percentage of Intervals Rerun Prior to Final LMP Posting Curent Calculation
AUG2018 | 0.08% | 0.02%
SEP2018 | 0.2% | 2.33%
OCT2018 | 0.19% | 0.66%
NOV2018 | 0.22% | 0.65%
DEC2018 | 0.04% | 0.71%
JAN2019 | 0.01% | 0.09%
FEB2019 | . | 0.02%
MAR2019 | 0.06% | 0.22%
APR2019 | 0.13% | 0.07%
MAY2019 | 0.03% | 0.07%
JUN2019 | 0.02% | 0.12%
JUL2019 | 0.26% | 0.13%
AUG2019 | 0.01% | 0.2%
SEP2019 | 0.21% | 0.1%
OCT2019 | . | 0.19%
NOV2019 | 0.65% | 0.35%
DEC2019 | 0.22% | 0.04%
JAN2020 | 0.11% | 0.35%
FEB2020 | 0.02% | 0.04%
MAR2020 | 0.01% | 0.13%
APR2020 | 0.01% | 0.14%
MAY2020 | 0.03% | 0.07%
JUN2020 | 0.09% | 0.37%
JUL2020 | 0.01% | 0.25%

## Annual DR Estimated Revenue
Demand Response Estimated Revenue
Click to return to Table of Contents
Year | Economic Energy | Capacity | Ancillary Services | Emergency Energy | Economic Energy Incentives | Total
2011 | 2052996 | 482262155 | 9399509 | 14842966 | 0 | 508557626
2012 | 9284118 | 327883188 | 4611687 | 10481333 | 0 | 352260326
2013 | 8711873 | 437516288 | 3665628 | 49348122 | 0 | 499241910
2014 | 17820063 | 631016188 | 6284506 | 42930598 | 0 | 698051354
2015 | 7983488 | 807137222 | 6118299 | 480978 | 0 | 821719987
2016 | 3477215 | 644469413 | 4512812 | 0 | 0 | 652459440
2017 | 2551777 | 492872505 | 4807877 | 0 | 0 | 500232159
2018 | 2523722 | 584665539 | 8946085 | 0 | 0 | 596135346
2019 | 979266 | 481661914 | 5205768 | 1062830 | 0 | 489357444
2020 | 176052 | 240804304 | 1865174 | 0 | 0 | 248806591
The 2020 value is through the last day of AUG, 2020.

## Demand Response
Demand Response
Click to return to Table of Contents
Date | Economic DR Total Load Reductions | Economic DR Total Net CSP Credits | DR as Sync. Res. MWh Cleared | DR as Sync. Res. Total Payments | DR as Regulation MWh Cleared | DR as Regulation Total Payments | Total MWs Registered in Economic DR
01AUG2018 | 7091 | 365024.51 | 63743 | 229493 | 8913 | 201675 | 2524
01SEP2018 | 3792 | 197374.2 | 78349 | 378670 | 9781 | 258366 | 2489
01OCT2018 | 2657 | 98159.17 | 136584 | 733837 | 10158 | 285560 | 2477
01NOV2018 | 1731 | 74148.97 | 109788 | 558182 | 11697 | 237329 | 2489
01DEC2018 | 317 | 16258.89 | 57372 | 197407 | 12692 | 231354 | 2489
01JAN2019 | 4036 | 272441.95 | 53967 | 77497 | 12477 | 212125 | 2526
01FEB2019 | 928 | 38661.42 | 79948 | 105334 | 10419 | 153878 | 2522
01MAR2019 | 2296 | 79604.56 | 98159 | 226579 | 11806 | 195783 | 2512
01APR2019 | 3067 | 86121.15 | 113067 | 235824 | 12271 | 226018 | 2515
01MAY2019 | 1847 | 50976.46 | 97738 | 158601 | 12604 | 189278 | 2564
01JUN2019 | 728 | 21182.44 | 38420 | 77166 | 11511 | 187836 | 3045
01JUL2019 | 5827 | 237906.18 | 51435 | 210865 | 10468 | 211799 | 2593
01AUG2019 | 1273 | 39538.84 | 61092 | 182195 | 10768 | 207411 | 2588
01SEP2019 | 866 | 33801.63 | 97499 | 371654 | 10053 | 240741 | 2652
01OCT2019 | 847 | 30219.4 | 110718 | 284710 | 8103 | 248769 | 2654
01NOV2019 | 1306 | 44546.22 | 75291 | 244495 | 6887 | 129939 | 2665
01DEC2019 | 1264 | 44265.4 | 48596 | 58513 | 10704 | 183279 | 2734
01JAN2020 | 1013 | 30299.74 | 46775 | 59882 | 1929 | 146432 | 2744
01FEB2020 | 141 | 2651.29 | 21723 | 36618 | 10482 | 111181 | 2776
01MAR2020 | 62 | 1173.22 | 62355 | 127800 | 6920 | 72968 | 2776
01APR2020 | 10 | 196.74 | 41222 | 145841 | 8778 | 110327 | 2773
01MAY2020 | 227 | 6161.21 | 31042 | 52747 | 6841 | 92633 | .
01JUN2020 | 837 | 16090.14 | 39624 | 77627 | 8001 | 109622 | 1157
01JUL2020 | 2461 | 109830.04 | 49095 | 129249 | 7834 | 130420 | 1206
01AUG2020 | 202 | 9649.3 | 65240 | 217032 | 7308 | 126808 | 1281

## Incs, Decs and Up-Tos
Virtual and Up-To Congestion Transactions
Click to return to Table of Contents
Date | Virtual Bids Submitted | Virtaul Bids Cleared | Virtual MWh Submitted | Virtual MWh Cleared | Up-To Transactions Submitted | Up-To Transactions Cleared | Up-To MWh Submitted | Up-To MWh Cleared | Total Transactions Submitted | Total Transactions Cleared | Total MWh Submitted | Total MWh Cleared
AUG2018 | 1013590 | 240200 | 8669776 | 3671454 | 2050724 | 742007 | 39344787 | 13139328 | 3064314 | 982207 | 48014564 | 16810782
SEP2018 | 1063577 | 261428 | 9995756 | 4515859 | 1715820 | 618620 | 38537152 | 11723926 | 2779397 | 880048 | 48532908 | 16239786
OCT2018 | 1345936 | 328998 | 9703511 | 4713461 | 1891761 | 699159 | 37084399 | 12140060 | 3237697 | 1028157 | 46787910 | 16853522
NOV2018 | 1279593 | 317868 | 8937484 | 4526260 | 1882790 | 748738 | 41759609 | 13040499 | 3162383 | 1066606 | 50697093 | 17566759
DEC2018 | 1255563 | 305917 | 8408213 | 4097765 | 1988130 | 858896 | 41516543 | 13764910 | 3243693 | 1164813 | 49924755 | 17862674
JAN2019 | 1455866 | 369541 | 10361544 | 5052309 | 2460843 | 913343 | 49240872 | 15525125 | 3916709 | 1282884 | 59602416 | 20577434
FEB2019 | 1216224 | 307687 | 7991073 | 4257904 | 2015504 | 682057 | 44842368 | 14513751 | 3231728 | 989744 | 52833440 | 18771654
MAR2019 | 1423171 | 333065 | 9503739 | 4676368 | 2338166 | 785515 | 56963947 | 17441149 | 3761337 | 1118580 | 66467686 | 22117517
APR2019 | 1290454 | 316392 | 8808329 | 4429810 | 1869719 | 638443 | 45894029 | 15610713 | 3160173 | 954835 | 54702358 | 20040523
MAY2019 | 1344954 | 335256 | 9947807 | 5463497 | 1881137 | 652597 | 44827242 | 14646088 | 3226091 | 987853 | 54775049 | 20109585
JUN2019 | 1324248 | 325162 | 9797879 | 5255820 | 2243005 | 750771 | 38044090 | 13765298 | 3567253 | 1075933 | 47841968 | 19021118
JUL2019 | 1589525 | 337168 | 11855794 | 5356141 | 2771681 | 849477 | 42230735 | 14464037 | 4361206 | 1186645 | 54086529 | 19820178
AUG2019 | 1458595 | 325172 | 10140308 | 4702755 | 3512002 | 944957 | 44302658 | 15330660 | 4970597 | 1270129 | 54442966 | 20033415
SEP2019 | 1348189 | 342877 | 11179279 | 5587967 | 3045941 | 818030 | 53255632 | 14403273 | 4394130 | 1160907 | 64434912 | 19991240
OCT2019 | 1425743 | 348891 | 10559505 | 4651492 | 2856818 | 812696 | 55503044 | 16537082 | 4282561 | 1161587 | 66062549 | 21188574
NOV2019 | 1508318 | 353706 | 10689678 | 4410973 | 2656248 | 734632 | 55924682 | 17071129 | 4164566 | 1088338 | 66614361 | 21482102
DEC2019 | 1256628 | 314919 | 9562666 | 3915707 | 2339343 | 773632 | 40715176 | 15299796 | 3595971 | 1088551 | 50277841 | 19215503
JAN2020 | 1283414 | 333590 | 9114690 | 3892199 | 2097525 | 838629 | 27629015 | 14213110 | 3380939 | 1172219 | 36743705 | 18105309
FEB2020 | 1216475 | 316439 | 9532287 | 3851332 | 2156776 | 765439 | 27464050 | 13510916 | 3373251 | 1081878 | 36996337 | 17362247
MAR2020 | 1360787 | 378530 | 11001457 | 4188821 | 2928042 | 735250 | 29956405 | 14497273 | 4288829 | 1113780 | 40957862 | 18686095
APR2020 | 1444862 | 403615 | 11555958 | 4359581 | 2734733 | 687554 | 26558118 | 13152179 | 4179595 | 1091169 | 38114075 | 17511760
MAY2020 | 1386380 | 417708 | 11299449 | 5249623 | 6615100 | 834690 | 30523601 | 13412560 | 8001480 | 1252398 | 41823051 | 18662183
JUN2020 | 1507412 | 459649 | 12260000 | 5395367 | 7073008 | 1010159 | 42606072 | 16586768 | 8580420 | 1469808 | 54866072 | 21982135
JUL2020 | 1759039 | 511790 | 13517978 | 5774457 | 4037332 | 912926 | 47628034 | 15634014 | 5796371 | 1424716 | 61146012 | 21408471
AUG2020 | 1628895 | 490734 | 12088935 | 5254933 | 2996725 | 862572 | 46913905 | 16723618 | 4625620 | 1353306 | 59002840 | 21978551

## Congestion and FTR Revenue
Congestion and FTR Revenue
Click to return to Table of Contents
Date | Total FTR Revenue ($Millions) | Total FTR Target ($Millions) | FTR Payout Ratio (%) | Day-Ahead Congestion ($Millions) | Balancing Congestion ($Millions)
AUG2018 | 85.02 | 74.63 | 100% | 69.15 | -3.53
SEP2018 | 107.31 | 102.82 | 100% | 95.09 | -6.26
OCT2018 | 109.1 | 114.22 | 96% | 95.01 | -11.77
NOV2018 | 83.08 | 82.53 | 100% | 69.2 | -14.17
DEC2018 | 79.8 | 81.85 | 97% | 63.04 | -7.57
JAN2019 | 138.69 | 121.07 | 100% | 119.88 | -20.57
FEB2019 | 53.33 | 34.91 | 100% | 36.41 | -5.44
MAR2019 | 61.92 | 49.79 | 100% | 45.01 | -12.19
APR2019 | 41.81 | 27.09 | 100% | 25.37 | -3.16
MAY2019 | 63.92 | 47.02 | 100% | 47.5 | -9.47
JUN2019 | 52.14 | 39.42 | 100% | 36.42 | -6.5
JUL2019 | 91.93 | 81.97 | 100% | 75.05 | -6.51
AUG2019 | 57.11 | 42.76 | 100% | 40.18 | -5.01
SEP2019 | 101.8 | 93.26 | 100% | 84.6 | -23.97
OCT2019 | 91.05 | 85.77 | 100% | 72.47 | -13.52
NOV2019 | 82.86 | 74.46 | 100% | 67.15 | -16.24
DEC2019 | 80.56 | 74.9 | 100% | 63 | -8.54
JAN2020 | 63.17 | 44.98 | 100% | 43.24 | -5.63
FEB2020 | 50.01 | 28.35 | 100% | 28.65 | -6.99
MAR2020 | 51.37 | 38.66 | 100% | 31.35 | -5.56
APR2020 | 42.93 | 32.06 | 100% | 24.15 | -8.17
MAY2020 | 66.21 | 62.73 | 100% | 46.11 | -19.48
JUN2020 | 74.41 | 73.51 | 100% | 62.75 | -10.71
JUL2020 | 118.29 | 112.53 | 100% | 105.56 | -23.82
AUG2020 | 95.18 | 94.7 | 100% | 82.47 | -14.02

## Average Interface Prices
Monthly Average PJM/MISO and PJM/NYISO Interface Prices
Click to return to Table of Contents
Date | PJM's Price for MISO Real-Time | MISO's Price for PJM Real-Time | PJM's Price for MISO Day-Ahead | MISO's Price for PJM Day-Ahead | PJM's Price for NYISO Real-Time | NYISO's Price for PJM Real-Time | PJM's Price for NYISO Day-Ahead | NYISO's Price for PJM Day-Ahead
AUG2018 | 29.74 | 30.91 | 29.65 | 30.81 | 32.85 | 32.07 | 32.42 | 33.08
SEP2018 | 30.31 | 31.69 | 30.68 | 31.02 | 29.47 | 31.36 | 28.94 | 30.57
OCT2018 | 29.31 | 30.3 | 31.18 | 32.57 | 30.43 | 27.85 | 32.1 | 30.99
NOV2018 | 32.39 | 33.56 | 34.07 | 33.95 | 34.8 | 36.18 | 35.02 | 34.19
DEC2018 | 29.9 | 30.37 | 30.32 | 32.3 | 34.08 | 32.28 | 34.35 | 34.09
JAN2019 | 26.3 | 29.11 | 27.56 | 30.43 | 34.7 | 34.08 | 37.39 | 39.91
FEB2019 | 26.39 | 25.67 | 25.34 | 26.13 | 27.42 | 27.82 | 25.65 | 27.82
MAR2019 | 27.11 | 26.1 | 27.7 | 27.77 | 28.26 | 29.43 | 28.37 | 29.66
APR2019 | 25.18 | 26.45 | 25.25 | 26.29 | 24.19 | 22.98 | 24.65 | 24.05
MAY2019 | 22 | 23.73 | 23.43 | 24.58 | 21.4 | 18.91 | 21.89 | 18.75
JUN2019 | 21.4 | 22.84 | 21.77 | 22.91 | 20.23 | 20.21 | 20.48 | 20.07
JUL2019 | 26.21 | 27.94 | 26.36 | 26.83 | 26.36 | 26.62 | 26.25 | 27.8
AUG2019 | 22.45 | 22.95 | 23.57 | 24.09 | 20.71 | 21.74 | 21.82 | 23.69
SEP2019 | 25.26 | 24.47 | 23.95 | 24.81 | 21.59 | 20.37 | 20.34 | 19.44
OCT2019 | 24.86 | 25.02 | 23.41 | 23.55 | 20.2 | 19 | 19.91 | 18.65
NOV2019 | 25.45 | 25.55 | 26.43 | 25.97 | 24.32 | 24.56 | 24.88 | 23.11
DEC2019 | 21.2 | 21.84 | 21.53 | 22.57 | 23.32 | 24.7 | 23.05 | 23.44
JAN2020 | 20.97 | 23.12 | 21.14 | 22.67 | 20.86 | 19.35 | 21.73 | 19.95
FEB2020 | 18.4 | 19.83 | 19.2 | 20.92 | 18.92 | 17.36 | 18.73 | 17.96
MAR2020 | 16.88 | 18.11 | 16.97 | 19.14 | 16.69 | 15.37 | 16.48 | 15.19
APR2020 | 15.73 | 18.2 | 15.81 | 18.21 | 16.66 | 12.98 | 16.26 | 13.48
MAY2020 | 16.07 | 18.45 | 16.11 | 18.39 | 15.73 | 13.5 | 15.03 | 13.97
JUN2020 | 18.72 | 19.3 | 18.15 | 20.14 | 17.3 | 17.33 | 17.18 | 17.95
JUL2020 | 23.1 | 24.83 | 23.08 | 24.8 | 23.67 | 22.57 | 22.39 | 23.63
AUG2020 | 23.16 | 23.45 | 22.26 | 24.04 | 20.27 | 22.01 | 19.78 | 20.96

## Market to Market Congestion
PJM/MISO and PJM/NYISO Market to Market Congestion Payments
Click to return to Table of Contents
Date | Net M2M Payments from PJM to MISO ($) | Payments to MISO as Percent of Total PJM Congestion | Net M2M Payments from PJM to NYISO ($) | Payments to NYISO as Percent of Total PJM Congestion | FTR Revenue ($)
AUG2018 | $-3,274,399 | 4.4% | 33443 | 0.04% | 74633846
SEP2018 | $-4,185,124 | 4.1% | 54869 | 0.05% | 102823065
OCT2018 | $-3,329,360 | 2.9% | $-78,373 | 0.07% | 114217856
NOV2018 | $-217,754 | 0.3% | 37274 | 0.05% | 82528656
DEC2018 | $-1,649,404 | 2% | 20893 | 0.03% | 81850049
JAN2019 | $-4,209,389 | 3.5% | $-163,022 | 0.13% | 121065037
FEB2019 | $-1,111,745 | 3.2% | $-64,617 | 0.19% | 34910188
MAR2019 | $-1,052,303 | 2.1% | 4363 | 0.01% | 49786055
APR2019 | $-1,434,057 | 5.3% | 5216 | 0.02% | 27090170
MAY2019 | $-4,114,791 | 8.8% | 89427 | 0.19% | 47019142
JUN2019 | $-1,035,911 | 2.6% | $-107,577 | 0.27% | 39419794
JUL2019 | $-1,593,333 | 1.9% | $-82,051 | 0.1% | 81970371
AUG2019 | $-1,255,392 | 2.9% | $-32,324 | 0.08% | 42757848
SEP2019 | $-5,411,760 | 5.8% | 23389 | 0.03% | 93262207
OCT2019 | $-4,867,231 | 5.7% | $-213,358 | 0.25% | 85772409
NOV2019 | $-4,182,290 | 5.6% | $-126,192 | 0.17% | 74455919
DEC2019 | $-4,319,961 | 5.8% | 108898 | 0.15% | 74903726
JAN2020 | $-674,487 | 1.5% | $-430,843 | 0.96% | 44976915
FEB2020 | $-3,331,472 | 11.8% | $-76,126 | 0.27% | 28350559
MAR2020 | $-3,616,775 | 9.4% | $-64,391 | 0.17% | 38658770
APR2020 | $-2,076,362 | 6.5% | $-73,910 | 0.23% | 32060855
MAY2020 | $-9,512,901 | 15.2% | $-11,842 | 0.02% | 62733441
JUN2020 | $-4,099,572 | 5.6% | 59794 | 0.08% | 73513525
JUL2020 | $-3,530,304 | 3.1% | 6385 | 0.01% | 112531042
AUG2020 | $-1,463,407 | 1.5% | $-12,230 | 0.01% | 94698535

## Regulation and Sync Reserve
Regulation and Synchronized Reserve
Click to return to Table of Contents
Date | Synchronous Condenser ($Millions) | Synchronized Reserve ($Millions) | Synchronous Condenser (Cents/MWh load) | Synchronized Reserve (Cents/MWh load) | Regulation ($Millions)
AUG2018 | 0 | 2.47 | 0 | 3.19 | 8.94
SEP2018 | 0 | 3.56 | 0 | 5.35 | 9.6
OCT2018 | 0 | 6.45 | 0 | 10.49 | 10.33
NOV2018 | 0 | 4.02 | 0 | 6.37 | 7.53
DEC2018 | 0 | 2.22 | 0 | 3.26 | 7.12
JAN2019 | 0 | 1.66 | 0 | 2.25 | 7.27
FEB2019 | 0 | 2.17 | 0 | 3.43 | 5.65
MAR2019 | 0 | 4.1 | 0 | 6.28 | 7.2
APR2019 | 0 | 2.74 | 0 | 4.98 | 7.53
MAY2019 | 0 | 2.1 | 0 | 3.49 | 6.11
JUN2019 | 0 | 1.19 | 0 | 1.85 | 5.75
JUL2019 | 0 | 3.94 | 0 | 4.94 | 8.17
AUG2019 | 0 | 2.27 | 0 | 3.09 | 7.35
SEP2019 | 0 | 5.16 | 0 | 7.98 | 8.8
OCT2019 | 0 | 5.62 | 0 | 9.72 | 11.48
NOV2019 | 0 | 2.17 | 0 | 3.51 | 7.99
DEC2019 | 0 | 1.26 | 0 | 1.87 | 7.19
JAN2020 | 0 | 0.94 | 0 | 1.38 | 6.49
FEB2020 | 0 | 0.43 | 0 | 0.69 | 4.63
MAR2020 | 0 | 0.83 | 0 | 1.4 | 4.62
APR2020 | 0 | 1.34 | 0 | 2.58 | 5.65
MAY2020 | 0 | 0.73 | 0 | 1.35 | 6.08
JUN2020 | . | 1.16 | . | 1.79 | 6.07
JUL2020 | . | 3.69 | . | 4.6 | 7.73
AUG2020 | . | 3.04 | . | 4.12 | 7.57

## Regulation Daily
Regulation Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01AUG2020 | 0.01 | 9.15 | 36.35 | 178342.52
02AUG2020 | 0.01 | 9.56 | 43.39 | 157534.11
03AUG2020 | 0.88 | 12.4 | 54.5 | 354830.73
04AUG2020 | 0 | 17.22 | 184.97 | 314059.84
05AUG2020 | 0.01 | 15.08 | 150.96 | 286853.45
06AUG2020 | 0 | 6.47 | 13.47 | 149456.81
07AUG2020 | 0 | 11.28 | 40.98 | 250212.71
08AUG2020 | 0.01 | 9.38 | 23.07 | 211210.19
09AUG2020 | 0.01 | 21.32 | 305.27 | 229413.47
10AUG2020 | 4.15 | 19.39 | 90.84 | 455241.05
11AUG2020 | 0.01 | 11.87 | 83.08 | 213991.84
12AUG2020 | 0 | 14.42 | 77.82 | 235288.72
13AUG2020 | 3.54 | 20.79 | 119.28 | 324380.92
14AUG2020 | 0.01 | 21.61 | 161.98 | 296222.29
15AUG2020 | 0 | 7.53 | 18.61 | 128371.68
16AUG2020 | 0 | 9.87 | 50.26 | 284621.34
17AUG2020 | 0.01 | 10.13 | 41.19 | 193599.77
18AUG2020 | 0.01 | 12.91 | 62.8 | 177381.05
19AUG2020 | 0 | 14.88 | 97.92 | 241236.83
20AUG2020 | 0 | 9.15 | 35.26 | 200979.9
21AUG2020 | 0.01 | 9.25 | 17.9 | 178320.28
22AUG2020 | 0.01 | 18.79 | 130.33 | 353554.89
23AUG2020 | 0.01 | 12.78 | 53.94 | 344524.8
24AUG2020 | 4.59 | 16.83 | 45.44 | 307020.65
25AUG2020 | 0.01 | 12.98 | 40.2 | 241947.59
26AUG2020 | 0.01 | 12.42 | 99.29 | 186082.79
27AUG2020 | 0.01 | 14.77 | 86.22 | 231979.6
28AUG2020 | 0 | 11.3 | 36.01 | 224106.55
29AUG2020 | 0 | 7.71 | 22.65 | 166299.38
30AUG2020 | 1.38 | 12.64 | 54.57 | 219448.25
31AUG2020 | 0.14 | 12.33 | 35.57 | 229081.09

## Synchronized Reserve Daily
Synchronized Reserve Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01AUG2020 | 0 | 2.35 | 18.11 | 79855.52
02AUG2020 | 0 | 0.75 | 4.23 | 184796.2
03AUG2020 | 0 | 1.26 | 9.13 | 315401.41
04AUG2020 | 0 | 0.77 | 7.5 | 44469.6
05AUG2020 | 0 | 0.98 | 13.6 | 58426.35
06AUG2020 | 0 | 0.77 | 6.59 | 39373.23
07AUG2020 | 0 | 3.77 | 41.39 | 185245.25
08AUG2020 | 0 | 2.01 | 15.03 | 274796.98
09AUG2020 | 0 | 7.11 | 140.64 | 213813.99
10AUG2020 | 0 | 1.47 | 11.55 | 135204.62
11AUG2020 | 0 | 4.11 | 66.2 | 173548.78
12AUG2020 | 0 | 0.39 | 3.5 | 76732.38
13AUG2020 | 0 | 1.34 | 7.5 | 178708.7
14AUG2020 | 0 | 2.52 | 21.51 | 116840.54
15AUG2020 | 0 | 0.63 | 7.5 | 21045.35
16AUG2020 | 0 | 1.14 | 7.79 | 92048.44
17AUG2020 | 0 | 2.53 | 16.67 | 79722.14
18AUG2020 | 0 | 0.66 | 7.49 | 20449.3
19AUG2020 | 0 | 0.94 | 7.81 | 91530.38
20AUG2020 | 0 | 0.54 | 7.5 | 36773.45
21AUG2020 | 0 | 1.67 | 8.16 | 35457.97
22AUG2020 | 0 | 3.81 | 37.87 | 126747.3
23AUG2020 | 0 | 2.74 | 35.34 | 81644.43
24AUG2020 | 0 | 1.46 | 13.97 | 200866.35
25AUG2020 | 0 | 1.58 | 7.5 | 41034.77
26AUG2020 | 0 | 0.31 | 3.5 | 16461.54
27AUG2020 | 0 | 4.07 | 80.53 | 45438.55
28AUG2020 | 0 | 0 | 0 | 10163.47
29AUG2020 | 0 | 0.8 | 7.5 | 15095.08
30AUG2020 | 0 | 1.02 | 8.58 | 9145.06
31AUG2020 | 0 | 1.3 | 9.28 | 39673.99

## Daily Marginal Losses
Daily Marginal Loss Summary
Click to return to Table of Contents
Date | Average Energy Price ($/MWh) | Minimum Loss Component ($/MWh) | Maximum Loss Component ($/MWh) | Minimum Loss Zone | Maximum Loss Zone | Loss Credits ($) | Loss Credits ($/MWh)
01AUG2020 | 22.37 | (2.22) | 2.22 | COMED | DPL | 482428 | 0.21
02AUG2020 | 21.77 | (4.69) | 4.86 | COMED | DPL | 360612 | 0.15
03AUG2020 | 25.33 | (4.14) | 4.48 | COMED | DPL | 440954 | 0.18
04AUG2020 | 23.24 | (2.22) | 2.65 | COMED | DAY | 539266 | 0.24
05AUG2020 | 24.18 | (3.58) | 4.35 | COMED | BGE | 459199 | 0.2
06AUG2020 | 19.59 | (4.02) | 4.35 | COMED | BGE | 558869 | 0.25
07AUG2020 | 23.26 | (1.89) | 2.31 | OVEC | BGE | 543454 | 0.24
08AUG2020 | 22.17 | (1.90) | 2.58 | OVEC | DAY | 565922 | 0.25
09AUG2020 | 22.69 | (2.14) | 4.27 | PPL | DAY | 404716 | 0.17
10AUG2020 | 31.36 | (4.12) | 3.35 | OVEC | BGE | 461587 | 0.17
11AUG2020 | 23.87 | (7.43) | 5.44 | OVEC | RECO | 905907 | 0.34
12AUG2020 | 24.37 | (3.94) | 3.91 | COMED | DPL | 902953 | 0.34
13AUG2020 | 33.26 | (2.22) | 3.66 | PPL | ATSI | 677685 | 0.27
14AUG2020 | 25.9 | (2.72) | 4.39 | OVEC | ATSI | 743874 | 0.29
15AUG2020 | 20.24 | (2.25) | 2.43 | OVEC | DAY | 589641 | 0.27
16AUG2020 | 21.06 | (2.01) | 3.17 | PPL | DAY | 480208 | 0.24
17AUG2020 | 20.59 | (4.07) | 6.04 | PPL | DAY | 375280 | 0.17
18AUG2020 | 23.29 | (1.60) | 2.57 | PPL | DAY | 608346 | 0.27
19AUG2020 | 24.92 | (2.90) | 2.66 | OVEC | BGE | 579060 | 0.26
20AUG2020 | 20.66 | (3.17) | 3.8 | OVEC | DAY | 579868 | 0.26
21AUG2020 | 19.15 | (1.30) | 1.76 | OVEC | DAY | 590245 | 0.25
22AUG2020 | 26.25 | (1.12) | 1.75 | OVEC | DAY | 571136 | 0.25
23AUG2020 | 27.71 | (2.63) | 2.12 | OVEC | DAY | 634720 | 0.27
24AUG2020 | 33.67 | (4.23) | 3.6 | OVEC | DPL | 661066 | 0.25
25AUG2020 | 23.91 | (5.17) | 4.95 | OVEC | DPL | 1052478 | 0.39
26AUG2020 | 21.64 | (2.30) | 3.5 | PPL | DAY | 859993 | 0.34
27AUG2020 | 23.7 | (1.63) | 2.69 | PPL | DAY | 840704 | 0.31
28AUG2020 | 22.21 | (2.23) | 2.51 | OVEC | DAY | 936867 | 0.36
29AUG2020 | 23.24 | (1.43) | 3.31 | PENELEC | DAY | 691911 | 0.3
30AUG2020 | 15.15 | (1.78) | 3.19 | PENELEC | DAY | 384973 | 0.19
31AUG2020 | 17.81 | (1.13) | 1.88 | PPL | DAY | 339433 | 0.16

## Monthly Marginal Losses
Monthly Marginal Losses
Click to return to Table of Contents
Date | Loss Credits ($) | Loss Credits ($/MWh)
AUG2018 | 28339892.17 | 0.37
SEP2018 | 24799438.85 | 0.37
OCT2018 | 18835895.51 | 0.31
NOV2018 | 24489215.14 | 0.39
DEC2018 | 21689367.48 | 0.32
JAN2019 | 27192497.1 | 0.37
FEB2019 | 18444558.76 | 0.29
MAR2019 | 21850916.59 | 0.33
APR2019 | 13043979.25 | 0.24
MAY2019 | 13261269.93 | 0.22
JUN2019 | 12250384.7 | 0.19
JUL2019 | 25580599.7 | 0.32
AUG2019 | 19542580.55 | 0.27
SEP2019 | 14511960.65 | 0.22
OCT2019 | 12169360.6 | 0.21
NOV2019 | 15792564.85 | 0.26
DEC2019 | 15461599.72 | 0.23
JAN2020 | 13772642.51 | 0.2
FEB2020 | 10988042.85 | 0.17
MAR2020 | 8425596.35 | 0.14
APR2020 | 6629349.92 | 0.13
MAY2020 | 7573711.04 | 0.14
JUN2020 | 12112612.95 | 0.19
JUL2020 | 24535324.31 | 0.31
AUG2020 | 18823352.91 | 0.25

## Sychronized Reserve Performance
Sychronized Reserve Performance
Click to return to Table of Contents
Start Time | End Time | Generation Tier 1 Response | Generation Tier 2 Assignment | Generation Tier 2 Response | Generation Zero Response | DSR Tier 1 Response | DSR Tier 2 Assignment | DSR Tier 2 Response | DSR Zero Response
18JAN16:22:58:00 | 18JAN16:23:10:00 | 738.99 | 112.42 | 110.39 | 11.82 | 5.7 | 10.92 | 9.62 | 1.06
08FEB16:20:05:00 | 08FEB16:20:15:00 | 383.68 | 32.37 | 35.65 | 4.17 | 0 | 5.7 | 14.05 | 0.3
15APR16:00:09:00 | 15APR16:00:19:00 | 338.92 | 38 | 33.96 | . | 0 | 19.73 | 22.82 | 0.17
28JUL16:17:28:00 | 28JUL16:17:43:00 | 531.82 | 45.25 | 42.81 | . | 0 | 27.28 | 16.06 | 1.95
28JUL16:17:31:00 | 28JUL16:17:43:00 | 103.15 | 100 | 86.57 | . | 0 | 6.56 | 0.14 | 6
04NOV16:21:13:00 | 04NOV16:21:24:00 | 194.75 | 113.93 | 117.74 | . | 0 | 25.04 | 29.19 | 1.25
31DEC16:10:10:00 | 31DEC16:10:22:00 | 437.61 | 105.4 | 85.36 | . | 0 | 13.48 | 17.45 | .
23MAR17:10:48:00 | 23MAR17:11:12:00 | 804.36 | 190.68 | 179.57 | 15.2 | 0 | 106.44 | 74.44 | 0.88
08APR17:15:53:00 | 08APR17:16:03:00 | 292.18 | 125.13 | 118.34 | 5.5 | 0 | 21.41 | 29.28 | 0.68
08MAY17:08:18:00 | 08MAY17:08:28:00 | 405.58 | 19.67 | 18 | . | 0 | 36.18 | 42.38 | 0.73
08JUN17:19:29:00 | 08JUN17:19:39:00 | 282.4 | 71.67 | 68.63 | 4.17 | 0 | 24.29 | 29.16 | 1.77
05SEP17:00:03:00 | 05SEP17:00:18:00 | 132.18 | 140.88 | 138.72 | . | 0 | 9.38 | 7.55 | 0.45
21SEP17:18:15:00 | 21SEP17:18:31:00 | 548.36 | 283.74 | 234.25 | 5.73 | 0 | 50.64 | 70.29 | 0.29
03JAN18:08:00:00 | 03JAN18:08:13:00 | 372.73 | . | . | . | 0 | 24.4 | 14.6 | .
12APR18:17:27:00 | 12APR18:17:38:00 | 285.44 | 51.38 | 39.65 | 3.58 | 0 | 33.8 | 43.02 | 1.65
29JUN18:19:20:00 | 29JUN18:19:30:00 | 514.76 | 14.83 | 14.28 | . | 0 | 13.07 | 13 | 1.02
30JUN18:13:46:00 | 30JUN18:13:57:00 | 718.37 | 7.33 | 19.56 | . | 0 | 5.79 | 4.67 | .
10JUL18:19:45:00 | 10JUL18:19:58:00 | 468.66 | 59.61 | 44.7 | 13.07 | 0 | 47.56 | 34.43 | .
12AUG18:15:06:00 | 12AUG18:15:17:00 | 528.41 | 47.85 | 46.29 | . | 0 | 2.47 | 1.84 | .
30SEP18:15:29:00 | 30SEP18:15:40:00 | 416.45 | 29.43 | 28.02 | . | 0 | 12.96 | 27.18 | .
30OCT18:10:40:00 | 30OCT18:10:51:00 | 134.23 | 93 | 73.87 | . | 0 | 18.4 | 20.62 | 0.55
07MAR19:03:05:00 | 07MAR19:03:15:00 | 271.26 | 75.63 | 76.09 | . | 0 | 47.39 | 22.58 | 27.62
23SEP19:16:06:00 | 23SEP19:16:18:00 | 648.01 | 75.84 | 63.89 | 3.2 | 0 | 54.48 | 51.96 | 0.74
01OCT19:18:56:00 | 01OCT19:19:07:00 | 361.41 | 176.93 | 162.4 | 3.12 | 0 | 38.93 | 48.83 | 0.04
18FEB20:11:16:00 | 18FEB20:11:26:00 | 421.44 | 6.67 | 0.28 | . | 0 | . | . | .
06JUL20:21:22:00 | 06JUL20:21:32:00 | 254.4 | 68.97 | 63.81 | 4.67 | 0 | 10.98 | 10.05 | 1.75
25JUL20:16:39:00 | 25JUL20:16:50:00 | 168.72 | 49.13 | 43.02 | . | 0 | 6.29 | 13.09 | 0.11
All values are converted into MWHs by multiplying MWs by the event duration