## 1. Interest Identification
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
Interest Identification
Instructions: List interests of all parties on this page.
Interchange Volatility
1 | more certainty on interchange, particularly during peak conditions
2 | solution is applicable to peak and non-peak conditions
3 | compliance with NAESB and NERC standards
4 | should not create barriers to accepting interchange during peak conditions
5 | balance the potential benefits of interchange against increased service duty on generators inside PJM to maintain supply and demand balance
6 | maintain cost minimization objective function and minimize uplift costs
7 | reduce or minimize risk of market manipulation
8 | potential changes outside of interchange to help with volatility (DR)
9
10
Incorporating More Operator Actions in Energy/Reserve Pricing
1 | better recognition of operator actions in market pricing
2 | maintain operators' flexibility to take action to maintain reliability
3 | pricing is consistent with dispatch signals
4 | more transparency into when/what conservative actions are taken by operators
5 | more intuitive pricing
6 | solution is applicable to peak and non-peak conditions
7 | minimize overall net costs to load
8 | ability to identify operator actions that impact price over time
9 | incent increased resource flexibility
10 | consistency between conservative operator actions and price formation adjustments
11

## 2.Options Matrix-Design Comp ST
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
SHORT TERM OPTIONS MATRIX
Strive for simplicity
Solution Options2
# | Design Components1 | Timeframe | Priority | Status Quo | A | B | C | D | E
Interchange Volatility (Short Term)
1 | Method of reducing interchange volatility |  |  | N/A | adjust ramp limit
1A-1 | Scenarios under which ramp limit is adjusted | Short-term |  | based on operating conditions, although not typically exercised | as needed to address operating conditions, typically after max or min generation emergency action is anticipated/declared or as a result of Demand Response decisions |  |  |  |  | Low - High
1A-2 | Method for communicating ramp adjustment | Short-term |  | new ExSchedule application banner notifications | status quo + monthly reporting of when actions were taken and why | another real time communication method |  |  |  | Medium
2 | Method for calculating ramp limit adjustment for price volatility |  |  | operator discretion based on system conditions | consider change in uplift resulting from ramp limit adjustment |  |  |  |  | High
3
4
Low - Medium
Incorporating More Operator Actions in Energy/Reserve Pricing (Short Term)
1 | Method for incorporating operator action in energy/reserve pricing |  |  | conservative operator actions are not always reflected in pricing | increase primary and synchronized reserve requirement | forward unit commitment decisions made in advance of the day ahead market timeline impact the day ahead energy prices and/or DASR obligation
1A-1 | Scenarios under which primary and synchronized reserve requirement is raised | Short-term |  | not done unless largest contingency changes | additional supply is scheduled for units at risk | additional supply is scheduled for load forecast uncertainty | additional supply is scheduled for interchange uncertainty | additional supply is scheduled for environmental factors, including but not limited to SMD, GMD, weather disturbance, physical security threat
1A-2 | Method for communicating reserve requirement change and reason | Short-term |  | Message in eMKT upon log in indicating new requirement and reason for change | eData (long term?) | emergency procedures web page | OASIS | PJM.com | RSS Feeds
1A-3 | Method for calculating reserve requirement increase | Short-term |  | 100% of largest single contingency; 75% of largest single contingency off-peak during double contingencies | increase requirement by some percentage of total MWs known to be at risk | increase requirement by some percentage of difference between actual projected load and current forecast | increase requirement by some percentage of the maximum observed difference between 2 hour ahead scheduled interchange and actual interchange (based on historic analysis) | increase requirement up to size of largest credible contingency (3600 MW) | increase requirement by total MWs conservatively scheduled (with a floor and ceiling?)
1A-4 | Frequency of reserve requirement increases | Short-term |  | only when largest contingency changes | as needed during emergency operations | anytime, as needed based on operator actions
1A-5 | Duration of reserve requirement increase |  |  | when largest contingency returns to normal | entry/exit criteria to be defined
2 | locational reserve requirement increase (MAD, RTO or both)
3
Instructions:
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decsion-making method).

## 2.Options Matrix-Design Comp LT
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
LONG TERM OPTIONS MATRIX
Strive for simplicity
Solution Options2
# | Design Components1 | Timeframe | Priority | Status Quo | A | B | C | D | E
Interchange Volatility (Long Term)
1 | Method of reducing interchange volatility |  |  | N/A | modified evaluation of transactions | consider new longer duration interchange commitment or longer lead time | potential refinement to emergency bid procedures | potential refinement to dispatchable transactions
1A-1 | Method of evaluating interchange transactions | Long-term |  | ramp limit and timing evaluation only | economic evaluation of all interchange transactions | economic evaluation of a portion of transactions (new interchange transaction type) | place priority on transactions with firm transmission |  |  | Low - High
2 | financial incentive for reducing the amount of schedule changes that participants undertake |  |  | none | credit for advanced scheduling | charge for ramp |  |  |  | Medium - High
3 | energy settlements of interchange |  |  | settled at LMP | guaranteed price for a portion of cleared transactions |  |  |  |  | High
4 | Method of allocating ramp (covered in long term solution?) |  |  | first come, first served
5 | Uplift treatment for interchange transactions |  |  |  | allocating a portion of uplift to price taking transactions (DA and Real Time treatment)
| settlement interval |  |  | hourly | 5 minutes
Low - Medium
Incorporating More Operator Actions in Energy/Reserve Pricing (Long Term)
1 | Method for incorporating operator action in energy/reserve pricing |  |  | conservative operator actions are not always reflected in pricing | market based solutions for additional reserve products
1A-1 | Requirements maintained in real time | Long-term |  | synchronized reserve, primary reserve | new 30 minute reserve market
2
3
4
Instructions:
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decsion-making method).

## 2a. Component Details
MIC Special Session: Energy/Reserve Pricing & Interchange Volatility
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
Interchange Volatility (Short Term) - Implementation prior to June 2014
1 | Method of reducing interchange volatility | The method of reducing interchange volatility
1A-1 | Scenarios under which ramp limit is adjusted | If adjusting the ramp limit is the method selected for reducing interchange volatility, these are examples of some of the operational scenarios under which the ramp limit would be adjusted.
1A-2 | Method for communicating ramp adjustment | If adjusting the ramp limit is the method selected for reducing interchange volatility, this is the electronic method by which stakeholders are notified in real time of any ramp limit adjustments that are made.
Interchange Volatility (Long Term) - Implementation after June 2014
1 | Method of reducing interchange volatility | The method of reducing interchange volatility
1A-1 | Method of evaluating interchange transactions | Assuming a modified evaluation of interchange transactions is selected as a method for reducing interchange volatility, this is the method by which interchange transactions would be evaluated.
2 | financial incentive for reducing the amount of schedule changes that participants undertake | Covers any financial incentives or disincentives to limit schedule changes (or ramping) that lead to interchange volatility
3 | energy settlements of interchange | The price (LMP) at which interchange transactions are settled
Incorporating More Operator Actions in Energy/Reserve Pricing (Short Term) - Implementation prior to June 2014
1 | Method for incorporating operator action in energy/reserve pricing | The method of incorporating more operator actions into energy and reserve pricing
1A-1 | Scenarios under which primary and synchronized reserve requirement is raised | If increasing the primary and synchronized reserve requirements is the method selected for incorporating more operator actions into energy and reserve pricing, these are examples of some of the operational scenarios under which the reserve requirements would be raised.
1A-2 | Method for communicating reserve requirement change and reason | If increasing the primary and synchronized reserve requirements is the method selected for incorporating more operator actions into energy and reserve pricing, this is the electronic method by which stakeholders are notified in real time of any reserve requirement changes that are made.
1A-3 | Method for calculating reserve requirement increase | If increasing the primary and synchronized reserve requirements is the method selected for incorporating more operator actions into energy and reserve pricing, this is the method by which the reserve requirement increase would be calculated for each scenario in design component 1A-1.
1A-4 | Frequency of reserve requirement increases | If increasing the primary and synchronized reserve requirements is the method selected for incorporating more operator actions into energy and reserve pricing, this is the frequency with which the reserve requirement could be increased.
Incorporating More Operator Actions in Energy/Reserve Pricing (Long Term) - Implementation after June 2014
1 | Method for incorporating operator action in energy/reserve pricing | The method of incorporating more operator actions into energy and reserve pricing
1A-1 | Requirements maintained in real time | If market based solutions for additional reserve products are the method selected for incorporating more operator actions into energy and reserve pricing, these are the additional reserve requirements that would be maintained in real time, beyond those that are currently maintained today.

## 2b. Solution Details
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Package Matrix
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
PACKAGE/ PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
Interchange Volatility (Short Term)
1 | Method of reducing interchange volatility |  | N/A | adjust ramp limit
2 | Scenarios under which ramp limit is adjusted |  | based on operating conditions, although not typically exercised | as needed to address operating conditions, typically after max or min generation emergency action is anticipated/declared or as a result of Demand Response decisions
3 | Method for communicating ramp adjustment |  | new ExSchedule application banner notifications | status quo + monthly reporting of when actions were taken and why + another real time communication method
4 | Method for calculating ramp limit adjustment for price volatility |  | operator discretion based on system conditions | consider change in uplift resulting from ramp limit adjustment
Incorporating More Operator Actions in Energy/Reserve Pricing (Short Term)
1
2 | [8 empty] | Low
3 | [8 empty] | Low - Medium
4 | [8 empty] | Low - High
5 | [8 empty] | Medium
Medium - High
High

## Parking Lot
MIC Special Session
Energy / Reserve Pricing & Interchange Volatility
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.