## Setup
Enter Stakeholder Committee Name in cell A2:
MIC Special Session
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Five Minute Dispatch and Pricing

## 1. Interest Identification
MIC Special Session
Five Minute Dispatch and Pricing
Interest Identification
Instructions: List interests of all parties on this page.
1 | Minimize Impact to Reliable System Operations
2 | Price Transparency
3 | Prices support reliable dispatch
4 | Resources have the incentive to perform as directed in real-time
5 | Compatibility with Expected Market Enhancements
6 | Cost Benefit (Benefit outweighs any cost to implementation)
7 | Appropriate time to consider changes to State Estimation or other inputs into the dispatch and pricing processes
8 | Identification of all impacted elements and their inclusion in the solution
9 | Prices that resources are paid should reflect the value they are bringing to the system
10 | Efficient economic dispatch
a. Cost minimizing dispatch
b. Competitive market
c. Accurate system model inputs and constraints
11 | Transparency
a. inputs to dispatch and pricing tools
b. manual intervention in dispatch and pricing tools
c. interactions among dispatch, pricing, and settlements processes
12 | Prices consistent with economic dispatch (align RT SCED and LPC).
a. price signals provide incentives to follow dispatch instructions
b. prices reflect operating needs at each dispatch interval
13 | Settlements consistent with economic dispatch and economic price signals
a. compensation provided to resources reflects the value of a resource providing given services
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
MIC Special Session
Five Minute Dispatch and Pricing
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | Timeline | PJM Option 1 | IMM Option 1 | IMM Comments
1a | LPC Approval / Price Posting Frequency |  | 5 minutes, automatic | N/A | Status Quo | Same as PJM
1b | LPC Execution Frequency |  | Every 5 minutes, 90 seconds after the start of dispatch interval | Short term - Proposal | Execute cases every five minutes as soon as feasible after the start of dispatch interval. Therefore a gap of approx. 5-6 minutes will occur between the approved RTSCED case and when the case is priced with the short term changes. | Execute cases every five minutes as soon as feasible after the start of dispatch interval
1c | RT SCED Approval / Dispatch Signal Frequency - Default Scenario |  | Manual, Varies, Average: 3.5 - 4 minutes per case approval for 2019. RTSCED cases are approved 10-14 minutes prior to target interval. | Intermediate | Intermediate: When System conditions permit, one RTSCED case every 5 minutes manually approved for a target time. Dispatch signals are sent upon case approval. Long Term: Approve at least one solution from the SCED case solved for the target time. If a case is not manually approved for each target time, a case will be auto-approved for the target time. | One RTSCED case every 5 minutes manually approved. RTSCED cases will be approved approx. 5-6 minutes prior to target time. Dispatch signals are sent upon case approval. Approve at least one solution from the SCED case solved for the target time. If a case is not manually approved for each target time, a case will be auto-approved for the target time.
1d | Exceptions to RT SCED Approval/Dispatch signal frequency |  | No defined schedule or approval frequency. | Long Term - Under Evaluation | A RTSCED case may not be approved for a target interval at dispatcher discretion. Additional cases may be approved for the target time and dispatchers will log the need for additional cases based on predefined reasons. Additional transparency may be provided when multiple cases are approved for a target time. | A case may not be approved if there was a data or software failure, or other similar reason, such that no valid case was solved by the beginning of the dispatch interval. An additional case may be approved after the dispatch interval begins for defined circumstances. The applicable target time for such a case will be moved forward by 5 minutes (this is for LPC to continue to use the latest approved SCED case at a defined time) Under both scenarios, publicly post information explaining the reasons for deviation from default.
1e | RT SCED Case Execution Frequency |  | Auto- execute every 3 minutes or upon demand by dispatch. RTSCED cases are executed 10-14 minutes prior to target time. As of 2/24: RTSCED cases are executed every 4 minutes. | Intermediate | Intermediate: Auto-execute cases every 5 minutes Long Term: Auto-execute cases every 5 minutes, 8 to 10 minutes prior to target time or manually executed by dispatch | Every 5 minutes, 8 to 10 minutes prior to target time or manually executed by dispatch
1f | RT SCED Assumed Ramp Time |  | 10 minutes | Long Term - Under Evaluation | First 5 minutes assume previous SCED dispatch, next 5 minutes ramp to optimize in SCED | Same as PJM
1g | RT SCED Resource Initial MW |  | Most recent state estimator value at the time of RT SCED case execution | Long Term - Under Evaluation | Previous approved SCED dispatch MW, adjusted for feasibility based on unit's SE MW and ability to meet previous dispatch target. No DGP adjustments | Same as PJM
1h | Applied Energy and Reserve Offers for RTSCED |  | RTSCED uses offers effective at the start of Target Time. Example: Offers from the 11 hour will be effective until 11:59 target time. Offers for hour 12 will be applied to RTSCED for target time 12:00 | Short term - Proposal | Use offers that end at the target time, Interval Ending Method. Example: Offers from the 11:00 to 12:00 hour will be effective until 12:00 target time. Offers for the 12:00 to 13:00 hour will be applied to RTSCED for target time 12:05 onwards. | Same as PJM
1i | Synchronized reserve (SR) and regulation assignments used as inputs to RT SCED from ASO |  | ASO uses offers effective at the start of Target Time. Example: Offers from the 11 hour will be effective until 11:59 target time. Offers for hour 12 will be applied to RTSCED for target time 12:00 | Short term - Proposal | Use SR and regulation assignments until the end of the applicable hour in RT SCED. Example: Assignments from the 11:00 to 12:00 hour will be effective until 12:00 target time. Assignments for the 12:00 to 13:00 hour will be applied to RTSCED for target time 12:05 onwards. | Same as PJM
1j | Dispatch MW used in Settlements for Operating Reserve, Credits and Deviation charges |  | Time-Weight all approved RTSCED cases to calculate ramp limited desired MW and UDS base point based on approved RTSCED case time | Long Term - Under Evaluation | The latest RT SCED case approved prior to the start of the dispatch interval applied for the five minute interval ending at the SCED target time | Same as PJM
1k | Synch and Non-Synch Reserves for Settlement |  | Last approved RT SCED case with an RT SCED forecast target time at the beginning of the five minute interval. If there is not one, settlements uses the most recent previous approved case. The majority of the time this will not match the RT SCED case id from which prices are derived. | Long Term - Under Evaluation | The latest RT SCED case approved prior to the start of the dispatch interval applied for the five minute interval ending at the SCED target time | Same as PJM
1l | LPC Assumed Ramp Time |  | Same assumed ramp time as RT SCED case | N/A | Status Quo (Same as RTSCED) | Same as PJM
1m | LPC Applicable Time for Settlements |  | Prices are applied to the five minute interval during which the LPC case completes its solution, regardless of the RT SCED case target time. | Short term - Proposal | Five minute interval that ends at the target time for SCED and LPC | Same as PJM
1n | No Approved RTSCED Case for Target Time for LPC |  | latest approved RTSCED case is effective until a new RTSCED case is approved (regardless of target interval) | Short term - Proposal | Use the most recently approved RTSCED case prior to the Target Time (Status Quo) Post information as a repricing interval | Same as PJM
1o | RTSCED case used for starting point of LPC case |  | Most recently approved RT SCED case at the time LPC executes, regardless of the RT SCED case target time. | Short term - Proposal | The latest approved RT SCED case, for the same target time. | Same as PJM
2a | Transmission Limit Control |  |  | Short term - Transparency | Status Quo Provide additional details in the OA and manuals | Same as PJM
2b | Penalty factor overrides |  |  | Short term - Transparency | Status Quo Provide additional details in the OA and manuals | Same as PJM
2c | Hydro schedules |  |  | Short term - Transparency | Status Quo Provide additional details in the OA and manuals | Same as PJM
2d | Constraint activation |  |  | Short term - Transparency | Status Quo Provide additional details in the OA and manuals | Same as PJM
2e | Interchange forecast |  |  | Short term - Transparency | Status Quo Provide additional details in the OA and manuals | Same as PJM
3a | Reference RTSCED case for LPC during Off SCED periods |  | Use the latest approved RTSCED case plus adjust case input data to align with the dispatch rates that were sent out via EMS | Short term - Transparency | Use the latest approved RTSCED case for the target interval for the duration of the Off SCED period | Same as PJM
3b | Constraints during OFF SCED periods |  | Exclude M2M constraints | Short term - Transparency | Keep the Constraints binding as-is, including M2M constraints | Same as PJM
3c | Exceptions for reproducing prices during Off SCED periods |  | N/A | Short term - Transparency | LPC case may be adjusted to reflect system conditions such as Shortage, Voltage Reduction and Manual Load Dump actions | Same as PJM
4a | LMP Verification: Output Consistency Checks |  | Pre-defined thresholds. Prevent posting LPC cases if solution is outside the predefined thresholds | Long Term | Pre-defined thresholds. Continue to post LPC cases if solution is outside predefined thresholds with indicator to denote solution is outside predefined thresholds | Same as PJM
4b | LMP Verification: Bus Replacements |  | Current Logic (Documented in M11 2.7.1): 1. Search at the same voltage level. 2. Search at the same station. 3. Search in the nearest neighboring stations. 4. PJM Operator manual replacement 5. Buses that are deenergized and replaced by the engine are subject to PJM operator review to determine if they are optimal | Long Term | Implement Djikstra based dead bus replacement logic to improve finding suitable replacements for deenergized buses | Same as PJM
4c | Reposting Notification Language |  | 1.10.8 (e) of Attachment K | Short term - Transparency | Clarify price correction (reposting) Language | Same as PJM
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
MIC Special Session
Five Minute Dispatch and Pricing
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
MIC Special Session
Five Minute Dispatch and Pricing
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>
G16, G17: Dispatch Interval (under proposed long term solution) | Under the long term proposal, RT SCED optimizes by ramping resources over a five minute period, ending at the target time. This five minute period, ending at the target time, is referred to as the dispatch interval throughout.

## 3. Package Matrix
MIC Special Session
Five Minute Dispatch and Pricing
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C
1a | LPC Approval / Price Posting Frequency |  | 5 minutes, automatic | Status Quo | Status Quo
1b | LPC Execution Frequency |  | Every 5 minutes, 90 seconds after the start of dispatch interval | Execute cases every five minutes as soon as feasible after the start of dispatch interval. Therefore a gap of approx. 5-6 minutes will occur between the approved RTSCED case and when the case is priced with the short term changes. | Execute cases every five minutes as soon as feasible after the start of dispatch interval
1c | RT SCED Approval / Dispatch Signal Frequency - Default Scenario |  | Manual, Varies, Average: 3.5 - 4 minutes per case approval for 2019. RTSCED cases are approved 10-14 minutes prior to target interval. | Status Quo | One RTSCED case every 5 minutes manually approved. RTSCED cases will be approved approx. 5-6 minutes prior to target time. Dispatch signals are sent upon case approval. Approve at least one solution from the SCED case solved for the target time. If a case is not manually approved for each target time, a case will be auto-approved for the target time.
1d | Exceptions to RT SCED Approval/Dispatch signal frequency |  | No defined schedule or approval frequency. | Status Quo | A case may not be approved if there was a data or software failure, or other similar reason, such that no valid case was solved by the beginning of the dispatch interval. An additional case may be approved after the dispatch interval begins for defined circumstances. The applicable target time for such a case will be moved forward by 5 minutes (this is for LPC to continue to use the latest approved SCED case at a defined time) Under both scenarios, publicly post information explaining the reasons for deviation from default.
1e | RT SCED Case Execution Frequency |  | Every 3 minutes or upon demand by dispatch. RTSCED cases are executed 10-14 minutes prior to target time. As of 2/24: RTSCED cases are executed every 4 minutes. | Status Quo | Every 5 minutes, 8 to 10 minutes prior to target time or manually executed by dispatch
1f | RT SCED Assumed Ramp Time |  | 10 minutes | Status Quo | First 5 minutes assume previous SCED dispatch, next 5 minutes ramp to optimize in SCED
1g | RT SCED Resource Initial MW |  | Most recent state estimator value at the time of RT SCED case execution | Status Quo | Previous approved SCED dispatch MW, adjusted for feasibility based on unit's SE MW and ability to meet previous dispatch target. No DGP adjustments
1h | Applied Energy and Reserve Offers for RTSCED |  | RTSCED uses offers effective at the start of Target Time. Example: Offers from the 11 hour will be effective until 11:59 target time. Offers for hour 12 will be applied to RTSCED for target time 12:00 | Use offers that end at the target time, Interval Ending Method. Example: Offers from the 11:00 to 12:00 hour will be effective until 12:00 target time. Offers for the 12:00 to 13:00 hour will be applied to RTSCED for target time 12:05 onwards. | Same as PJM
1i | Synchronized reserve (SR) and regulation assignments used as inputs to RT SCED from ASO |  | ASO uses offers effective at the start of Target Time. Example: Offers from the 11 hour will be effective until 11:59 target time. Offers for hour 12 will be applied to RTSCED for target time 12:00 | Use SR and regulation assignments until the end of the applicable hour in RT SCED. Example: Assignments from the 11:00 to 12:00 hour will be effective until 12:00 target time. Assignments for the 12:00 to 13:00 hour will be applied to RTSCED for target time 12:05 onwards. | Same as PJM |  | Low
1j | Dispatch MW used in Settlements for Operating Reserve, Credits and Deviation charges |  | Time-Weight all approved RTSCED cases to calculate ramp limited desired MW and UDS base point based on approved RTSCED case time | Status Quo | The latest RT SCED case approved prior to the start of the dispatch interval applied for the five minute interval ending at the SCED target time |  | Low - Medium
1k | Synch and Non-Synch Reserves for Settlement |  | Last approved RT SCED case with an RT SCED forecast target time at the beginning of the five minute interval. If there is not one, settlements uses the most recent previous approved case. The majority of the time this will not match the RT SCED case id from which prices are derived. | Status Quo | The latest RT SCED case approved prior to the start of the dispatch interval applied for the five minute interval ending at the SCED target time |  | Low - High
1l | LPC Assumed Ramp Time |  | Same assumed ramp time as RT SCED case | Status Quo (Same as RTSCED) | Status Quo (Same as RTSCED) |  | Medium
1m | LPC Applicable Time for Settlements |  | Prices are applied to the five minute interval during which the LPC case completes its solution, regardless of the RT SCED case target time. | Five minute interval that ends at the target time for SCED and LPC | Same as PJM |  | Medium - High
1n | No Approved RTSCED Case for Target Time for LPC |  | latest approved RTSCED case is effective until a new RTSCED case is approved (regardless of target interval) | Use the most recently approved RTSCED case prior to the Target Time (Status Quo) Post information as a repricing interval | Same as PJM |  | High
1o | RTSCED case used for starting point of LPC case |  | Most recently approved RT SCED case at the time LPC executes, regardless of the RT SCED case target time. | The latest approved RT SCED case, for the same target time. | The latest RT SCED case approved prior to the start of the dispatch interval for the same target time.
2a | Transmission Limit Control |  |  | Status Quo Provide additional details in the OA and manuals | Same as PJM
2b | Penalty factor overrides |  |  | Status Quo Provide additional details in the OA and manuals | Same as PJM
2c | Hydro schedules |  |  | Status Quo Provide additional details in the OA and manuals | Same as PJM
2d | Constraint activation |  |  | Status Quo Provide additional details in the OA and manuals | Same as PJM
2e | Interchange forecast |  |  | Status Quo Provide additional details in the OA and manuals | Same as PJM
3a | Reference RTSCED case for LPC during Off SCED periods |  | Use the latest approved RTSCED case plus adjust case input data to align with the dispatch rates that were sent out via EMS | Use the latest approved RTSCED case for the target interval for the duration of the Off SCED period | Same as PJM
3b | Constraints during OFF SCED periods |  | Exclude M2M constraints | Keep the Constraints binding as-is, including M2M constraints | Same as PJM
3c | Exceptions for reproducing prices during Off SCED periods |  | N/A | LPC case may be adjusted to reflect system conditions such as Shortage, Voltage Reduction and Manual Load Dump actions | Same as PJM
4a | LMP Verification: Output Consistency Checks |  | Pre-defined thresholds. Prevent posting LPC cases if solution is outside the predefined thresholds | Pre-defined thresholds. Continue to post LPC cases if solution is outside predefined thresholds with indicator to denote solution is outside predefined thresholds | Same as PJM
4b | LMP Verification: Bus Replacements |  | Current Logic (Documented in M11 2.7.1): 1. Search at the same voltage level. 2. Search at the same station. 3. Search in the nearest neighboring stations. 4. PJM Operator manual replacement 5. Buses that are deenergized and replaced by the engine are subject to PJM operator review to determine if they are optimal | Implement Djikstra based dead bus replacement logic to improve finding suitable replacements for deenergized buses | Same as PJM
4c | Reposting Notification Language |  | 1.10.8 (e) of Attachment K | Clarify price correction (reposting) Language | Same as PJM
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
MIC Special Session
Five Minute Dispatch and Pricing
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
MIC Special Session
Five Minute Dispatch and Pricing
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
MIC Special Session
Five Minute Dispatch and Pricing
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2019-10-21 | Interest Identification
2 | 2019-11-21 | Design Components
3 | 2019-11-25 | Solution Options
4 | 2020-01-24 | Solution Options
5 | 2020-02-05 | Solution Options
6 | 2020-02-26 | Solution Options
7 | 2020-03-30 | Solution Options
8 | 2020-04-13 | Packages
9 | 2020-04-14 | Packages
10 | 2020-04-28 | Packages