## Index
Default MOPR Floor Offer Prices Workbook Index, Forward-Looking E&AS Revenue Offset Update (8/13/2020)
Default Net CONE
Default Net CONE Summary (Indicative) | Resource Installed Capital and Fixed O&M costs, Gross CONE, Net Energy & Ancillary Services Revenue Offset, Net CONE in terms of nameplate MW , and Default Net CONE in $/ICAP MW-Day
Default Zonal Net CONE (Indicative) | Zonal Net Energy & Ancillary Services Revenue Offset and Zonal Net CONE
CONE Reference Resources | Brief description, EIA case number, Fixed O&M and Capital Cost of Reference Resources
CONE Capital Cost Sources | Links to sources of capital cost data
CONE Capital Cost Comparison | Comparison of capital costs from selected sources
CONE Financial Parameters | Financial parameters used in CONE calculation from installed capital and Fixed O&M costs
Original values filed March 18, 2020, included for comparison
Default MOPR Price Summary (March 18) | Resource Installed Capital and Fixed O&M costs, Gross CONE, Net Energy & Ancillary Services Revenue Offset, Net CONE in terms of nameplate MW , and Default Net CONE in $/ICAP MW-Day filed March 18
Default Zonal MOPR Prices (March 18) | Zonal Net Energy & Ancillary Services Revenue Offset and Zonal Net CONE filed March 18

## Default Net CONE Summary
Default Net CONE
Resource Type | Fixed O&M Cost ($/kW - year) | Installed Capital Cost, ($/kW) | Investment Tax Credit % | Gross CONE ($/MW-Day) (Nameplate) | Average Zonal Net E&AS Revenue Offset ($/MW-Day) (Nameplate) | Average Zonal Net Reactive Services Revenue Offset ($/MW-Day) (Nameplate) | Net CONE ($/MW-Day) (Nameplate) | Capacity Value (% Nameplate MW) | Net CONE ($/ICAP-MW-Day)
Nuclear | 122 | 6041 | NA | 2000 | 420 | 9 | 1571 |  | 1571
Coal | 41 | 3676 | NA | 1068 | 37 | 9 | 1022 |  | 1022
Combined Cycle |  |  | NA | 320 | 199 | 9 | 112 |  | 112
Combustion Turbine |  |  | NA | 294 | 69 | 6 | 219 |  | 219
Solar PV (Tracking) | 15 | 1313 | 30% | 290 | 153 | 9 | 128 | 60% | 213.3333
Solar PV (Fixed) | 14 | 1234 | 30% | 271 | 94 | 9 | 168 | 42% | 400
Onshore Wind | 35 | 1677 | 30% | 420 | 203 | 9 | 208 | 17.6% | 1181.8182
Offshore Wind | 110 | 4375 | 30% | 1155 | 284 | 9 | 862 | 26% | 3315.3846
Battery Energy Storage | 25 | 1389 | NA | 532 | 107 | 9 | 416 | 40% | 1040
Demand Response (Gen) | 10 | 800 | NA | 254 | 0 | 0 | 254 |  | 254
Notes:
Fixed O&M and installed capital costs are from EIA report 2020. Solar PV (fixed) costs are 94% of the costs for Solar PV (Tracking). Nuclear and Coal Fixed O&M costs were reduced by $20 and $25 respectively in calculating Gross CONE.
Combined Cycle and Combustion Turbine CONE values are average of CONE Area values from 2018 Quadrennial Study for 2022.
Solar and Wind Investment Tax Credit depends on start of the construction. An optimistic 30% value is assumed implying Solar construction started before 1/1/2020 and Wind construction started before 1/1/2017.
Class average capacity values as percent of nameplate MW Solar and Wind generation are used to calculate Net CONE in $/ICAP-MW-Day.
Battery energy storage costs are for a 4 hour plant with 15 year life. Gross CONE is calculated based on 15 year economic life and a 40% capacity value as percent of nameplate capacity is used to calculate Net CONE in $/ICAP-MW-Day.
Net Energy & Ancillary Service Revenue Offset is based on methodologies described in August 5 filing and Reactive Service revenue is based on reactive services of $3350/MW-year or $9/MW-day. The CT value is from the tariff: $2,199/MW-year or $6/MW-day.

## Default Zonal Net CONE
Default Zonal Net CONE
All quantities are in $/MW-Day (Nameplate) and Default Net CONE is in $/ICAP-MW-Day
Nuclear |  |  |  | Coal |  |  |  | Combined Cycle |  |  |  | Combustion Turbine |  |  |  | Solar PV (Tracking) |  |  |  | Solar PV (Fixed) |  |  |  | Onshore Wind |  |  |  | Offshore Wind |  |  |  | Battery Energy Storage |  |  |  | Demand Response Generator
Gross CONE |  |  | 2000 | Gross CONE |  |  | 1068 | Gross CONE |  |  | 320 | Gross CONE |  |  | 294 | Gross CONE |  |  | 290 | Gross CONE |  |  | 271 | Gross CONE |  |  | 420 | Gross CONE |  |  | 1155 | Gross CONE |  |  | 532 | Gross CONE |  |  | 254
Net Reactive Service Revenue Offset |  |  | 9 | Net Reactive Service Revenue Offset |  |  | 9 | Net Reactive Service Revenue Offset |  |  | 9 | Net Reactive Service Revenue Offset |  |  | 6 | Net Reactive Service Revenue Offset |  |  | 9 | Net Reactive Service Revenue Offset |  |  | 9 | Net Reactive Service Revenue Offset |  |  | 9 | Net Reactive Service Revenue Offset |  |  | 9 | Net Reactive Service Revenue Offset |  |  | 9 | Net Ancillary Revenue Offset |  |  | 0
Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | 60% | Capacity Value (% Nameplate MW) |  |  | 42% | Capacity Value (% Nameplate MW) |  |  | 17.6% | Capacity Value (% Nameplate MW) |  |  | 26% | Capacity Value (% Nameplate MW) |  |  | 40% | Capacity Value (% Nameplate MW) |  |  | NA
Zone | Net E&AS Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net Energy Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day)
AECO | 386.5027 | 1604.4973 | 1604.4973 | AECO | 34 | 1025 | 1025 | AECO | 147 | 164 | 164 | AECO | 41 | 247 | 247 | AECO | 135.8444 | 145.1556 | 241.926 | AECO | 83.4388 | 178.5612 | 425.1457 | AECO | 195.7542 | 215.2458 | 1222.9872 | AECO | 269.1008 | 876.8992 | 3372.6891 | AECO | 420 | 103 | 257.5 | AECO | 0 | 254 | 254
AEP | 420.5935 | 1570.4065 | 1570.4065 | AEP | 16 | 1043 | 1043 | AEP | 218 | 93 | 93 | AEP | 75 | 213 | 213 | AEP | 156.4517 | 124.5483 | 207.5805 | AEP | 96.4683 | 165.5317 | 394.1231 | AEP | 199.9342 | 211.0658 | 1199.2377 | AEP | 284.0947 | 861.9053 | 3315.0203 | AEP | 425 | 98 | 245 | AEP | 0 | 254 | 254
APS | 433.7803 | 1557.2197 | 1557.2197 | APS | 23 | 1036 | 1036 | APS | 245 | 66 | 66 | APS | 96 | 192 | 192 | APS | 157.7727 | 123.2273 | 205.3788 | APS | 97.333 | 164.667 | 392.0643 | APS | 206.4042 | 204.5958 | 1162.4759 | APS | 290.2704 | 855.7296 | 3291.2678 | APS | 427 | 96 | 240 | APS | 0 | 254 | 254
ATSI | 438.3269 | 1552.6731 | 1552.6731 | ATSI | 41 | 1018 | 1018 | ATSI | 224 | 87 | 87 | ATSI | 82 | 206 | 206 | ATSI | 163.9603 | 117.0397 | 195.0662 | ATSI | 101.134 | 160.866 | 383.0143 | ATSI | 206.6337 | 204.3663 | 1161.1722 | ATSI | 293.7316 | 852.2684 | 3277.9553 | ATSI | 431 | 92 | 230 | ATSI | 0 | 254 | 254
BGE | 503.0356 | 1487.9644 | 1487.9644 | BGE | 41 | 1018 | 1018 | BGE | 241 | 70 | 70 | BGE | 87 | 201 | 201 | BGE | 176.3149 | 104.6851 | 174.4752 | BGE | 108.6322 | 153.3678 | 365.1614 | BGE | 229.0403 | 181.9597 | 1033.8617 | BGE | 321.8889 | 824.1111 | 3169.6583 | BGE | 449 | 74 | 185 | BGE | 0 | 254 | 254
COMED | 338.1301 | 1652.8699 | 1652.8699 | COMED | 11 | 1048 | 1048 | COMED | 175 | 136 | 136 | COMED | 56 | 232 | 232 | COMED | 137.5929 | 143.4071 | 239.0119 | COMED | 85.0909 | 176.9091 | 421.2122 | COMED | 171.4815 | 239.5185 | 1360.9005 | COMED | 245.1915 | 900.8085 | 3464.6481 | COMED | 432 | 91 | 227.5 | COMED | 0 | 254 | 254
DAYTON | 439.9161 | 1551.0839 | 1551.0839 | DAYTON | 38 | 1021 | 1021 | DAYTON | 225 | 86 | 86 | DAYTON | 80 | 208 | 208 | DAYTON | 164.039 | 116.961 | 194.935 | DAYTON | 101.2108 | 160.7892 | 382.8315 | DAYTON | 204.8746 | 206.1254 | 1171.1672 | DAYTON | 292.7033 | 853.2967 | 3281.9105 | DAYTON | 431 | 92 | 230 | DAYTON | 0 | 254 | 254
DEOK | 432.3836 | 1558.6164 | 1558.6164 | DEOK | 43 | 1016 | 1016 | DEOK | 222 | 89 | 89 | DEOK | 86 | 202 | 202 | DEOK | 161.2303 | 119.7697 | 199.6162 | DEOK | 99.4052 | 162.5948 | 387.1305 | DEOK | 199.964 | 211.036 | 1199.0683 | DEOK | 285.9547 | 860.0453 | 3307.8664 | DEOK | 435 | 88 | 220 | DEOK | 0 | 254 | 254
DOM | 474.484 | 1516.516 | 1516.516 | DOM | 36 | 1023 | 1023 | DOM | 188 | 123 | 123 | DOM | 61 | 227 | 227 | DOM | 167.2232 | 113.7768 | 189.628 | DOM | 102.9614 | 159.0386 | 378.6632 | DOM | 219.9203 | 191.0797 | 1085.6801 | DOM | 307.817 | 838.183 | 3223.7809 | DOM | 439 | 84 | 210 | DOM | 0 | 254 | 254
DPL | 452.5808 | 1538.4192 | 1538.4192 | DPL | 53 | 1006 | 1006 | DPL | 203 | 108 | 108 | DPL | 73 | 215 | 215 | DPL | 155.4563 | 125.5437 | 209.2395 | DPL | 94.7415 | 167.2585 | 398.2346 | DPL | 219.405 | 191.595 | 1088.6082 | DPL | 304.3146 | 841.6854 | 3237.2514 | DPL | 443 | 80 | 200 | DPL | 0 | 254 | 254
DUQ | 434.2987 | 1556.7013 | 1556.7013 | DUQ | 40 | 1019 | 1019 | DUQ | 217 | 94 | 94 | DUQ | 81 | 207 | 207 | DUQ | 163.3572 | 117.6428 | 196.0713 | DUQ | 100.7745 | 161.2255 | 383.8703 | DUQ | 204.5879 | 206.4121 | 1172.7959 | DUQ | 291.0358 | 854.9642 | 3288.3237 | DUQ | 433 | 90 | 225 | DUQ | 0 | 254 | 254
EKPC | 400.6823 | 1590.3177 | 1590.3177 | EKPC | 21 | 1038 | 1038 | EKPC | 226 | 85 | 85 | EKPC | 82 | 206 | 206 | EKPC | 150.0578 | 130.9422 | 218.237 | EKPC | 92.5106 | 169.4894 | 403.5463 | EKPC | 191.7792 | 219.2208 | 1245.5726 | EKPC | 273.3382 | 872.6618 | 3356.3915 | EKPC | 423 | 100 | 250 | EKPC | 0 | 254 | 254
JCPL | 387.317 | 1603.683 | 1603.683 | JCPL | 33 | 1026 | 1026 | JCPL | 146 | 165 | 165 | JCPL | 41 | 247 | 247 | JCPL | 137.8334 | 143.1666 | 238.611 | JCPL | 84.7714 | 177.2286 | 421.9729 | JCPL | 195.853 | 215.147 | 1222.4261 | JCPL | 269.6337 | 876.3663 | 3370.6396 | JCPL | 419 | 104 | 260 | JCPL | 0 | 254 | 254
METED | 412.1619 | 1578.8381 | 1578.8381 | METED | 57 | 1002 | 1002 | METED | 198 | 113 | 113 | METED | 66 | 222 | 222 | METED | 147.8901 | 133.1099 | 221.8499 | METED | 91.1726 | 170.8274 | 406.7319 | METED | 202.8657 | 208.1343 | 1182.5811 | METED | 281.3822 | 864.6178 | 3325.4531 | METED | 430 | 93 | 232.5 | METED | 0 | 254 | 254
PECO | 379.0007 | 1611.9993 | 1611.9993 | PECO | 48 | 1011 | 1011 | PECO | 170 | 141 | 141 | PECO | 50 | 238 | 238 | PECO | 136.4058 | 144.5942 | 240.9904 | PECO | 83.8966 | 178.1034 | 424.0556 | PECO | 193.0076 | 217.9924 | 1238.5932 | PECO | 265.7527 | 880.2473 | 3385.5666 | PECO | 417 | 106 | 265 | PECO | 0 | 254 | 254
PENELEC | 411.1469 | 1579.8531 | 1579.8531 | PENELEC | 40 | 1019 | 1019 | PENELEC | 273 | 38 | 38 | PENELEC | 132 | 156 | 156 | PENELEC | 150.6626 | 130.3374 | 217.229 | PENELEC | 93.0186 | 168.9814 | 402.3366 | PENELEC | 200.5291 | 210.4709 | 1195.8576 | PENELEC | 280.6077 | 865.3923 | 3328.432 | PENELEC | 425 | 98 | 245 | PENELEC | 0 | 254 | 254
PEPCO | 483.8913 | 1507.1087 | 1507.1087 | PEPCO | 36 | 1023 | 1023 | PEPCO | 198 | 113 | 113 | PEPCO | 60 | 228 | 228 | PEPCO | 169.4704 | 111.5296 | 185.8827 | PEPCO | 104.4148 | 157.5852 | 375.2029 | PEPCO | 222.1682 | 188.8318 | 1072.9081 | PEPCO | 311.7094 | 834.2906 | 3208.8101 | PEPCO | 440 | 83 | 207.5 | PEPCO | 0 | 254 | 254
PPL | 379.3763 | 1611.6237 | 1611.6237 | PPL | 47 | 1012 | 1012 | PPL | 170 | 141 | 141 | PPL | 51 | 237 | 237 | PPL | 137.4005 | 143.5995 | 239.3326 | PPL | 84.6186 | 177.3814 | 422.3366 | PPL | 192.0398 | 218.9602 | 1244.0923 | PPL | 265.6678 | 880.3322 | 3385.893 | PPL | 422 | 101 | 252.5 | PPL | 0 | 254 | 254
PSEG | 398.3344 | 1592.6656 | 1592.6656 | PSEG | 37 | 1022 | 1022 | PSEG | 145 | 166 | 166 | PSEG | 39 | 249 | 249 | PSEG | 140.0171 | 140.9829 | 234.9715 | PSEG | 86.0947 | 175.9053 | 418.8221 | PSEG | 199.1231 | 211.8769 | 1203.8459 | PSEG | 273.7784 | 872.2216 | 3354.6983 | PSEG | 422 | 101 | 252.5 | PSEG | 0 | 254 | 254
RECO | 402.1223 | 1588.8777 | 1588.8777 | RECO | 36 | 1023 | 1023 | RECO | 149 | 162 | 162 | RECO | 43 | 245 | 245 | RECO | 142.3516 | 138.6484 | 231.0806 | RECO | 87.654 | 174.346 | 415.1095 | RECO | 199.232 | 211.768 | 1203.2275 | RECO | 275.227 | 870.773 | 3349.127 | RECO | 427 | 96 | 240 | RECO | 0 | 254 | 254
Average | 420 | 1571 | 1571 | Average | 37 | 1022 | 1022 | Average | 199 | 112 | 112 | Average | 69 | 219 | 219 | Average | 153 | 128 | 213.3333 | Average | 94 | 168 | 400 | Average | 203 | 208 | 1181.8182 | Average | 284 | 862 | 3315.3846 | Average | 430 | 94 | 235 | Average | 0 | 254 | 254

## CONE Reference Resources
Descriptions and Costs of Reference Resources
Resource Type | Technology Description | Source of Information | Fixed O&M ($/kW-year) | Installed Capital Cost ($/kW)
Nuclear | 2 x Westinghouse AP1000 Pressurized Water Reactor (2,156 MW) | EIA (Case 11) | 122 | 6041
Coal | Ultra-Super Critical Coal (650 MW) | EIA (Case 1) | 41 | 3676
Combined Cycle | 2x1 GE Frame 7HA with evaporative cooling and SCR (1,152 MW) | Quadrennial Review | 24 | 874
Combustion Turbine | GE Frame 7HA CT with evaporative cooling, SCR, dual fuel (352 MW) | Quadrennial Review | 17 | 875
Solar PV - Tracking | Single-axis tracking (150 MW AC) | EIA (Case 24) | 15 | 1313
Solar PV - Fixed | Fixed-tilt (100 MW AC) | EIA, LBNL, IHS | 14 | 1234
Onshore Wind | 17 x 2.8 MW WTGs (50 MW) | EIA (Case 21) | 35 | 1677
Offshore Wind | 40 x 10 WTGs, 100’ depth (400 MW) | EIA (Case 22) | 110 | 4375
Battery Storage | 50 MW utility scale, Li, 200 MWh rating | EIA (Case 18) | 25 | 1389
Demand Response | 0.5 MW RICE, diesel, 10,000 Btu/kWh | Lazard LCOE V-11.0 | 10 | 800

## CONE Capital Cost Sources
Sources of Technology Costs
Source | Link
NREL: 2019 Annual Technology Baseline | atb.nrel.gov
Lazard: 2019 Levelized Cost of Energy & Storage | https://www.lazard.com/perspective/lcoe2019
https://www.lazard.com/media/451087/lazards-levelized-cost-of-storage-version-50-vf.pdf
https://www.lazard.com/media/451086/lazards-levelized-cost-of-energy-version-130-vf.pdf
Lazard: 2017 Levelized Cost of Energy & Storage | https://www.lazard.com/perspective/levelized-cost-of-energy-2017/
EPA: IPM Platform 2018 Reference Case | https://www.epa.gov/airmarkets/documentation-ipm-platform-v6-november-2018-reference-case-all-chapters
EIA: 2020 Capital Cost Report | https://www.eia.gov/analysis/studies/powerplants/capitalcost/
PJM: Quadrennial Review | https://pjm.com/-/media/library/reports-notices/special-reports/2018/20180420-pjm-2018-cost-of-new-entry-study.ashx?la=en
LBNL: Utility Scale Solar – 2019 Edition | https://emp.lbl.gov/utility-scale-solar/
IHS: US Solar PV Capital Cost and LCOE Outlook | https://ihsmarkit.com/research-analysis/index.html

## CONE Financial Parameters
Financial Parameters
Financial Assumptions
Expected Life | 20 Years
Debt Ratio | 55%
Debt Rate | 6%
Equity Rate | 13%
Total Tax Rate | 27.7%
ATWACC | 8.2%
Inflation Rate | 2.2%
Financial assumptions developed during 2018 Quadrennial Review were used to determine Gross CONE from the installed capital and fixed O&M costs.

## Default MOPR Price Summary
Default MOPR Floor Offer Prices for 2022 BRA (original values filed March 18)
Resource Type | Fixed O&M Cost ($/kW - year) | Installed Capital Cost, ($/kW) | Investment Tax Credit % | Gross CONE ($/MW-Day) (Nameplate) | Average Zonal Net Energy Revenue Offset ($/MW-Day) (Nameplate) | Average Zonal Net Ancillary Services Revenue Offset ($/MW-Day) (Nameplate) | Net CONE ($/MW-Day) (Nameplate) | Capacity Value (% Nameplate MW) | Net CONE ($/ICAP-MW-Day) (Default MOPR Floor Offer Price)
Nuclear | 122 | 6041 | NA | 2000 | 508 | 9 | 1483 |  | 1483
Coal | 41 | 3676 | NA | 1068 | 34 | 9 | 1025 |  | 1025
Combined Cycle |  |  | NA | 320 | 159 | 9 | 152 |  | 152
Combustion Turbine |  |  | NA | 294 | 42 | 6 | 246 |  | 246
Solar PV (Tracking) | 15 | 1313 | 30% | 290 | 176 | 9 | 105 | 60% | 175
Solar PV (Fixed) | 14 | 1234 | 30% | 271 | 108 | 9 | 154 | 42% | 366.6667
Onshore Wind | 35 | 1677 | 30% | 420 | 231 | 9 | 180 | 17.6% | 1022.7273
Offshore Wind | 110 | 4375 | 30% | 1155 | 328 | 9 | 818 | 26% | 3146.1538
Battery Energy Storage | 25 | 1389 | NA | 532 | 107 | 9 | 416 | 40% | 1040
Notes:
Fixed O&M and installed capital costs are from EIA report 2020. Solar PV (fixed) costs are 94% of the costs for Solar PV (Tracking). Nuclear and Coal Fixed O&M costs were reduced by $20 and $25 respectively in calculating Gross CONE.
Combined Cycle and Combustion Turbine CONE values are average of CONE area values from 2018 Quadrennial Study for 2022.
Solar and Wind Investment Tax Credit depends on start of the construction. An optimistic 30% value is assumed implying Solar construction started before 1/1/2020 and Wind construction started before 1/1/2017.
Class average capacity values as percent of nameplate MW Solar and Wind generation are used to calculate Net CONE in $/ICAP-MW-Day.
Battery energy storage costs are for a 4 hour plant with 15 year life. Gross CONE is calculated based on 15 year economic life and a 40% capacity value as percent of nameplate capacity is used to calculate Net CONE in $/ICAP-MW-Day.
Net Energy Revenue Offset is based on methodologies described in posted 3/11/2020 MIC material and Ancillary Service revenue Offset is based on reactive services of $3350/MW-year or $9/MW-day. The CT value is from the tariff: $2199/MW-year of $6/MW-day.

## Default Zonal MOPR Prices
Zonal Default MOPR Floor Offer Prices (original values filed March 18)
All quantities are in $/MW-Day (Nameplate) except Default MOPR Floor Offer Prices which are in $/ICAP-MW-Day
Nuclear |  |  |  | Coal |  |  |  | Combined Cycle |  |  |  | Combustion Turbine |  |  |  | Solar PV (Tracking) |  |  |  | Solar PV (Fixed) |  |  |  | Onshore Wind |  |  |  | Offshore Wind |  |  |  | Battery Energy Storage
Gross CONE |  |  | 2000 | Gross CONE |  |  | 1068 | Gross CONE |  |  | 320 | Gross CONE |  |  | 294 | Gross CONE |  |  | 290 | Gross CONE |  |  | 271 | Gross CONE |  |  | 420 | Gross CONE |  |  | 1155 | Gross CONE |  |  | 532
Net Ancillary Revenue Offset |  |  | 9 | Net Ancillary Revenue Offset |  |  | 9 | Net Ancillary Revenue Offset |  |  | 9 | Net Ancillary Revenue Offset |  |  | 6 | Net Ancillary Revenue Offset |  |  | 9 | Net Ancillary Revenue Offset |  |  | 9 | Net Ancillary Revenue Offset |  |  | 9 | Net Ancillary Revenue Offset |  |  | 9 | Net Ancillary Revenue Offset |  |  | 9
Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | 60% | Capacity Value (% Nameplate MW) |  |  | 42% | Capacity Value (% Nameplate MW) |  |  | 17.6% | Capacity Value (% Nameplate MW) |  |  | 26% | Capacity Value (% Nameplate MW) |  |  | 40%
Zone | Net Energy Revenue Offset | Net CONE | Default MOPR Floor Offer Price | Zone | Net Energy Revenue Offset | Net CONE | Default MOPR Floor Offer Price | Zone | Net Energy Revenue Offset | Net CONE | Default MOPR Floor Offer Price | Zone | Net Energy Revenue Offset | Net CONE | Default MOPR Floor Offer Price | Zone | Net Energy Revenue Offset | Net CONE | Default MOPR Floor Offer Price | Zone | Net Energy Revenue Offset | Net CONE | Default MOPR Floor Offer Price | Zone | Net Energy Revenue Offset | Net CONE | Default MOPR Floor Offer Price | Zone | Net Energy Revenue Offset | Net CONE | Default MOPR Floor Offer Price | Zone | Net Energy Revenue Offset | Net CONE | Default MOPR Floor Offer Price
AECO | 471.6176 | 1519.3824 | 1519.3824 | AECO | 20.4616 | 1038.5384 | 1038.5384 | AECO | 104.6337 | 206.3663 | 206.3663 | AECO | 20.5559 | 267.4441 | 267.4441 | AECO | 158 | 123 | 205 | AECO | 96 | 166 | 395.2381 | AECO | 223 | 188 | 1068.1818 | AECO | 311.9533 | 834.0467 | 3207.8718 | AECO | 92.6599 | 430.3401 | 1075.8503
AEP | 513.7342 | 1477.2658 | 1477.2658 | AEP | 49.2868 | 1009.7132 | 1009.7132 | AEP | 185.5001 | 125.4999 | 125.4999 | AEP | 47.288 | 240.712 | 240.712 | AEP | 181 | 100 | 166.6667 | AEP | 111 | 151 | 359.5238 | AEP | 230 | 181 | 1028.4091 | AEP | 329.4585 | 816.5415 | 3140.5442 | AEP | 103.0716 | 419.9284 | 1049.821
APS | 527.0528 | 1463.9472 | 1463.9472 | APS | 30.5215 | 1028.4785 | 1028.4785 | APS | 240.6174 | 70.3826 | 70.3826 | APS | 78.7247 | 209.2753 | 209.2753 | APS | 182 | 99 | 165 | APS | 112 | 150 | 357.1429 | APS | 236 | 175 | 994.3182 | APS | 335.957 | 810.043 | 3115.5501 | APS | 106.1124 | 416.8876 | 1042.219
ATSI | 532.9396 | 1458.0604 | 1458.0604 | ATSI | 49.8107 | 1009.1893 | 1009.1893 | ATSI | 193.7834 | 117.2166 | 117.2166 | ATSI | 57.5056 | 230.4944 | 230.4944 | ATSI | 191 | 90 | 150 | ATSI | 117 | 145 | 345.2381 | ATSI | 237 | 174 | 988.6364 | ATSI | 340.6793 | 805.3207 | 3097.3873 | ATSI | 113.658 | 409.342 | 1023.3549
BGE | 593.8 | 1397.2 | 1397.2 | BGE | 35.8217 | 1023.1783 | 1023.1783 | BGE | 214.8232 | 96.1768 | 96.1768 | BGE | 57.2888 | 230.7112 | 230.7112 | BGE | 200 | 81 | 135 | BGE | 122 | 140 | 333.3333 | BGE | 258 | 153 | 869.3182 | BGE | 366.1907 | 779.8093 | 2999.2664 | BGE | 132.317 | 390.683 | 976.7075
COMED | 420.5201 | 1570.4799 | 1570.4799 | COMED | 30.7968 | 1028.2032 | 1028.2032 | COMED | 103.318 | 207.682 | 207.682 | COMED | 20.4377 | 267.5623 | 267.5623 | COMED | 161 | 120 | 200 | COMED | 99 | 163 | 388.0952 | COMED | 197 | 214 | 1215.9091 | COMED | 286.1437 | 859.8563 | 3307.1398 | COMED | 97.404 | 425.596 | 1063.9899
DAYTON | 536.17 | 1454.83 | 1454.83 | DAYTON | 48.2171 | 1010.7829 | 1010.7829 | DAYTON | 194.7515 | 116.2485 | 116.2485 | DAYTON | 54.9401 | 233.0599 | 233.0599 | DAYTON | 190 | 91 | 151.6667 | DAYTON | 117 | 145 | 345.2381 | DAYTON | 235 | 176 | 1000 | DAYTON | 339.123 | 806.877 | 3103.3731 | DAYTON | 111.7232 | 411.2768 | 1028.192
DEOK | 532.1154 | 1458.8846 | 1458.8846 | DEOK | 49.5665 | 1009.4335 | 1009.4335 | DEOK | 194.2515 | 116.7485 | 116.7485 | DEOK | 62.6958 | 225.3042 | 225.3042 | DEOK | 188 | 93 | 155 | DEOK | 116 | 146 | 347.619 | DEOK | 231 | 180 | 1022.7273 | DEOK | 333.1915 | 812.8085 | 3126.1866 | DEOK | 117.0406 | 405.9594 | 1014.8986
DOM | 568.0137 | 1422.9863 | 1422.9863 | DOM | 47.2168 | 1011.7832 | 1011.7832 | DOM | 158.3224 | 152.6776 | 152.6776 | DOM | 35.5793 | 252.4207 | 252.4207 | DOM | 191 | 90 | 150 | DOM | 117 | 145 | 345.2381 | DOM | 249 | 162 | 920.4545 | DOM | 353.238 | 792.762 | 3049.0846 | DOM | 122.1043 | 400.8957 | 1002.2394
DPL | 525.4077 | 1465.5923 | 1465.5923 | DPL | 34.8148 | 1024.1852 | 1024.1852 | DPL | 150.3444 | 160.6556 | 160.6556 | DPL | 43.8228 | 244.1772 | 244.1772 | DPL | 173 | 108 | 180 | DPL | 105 | 157 | 373.8095 | DPL | 243 | 168 | 954.5455 | DPL | 342.1925 | 803.8075 | 3091.5672 | DPL | 125.4239 | 397.5761 | 993.9401
DUQ | 524.734 | 1466.266 | 1466.266 | DUQ | 48.2929 | 1010.7071 | 1010.7071 | DUQ | 194.1541 | 116.8459 | 116.8459 | DUQ | 57.1331 | 230.8669 | 230.8669 | DUQ | 189 | 92 | 153.3333 | DUQ | 116 | 146 | 347.619 | DUQ | 234 | 177 | 1005.6818 | DUQ | 336.1165 | 809.8835 | 3114.9365 | DUQ | 114.6726 | 408.3274 | 1020.8185
EKPC | 488.8054 | 1502.1946 | 1502.1946 | EKPC | 33.6335 | 1025.3665 | 1025.3665 | EKPC | 145.0012 | 165.9988 | 165.9988 | EKPC | 31.5695 | 256.4305 | 256.4305 | EKPC | 173 | 108 | 180 | EKPC | 106 | 156 | 371.4286 | EKPC | 219 | 192 | 1090.9091 | EKPC | 315.6452 | 830.3548 | 3193.6723 | EKPC | 98.3765 | 424.6235 | 1061.5589
JCPL | 473.9991 | 1517.0009 | 1517.0009 | JCPL | 20.2098 | 1038.7902 | 1038.7902 | JCPL | 106.7101 | 204.2899 | 204.2899 | JCPL | 20.5815 | 267.4185 | 267.4185 | JCPL | 160 | 121 | 201.6667 | JCPL | 98 | 164 | 390.4762 | JCPL | 224 | 187 | 1062.5 | JCPL | 312.8359 | 833.1641 | 3204.4772 | JCPL | 92.7609 | 430.2391 | 1075.5978
METED | 485.0776 | 1505.9224 | 1505.9224 | METED | 35.2869 | 1023.7131 | 1023.7131 | METED | 147.2968 | 163.7032 | 163.7032 | METED | 39.9695 | 248.0305 | 248.0305 | METED | 167 | 114 | 190 | METED | 102 | 160 | 380.9524 | METED | 226 | 185 | 1051.1364 | METED | 318.1064 | 827.8936 | 3184.2062 | METED | 105.5784 | 417.4216 | 1043.554
PECO | 461.2899 | 1529.7101 | 1529.7101 | PECO | 19.2026 | 1039.7974 | 1039.7974 | PECO | 121.8774 | 189.1226 | 189.1226 | PECO | 28.226 | 259.774 | 259.774 | PECO | 157 | 124 | 206.6667 | PECO | 96 | 166 | 395.2381 | PECO | 219 | 192 | 1090.9091 | PECO | 306.998 | 839.002 | 3226.9306 | PECO | 88.8931 | 434.1069 | 1085.2673
PENELEC | 500.2446 | 1490.7554 | 1490.7554 | PENELEC | 32.2825 | 1026.7175 | 1026.7175 | PENELEC | 216.697 | 94.303 | 94.303 | PENELEC | 67.6756 | 220.3244 | 220.3244 | PENELEC | 175 | 106 | 176.6667 | PENELEC | 107 | 155 | 369.0476 | PENELEC | 229 | 182 | 1034.0909 | PENELEC | 325.1174 | 820.8826 | 3157.2406 | PENELEC | 100.0573 | 422.9427 | 1057.3569
PEPCO | 574.6845 | 1416.3155 | 1416.3155 | PEPCO | 18.961 | 1040.039 | 1040.039 | PEPCO | 167.9277 | 143.0723 | 143.0723 | PEPCO | 37.1549 | 250.8451 | 250.8451 | PEPCO | 193 | 88 | 146.6667 | PEPCO | 118 | 144 | 342.8571 | PEPCO | 251 | 160 | 909.0909 | PEPCO | 355.997 | 790.003 | 3038.4732 | PEPCO | 122.5908 | 400.4092 | 1001.0231
PPL | 458.9876 | 1532.0124 | 1532.0124 | PPL | 18.9285 | 1040.0715 | 1040.0715 | PPL | 122.0958 | 188.9042 | 188.9042 | PPL | 30.1246 | 257.8754 | 257.8754 | PPL | 158 | 123 | 205 | PPL | 97 | 165 | 392.8571 | PPL | 218 | 193 | 1096.5909 | PPL | 305.5718 | 840.4282 | 3232.4162 | PPL | 93.9969 | 429.0031 | 1072.5076
PSEG | 484.9749 | 1506.0251 | 1506.0251 | PSEG | 24.9737 | 1034.0263 | 1034.0263 | PSEG | 106.7729 | 204.2271 | 204.2271 | PSEG | 20.7779 | 267.2221 | 267.2221 | PSEG | 162 | 119 | 198.3333 | PSEG | 99 | 163 | 388.0952 | PSEG | 227 | 184 | 1045.4545 | PSEG | 316.5532 | 829.4468 | 3190.1801 | PSEG | 95.6102 | 427.3898 | 1068.4744
RECO | 491.9006 | 1499.0994 | 1499.0994 | RECO | 24.9295 | 1034.0705 | 1034.0705 | RECO | 114.2345 | 196.7655 | 196.7655 | RECO | 24.6503 | 263.3497 | 263.3497 | RECO | 166 | 115 | 191.6667 | RECO | 101 | 161 | 383.3333 | RECO | 228 | 183 | 1039.7727 | RECO | 319.7033 | 826.2967 | 3178.0643 | RECO | 101.0025 | 421.9975 | 1054.9938
Average | 508 | 1483 | 1483 | Average | 34 | 1025 | 1025 | Average | 159 | 152 | 152 | Average | 42 | 246 | 246 | Average | 176 | 105 | 175 | Average | 108 | 154 | 366.6667 | Average | 231 | 180 | 1022.7273 | Average | 328 | 818 | 3146.1538 | Average | 107 | 416 | 1040