## Setup
Enter Stakeholder Committee Name in cell A2:
PC Special Session - Capacity Interconnection Rights for ELCC Resources
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
CIRs for ELCC Resources

## 1. Interest Identification
PC Special Session - Capacity Interconnection Rights for ELCC Resources
CIRs for ELCC Resources
Interest Identification
Instructions: List interests of all parties on this page.
1 | Incorporating CIRs upfront into the ELCC Portfolio UCAP and ELCC Class UCAP calculations and considering CIRs when allocating ELCC Class UCAP to individual ELCC Resources
2 | Establishing new metrics and/or requirements in requesting and retaining CIRs
3 | Determining how new CIR policies would be applied to both existing and planned resources
4 | Ensure any product that clears in the Capacity Market is deliverable
5 | Resource Adequacy studies do not rely on output in excess of CIRs
6 | Appropriate administrative cost and complexity to not overcomplicate the PJM Planning process
7 | Avoid negatively impact or unnecessary change in timing of the Queue
8 | Fair treatment between different ELCC classes, and between ELCC vs. non-ELCC resources
9 | Clarity and certainty for how many CIRs ELCC resources “should” request at the time they submit their application.
10 | Considerations for resources and resource types that have increasing, decreasing, and fluctuating ELCC accreditation over time, especially with respect to CIR retention and transfers
11 | Efficient use of the transmission system
12 | Does not artificially depress the resource adequacy measure of ELCC resources
13 | Sends proper signals when transmission investment is justified
14 | Reasonable process exists/is developed to ensure that the ELCC/CIR ratings of existing units can be modified (both up or down)
15 | Bifurcation of ELCC results and maintaining of CIRs
16 | Appropriately determine seasonal CIRs (i.e. winter CIRs for wind) within PJM’s annual capacity construct requiring matching winter/summer resources for capacity market participation
17 | Appropriate liquidity in process for transacting CIRs
18 | Process for transferring CIRs aligns with efficient movement through PJM queue
19 | Ability for an interconnection customer to study CIR level alternatives (multiple levels of CIR requests)
20 | Implementation of changes take into account the existing and planned financing arrangements and requirements
21 | Ensure that CIRs don't go unused
22 | Prevent opportunities to hoard CIRs
23 | Owners of upgrades receive commensurate ownership of CIRs
24 | Consider balancing the options of adding generation in the right places vs. adding transmission in the right places in order to ensure efficiency
25
26
27

## Fundamental Principles
PC Special Session - Capacity Interconnection Rights for ELCC Resources
CIRs for ELCC Resources
CIR Fundamental Principles
Instructions: List fundamental principles as related to KWA #3 that are identified by all parties on this page.
1 | Accurately reflects current summer unit capability
2 | Ensure reliability (ensure generator deliverability under peak conditions)
3 | Required for RPM participation (except for DR and EE and possibly DERA/Order 2222)
4 | Transferability (allow holders to transfer rights to other developers per PJM Manual 14G)
5 | To the extent possible under this Issue Charge, any modification to the definition, determination, application or retention of CIRs should seek to achieve consistency with the treatment of ELCC Resources in the various planning processes
6 | To prevent overbuilding the transmission system, CIRs that are maintained for each ELCC Resource should not exceed maximum expected summer outputs for planned resources or the maximum actual summer outputs for existing resources
7 | CIRs should not be the assumed reliability contributions by ELCC Resources in the PJM planning studies but rather be representative of the transmission capability available to the resource for delivering its capacity
8
9
10
11
12
13
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
SOLUTIONS MATRIX
# | Design Components1 | Sub-Component # | Design Sub-Components | Priority | Status Quo | A | B | C | D | E
1 | CIR request policy | 1A | Variable Resources |  | Wind/Solar: Administratively set based by PJM based on expected summer capacity factor for technology type unless unique metereorological data is supplied to support higher values Hydro and Landfill Gas: Based on ICAP | Up to maximum expected net summer capability, e.g. 99th percentile of RTO-wide output for resource type, of net summer output between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive) where summer = June/July/Aug inclusive). | Up to max expected net summer capability but not less than the ELCC equivalent of desired UCAP level
1 | CIR request policy | 2B | Limited Duration Resources |  | Lower of summer rating or 10 X-hour rule, where X is the duration of the class. | Up to the maximum expected net summer capability not to exceed the sustained power output capability over X hours, where X is the duration of the class. | Up to max expected net summer capability but not less than the ELCC equivalent of desired UCAP level
1 | CIR request policy | 1C | Hybrid Resources |  | Each technology is treated separately (e.g. solar and battery components are treated individually and not as a combined hybrid) | Sum of eligible CIR request for components, not to exceed MFO | Up to max expected net summer capability but not less than the ELCC equivalent of desired UCAP level
1 | CIR request policy | 1D | Dispatchable Hydro Resources |  | Up to maximum expected summer net corrected test value not to exceed ICAP | Up to max expected net summer capability but not less than the ELCC equivalent of desired UCAP level
1 | CIR request policy | 1E | Unlimited resources |  | Up to maximum expected summer net corrected test value not to exceed ICAP | Up to max expected net summer capability but not less than the ELCC equivalent of desired UCAP level
2 | CIR verification, testing, and retention policy | 2A | Variable Resources |  | Wind/Solar: Highest of last 3 summers' average afternoon output Hydro and Landfill Gas: Highest of last 3 summer net corrected test values | Maximum hourly output over last 3 summers. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive). | Same as Option A, plus: if a resource's maximum output occurs during hours where PJM curtailed the resource by dispatching it below its maximum output, PJM will allow the resource to schedule a test to demonstrate it's unmitigated potential. For example, a resource with a high CIR value in an area where over time additional resources with fewer CIRs are added, the resource may not be able to demonstrate its maximum production due to market curtailment.
2 | CIR verification, testing, and retention policy | 2B | Limited Duration Resources |  | Highest of last 3 summer net corrected test values or the "10 hour rule", whichever is lower. (Note: under ELCC, the "10 hour rule" changes to the "X hour rule", where X can be 4, 6, 8, or 10) | Maximum of average output across X consecutive hours over last 3 summers, where "X" is the duration of the class. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive). | Same as Option A, plus: if a resource's maximum output occurs during hours where PJM curtailed the resource by dispatching it below its maximum output, PJM will allow the resource to schedule a test to demonstrate it's unmitigated potential. For example, a resource with a high CIR value in an area where over time additional resources with fewer CIRs are added, the resource may not be able to demonstrate its maximum production due to market curtailment. | Initial test during commissoining (or election of new ELCC Class) that demonstrates MW x duration. This initial test does not have to fall within a given time window. Retention based on maximum hourly output over last 3 summers. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive).
2 | CIR verification, testing, and retention policy | 2C | Hybrid Resources |  | Each technology is treated separately (e.g. solar and battery components are treated individually and not as a combined hybrid) | Sum of CIR retention metrics for components | Same as Option A, plus: if a resource's maximum output occurs during hours where PJM curtailed the resource by dispatching it below its maximum output, PJM will allow the resource to schedule a test to demonstrate it's unmitigated potential. For example, a resource with a high CIR value in an area where over time additional resources with fewer CIRs are added, the resource may not be able to demonstrate its maximum production due to market curtailment. | Initial test during commissoining (or election of new ELCC Class) that demonstrates MW x duration. This initial test does not have to fall within a given time window. Retention based on maximum hourly output over last 3 summers. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive).
2 | CIR verification, testing, and retention policy | 2D | Dispatchable Hydro Resources |  | Highest of last 3 summer net corrected test values | Maximum hourly output over last 3 summers. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive). | Same as Option A, plus: if a resource's maximum output occurs during hours where PJM curtailed the resource by dispatching it below its maximum output, PJM will allow the resource to schedule a test to demonstrate it's unmitigated potential. For example, a resource with a high CIR value in an area where over time additional resources with fewer CIRs are added, the resource may not be able to demonstrate its maximum production due to market curtailment.
2 | CIR verification, testing, and retention policy | 2E | Unlimited resources |  | Highest of last 3 summers tested value not to exceed current CIRs | Maximum hourly output over last 3 summers. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive). | Same as Option A, plus: if a resource's maximum output occurs during hours where PJM curtailed the resource by dispatching it below its maximum output, PJM will allow the resource to schedule a test to demonstrate it's unmitigated potential. For example, a resource with a high CIR value in an area where over time additional resources with fewer CIRs are added, the resource may not be able to demonstrate its maximum production due to market curtailment.
3 | CIRs in ELCC Methodolgy and Accredited UCAP Calculation | 3A | Variable Resources |  | 1. ELCC Calculations: CIRs are not considered. 2. UCAP & AUCAP: CIRs establish upper limit. | Regarding a unit's hourly output shape used for deriving its Performance Adjustment as well as the aggregate class hourly shape: ELCC caps hourly output at the CIR level. | ELCC, UCAP and AUCAP calculations: Actual hourly resource output will be used in all calculations | A resource’s UCAP value should be based on the lesser of the Class ELCC% * resource performance adjustment or the CIR value. The resource performance adjustment will be calcualted as currently described in RAA, Schedule 9.1 (F)(2)(a) and will not consider the CIR value of the resource. | Regarding a unit's hourly output shape used for deriving its Performance Adjustment as well as the aggregate class hourly shape: ELCC caps hourly output at the summer deliverability requirement during the months of May through October (inclusive), and caps hourly output using the winter deliverability requirement during the months of November through April, inclusive.
3 | CIRs in ELCC Methodolgy and Accredited UCAP Calculation | 3B | Limited Duration Resources |  | 1. ELCC Calculations: CIRs are not considered. 2. UCAP & AUCAP: CIRs establish upper limit. | CIRs cap Effective Nameplate Capacity ("ENC"). Recall that under status quo for ELCC, Accredited UCAP for Limited Duration Resources = ENC*ClassRating*(1-EFORd). | ELCC, UCAP and AUCAP calculations: Actual hourly resource output will be used in all calculations | A resource’s UCAP value should be based on the lesser of the Class ELCC% * resource performance adjustment or the CIR value. The resource performance adjustment will be calcualted as currently described in RAA, Schedule 9.1 (F)(2)(a) and will not consider the CIR value of the resource. | Define a new concept: ELCC Required Class Deliverability (RCD), as the maximum dispatched level of a given LDR class across all scenarios for a given delivery year, divided by the total MW of ENC of that Class. ENC is only capped at CIRs if CIR < RCD*ENC. Define "Adjusted EFORd" or "AEFORd" - for resources with ENC capped due to CIRs, recalculate an adjusted EFORd that treats the LDR as if it were a resource with capability equal to its capped ENC. AUCAP for LDR = ENC*ClassRating*(1 - AEFORd) | Summer deliverability requirement caps Effective Nameplate Capacity ("ENC"). Recall that under status quo for ELCC, Accredited UCAP for Limited Duration Resources = ENC*ClassRating*(1-EFORd).
3 | CIRs in ELCC Methodolgy and Accredited UCAP Calculation | 3C | Hybrid Resources |  | 1. ELCC Calculations: CIRs are not considered. 2. UCAP & AUCAP: CIRs establish upper limit. | 1. ELCC model: hourly output from hybrids capped at CIRs. 2. UCAP & AUCAP: CIRs establish an upper limit on the sum of the Effective Nameplate Capacity values of the components of a hybrid resource, where the CIRs are first allocated to the ENC of the Limited Duration Component and the remainder is allocated to the ENC of the Variable Resource component. | ELCC, UCAP and AUCAP calculations: Actual hourly resource output will be used in all calculations | A resource’s UCAP value should be based on the lesser of the Class ELCC% * resource performance adjustment or the CIR value. The resource performance adjustment will be calcualted as currently described in RAA, Schedule 9.1 (F)(2)(a) and will not consider the CIR value of the resource. | Define a new concept: ELCC Required Class Deliverability (RCD), as the maximum dispatched level of a given LDR class across all scenarios for a given delivery year, divided by the total MW of ENC of that Class. ENC is only capped at CIRs if CIR < RCD*ENC. Define "Adjusted EFORd" or "AEFORd" - for resources with ENC capped due to CIRs, recalculate an adjusted EFORd that treats the LDR as if it were a resource with capability equal to its capped ENC. AUCAP for LDR = ENC*ClassRating*(1 - AEFORd) | 1. ELCC model: ELCC caps hourly output of each hybrid at the summer deliverability requirement during the months of May through October (inclusive), and caps hourly output using the winter deliverability requirement during the months of November through April, inclusive. 2. UCAP & AUCAP: a) the Effective Nameplate Capacity (ENC) of the storage component cannot exceed the Summer Deliverability MW value; b) for May through Oct. (inclusive), the hourly output values of the Variable Resource component is capped at Summer Deliv MW minus storage component ENC; c) for November through April (inclusive), hourly output values of Variable Resource component is capped at Winter Deliv MW minus storage component ENC; d) except that, when the hybrid's total summer deliverability equals MFO, there is no capping of any ENC or hourly output.
3 | CIRs in ELCC Methodolgy and Accredited UCAP Calculation | 3D | Dispatchable Hydro Resources |  | 1. ELCC Calculations: CIRs are not considered. 2. ICAP, UCAP & AUCAP: CIRs establish upper limit. | CIRs cap MaxMW parameter. | ELCC, UCAP and AUCAP calculations: Actual hourly resource output will be used in all calculations | A resource’s UCAP value should be based on the lesser of the Class ELCC% * resource performance adjustment or the CIR value. The resource performance adjustment will be calcualted as currently described in RAA, Schedule 9.1 (F)(2)(a) and will not consider the CIR value of the resource. | Summer deliverability requirement caps MaxMW parameter.
3 | CIRs in ELCC Methodolgy and Accredited UCAP Calculation | 3E | Unlimited resources |  | ICAP cannot exceed CIRs | ELCC, UCAP and AUCAP calculations: Actual hourly resource output will be used in all calculations | A resource’s UCAP value should be based on the lesser of the Class ELCC% * resource performance adjustment or the CIR value. The resource performance adjustment will be calcualted as currently described in RAA, Schedule 9.1 (F)(2)(a) and will not consider the CIR value of the resource.
4 | Implementation/Effective date |  |  |  | N/A | Minimal implementation time required but will vary for different processes impacted by changes | Start applying deliverability requirements to cap ELCC calculations in the 2025/26 BRA (Class Rating / Accreditted UCAP) |  |  |  | Low
5 | Transition mechanism | 5A | Existing Units |  | N/A | Additional CIRs can be requested through the PJM Queue Process immediately upon necessary approvals/endorsements (including FERC if applicable) of the the solution developed in this stakeholder process. CIRs will be established as an upper limit for the 24/25 Delivery Year. | Additional CIRs can be requested through the PJM Queue Process immediately upon approval of the solution package developed in this stakeholder process. CIRs will become binding for ELCC and UCAP purposes (Design Component 3) for the future Delivery Year when a resource requesting additional CIRs through the PJM queue process within 90 days of approval of the solution package developed in this stakeholder process can reasonably expect to receive its CIR awards. | Allow for a one time expedited process for current queue projects to adjust CIR level. Expedited queue proposal nr 1: allow projects in the queue to reduce Maximum Facility Output down to CIR value without corresponding percentage reduction in CIRs (e.g. do not multiply lower MFO by capacity factor % to adjust CIRs). | Allow for a one time expedited process for operational or current queue projects to adjust CIR level. Expedited queue proposal nr 2 (can be additive): using the latest queue, give a deadline for projects to request additional CIRs; then study max CIRs increases possible without additional upgrades; some POI could absorb more CIRs without additional upgrades; they could be granted if no impact/ requiring no additional upgrades. This outcome could help operational projects too. | None
5 | Transition mechanism | 5B | Existing Queue Units |  | N/A | Additional CIRs can be requested through the PJM Queue Process immediately upon necessary approvals/endorsements (including FERC if applicable) of the the solution developed in this stakeholder process. CIRs will be established as an upper limit for the 24/25 Delivery Year. | Additional CIRs can be requested through the PJM Queue Process immediately upon approval of the solution package developed in this stakeholder process. CIRs will become binding for ELCC and UCAP purposes (Design Component 3) for the future Delivery Year when a resource requesting additional CIRs through the PJM queue process within 90 days of approval of the solution package developed in this stakeholder process can reasonably expect to receive its CIR awards. | Allow for a one time expedited process for current queue projects to adjust CIR level. Expedited queue proposal nr 1: allow projects in the queue to reduce Maximum Facility Output down to CIR value without corresponding percentage reduction in CIRs (e.g. do not multiply lower MFO by capacity factor % to adjust CIRs). | Allow for a one time expedited process for operational or current queue projects to adjust CIR level. Expedited queue proposal nr 2 (can be additive): using the latest queue, give a deadline for projects to request additional CIRs; then study max CIRs increases possible without additional upgrades; some POI could absorb more CIRs without additional upgrades; they could be granted if no impact/ requiring no additional upgrades. This outcome could help operational projects too. | None
5 | Transition mechanism | 5C | New Queue Units |  | N/A | Additional CIRs can be requested through the PJM Queue Process immediately upon necessary approvals/endorsements (including FERC if applicable) of the the solution developed in this stakeholder process. CIRs will be established as an upper limit for the 24/25 Delivery Year. | CIRs will become binding for ELCC and UCAP purposes (Design Component 3) for the future Delivery Year when a resource requesting CIRs through the PJM queue process within 90 days of approval of the solution package developed in this stakeholder process can reasonably expect to receive its CIR awards. | Allow for a one time expedited process for current queue projects to adjust CIR level. Expedited queue proposal nr 1: allow projects in the queue to reduce Maximum Facility Output down to CIR value without corresponding percentage reduction in CIRs (e.g. do not multiply lower MFO by capacity factor % to adjust CIRs). | Allow for a one time expedited process for operational or current queue projects to adjust CIR level. Expedited queue proposal nr 2 (can be additive): using the latest queue, give a deadline for projects to request additional CIRs; then study max CIRs increases possible without additional upgrades; some POI could absorb more CIRs without additional upgrades; they could be granted if no impact/ requiring no additional upgrades. This outcome could help operational projects too. | None
Low - High
Medium
Medium - High
High
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details (hidden)
PC Special Session - Capacity Interconnection Rights for ELCC Resources
CIRs for ELCC Resources
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details (hidden)
PC Special Session - Capacity Interconnection Rights for ELCC Resources
CIRs for ELCC Resources
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
PC Special Session - Capacity Interconnection Rights |  |  |  | PACKAGE/ PROPOSAL MATRIX |  |  | P a c k a g e s
# | Design Components | Sub- Component | Design Sub-Component | Priority | Status Quo | A | B | C | D | E | F
1 | CIR request policy | 1A | Variable Resources |  | Wind/Solar: Administratively set based by PJM based on expected summer capacity factor for technology type unless unique metereorological data is supplied to support higher values Hydro and Landfill Gas: Based on ICAP | Up to maximum expected net summer capability, e.g. 99th percentile of RTO-wide output for resource type, of net summer output between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive) where summer = June/July/Aug inclusive). | Same as Package A | Same as Package B | Status quo | Up to max expected net summer capability but not less than the ELCC equivalent of desired UCAP level
1 | CIR request policy | 2B | Limited Duration Resources |  | Lower of summer rating or 10 hour rule | Up to the maximum expected net summer capability not to exceed the sustained power output capability over X hours, where X is the duration of the class. | Same as Package A | Same as Package B | Status quo ("X-hour rule") | Up to max expected net summer capability but not less than the ELCC equivalent of desired UCAP level
1 | CIR request policy | 1C | Hybrid Resources |  | Each technology is treated separately (e.g. solar and battery components are treated individually and not as a combined hybrid) | Sum of eligible CIR request for components, not to exceed MFO | Same as Package A | Same as Package B | Status quo (Sum of eligible CIR request for components, not to exceed MFO) | Up to max expected net summer capability but not less than the ELCC equivalent of desired UCAP level
1 | CIR request policy | 1D | Dispatchable Hydro Resources |  | Up to maximum expected summer net corrected test value not to exceed ICAP | Up to maximum expected summer net corrected test value not to exceed ICAP | Same as Package A | Same as Package B | Status quo | Same as Package A
1 | CIR request policy | 1E | Unlimited resources |  | Up to maximum expected summer net corrected test value not to exceed ICAP | Up to maximum expected summer net corrected test value not to exceed ICAP | Same as Package A | Same as Package B | Status quo | Same as Package A
2 | CIR verification, testing, and retention policy | 2A | Variable Resources |  | Wind/Solar: Highest of last 3 summers' average afternoon output Hydro and Landfill Gas: Highest of last 3 summer net corrected test values | Maximum hourly output over last 3 summers. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive). | Same as Package A plus: if a resource's maximum output occurs during hours where PJM curtailed the resource by dispatching it below its maximum output, PJM will allow the resource to schedule a test to demonstrate it's unmitigated potential. For example, a resource with a high CIR value in an area where over time additional resources with fewer CIRs are added, the resource may not be able to demonstrate its maximum production due to market curtailment. | Same as Package B | Status quo | Same as Package A
2 | CIR verification, testing, and retention policy | 2B | Limited Duration Resources |  | Highest of last 3 summer net corrected test values or the "10 hour rule", whichever is lower. (Note: under ELCC, the "10 hour rule" changes to the "X hour rule", where X can be 4, 6, 8, or 10) | Maximum of average output across X consecutive hours over last 3 summers, where "X" is the duration of the class. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive). | Same as Package A plus: if a resource's maximum output occurs during hours where PJM curtailed the resource by dispatching it below its maximum output, PJM will allow the resource to schedule a test to demonstrate it's unmitigated potential. For example, a resource with a high CIR value in an area where over time additional resources with fewer CIRs are added, the resource may not be able to demonstrate its maximum production due to market curtailment. | Same as Package B | Maximum of average output across X consecutive hours over last 3 summers, where "X" is the duration of the class. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive). | Same as Package A
2 | CIR verification, testing, and retention policy | 2C | Hybrid Resources |  | Each technology is treated separately (e.g. solar and battery components are treated individually and not as a combined hybrid) | Sum of CIR retention metrics for components | Same as Package A plus: if a resource's maximum output occurs during hours where PJM curtailed the resource by dispatching it below its maximum output, PJM will allow the resource to schedule a test to demonstrate it's unmitigated potential. For example, a resource with a high CIR value in an area where over time additional resources with fewer CIRs are added, the resource may not be able to demonstrate its maximum production due to market curtailment. | Same as Package B | Sum of CIR retention metrics for components | Same as Package A
2 | CIR verification, testing, and retention policy | 2D | Dispatchable Hydro Resources |  | Highest of last 3 summer net corrected test values | Maximum hourly output over last 3 summers. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive). | Same as Package A plus: if a resource's maximum output occurs during hours where PJM curtailed the resource by dispatching it below its maximum output, PJM will allow the resource to schedule a test to demonstrate it's unmitigated potential. For example, a resource with a high CIR value in an area where over time additional resources with fewer CIRs are added, the resource may not be able to demonstrate its maximum production due to market curtailment. | Same as Package B | Status quo | Same as Package A
2 | CIR verification, testing, and retention policy | 2E | Unlimited resources |  | Highest of last 3 summers tested value not to exceed current CIRs | Maximum hourly output over last 3 summers. Includes hours between hour ending 11AM and 10PM Eastern Prevailing Time (inclusive), summer = June/July/Aug inclusive). | Same as Package A plus: if a resource's maximum output occurs during hours where PJM curtailed the resource by dispatching it below its maximum output, PJM will allow the resource to schedule a test to demonstrate it's unmitigated potential. For example, a resource with a high CIR value in an area where over time additional resources with fewer CIRs are added, the resource may not be able to demonstrate its maximum production due to market curtailment. | Same as Package B | Status quo | Same as Package A
3 | CIRs in ELCC Methodolgy and Accredited UCAP Calculation | 3A | Variable Resources |  | 1. ELCC Calculations: CIRs are not considered. 2. UCAP & AUCAP: CIRs establish upper limit. | Regarding a unit's hourly output shape used for deriving its Performance Adjustment as well as the aggregate class hourly shape: ELCC caps hourly output at the CIR level. | A resource’s UCAP value should be based on the lesser of the Class ELCC% * resource performance adjustment or the CIR value. The resource performance adjustment will be calcualted as currently described in RAA, Schedule 9.1 (F)(2)(a) and will not consider the CIR value of the resource. | Same as Package B | Regarding a unit's hourly output shape used for deriving its Performance Adjustment as well as the aggregate class hourly shape: ELCC caps hourly output at the summer deliverability requirement during the months of May through October (inclusive), and caps hourly output using the winter deliverability requirement during the months of November through April, inclusive. | ELCC, UCAP and AUCAP calculations: Actual hourly resource output will be used in all calculations
3 | CIRs in ELCC Methodolgy and Accredited UCAP Calculation | 3B | Limited Duration Resources |  | 1. ELCC Calculations: CIRs are not considered. 2. UCAP & AUCAP: CIRs establish upper limit. | CIRs cap Effective Nameplate Capacity ("ENC"). Recall that under status quo for ELCC, Accredited UCAP for Limited Duration Resources = ENC*ClassRating*(1-EFORd). | A resource’s UCAP value should be based on the lesser of the Class ELCC% * resource performance adjustment or the CIR value. The resource performance adjustment will be calcualted as currently described in RAA, Schedule 9.1 (F)(2)(a) and will not consider the CIR value of the resource. | Same as Package B | Summer deliverability requirement caps Effective Nameplate Capacity ("ENC"). Recall that under status quo for ELCC, Accredited UCAP for Limited Duration Resources = ENC*ClassRating*(1-EFORd). | TBD
3 | CIRs in ELCC Methodolgy and Accredited UCAP Calculation | 3C | Hybrid Resources |  | 1. ELCC Calculations: CIRs are not considered. 2. UCAP & AUCAP: CIRs establish upper limit. | 1. ELCC model: hourly output from hybrids capped at CIRs. 2. UCAP & AUCAP: CIRs establish an upper limit on the sum of the Effective Nameplate Capacity values of the components of a hybrid resource, where the CIRs are first allocated to the ENC of the Limited Duration Component and the remainder is allocated to the ENC of the Variable Resource component. | A resource’s UCAP value should be based on the lesser of the Class ELCC% * resource performance adjustment or the CIR value. The resource performance adjustment will be calcualted as currently described in RAA, Schedule 9.1 (F)(2)(a) and will not consider the CIR value of the resource. | Same as Package B | 1. ELCC model: ELCC caps hourly output of each hybrid at the summer deliverability requirement during the months of May through October (inclusive), and caps hourly output using the winter deliverability requirement during the months of November through April, inclusive. 2. UCAP & AUCAP: a) the Effective Nameplate Capacity (ENC) of the storage component cannot exceed the Summer Deliverability MW value; b) for May through Oct. (inclusive), the hourly output values of the Variable Resource component is capped at Summer Deliv MW minus storage component ENC; c) for November through April (inclusive), hourly output values of Variable Resource component is capped at Winter Deliv MW minus storage component ENC; d) except that, when the hybrid's total summer deliverability equals MFO, there is no capping of any ENC or hourly output. | TBD
3 | CIRs in ELCC Methodolgy and Accredited UCAP Calculation | 3D | Dispatchable Hydro Resources |  | 1. ELCC Calculations: CIRs are not considered. 2. ICAP, UCAP & AUCAP: CIRs establish upper limit. | CIRs cap MaxMW parameter. | A resource’s UCAP value should be based on the lesser of the Class ELCC% * resource performance adjustment or the CIR value. The resource performance adjustment will be calcualted as currently described in RAA, Schedule 9.1 (F)(2)(a) and will not consider the CIR value of the resource. | Same as Package B | Summer deliverability requirement caps MaxMW parameter. | TBD
3 | CIRs in ELCC Methodolgy and Accredited UCAP Calculation | 3E | Unlimited resources |  | ICAP cannot exceed CIRs | ICAP cannot exceed CIRs | Status quo | Same as Package B | Status quo | TBD
4 | Implementation/Effective date |  |  |  | N/A | Minimal implementation time required but will vary for different processes impacted by changes | Same as Package A | Same as Package B | Start applying deliverability requirements to cap ELCC calculations in the 2025/26 BRA (Class Rating / Accreditted UCAP) | Same as Package A
5 | Transition mechanism | 5A | Existing Units |  | N/A | Additional CIRs can be requested through the PJM Queue Process immediately upon necessary approvals/endorsements (including FERC if applicable) of the the solution developed in this stakeholder process. CIRs will be established as an upper limit for the 24/25 Delivery Year. | Same as Package A | Allow for a one time expedited process for operational or current queue projects to adjust CIR level. Expedited queue proposal nr 2 (can be additive): using the latest queue, give a deadline for projects to request additional CIRs; then study max CIRs increases possible without additional upgrades; some POI could absorb more CIRs without additional upgrades; they could be granted if no impact/ requiring no additional upgrades. This outcome could help operational projects too. | None | Additional CIRs can be requested through the PJM Queue Process immediately upon approval of the solution package developed in this stakeholder process. CIRs will become binding for ELCC and UCAP purposes (Design Component 3) for the future Delivery Year when a resource requesting additional CIRs through the PJM queue process within 90 days of approval of the solution package developed in this stakeholder process can reasonably expect to receive its CIR awards.
5 | Transition mechanism | 5B | Existing Queue Units |  | N/A | Additional CIRs can be requested through the PJM Queue Process immediately upon necessary approvals/endorsements (including FERC if applicable) of the the solution developed in this stakeholder process. CIRs will be established as an upper limit for the 24/25 Delivery Year. | Allow for a one time expedited process for current queue projects to adjust CIR level. Expedited queue proposal nr 1: allow projects in the queue to reduce Maximum Facility Output down to CIR value without corresponding percentage reduction in CIRs (e.g. do not multiply lower MFO by capacity factor % to adjust CIRs). | Allow for a one time expedited process for operational or current queue projects to adjust CIR level. Expedited queue proposal nr 2 (can be additive): using the latest queue, give a deadline for projects to request additional CIRs; then study max CIRs increases possible without additional upgrades; some POI could absorb more CIRs without additional upgrades; they could be granted if no impact/ requiring no additional upgrades. This outcome could help operational projects too. | None | Additional CIRs can be requested through the PJM Queue Process immediately upon approval of the solution package developed in this stakeholder process. CIRs will become binding for ELCC and UCAP purposes (Design Component 3) for the future Delivery Year when a resource requesting additional CIRs through the PJM queue process within 90 days of approval of the solution package developed in this stakeholder process can reasonably expect to receive its CIR awards. |  | Low
5 | Transition mechanism | 5C | New Queue Units |  | N/A | Additional CIRs can be requested through the PJM Queue Process immediately upon necessary approvals/endorsements (including FERC if applicable) of the the solution developed in this stakeholder process. CIRs will be established as an upper limit for the 24/25 Delivery Year. | Same as Package A | Same as Package B | None | Additional CIRs can be requested through the PJM Queue Process immediately upon approval of the solution package developed in this stakeholder process. CIRs will become binding for ELCC and UCAP purposes (Design Component 3) for the future Delivery Year when a resource requesting additional CIRs through the PJM queue process within 90 days of approval of the solution package developed in this stakeholder process can reasonably expect to receive its CIR awards. |  | Low - Medium
Low - High
Medium
Instructions: | [11 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [11 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
PC Special Session - Capacity Interconnection Rights for ELCC Resources
CIRs for ELCC Resources
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
PC Special Session - Capacity Interconnection Rights for ELCC Resources
CIRs for ELCC Resources
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description
CIRs are stripped if a resource asks for relief from their requirement to offer into the Capacity Market (solutions modifying this Tariff requirement are out of scope per the Issue Charge)

## Revision History
PC Special Session - Capacity Interconnection Rights for ELCC Resources
CIRs for ELCC Resources
Revision History
Current Spreadsheet Version: |  | 7
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of Changes
1 | 2021-05-21 | Initial posting for PC Special Session
2 | 2021-06-17 | Updates to Interest Identification, Fundamental Principles, and Options Matix based on work done during and since the May 2021 PC Special Session
3 | 2021-07-19 | Updates to Fundamental Principles, Options Matix, and Parking Lot based on work done during and since the June 2021 PC Special Session
4 | 2021-08-10 | Updates to Options Matrix and Package Matrix since the July 2021 PC Special Session
5 | 2021-08-26 | Updates to Options Matrix and Package Matrix since the August 26 2021 PC Special Session
6 | 2021-10-19 | Added Pacakges B, C, and D, as well as various new solution options
7 | 2021-11-03 | Updated for posting for 11/08 Special Session Meeting