## Constraints
Constraint | Region | 2017 Day Ahead+Balancing Congestion ($M) | 2018 Day Ahead+Balancing Congestion ($M) | 2-Year Average Congestion ($M) | 2019 Simulated Congestion ($M)
Davis Creek TR83 345/138 | CE | 2.7 | 6.3 | 4.5 | 0
Butler - Karns City 138 kV | AP | 2.1 | 3.6 | 2.8 | 0
Cedar Creek - Red Lion 230 kV | DPL | 2.6 | 15.9 | 9.3 | 0
Cedar Grove - Clifton B 230 kV | PSEG | 5.7 | 3.5 | 4.6 | 0
Emilie - Falls 138 kV | PECO | 25.4 | 11.3 | 18.3 | 0
Gardners - Texas Eastern Tap 115 kV | METED | 6.3 | 22.2 | 14.2 | 0
Jackson - Three Mile Island 230 kV | METED | 2.1 | 1.6 | 1.9 | 0
Greenfield - Lakeview 138 kV | ATSI | 10.7 | 26.4 | 18.6 | 0
Layman - Wolf Creek 138 kV | AEP | 1.2 | 4.4 | 2.8 | 0.2
Logtown - North Delphos 138 kV | AEP | 2.2 | 2.3 | 2.2 | 0
Loretto - Vienna 138 kV | DPL | 6.9 | 6.2 | 6.5 | 0
North Meshoppen - Oxbow 230 kV | PENELEC | 2.5 | 4.4 | 3.5 | 0.17
Silver Lake TR82 345/138 kV | CE | 0.4 | 3.3 | 1.9 | 0
Cedar Creek - Clayton 138 kV | DPL | 1.3 | 8.5 | 4.9 | 0
Cool Springs - Milford 230 kV | DPL | 0.6 | 3 | 1.8 | 0
Kent - Vaughn 69 kV | DPL | 3.6 | 3.6 | 3.6 | 0
Maple - Jackson 138 kV | ATSI | 0.5 | 16.8 | 8.7 | 0.02
Plymouth Meeting - Whitpain 230 kV | PECO | 0.8 | 2.2 | 1.5 | 0
Preston - Tanyard 69 kV | DPL | 0.7 | 3.6 | 2.1 | 0