## Start-Up with 1 Soak Cost(PJM)
Start-Up of 2x1 Combined Cycle | [6 empty] | Gas Price
Start-Up and Soak Costs | [6 empty] | 2.5 | $/MMBTU
|  | HE 4 | HE 5 | HE 6 | HE 7 | HE8 | HE9 | HE 10 | HE 11
|  | <-------------ST Soak---------------> |  |  | <-------------CT1 and ST--------------->
CT1 and ST | MWH CT1 | 10 | 10 | 50 | 100 | 100 | 100
| MWH Steam | 0 | 0 | 0 | 50 | 50 | 50
| Heat Rate (BTU/kWH) | 12000 | 12000 | 12000 | 8000 | 8000 | 8000
| Gas Cost ($/HR) | 300 | 300 | 1500 | 3000 | 3000 | 3000
| Total Cost ($/HR) | 300 | 300 | 1500 | 3000 | 3000 | 3000
| Actual Cost ($/MWH) | 30 | 30 | 30 | 20 | 20 | 20
<-------------CT2 HRSG Soak--------------->
CT2 | MWH CT2 | HE 7: 10; HE8: 10; 2.5 HE9: 50
| Heat Rate (BTU/kWH) | HE 7: 12000; HE8: 12000; 2.5 HE9: 12000
| Gas Cost ($/HR) | HE 7: 300; HE8: 300; 2.5 HE9: 1500
| Total Cost ($/HR) | HE 7: 300; HE8: 300; 2.5 HE9: 1500
| Actual Cost ($/MWH) | HE 7: 30; HE8: 30; 2.5 HE9: 30
|  | <-----------------------------------------CC Soak Time---------------------------------------------> | [5 empty] | <----CC Dispatchable------>
CT1, CT2, and ST | MWH CTs | 10 | 10 | 50 | 110 | 110 | 150 | 200 | 200
| MWH Steam | 0 | 0 | 0 | 50 | 50 | 50 | 100 | 100
| Total MWh | 10 | 10 | 50 | 160 | 160 | 200 | 300 | 300
| Heat Rate (BTU/kWH) | $/MMBTU HE 10: 7000; $/MMBTU HE 11: 7000
| Total Cost ($/HR) | 300 | 300 | 1500 | 3300 | 3300 | 4500 | 5250 | 5250
| Actual Cost ($/MWH) | 30 | 30 | 30 | 20.625 | 20.625 | 22.5 | 17.5 | 17.5
| Soak Cost ($/MWH) | 30 | 30 | 30 | 20.625 | 20.625 | 22.5
| CT1 Start Cost ($) | HE 4: 500
| CT2 Start Cost ($) | HE 4: 500
| Actual Cost to Dispatchable ($) | HE 4: 14200
| Actual Cost when Dispatchable ($) | HE 4: 10500
| Total Cost for Segment ($) | HE 4: 24700
| Soak Cost ($/MWH) = Sum of soak fuel cost / Sum of Soak MWh = | HE 7: 22.3729
Settlement
Day Ahead | DA Offer MWH | 10 | 10 | 50 | 160 | 160 | 200 | 300 | 300
| DA Energy Offer ($/MWH) | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 17.5 | 17.5
| DA Award MWH | 10 | 10 | 50 | 160 | 160 | 200 | 300 | 300
| DA LMP ($/MWH) | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5
| DA Energy Credits ($) | 175 | 175 | 875 | 2800 | 2800 | 3500 | 5250 | 5250
| DA Operating Reserves' ($) | 48.7288 | 48.7288 | 243.6441 | 779.661 | 779.661 | 974.5763 | 0 | 0
| DA Energy Credits ($) | HE 4: 20825
| DA Operating Reserves ($) | HE 4: 3875
| Total DA Revenue($) | HE 4: 24700
<---------------------------------------------------------Segment------------------------------------------------------------------------>
Real Time | RT Offer MWH | 10 | 10 | 50 | 160 | 160 | 200 | 300 | 300
| RT Energy Offer ($/MWH) | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 17.5 | 17.5
| RT Actual MWH | 10 | 10 | 50 | 160 | 160 | 200 | 300 | 300
| RT LMP ($/MWH) | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5
| RT Balancing Credits ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RT BOR' ($) | 223.7288 | 223.7288 | 1118.6441 | 3579.661 | 3579.661 | 4474.5763 | 5250 | 5250
| Balancing Credits ($) | HE 4: 0
| BOR Credits ($) | HE 4: 0
| Total RT Revenues ($) | HE 4: 0
For simplicity, in this example:
Average Heat rates are used, so No Load = 0,

## SU with 1 Soak Cost 2 Days(PJM)
Start-Up of 2x1 Combined Cycle | [6 empty] | Gas Price
Start-Up and Soak Costs | [6 empty] | 2.5 | $/MMBTU
|  | HE 22 | HE 23 | HE 24 | HE 1 | HE 2 | HE 3 | HE 4 | HE 5
|  | <-------------ST Soak---------------> |  |  | <-------------CT1 and ST--------------->
CT1 and ST | MWH CT1 | 10 | 10 | 50 | 100 | 100 | 100
| MWH Steam | 0 | 0 | 0 | 50 | 50 | 50
| Heat Rate (BTU/kWH) | 12000 | 12000 | 12000 | 8000 | 8000 | 8000
| Gas Cost ($/HR) | 300 | 300 | 1500 | 3000 | 3000 | 3000
| Total Cost ($/HR) | 300 | 300 | 1500 | 3000 | 3000 | 3000
| Actual Cost ($/MWH) | 30 | 30 | 30 | 20 | 20 | 20
<-------------CT2 HRSG Soak--------------->
CT2 | MWH CT2 | HE 1: 10; HE 2: 10; 2.5 HE 3: 50
| Heat Rate (BTU/kWH) | HE 1: 12000; HE 2: 12000; 2.5 HE 3: 12000
| Gas Cost ($/HR) | HE 1: 300; HE 2: 300; 2.5 HE 3: 1500
| Total Cost ($/HR) | HE 1: 300; HE 2: 300; 2.5 HE 3: 1500
| Actual Cost ($/MWH) | HE 1: 30; HE 2: 30; 2.5 HE 3: 30
|  | <-----------------------------------------CC Soak Time---------------------------------------------> | [5 empty] | <----CC Dispatchable------>
CT1, CT2, and ST | MWH CTs | 10 | 10 | 50 | 110 | 110 | 150 | 200 | 200
| MWH Steam | 0 | 0 | 0 | 50 | 50 | 50 | 100 | 100
| Total MWh | 10 | 10 | 50 | 160 | 160 | 200 | 300 | 300
| Heat Rate (BTU/kWH) | $/MMBTU HE 4: 7000; $/MMBTU HE 5: 7000
| Total Cost ($/HR) | 300 | 300 | 1500 | 3300 | 3300 | 4500 | 5250 | 5250
| Actual Cost ($/MWH) | 30 | 30 | 30 | 20.625 | 20.625 | 22.5 | 17.5 | 17.5
| Soak Cost ($/MWH) | 30 | 30 | 30 | 20.625 | 20.625 | 22.5
| CT1 Start Cost ($) | HE 22: 500
| CT2 Start Cost ($) | HE 22: 500
| Actual Cost to Dispatchable ($) | HE 22: 14200
| Actual Cost when Dispatchable ($) | HE 22: 10500
| Total Cost for Segment ($) | HE 22: 24700
| Soak Cost ($/MWH) = Sum of soak fuel cost / Sum of Soak MWh = | HE 1: 22.3729
|  | HE 22 | HE 23 | HE 24 | HE 1 | HE 2 | HE 3 | HE 4 | HE 5
Settlement
Day Ahead | DA Offer MWH | 10 | 10 | 50 | 160 | 160 | 200 | 300 | 300
| DA Energy Offer ($/MWH) | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 17.5 | 17.5
| DA Award MWH | 10 | 10 | 50 | 160 | 160 | 200 | 300 | 300
| DA LMP ($/MWH) | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5
| DA Energy Credits ($) | 175 | 175 | 875 | 2800 | 2800 | 3500 | 5250 | 5250
| DA Operating Reserves' ($) | 48.7288 | 48.7288 | 243.6441 | 779.661 | 779.661 | 974.5763 | 0 | 0
|  | Day 1 Segment |  |  | Day 2 Segment |  |  | Total
| DA Energy Credits ($) | HE 22: 1225; 22.3729 HE 1: 19600; 22.3729 HE 4: 20825
| DA Operating Reserves ($) | HE 22: 1341.1017; 22.3729 HE 1: 2533.8983; 22.3729 HE 4: 3875
| Total DA Revenue($) | HE 22: 2566.1017; 22.3729 HE 1: 22133.8983; 22.3729 HE 4: 24700
|  | <--------------Day 1 Segment-----------------> |  |  | <---------------------------------Day 2 Segment---------------------------------->
Real Time | RT Offer MWH | 10 | 10 | 50 | 160 | 160 | 200 | 300 | 300
| RT Energy Offer ($/MWH) | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 22.3729 | 17.5 | 17.5
| RT Actual MWH | 10 | 10 | 50 | 160 | 160 | 200 | 300 | 300
| RT LMP ($/MWH) | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5
| RT Balancing Credits ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RT BOR' ($) | 223.7288 | 223.7288 | 1118.6441 | 3579.661 | 3579.661 | 4474.5763 | 5250 | 5250
|  | Day 1 Segment |  |  | Day 2 Segment |  |  | Total
| Balancing Credits ($) | HE 22: 0; 22.3729 HE 1: 0; 22.3729 HE 4: 0
| BOR Credits ($) | HE 22: 2.2737e-13; 22.3729 HE 1: 0; 22.3729 HE 4: 2.2737e-13
| Total RT Revenues ($) | HE 22: 2.2737e-13; 22.3729 HE 1: 0; 22.3729 HE 4: 2.2737e-13
For simplicity, in this example:
Average Heat rates are used, so No Load = 0,

## Delayed Soak Example
Delayed Soak Example
MG Submitted |  | 0 MWh |  | 10 MWh | 10 MWh | 50 MWh | 160 MWh |  | 160 MWh | 200 MWh | 300 MWh |  | 300 MWh
Actual |  | 0 MWh |  | 10 MWh | 10 MWh | 50 MWh | 160 MWh |  | 160 MWh | 160 MWh | 200 MWh |  | 300 MWh
| 300 |  | Total Soak MWh = 590 MWh
Actual Soak MWh = 550 MWh
Greater than 90% (531 MWh) - Buy back during Soak Time included in Operating Reserve Credits
250
200
MW | 150 | [10 empty] | After Soak Time Market Seller must
buy back 100 MWh at RT LMP
in Balancing Market
| 100 | [6 empty] | 40 MWh Buy Back at RT LMP minus DA LMP
included in Operating Reserve Credits
50
0
|  | HE 3 |  | HE 4 | HE 5 | HE 6 | HE 7 |  | HE 8 | HE 9 | HE 10 |  | HE11

## Faster Soak Example
Faster Soak Example
MG Submitted |  | 0 MWh |  | 10 MWh | 10 MWh | 50 MWh | 160 MWh | 160 MWh | 200 MWh | 300 MWh | 300 MWh
Actual |  | 0 MWh |  | 10 MWh | 10 MWh | 50 MWh | 160 MWh | 160 MWh | 300 MWh | 200 MWh | 300 MWh
| 300 |  | Total Soak MWh = 590 MWh
Actual Soak MWh = 690 MWh
Greater than 110% (649 MWh)
250
200
Since Soak MWh exceed 110%
MW | 150 | [8 empty] | Soak MWh are capped at 590 MWH
the extra 100 MWh produced HE9 are
not included in Operating Reserves Credits
100
50
0
|  | HE 3 |  | HE 4 | HE 5 | HE 6 | HE 7 | HE 8 | HE 9 | HE 10 | HE11