## High-Level Design Matrix
The purpose of this document is to display the high-level concept templates submitted by various stakeholders in a chart format. These are not proposals. This is meant to help stakeholders better understand the high-level design concepts to help inform the solutions options phase of CBIR.
| Key Work Activity | AMP | E-Cubed Policy Associates | IMM | MN8 | NRDC, Sierra Club, RMI | PJM
| Definition of Capacity | Definition of a capacity product may now need to incorporate reliability attributes and deliverability constraints. | A reliability call option with liquidated damages for non-performance and bonuses for over-performance | The capacity market is a market of physical assets, is a homogenous product, and is deliverable. | The capacity product is a reliability call option backed by a physical asset, where the “contractual terms” include defined performance obligations and measurement, triggering conditions (e.g., a pre-defined level of system tightness such as PAIs today), a penalty/reward framework, and more. | The capacity product is an obligation (by sellers) and expectation (by consumers) that capacity resources will be available consistent with an ELCC-category-specific set of performance assumptions. These assumptions are converted to a fungible UCAP value. Fungibility means that any MW of UCAP can be exchanged for any other without a resource adequacy impact, subject to locational constraints. It does not mean that all resources are operationally identical. | Capacity is defined as the commitment of a firm, physical resource to perform when needed by PJM in the delivery year, particularly during times of stressed system conditions.
8 | Seasonal Design Components | Four season approach with annual and sub-annual requirements. | Consideration made in offers so that resources can cover their annual going forward costs and reflect the risk of not clearing in one season. | No. Payment based on hourly availability is more accurate than seasonal. | There are benefits to seasonal market construct in a system with material reliability risks in multiple seasons. However, the implementation details matter, and in their absence, it's hard to arrive at a confident position. This should be assessed within the broader framework | Supports seasonal construct in general. Key design components include seasonally differentiated accreditations, procurement targets, and transmission constraints. A seasonal approach should account for maintenance in accreditation or require replacement capacity for planned/maintenance outages. Consider an annual clearing requirement to minimize uplift. | Move to a seasonal capacity market construct with the following key elements: • Seasonally differentiated demand side, with annual risks allocated across seasons ahead of the auctions, and capacity requirements or procurement targets are set for each season • Seasonally differentiated supply side, with eligibility requirements (e.g. winterization requirements for winter season; summer-only DR could sell in summer) and accreditation captured for each season • Seasonal market clearing, with differentiated seasonal clearing prices
2 | Reliability Risks and Drivers |  |  | Eliminate PAI and associated penalties. Incentives for performance are in energy and reserve markets. Capacity resources are paid only when available. | Extreme weather in both the summer and winter is the key driver of system stress today. The biggest threat to system reliability today stems from thermal resource reliability risk accounting and modelling - thermal resource reliability risks today are in some cases accounted for in the wrong place (on the demand side), and in other cases are underestimated or not modelled entirely (e.g., winter reliability risks). | • Allocate supply risks to the supply resources causing them. • Enhance RA models to better account for extreme weather events, including winter risk. • Eliminate incentives for fuel-risk arbitrage. | Option 1: Enhance resource adequacy models and tools to better capture future risk profiles, including: • Load Forecast enhancements, including move to hourly forecast • Move to hourly resource adequacy models for RTO and LDA reserve studies, consistent with ELCC analysis • Improved modeling of winter risk Option 2: Account for all supply side risks in the capacity accreditation of resources, including weather correlated outage risks in the summer (ambient derates) and the winter, planned and maintenance outages of thermal generation, variability risk of random forced outages, availability periods of DR, etc.
3 | Procurement Metric | Sum of LOLE across all months ≤ 0.10 Annual LOLE | Reassess the VRR Curve to let Net CONE be price at which the 1-in-10 LOLE is achieved | LOLE and EUE | Likely EUE, but the details matter | EUE | EUE
3 | Procurement Level | Option 1: Annual Capacity clears relative to a vertical line based on the VRR curve pegged at IRM + X% (e.g., Point B on VRR curve). Monthly capacity procured via declining clock auction. Quantity cleared based on quantity between Point B and Point C on VRR curve. Option 2: Quantity of capacity procured based on remaining requirement between the “baseload” quantity cleared in the BRA and the sub-annual period’s peak (either monthly or quarterly) plus reserves. Sub-annual capacity would clear based on declining clock auction | BRA to procure about 90% of 1-in-10 LOLE three years forward. Use IAs to procure remaining needs | Hourly reliability requirements account for actual characteristics of the resource including hourly availability and locational (nodal) availability. |  | Option 1: Pursue seasonal capacity market with separate, co-optimized seasonal procurement targets. Option 2: Under existing annual or seasonal construct, consider deferring part of capacity procurement to manage load forecast risks. (e.g., reintroduce the short-term resource procurement target). | Set EUE targets based on the “equivalent” EUE seen in models today when at a 1 day in 10 years LOLE.
4 | Performance Assessment |  | Measure performance during PAI based upon emergency conditions. PAI can be locational by LDA or within an LDA. Units subject to under-performance penalties and over-performance bonuses. This option would include clarification of the definition of a PAI and excusals from penalties. | Measured by modified EAF (equivalent availability factor) on an hourly basis. Resources are paid hourly and only when available and are not paid for hours when not available, regardless of reason. | This should be assessed within the broader framework | Performance assessment should align with expectations for availability that inform capacity accreditation.. As such, performance based on UCAP that reflects class-level assumptions captured in ELCC and allows for unit-specific adjustments. Risks that are already reflected in a unit's ELCC discount from nameplate do not result in penalties (other than if the owner fails to follow Good Utility Practice, is negligent or deceptive, etc.). Risks that are already reflected in the unit-specific adjustment lie on the resource. | Option 1: Maintain a performance-based assessment focused on times of system stress, but modify the trigger of performance assessments to use a nodal, LMP-based trigger that results in assessments for generation when prices reach a certain pre-determined threshold indicative of scarcity or stressed system conditions. Option 2: Use a combined trigger of status quo and LMP, such that PAIs are only triggered for generators when in an Emergency Action and LMP exceeds the $X price threshold.
5 | Qualification and Accreditation | Option 1: ELCC Option 2: ELCC for thermal | Marginal ELCC | Modified EAF is the only metric. Based on historical availability. ELCC eliminated. | This should be assessed within the broader framework | ELCC for all resources. Allow for individual unit-specific performance adjustments. | • Marginal accreditation framework for all resources (e.g. ELCC) • Account for winterization standards for generators coming out of NERC that are under review (EOP-12-1) in the qualifications for capacity resources committed in the winter season. • Allow single-season resources to qualify and participate in their respective seasons on a standalone basis under a seasonal construct.
6 | Obligations of Capacity Resources | All capacity units must have a capacity market must offer obligation. In addition, any uncleared capacity that has a must offer requirement must participate in the sub-annual auctions | •All resources (all resource types) that have capacity commitments, there is a must offer obligation to offer into RPM auctions. Resources that do not have capacity commitments do not have a must offer requirement. • All resources (all resource types) with capacity commitments have a must offer obligation into the Day-ahead energy markets and offer to be available in real-time. | Same obligations for all resources, including DR. Available to produce energy hourly at ICAP. • Deliverable energy at ICAP hourly • Must offer in capacity market at full capacity value • Must offer in energy market (ICAP) • Outages must be reported • Energy from capacity resources is recallable in an emergency | This should be assessed within the broader framework | This should be assessed within the broader framework, but generally obligations should be consistent with modeling/forecasts for resource performance. | Generation energy market must offer requirement: • Thermal Resources: Generally same concept as today (committed ICAP adj. for outages) with some changes / clarifications • Variable Resources (wind/solar/intermittent hydro): Must offer forecast expectation (median or P50). • Batteries: Require use of PJM central optimizer when it becomes available (with limited exceptions) • Pumped Hydro: Require use of PJM central optimizer now (with limited exceptions) • Hybrids: Net of variable profile expectation and storage profile, within MFO. Battery rules apply to storage profile. • Readily Deployable Hydro (non-pumped): Must be available to PJM for dispatch (within their physical limitations) every hour of every day, unless on forced outage.
7 | Enhancements to the Procurement Process | Option 1: Status Quo (3 Year Forward Procurement) Option 2: Less than 3-year forward procurement Annual Residual Auction (ARA) Option 3: Locational Resource Reliability Requirement Procurement - LSEs procure capacity via self-supply, RFPs, bilateral transactions, exchanges, etc. | Account for stochastic output in determining CETO/CETL | Must Offer Requirement applied to uniformly to all capacity resources. |  | Option 1: Shorten auction forward procurement period. Option 2: LSEs can opt for partial FRR or enhanced self-supply options.
9 | Supply-Side Market Power Mitigation Rules | MSOC defined by a unit specific algorithmic, verifiable method. No default value. | MSOC defined by a unit specific algorithmic, verifiable method for risks above Default MSOC. Use known historic PAI by zone (or sub-zone) as expected penalty intervals, penalty assumed PAI intervals to craft a default MSOC. | Status Quo for NetACR and CPQR. Forward looking E&AS Offset. | This should be assessed within the broader framework |  | Enhance current rules on MSOC to ensure resources are able to fully reflect their economic costs of taking on a capacity commitment for the delivery year, and improve the review process.