## Default MOPR Summary
Default MOPR Floor Prices for 2022 BRA |  |  |  | 2020-03-12
Resource Type | Fixed O&M ($/kW-year) | Installed Capital Cost, ($/kW) | Investment Tax Credit % | Gross CONE ($/MW-Day) (Nameplate) | Average Zonal Net Energy Revenue Offset ($/MW-Day) (Nameplate) | Average Zonal Net Ancillary Services Revenue Offset ($/MW-Day) (Nameplate) | Net CONE ($/MW-Day) (Nameplate) | Capacity Value (% Nameplate MW) | Net CONE ($/ICAP-MW-Day) (MOPR Floor Price)
Nuclear | 122 | 6041 | NA | 2000 | 508 | 9 | 1483 |  | 1483
Coal | 41 | 3676 | NA | 1068 | 34 | 9 | 1025 |  | 1025
Combined Cycle |  |  | NA | 320 | 159 | 9 | 152 |  | 152
Combustion Turbine |  |  | NA | 294 | 42 | 6 | 246 |  | 246
Solar PV (Tracking) | 15 | 1313 | 30% | 290 | 176 | 9 | 105 | 60% | 175
Solar PV (Fixed) | 14 | 1234 | 30% | 271 | 108 | 9 | 154 | 42% | 366.6667
Onshore Wind | 35 | 1677 | 30% | 420 | 231 | 9 | 180 | 17.6% | 1022.7273
Offshore Wind | 110 | 4375 | 30% | 1155 | 328 | 9 | 818 | 26% | 3146.1538
Battery Energy Storage | 25 | 1389 | NA | 532 | 107 | 9 | 416 | 40% | 1040
Notes:
Fixed O&M and installed capital costs are from EIA report 2020. Solar PV (fixed) costs are 94% of the costs for Solar PV (Tracking). Nuclear and Coal Fixed O&M costs were reduced by $20 and $25 respectively in calculating Gross CONE.
Combined Cycle and Combustion Turbine CONE values are average of CONE area values from 2018 Quadrennial Study for 2022.
Solar and Wind Investment Tax Credit depends on start of the construction. An optimistic 30% value is assumed implying Solar construction started before 1/1/2020 and Wind construction started before 1/1/2017.
Class average capacity values as percent of nameplate MW Solar and Wind generation are used to calculate Net CONE in $/ICAP-MW-Day.
Battery energy storage costs are for a 4 hour plant with 15 year life. Gross CONE is calculated based on 15 year economic life and a 40% capacity value as percent of nameplate capacity is used to calculate Net CONE in $/ICAP-MW-Day.
Net Energy Revenue Offset is based on methodologies described in posted 3/11/2020 MIC material and Ancillary Service revenue Offset is based on reactive services of $3350/MW-year or $9/MW-day. The CT value is from the tariff: $2199/MW-year of $6/MW-day.

## Zonal Net CONE
Solar PV (Tracking) |  |  | Solar PV (Fixed) |  |  | Onshore Wind |  |  | Offshore Wind |  |  | Battery Energy Storage |  |  | Combustion Turbine |  |  | Combined Cycle |  |  | Nuclear |  |  | Coal
All quantities in $/MW-Day (Nameplate) |  |  | All quantities in $/MW-Day (Nameplate) |  |  | All quantities in $/MW-Day (Nameplate) |  |  | All quantities in $/MW-Day (Nameplate) |  |  | All quantities in $/MW-Day (Nameplate) |  |  | All quantities in $/MW-Day (Nameplate) |  |  | All quantities in $/MW-Day (Nameplate) |  |  | All quantities in $/MW-Day (Nameplate) |  |  | All quantities in $/MW-Day (Nameplate)
Gross CONE |  | 290 | Gross CONE |  | 271 | Gross CONE |  | 420 | Gross CONE |  | 1155 | Gross CONE |  | 532 | Gross CONE |  | 294 | Gross CONE |  | 320 | Gross CONE |  | 2000 | Gross CONE |  | 1068
Net Ancillary Revenue Offset |  | 9 | Net Ancillary Revenue Offset |  | 9 | Net Ancillary Revenue Offset |  | 9 | Net Ancillary Revenue Offset |  | 9 | Net Ancillary Revenue Offset |  | 9 | Net Ancillary Revenue Offset |  | 6 | Net Ancillary Revenue Offset |  | 9 | Net Ancillary Revenue Offset |  | 9 | Net Ancillary Revenue Offset |  | 9
Zone | Net Energy Revenue Offset | Net CONE | Zone | Net Energy Revenue Offset | Net CONE | Zone | Net Energy Revenue Offset | Net CONE | Zone | Net Energy Revenue Offset | Net CONE | Zone | Net Energy Revenue Offset | Net CONE | Zone | Net Energy Revenue Offset | Net CONE | Zone | Net Energy Revenue Offset | Net CONE | Zone | Net Energy Revenue Offset | Net CONE | Zone | Net Energy Revenue Offset | Net CONE
AECO | 158 | 123 | AECO | 96 | 166 | AECO | 223 | 188 | AECO | 311.9533 | 834.0467 | AECO | 92.6599 | 430.3401 | AECO | 20.5559 | 267.4441 | AECO | 104.6337 | 206.3663 | AECO | 471.6176 | 1519.3824 | AECO | 20.4616 | 1038.5384
AEP | 181 | 100 | AEP | 111 | 151 | AEP | 230 | 181 | AEP | 329.4585 | 816.5415 | AEP | 103.0716 | 419.9284 | AEP | 47.288 | 240.712 | AEP | 185.5001 | 125.4999 | AEP | 513.7342 | 1477.2658 | AEP | 49.2868 | 1009.7132
APS | 182 | 99 | APS | 112 | 150 | APS | 236 | 175 | APS | 335.957 | 810.043 | APS | 106.1124 | 416.8876 | APS | 78.7247 | 209.2753 | APS | 240.6174 | 70.3826 | APS | 527.0528 | 1463.9472 | APS | 30.5215 | 1028.4785
ATSI | 191 | 90 | ATSI | 117 | 145 | ATSI | 237 | 174 | ATSI | 340.6793 | 805.3207 | ATSI | 113.658 | 409.342 | ATSI | 57.5056 | 230.4944 | ATSI | 193.7834 | 117.2166 | ATSI | 532.9396 | 1458.0604 | ATSI | 49.8107 | 1009.1893
BGE | 200 | 81 | BGE | 122 | 140 | BGE | 258 | 153 | BGE | 366.1907 | 779.8093 | BGE | 132.317 | 390.683 | BGE | 57.2888 | 230.7112 | BGE | 214.8232 | 96.1768 | BGE | 593.8 | 1397.2 | BGE | 35.8217 | 1023.1783
COMED | 161 | 120 | COMED | 99 | 163 | COMED | 197 | 214 | COMED | 286.1437 | 859.8563 | COMED | 97.404 | 425.596 | COMED | 20.4377 | 267.5623 | COMED | 103.318 | 207.682 | COMED | 420.5201 | 1570.4799 | COMED | 30.7968 | 1028.2032
DAYTON | 190 | 91 | DAYTON | 117 | 145 | DAYTON | 235 | 176 | DAYTON | 339.123 | 806.877 | DAYTON | 111.7232 | 411.2768 | DAYTON | 54.9401 | 233.0599 | DAYTON | 194.7515 | 116.2485 | DAYTON | 536.17 | 1454.83 | DAYTON | 48.2171 | 1010.7829
DEOK | 188 | 93 | DEOK | 116 | 146 | DEOK | 231 | 180 | DEOK | 333.1915 | 812.8085 | DEOK | 117.0406 | 405.9594 | DEOK | 62.6958 | 225.3042 | DEOK | 194.2515 | 116.7485 | DEOK | 532.1154 | 1458.8846 | DEOK | 49.5665 | 1009.4335
DOM | 191 | 90 | DOM | 117 | 145 | DOM | 249 | 162 | DOM | 353.238 | 792.762 | DOM | 122.1043 | 400.8957 | DOM | 35.5793 | 252.4207 | DOM | 158.3224 | 152.6776 | DOM | 568.0137 | 1422.9863 | DOM | 47.2168 | 1011.7832
DPL | 173 | 108 | DPL | 105 | 157 | DPL | 243 | 168 | DPL | 342.1925 | 803.8075 | DPL | 125.4239 | 397.5761 | DPL | 43.8228 | 244.1772 | DPL | 150.3444 | 160.6556 | DPL | 525.4077 | 1465.5923 | DPL | 34.8148 | 1024.1852
DUQ | 189 | 92 | DUQ | 116 | 146 | DUQ | 234 | 177 | DUQ | 336.1165 | 809.8835 | DUQ | 114.6726 | 408.3274 | DUQ | 57.1331 | 230.8669 | DUQ | 194.1541 | 116.8459 | DUQ | 524.734 | 1466.266 | DUQ | 48.2929 | 1010.7071
EKPC | 173 | 108 | EKPC | 106 | 156 | EKPC | 219 | 192 | EKPC | 315.6452 | 830.3548 | EKPC | 98.3765 | 424.6235 | EKPC | 31.5695 | 256.4305 | EKPC | 145.0012 | 165.9988 | EKPC | 488.8054 | 1502.1946 | EKPC | 33.6335 | 1025.3665
JCPL | 160 | 121 | JCPL | 98 | 164 | JCPL | 224 | 187 | JCPL | 312.8359 | 833.1641 | JCPL | 92.7609 | 430.2391 | JCPL | 20.5815 | 267.4185 | JCPL | 106.7101 | 204.2899 | JCPL | 473.9991 | 1517.0009 | JCPL | 20.2098 | 1038.7902
METED | 167 | 114 | METED | 102 | 160 | METED | 226 | 185 | METED | 318.1064 | 827.8936 | METED | 105.5784 | 417.4216 | METED | 39.9695 | 248.0305 | METED | 147.2968 | 163.7032 | METED | 485.0776 | 1505.9224 | METED | 35.2869 | 1023.7131
PECO | 157 | 124 | PECO | 96 | 166 | PECO | 219 | 192 | PECO | 306.998 | 839.002 | PECO | 88.8931 | 434.1069 | PECO | 28.226 | 259.774 | PECO | 121.8774 | 189.1226 | PECO | 461.2899 | 1529.7101 | PECO | 19.2026 | 1039.7974
PENELEC | 175 | 106 | PENELEC | 107 | 155 | PENELEC | 229 | 182 | PENELEC | 325.1174 | 820.8826 | PENELEC | 100.0573 | 422.9427 | PENELEC | 67.6756 | 220.3244 | PENELEC | 216.697 | 94.303 | PENELEC | 500.2446 | 1490.7554 | PENELEC | 32.2825 | 1026.7175
PEPCO | 193 | 88 | PEPCO | 118 | 144 | PEPCO | 251 | 160 | PEPCO | 355.997 | 790.003 | PEPCO | 122.5908 | 400.4092 | PEPCO | 37.1549 | 250.8451 | PEPCO | 167.9277 | 143.0723 | PEPCO | 574.6845 | 1416.3155 | PEPCO | 18.961 | 1040.039
PPL | 158 | 123 | PPL | 97 | 165 | PPL | 218 | 193 | PPL | 305.5718 | 840.4282 | PPL | 93.9969 | 429.0031 | PPL | 30.1246 | 257.8754 | PPL | 122.0958 | 188.9042 | PPL | 458.9876 | 1532.0124 | PPL | 18.9285 | 1040.0715
PSEG | 162 | 119 | PSEG | 99 | 163 | PSEG | 227 | 184 | PSEG | 316.5532 | 829.4468 | PSEG | 95.6102 | 427.3898 | PSEG | 20.7779 | 267.2221 | PSEG | 106.7729 | 204.2271 | PSEG | 484.9749 | 1506.0251 | PSEG | 24.9737 | 1034.0263
RECO | 166 | 115 | RECO | 101 | 161 | RECO | 228 | 183 | RECO | 319.7033 | 826.2967 | RECO | 101.0025 | 421.9975 | RECO | 24.6503 | 263.3497 | RECO | 114.2345 | 196.7655 | RECO | 491.9006 | 1499.0994 | RECO | 24.9295 | 1034.0705
Average | 176 | 105 | Average | 108 | 154 | Average | 231 | 180 | Average | 328 | 818 | Average | 107 | 416 | Average | 42 | 246 | Average | 159 | 152 | Average | 508 | 1483 | Average | 34 | 1025