## Setup
Enter Stakeholder Committee Name in cell A2:
MIC Special Session
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Review of Real Time Values Market Rules

## 1. Interest Identification
MIC Special Session
Review of Real Time Values Market Rules
Interest Identification
Instructions: List interests of all parties on this page.
Operational Awareness
1 | Maintain operational awareness of actual unit ability in dispatch
Appropriate Incentives
2 | Create a process that aligns incentives to make a unit available and flexible
3 | Maintain Competitive Market Outcomes
4 | Maintain CP incentives for flexibility
5 | Consistent rules and treatments for all resources (maintain fairness)
6 | Incent flexibility
7 | Prevent Withholding
8 | Prevent Uplift
Compliance
9 | Ensure a transition period for any new rules to allow resources to adjust and maintain compliance
10 | Create clear defintiions for RTV reasons
11 | Expand clarity on proper use of RTVs going forward
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26

## 2. Options Matrix- Design Comp.
MIC Special Session
Review of Real Time Values Market Rules
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E | F | G | H | I | J | K
* | Implementation
1 | Market participant Consequences for not reflecting known actual operating conditions in submitted operating parameters (not using RTV). This excludes failing to meet submitted operating parameters due to emergent, unforeseen issues at the plant eg. issues during startup or unit trip. | High | If a unit fails to follow submitted parameters, dispatch reports parameter discrepancy and PJM follows up with market participant. (FERC market behavior rules: "CFR §35.41 Market behavior rules.(b) Communications. A Seller must provide accurate and factual information and not submit false or misleading information, or omit material information, in any communication with the Commission, Commission-approved market monitors, Commission-approved regional transmission organizations, Commission-approved independent system operators, or jurisdictional transmission providers, unless Seller exercises due diligence to prevent such occurrences.") | The unit is forced on to the cost offer only for a period of 6 months. | Penalties for hours RTV submitted with discrepancies . | Forced outage for calculation of EFORd required for period of increased notification time/ start time/ min down time | X period worth of capacity payments returned (doesn't affect capacity that hasn’t cleared). | Include in the OATT specific provisions for PJM to review and potentially refer the generator to FERC | Flat fee : e.g. $X/incident | 1/20 of your daily capacity revenue (day 2 1/10, day 3 3/20) for consecutive days | Emergency Max * LMP at the pnode for 24 hours - keyed off the dispatcher discrepancy report | Multiple discrepancies/incidences may result in referral (Voilation outlined in the OATT)
2 | Market participant Consequences for using RTV to override unit specific parameters on the price based PLS or cost based schedules. | High | Forfeit Make-whole if committed on Price PLS or Cost Schedule that have RTV that are less flexible than the unit's USP Values. Make whole can be paid out if proper documentation is submitted within 30 days of billing cycle as per M11. | The unit is forced on to the cost offer only for a period of one month. | Lesser penalties assessment charges than above for hours RTV submitted. | $/MW-day RPM revenue returned by hourly difference of PLS v RTV. (However, this option doesn't affect capacity that hasn’t cleared). | Penalize non CP units -- cannot be used for replacement capacity for X days | Smaller flat fee : e.g. $X/incident/Y | Fee for using RTVs anytime | RTV Assessment charge of Sum(Emergency Max * LMP a the bus each hour that they use the RTV in the schedule)/20 **Need to consider negative or $0 LMP | Hot Weather or Cold Weather Alert – if the schedule has a RTV a adjustment charge is assessed | If the unit fails TPS – the assessment charge is assessed if there is an RTV in the cost schedule (even if mitigated to price schedule)
3 | Alternative means of communicating changes to true operating parameters | Low | Calling dispatch, operational restrictions field in MKTs gateway, eDart tickets | A: All parameters to be reflected in Markets Gateway, in submitted parameter values or operational restrictions field.
4 | Timeline of RTV submittal | Medium | When. 7 days in advance through current operating day | A: Use RTVs after DA closes - updating dispatch for RT only; B: Remove ability to use IDO when using RTV; C: Eliminate RTV (coupled with above penalties for not meeting parameters); D: RTVs cannot be used in Hot Weather and Cold Weather alerts
5 | How RTVs can be submitted | Low | Through MKTs gateway
6 | Commitment process using RTVs | Low | Market Participants must first submit a RTV exception, then are able to update the corresponding parameter(s) on the Cost and/or Price PLS schedule. Once updated, DA and/or SCED will use the submitted parameter value in commitment decisions based on the following priority (hourly schedule level values, daily schedule level values, unit level values). | A: Parameter values as submitted in unit schedules. To the extent possible, market tools should use accurate parameters to model generator capability.
7 | Eligible parameters for RTV | Medium | Turn Down Ratio o Minimum Down Time o Minimum Run Time o Maximum Run Time o Start Up Time o Notification Time | A: Remove Notification time; B: Remove all
8 | Dispatch process using RTVs when on PLS. | Low | Market Participants must first submit a RTV exception, then are able to update the corresponding parameter(s) on the Cost and/or Price PLS schedule. Once updated, SCED will use the submitted parameter value in dispatch decisions based on the following priority (hourly schedule level values, daily schedule level values, unit level values). | A: Parameter values as submitted in unit schedules. To the extent possible, market tools should use accurate parameters to model generator capability.
9 | Valid reasons for using RTV in place of approved unit specific operating parameters.(no consequence for using RTV) | Medium | Undefined in manual & RTV absent from Tariff (Section 2.3.4.4 M11): Real Time Values should be utilized when a resource cannot operate according to the unit specific parameters (Capacity Performance and Base Capacity resources), default Parameter Limited Schedules (non-Capacity Performance resources), or approved Parameter Limit exceptions. | A: All reasons are valid; B: No reasons are valid; C: Specific list of when can be used; D: Only to be used in RT (see above); E: Only valid reasons are PLS exception reasons (physical reasons only); F: Add RTV to the OATT. RTV are available to use when market participants cannot meet their parameter limits but always subject to above assement charges.
10 | Market participant Incentives to provide accurate info | Low | N/A | A: Penalty for not providing accurate parameters (see above)
11 | Credits for penalty allocation | Medium | N/A | A: Energy Mkt Penalty (e.g. deviations) - back to Load; B: If RPM revenue - back to LSEs; C: Those penalties are allocated back to LSE by hourly load share
12 | Process & timeline for submitting documentation to support RTV justification | Low | Generation Capacity Resource that operates outside of its unit-specific parameters will not receive Operating Reserve Credits nor be made whole for such operation when not dispatched by the Office of the Interconnection, unless the Market Seller of the Generation Capacity Resource can justify to the Office of the Interconnection that operation outside of such unit-specific parameters was the result of an actual constraint.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
MIC Special Session
Review of Real Time Values Market Rules
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
MIC Special Session
Review of Real Time Values Market Rules
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
MIC Special Session
Review of Real Time Values Market Rules
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | IMM Proposal | PJM Proposal | C | D | E | PJM Clean Updated Proposal
* | Implementation
1 | Market participant Consequences for not reflecting known actual operating conditions in submitted operating parameters (not using RTV). This excludes failing to meet submitted operating parameters due to emergent, unforeseen issues at the plant eg. issues during startup or unit trip. | High | If a unit fails to follow submitted parameters, dispatch reports parameter discrepancy and PJM follows up with market participant. (FERC market behavior rules: "CFR §35.41 Market behavior rules.(b) Communications. A Seller must provide accurate and factual information and not submit false or misleading information, or omit material information, in any communication with the Commission, Commission-approved market monitors, Commission-approved regional transmission organizations, Commission-approved independent system operators, or jurisdictional transmission providers, unless Seller exercises due diligence to prevent such occurrences.") | Considered a violation of FERC market behavior rules. Daily financial penalty in PJM tariff when incorrect parameter identified by PJM or IMM in any submitted offer (PLS or non-PLS) and Market Participant/PJM was not having technical issues submitting actual operating parameters. For committed capacity resources, two times the penalty for using RTVs assuming RTVs submittals for the last 12 months. If violation coincides with PAI, penalty for that day will be max (penalty for inaccurate parameter, capacity deficiency charges, nonperformance assessment charges). For resources without capacity commitment, a fixed escalating penalty. First violation - $1,000, second violation $2,000 and so on | PJM will include RTV in the tariff including that multiple discrepancies or incidences of misrepresentation of parameters may result in PJM, with the timely advice and input from the Market Monitor, referring the market seller to FERC. 2. Market Participant will be required to enter a forced outage ticket into eGADS for the period of increased notification, start-up time and/or minimum downtime. | Status quo; i.e., 18 CFR 35.41 (FERC Market Behavior Rules) governs failure to submit an RTV to reflect known operating conditions. No explicit penalties required. | Same as PJM Proposal - known actual operating conditions should be reflected in RTV for the sake of Operational Awareness | Receive a Forced Outage for not meeting the PLS if there is a failure to reflect actual known operating conditions in the RTV. For example, if the PLS notification time is 1 hour, and the resource fails to update RTV to reflect a 3 hour notification time due to not being staffed AND the resource hits the bus 2 hours late it would receive a forced outage for two hours. Conditions: forced outage penalty only applies during enumerated system conditions: Hot Weather Alert, Cold Weather Alert, Max Gen Emergency. | PJM will include RTV in the tariff including that multiple discrepancies or incidences of misrepresentation of parameters may result in PJM, the with timely advice and input from the Market Monitor, referring the market seller to FERC. Market Participant will be required to enter a forced outage ticket into eGADS for the period of increased notification, start-up time and/or minimum downtime.
2 | Market participant Consequences for using RTV to override unit specific parameters on the price based PLS or cost based schedules. | High | Forfeit Make-whole if committed on Price PLS or Cost Schedule that have RTV that are less flexible than the unit's USP Values. Make whole can be paid out if proper documentation is submitted within 30 days of billing cycle as per M11. | Forfeit capacity revenues on a daily basis. Calculated as: (BRA Price*Committed UCAP*Penalty Intervals)/288 Where Penalty Intervals = max (Min Run Time * A, Economic Intervals), where: A = 0 when unit is either unavailable or online for all 24 hours, else 1. Economic Intervals = number of intervals during the day in which: 1) the unit submitted an RTV more inflexible than its PLS and 2) the unit was available and offline and 3) the unit lowest offer at Eco Min is equal to or less than the RT LMP If RTV submission coincides with PAI, penalty for that day will be max (RTV capacity penalty, capacity deficiency charges, nonperformance assessment charges). | In the case when market participants use RTV to override unit specific parameters on the price based PLS or cost based schedules (the unit specific parameter or any approved PLS exception), the consequences are the following: In addition to the status quo on make whole payments, During a hot weather or cold weather alert or max generation emergency: if market participant uses RTVs to modify a schedule resulting in an offer with more limited parameters (For PJM), unless it is a physical limitation, PJM has the option to refer the Market Seller to the FERC. Additionally documentation of the physical limitation must be provided to PJM within 3 business days. | RTV override penalty: Required forced outage for duration of RTV override (penalty is in addition to loss of recourse to make-whole payments). RTV overrides subject to penalty: penalties only apply to start-up and notification time parameter RTV overrides. See Row 9 below. Conditions: forced outage penalty only applies during enumerated system conditions: Hot Weather Alert, Cold Weather Alert, Max Gen Emergency. Resource can utilize Manual 11, 2.3.4.4 to seek make whole compensation. | No penalty or consequences for overriding unit specific parameters, as long as the RTV reflect known actual operating conditions. Penalties for overiding unit specific parameters to reflect known actual operating conditions would discourage the use of RTV to reflect known actual operating conditions. | No penalty or consequences for overriding unit specific parameters, as long as the RTV reflect known actual operating conditions. Penalties for overiding unit specific parameters to reflect known actual operating conditions would discourage the use of RTV to reflect known actual operating conditions. | In the case when market participants use RTV to override unit specific parameters on the price based PLS or cost based schedules (the unit specific parameter or any approved PLS exception), the consequences are the following: In addition to the status quo on make whole payments, during a hot weather or cold weather alert or max generation emergency: if market participant uses RTVs to modify a schedule resulting in an offer with more limited parameters (for PJM), unless it is a physical limitation, PJM has the option to refer the Market Seller to the FERC. Additionally documentation of the physical limitation must be provided to PJM within 3 business days.
3 | Alternative means of communicating changes to true operating parameters | Low | Calling dispatch, operational restrictions field in MKTs gateway, eDart tickets | Status Quo. (If actual operating parameters are different than the submitted parameters, consequences as described in component 1). | Status Quo | Status quo | Status Quo | Status Quo | Status Quo
4 | Timeline of RTV submittal | Medium | When. 7 days in advance through current operating day | Status Quo | RTV submittal will not carry forward. RTV request time period cannot exceed one market day. When an RTV is requested it will be available for that one day then the schedule will revert to the previous day’s values (for the entire schedule). Participants will need to be aware that their schedule from the day that has the RTV will not roll forward and RTVs will need to be entered each day they are needed. | Status quo | Status Quo | Status Quo | RTV submittal will not carry forward. RTV request time period cannot exceed one market day. When an RTV is requested it will be available for that one day then the schedule will revert to the previous day’s values (for the entire schedule). Participants will need to be aware that their schedule from the day that has the RTV will not roll forward and RTVs will need to be entered each day they are needed.
5 | How RTVs can be submitted | Low | Through MKTs gateway | Status Quo | Status Quo | Status quo | Status Quo | Status Quo | Status Quo
6 | Commitment process using RTVs | Low | Market Participants must first submit a RTV exception, then are able to update the corresponding parameter(s) on the Cost and/or Price PLS schedule. Once updated, DA and/or SCED will use the submitted parameter value in commitment decisions based on the following priority (hourly schedule level values, daily schedule level values, unit level values). | Status Quo | Status Quo | Status quo | Status Quo | Status Quo | Status Quo
7 | Eligible parameters for RTV | Medium | Turn Down Ratio o Minimum Down Time o Minimum Run Time o Maximum Run Time o Start Up Time o Notification Time | Status Quo minus minimum run time, specify in tariff | Status Quo | Status quo | Status Quo | Status Quo | Status Quo
8 | Dispatch process using RTVs when on PLS. | Low | Market Participants must first submit a RTV exception, then are able to update the corresponding parameter(s) on the Cost and/or Price PLS schedule. Once updated, SCED will use the submitted parameter value in dispatch decisions based on the following priority (hourly schedule level values, daily schedule level values, unit level values). | Status Quo | Status Quo | Status quo | Status Quo | Status Quo | Status Quo | Low
9 | Valid reasons for using RTV in place of approved unit specific operating parameters.(no consequence for using RTV) | Medium | Undefined in manual & RTV absent from Tariff (Section 2.3.4.4 M11): Real Time Values should be utilized when a resource cannot operate according to the unit specific parameters (Capacity Performance and Base Capacity resources), default Parameter Limited Schedules (non-Capacity Performance resources), or approved Parameter Limit exceptions. | If a unit is derated with a valid outage ticket, or a unit self schedules at fixed output for testing and equipment checks, RTVs to reflect lower Turn Down Ratio are appropriate. | None | Valid reasons for using RTV in place of approved unit specific operating parameters: Status Quo - an RTV can be submited for all parameters listed in OA 6.6. | Status Quo - If RTV are to provide Operational Awareness to the fullest extent possible, they must reflect known actual operating conditions, regardless of the reason for these operating conditions. Therefore, there cannot be a list of "valid" reasons for using RTV. Instead it must be clear there are no "invalid" reasons for using RTV, but they must reflect known actual operating conditions. | Status Quo - If RTV are to provide Operational Awareness to the fullest extent possible, they must reflect known actual operating conditions, regardless of the reason for these operating conditions. Therefore, there cannot be a list of "valid" reasons for using RTV. Instead it must be clear there are no "invalid" reasons for using RTV, but they must reflect known actual operating conditions. | None | Low - Medium
10 | Market participant Incentives to provide accurate info | Low | N/A | NA. See solution to design component 1. | Status Quo | N/A. See Status Quo solution to design component 1. | Penalizing the failure to accurately represent unit parameters, and not penalizing the representation of known actual operating conditions will provide powerful incentives to provide accurate information and achieve Operational Awareness. | Penalizing the failure to accurately represent unit parameters, and not penalizing the representation of known actual operating conditions will provide powerful incentives to provide accurate information and achieve Operational Awareness. | Status Quo | Low - High
11 | Credits for penalty allocation | Medium | N/A | Daily RT Load. | N/A | N/A | Penalties for not representing known actual operating conditions will be allocated back to load on an hourly basis. | N/A | N/A | Medium
12 | Process & timeline for submitting documentation to support RTV justification | Low | Generation Capacity Resource that operates outside of its unit-specific parameters will not receive Operating Reserve Credits nor be made whole for such operation when not dispatched by the Office of the Interconnection, unless the Market Seller of the Generation Capacity Resource can justify to the Office of the Interconnection that operation outside of such unit-specific parameters was the result of an actual constraint. | Status quo. State in tariff. | Status Quo | Status quo | Status Quo | Status Quo | Status Quo | Medium - High
13 | Implementation Date |  | N/A | Upon FERC Approval | Upon FERC Approval | June 1, 2022 is effective date for OA/Tariff changes. This start date allows for reflection of rule change in resource sell-offers in the BRA for the 22/23 DY. | Any proposed changes impacting the use of RTV should not be implemented for any delivery years for which an RPM BRA has already cleared. | June 1, 2022 is effective date for OA/Tariff changes. This start date allows for reflection of rule change in resource sell-offers in the BRA for the 22/23 DY. | Upon FERC Approval | High
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
MIC Special Session
Review of Real Time Values Market Rules
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
MIC Special Session
Review of Real Time Values Market Rules
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description
Defining violations
Approval process for RTV

## Revision History
MIC Special Session
Review of Real Time Values Market Rules
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3

## Sheet1
We will return at 10:37