## 23.24 DR Seasonal Test Data
Data Description
The table below provides information from the 2023/2024 seasonal DR test results, and compares total meter readings of the registrations in the zone for each hour of the test to the total seasonal Firm Service Level (FSL) of such registrations.
The data is limited to Firm Service Level registrations that provided meter readings in their submitted test data for such hours and only includes initial test results (no retest data).
Data for zones that contain test results for less than 4 CSPs is not shown or included in totals due to confidentiality rules.
Zone | Test DateTime | Season | Registration Count | Meter Reading (MW) | Seasonal FSL (MW) | Difference: FSL - Meter Reading (MW)
AECO | 2023-06-23 14:00 | Summer | 169 | 51.0929 | 42.8399 | -8.253
AECO | 2023-06-23 15:00 | Summer | 169 | 52.6337 | 42.8399 | -9.7938
AECO Average |  |  |  | 51.8633 | 42.8399 | -9.0234
AEP | 2023-12-06 16:00 | Winter | 1728 | 1441.7683 | 1654.1838 | 212.4155
AEP | 2023-12-06 17:00 | Winter | 1728 | 1418.7238 | 1654.1838 | 235.4599
AEP Average |  |  |  | 1430.2461 | 1654.1838 | 223.9377
APS | 2023-09-27 13:00 | Summer | 1234 | 646.9962 | 419.4186 | -227.5775
APS | 2023-09-27 14:00 | Summer | 1234 | 627.6704 | 419.4186 | -208.2518
APS Average |  |  |  | 637.3333 | 419.4186 | -217.9147
ATSI | 2023-11-14 16:00 | Winter | 1143 | 1141.4653 | 1099.4912 | -41.9742
ATSI | 2023-11-14 17:00 | Winter | 1143 | 1135.6697 | 1099.4912 | -36.1785
ATSI Average |  |  |  | 1138.5675 | 1099.4912 | -39.0764
BGE | 2024-03-19 16:00 | Winter | 753 | 218.638 | 234.1709 | 15.5329
BGE | 2024-03-19 17:00 | Winter | 753 | 218.6561 | 234.1709 | 15.5148
BGE Average |  |  |  | 218.647 | 234.1709 | 15.5239
COMED | 2023-08-16 16:00 | Summer | 2520 | 1933.3059 | 2001.7387 | 68.4329
COMED | 2023-08-16 17:00 | Summer | 2520 | 1928.0341 | 2001.7387 | 73.7046
COMED Average |  |  |  | 1930.67 | 2001.7387 | 71.0687
DAY | 2024-02-15 16:00 | Winter | 200 | 197.4253 | 174.8928 | -22.5324
DAY | 2024-02-15 17:00 | Winter | 200 | 205.6697 | 174.8928 | -30.7768
DAY Average |  |  |  | 201.5475 | 174.8928 | -26.6546
DEOK | 2023-06-29 14:00 | Summer | 487 | 192.5789 | 182.8603 | -9.7186
DEOK | 2023-06-29 15:00 | Summer | 487 | 193.4225 | 182.8603 | -10.5622
DEOK Average |  |  |  | 193.0007 | 182.8603 | -10.1404
DOM | 2023-08-24 13:00 | Summer | 1372 | 940.5816 | 815.5264 | -125.0552
DOM | 2023-08-24 14:00 | Summer | 1372 | 940.8619 | 815.5264 | -125.3355
DOM Average |  |  |  | 940.7217 | 815.5264 | -125.1953
DPL | 2024-02-15 16:00 | Winter | 386 | 149.1097 | 146.6944 | -2.4153
DPL | 2024-02-15 17:00 | Winter | 386 | 145.8617 | 146.6944 | 0.8327
DPL Average |  |  |  | 147.4857 | 146.6944 | -0.79131
DUQ | 2023-07-25 12:00 | Summer | 511 | 179.6651 | 152.5075 | -27.1577
DUQ | 2023-07-25 13:00 | Summer | 511 | 174.151 | 152.5075 | -21.6435
DUQ Average |  |  |  | 176.9081 | 152.5075 | -24.4006
EKPC | 2023-10-12 14:00 | Summer | * | * | * | *
EKPC | 2023-10-12 15:00 | Summer | * | * | * | *
EKPC Average |  |  |  | * | * | *
JCPL | 2023-09-19 13:00 | Summer | 321 | 122.763 | 120.6938 | -2.0692
JCPL | 2023-09-19 14:00 | Summer | 321 | 121.1647 | 120.6938 | -0.4709
JCPL Average |  |  |  | 121.9639 | 120.6938 | -1.27
METED | 2023-10-12 14:00 | Summer | 551 | 142.3212 | 110.7873 | -31.5339
METED | 2023-10-12 15:00 | Summer | 551 | 135.7327 | 110.7873 | -24.9454
METED Average |  |  |  | 139.0269 | 110.7873 | -28.2396
PECO | 2023-12-08 16:00 | Winter | 1109 | 454.4418 | 510.5985 | 56.1567
PECO | 2023-12-08 17:00 | Winter | 1109 | 450.0809 | 510.5985 | 60.5176
PECO Average |  |  |  | 452.2614 | 510.5985 | 58.3371
PENELEC | 2024-03-19 16:00 | Winter | 573 | 227.6199 | 221.9462 | -5.6737
PENELEC | 2024-03-19 17:00 | Winter | 573 | 227.5931 | 221.9462 | -5.6469
PENELEC Average |  |  |  | 227.6065 | 221.9462 | -5.6603
PEPCO | 2023-07-20 14:00 | Summer | 632 | 370.5648 | 303.4042 | -67.1605
PEPCO | 2023-07-20 15:00 | Summer | 632 | 366.4182 | 303.4042 | -63.014
PEPCO Average |  |  |  | 368.4915 | 303.4042 | -65.0873
PPL | 2024-01-24 11:00 | Winter | 1306 | 530.8364 | 590.5486 | 59.7122
PPL | 2024-01-24 12:00 | Winter | 1306 | 525.2536 | 590.5486 | 65.295
PPL Average |  |  |  | 528.045 | 590.5486 | 62.5036
PSEG | 2023-11-09 12:00 | Winter | 910 | 296.6758 | 312.222 | 15.5462
PSEG | 2023-11-09 13:00 | Winter | 910 | 281.6689 | 312.222 | 30.5531
PSEG Average |  |  |  | 289.1724 | 312.222 | 23.0496
RECO | 2024-01-24 11:00 | Winter | * | * | * | *
RECO | 2024-01-24 12:00 | Winter | * | * | * | *
RECO Average |  |  |  | * | * | *
Summer Average Total |  |  |  | 4559.9794 | 4149.7768 | -410.2026
Winter Average Total |  |  |  | 4633.5791 | 4944.7484 | 311.1693
Average Total |  |  |  | 9193.5585 | 9094.5252 | -99.0333

## DR Registration Data by DY
Data Description
The table below provides aggregate DR Firm Service Level registration data for recent Delivery Years (excludes summer-only registrations).
All values are provided in MW terms
Data Element | 2021/22 | 2022/23 | 2023/24 | 2024/25
Summer Peak Load Contribution (PLC) | 14909 | 15918 | 15242 | 13973
Summer Firm Service Level (FSL) | 7290 | 7406 | 7355 | 6591
Summer Nominated Value | 7314 | 8174 | 7568 | 7053
Winter Peak Load (WPL) | 16206 | 15517 | 15888 | 14012
Winter Firm Service Level (WFSL) | 9433 | 8870 | 8845 | 8132
Winter Nominated Value | 8832 | 9073 | 8202 | 7414
Notes:
Summer Nominated Value = PLC - (Summer FSL * LossFactor) for each registration
Winter Nominated Value = (WPL * Zonal Winter Weather Adjustment Factor - Winter FSL) * LossFactor for each registration