## Setup
Enter Stakeholder Group Name in cell A2:
Operating Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Cold Weather Resource Improvement

## 1. Interest Identification
Operating Committee
Cold Weather Resource Improvement
Interest Identification
Instructions: List interests of all parties on this page.
Evaluation
8 | Identify preventable vs non-preventable circumstances effecting generator performance.
10 | Consider metrics of any changes that are made - show if there is improvement due to changes.
11 | Identify potential reporting requirements for GADs data to provide better statistics.
15 | Criteria based on how recently the unit may have operated.
18 | Identify incentives and impacts of generation performance
Testing
9 | Ensure any new testing requirements are beneficial to the generator performance. (consider unit types)
12 | Opportunities for asset owners to conduct tests which would reduce the types of outages seen in Jan. 2014.
16 | Dual Fuel Unit testing opportunities.
Practices and Standards
2 | Something that is actionable by December 1st, 2014 - but not necessarily everything.
4 | Improve resource ability to honor capacity market commitments at the peak.
6 | Identify best practices implemented by others to ensure optimal performance by generating units.
13 | Evaluate alternative to establishing a standard.
14 | Investigate operational practices leading up to extreme weather (steam units as well as CTs) - physical prep & benefit
17 | Consider NERC guidelines and other industry best practices
Costs
1 | Any changes that are made are actually beneficial to PJM Operations during cold weather events should not impose unreasonable costs on generation owners or other market participants.
3 | Take into consideration equitable compensation for any additional costs.
5 | Insure costs include appropriate benefits to justify the costs.
7 | Ensure cost recovery for incurred expenses for following PJM's direction.

## 2. Options Matrix- Design Comp.
Operating Committee
Cold Weather Resource Improvement
OPTIONS MATRIX
Strive for simplicity
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
1 | Obligation of capacity resources
2 | Incentives of capacity resources
3 | Operational testing prior to winter events (intra week vs seasonal) | Medium | Currently no PJM required winter operational tests. Some resource owners currently do have testing they perform prior to winter events.
4 | Scheduling practices prior to winter events (intra week vs seasonal) | Medium | PJM follows the process in Manual 13 - Emergancy Procedures, Section 3.3 Cold Weather Alert. PJM uses the tables listed that include projected unavailability rates to determine scheduling of units.
5 | Checklist usage | Medium | Prior to winter events, PJM sends out the NERC checklist to resource owners. | [5 empty] | Low
6 | Unit testing criteria (consider type of unit) | Medium | None | [5 empty] | Low - Medium
7 | Dual fuel testing | Medium | None | [5 empty] | Low - High
8 | Fuel availability by location and contracts | [7 empty] | Medium
9 | Fuel quality (possible checklist item) | [7 empty] | Medium - High
10 | Forced Outage Rate - establish a rate reduction goal or metric. | Medium | None | [5 empty] | High
11 | Capital Improvement of physical resources to improve performance (winter product)
12 | Applicability for annual DR resource criteria | Medium | Currently only summer criteria, not winter.
**Highlighted items have been identified as design components not falling under the Cold Weather Resource Improvement Problem Statement
Instructions:
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decision-making method).

## 2a. Component Details
Operating Committee
Cold Weather Resource Improvement
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 |  | <enter detailed description of this component>
2 |  | <enter detailed description of this component>
3 |  | <enter detailed description of this component>
4 |  | <enter detailed description of this component>
5 |  | <enter detailed description of this component>

## 2b. Solution Details
Operating Committee
Cold Weather Resource Improvement
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Package Matrix
Operating Committee
Cold Weather Resource Improvement
PACKAGE/ PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Medium - High
High

## Parking Lot
Operating Committee
Cold Weather Resource Improvement
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.
Description