## Setup
Enter Stakeholder Group Name in cell A2:
Operating Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Cold Weather Resource Improvement

## 1. Interest Identification
Operating Committee
Cold Weather Resource Improvement
Interest Identification
Instructions: List interests of all parties on this page.
Evaluation
8 | Identify preventable vs non-preventable circumstances effecting generator performance.
10 | Consider metrics of any changes that are made - show if there is improvement due to changes.
11 | Identify potential reporting requirements for GADs data to provide better statistics.
15 | Criteria based on how recently the unit may have operated.
18 | Identify incentives and impacts of generation performance
Testing
9 | Ensure any new testing requirements are beneficial to the generator performance. (consider unit types)
12 | Opportunities for asset owners to conduct tests which would reduce the types of outages seen in Jan. 2014.
16 | Dual Fuel Unit testing opportunities.
Practices and Standards
2 | Something that is actionable by December 1st, 2014 - but not necessarily everything.
4 | Improve resource ability to honor capacity market commitments at the peak.
6 | Identify best practices implemented by others to ensure optimal performance by generating units.
13 | Evaluate alternative to establishing a standard.
14 | Investigate operational practices leading up to extreme weather (steam units as well as CTs) - physical prep & benefit
17 | Consider NERC guidelines and other industry best practices
Costs
1 | Any changes that are made are actually beneficial to PJM Operations during cold weather events should not impose unreasonable costs on generation owners or other market participants.
3 | Take into consideration equitable compensation for any additional costs.
5 | Insure costs include appropriate benefits to justify the costs.
7 | Ensure cost recovery for incurred expenses for following PJM's direction.

## 2. Options Matrix- Design Comp.
Operating Committee
Cold Weather Resource Improvement
OPTIONS MATRIX
Strive for simplicity
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
1 | Operational seasonal testing prior to winter events | Medium | Currently no PJM required winter operational tests. Some resource owners currently do have testing they perform prior to winter events. | Voluntary December test for units that have not run in XX days. | Resource owners "nominate" units to test by Nov. 15th for December test. | PJM notifies owners in advance that a unit will run at or above economic min for a minimum run time requirement (PJM will schedule to minimize uplift)
2 | Operational intra-week testing prior to winter events | Medium | Currently no PJM required winter operational tests. Some resource owners currently do have testing they perform prior to winter events. | Test non-steam units not run in XX days closely preceeding a forecasted cold-weather event
3 | Scheduling practices prior to winter events | Medium | PJM follows the process in Manual 13 - Emergency Procedures, Section 3.3 Cold Weather Alert. PJM uses the tables listed that include projected unavailability rates to determine scheduling of units. | PJM ID's units and run as load XX days ahead of predicted cold weather
4 | Checklist usage | Medium | Prior to winter events, PJM sends out the NERC checklist to resource owners. | Checklist (by OC or asset owner) submitted to PJM by mid-Dec | Sign-off on review of checklist (by GO, not per unit) | Develop and implement common GO checklist |  |  | Low
5 | Unit testing criteria (consider type of unit) | Medium | None | Narrow scope to units that have not run in XX days on primary or backup fuel. | Exclude units such as nuclear, wind, and hydro. |  |  |  | Low - Medium
6 | Dual fuel testing | Medium | None | [5 empty] | Low - High
7 | Forced Outage Rate - establish a rate reduction goal or metric. | Medium | None | Goal: reduce from 15% outage rate to X% | Measure by gen type within fleet (ex. CT-CT) | Unit performance will be tracked and analyzed against historical GADS data to guage the effectiveness of testing |  |  | High
8 | Applicability for annual DR resource criteria | Medium | Currently only summer criteria, not winter. | recognize existing m&v procedure during winter load periods (DRS)
9 | Compensation | Low | None | CDS costs through LMP or uplift as scheduled by PJM

## 2a. Component Details
Operating Committee
Cold Weather Resource Improvement
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 | Obligation of capacity resources | <enter detailed description of this component>
2 | Incentives of capacity resources | <enter detailed description of this component>
3 | Fuel availability by location and contracts | <enter detailed description of this component>
4 | Fuel quality (possible checklist item) | <enter detailed description of this component>
5 | Capital Improvement of physical resources to improve performance (winter product) | <enter detailed description of this component>
**Highlighted items have been identified as design components not falling under the Cold Weather Resource Improvement Problem Statement

## 2b. Solution Details
Operating Committee
Cold Weather Resource Improvement
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Package Matrix
Operating Committee
Cold Weather Resource Improvement
PACKAGE/ PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Medium - High
High

## Parking Lot
Operating Committee
Cold Weather Resource Improvement
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.
Description