## Open Questions
Question Created Date | Question Created By | Title | Body
2020-01-27 | AMP | AEP-2018-AP010 | In regards to AEP's proposed solution to address need number AEP-2018-010 please provide the followings details and responses to the questions below: 1. Life expectancy of the proposed solution as compared to that of the Alternative considered 2. Parameters and requirements used to size the battery storage project 3. Overall size and MWh capability of the battery 4. Additional details regarding the voltage level at which the battery will connect to the transmission system. Will it connect at distribution level voltages or will it connect directly to the 69kV network. Does AEP's cost include cost to connect the battery. 5. What referenced criteria or assumption were used to quantify the need for the battery installation. 6. Under what situations will the proposed battery operate? For example when the radial line is out of service. 7. Will the battery participate as a PJM market participant including but not limited frequency regulation, energy or capacity? 8. Will the battery be owned by AEP's Kentucky Power Company or will it be owned by AEP's Kentucky Transco company? 9. Will the battery enter into the PJM generation connection queue? 10. What organization will control the dispatch of the battery resource, AEP Transmission or PJM? 11. For what period of time has the line between AEP's system and EKPC's system operated normally open?
2020-01-31 | AMP | Batteries and Other Energy Storage devices | Does the PJM OA definition of "Transmission Facilities" include Batteries or Storage devices? If so, what parameters or test must a battery or storage device meet to be determined as transmission?
2020-02-03 | AMP | 2019 RTEP statistics | Will PJM be providing 2019 RTEP statistics similar to those provided for 2017 and 2018 RTEP planning years?
2020-02-06 | LS Power | AEP-2018-AP010 | LS Power has questions about AEP-2018-AP010, as presented at a recent January 2020 Subregional TEAC meeting. The project proposes a 2 MW BEES solution at Middle Creek Substation, as a supplemental Project. A supplemental project must meet the definition of a Transmission Facility under the PJM Operating Agreement, in order for the Transmission Facility to be included in the RTEP (and meet the RTEP definition of Transmission). This battery has not had a FERC ruling classifying it as Transmission; therefore, it does not meet the definition of Transmission Facilities in the Operating Agreement. It is not eligible to included in the Supplemental Project category. In addition, we have overarching concerns about setting the precedent of batteries in Supplemental Project category
2020-02-07 | Sonny Nguyen | Correct line rating | Which case has the correct line rating for Laurel to Short 69 kV line? Is it 57 MVA or 93 MVA? I'm looking at the cases: MMWG_2024SUM_2019Series_Final.sav and 2023_AF1_Queue_Study_Summer_NonDiv_MTX_Op1.sav.
2020-02-18 | DTE Energy | AEP-2018-AP010 | Please provide a summary of the AEP-2018-AP010 supplemental project that contemplates the installation of a battery at the upcoming MRC meeting on February 20,2020. This would seem to have overarching public policy implications that should be discussed.
2020-05-01 | AMP | Transmission Owner's Finalized 2019 Local Plans | Can PJM provide copies of all transmission owner's finalized local plans resulting from the M3 process? It seems that the 2019 plans are no longer posted on PJM's website but the 2020 plans are.