## TMEP Posting
PRELIMINARY AND SUBJECT TO CHANGE
2019 + 2020 PJM-MISO M2M Historical Congestion
Flowgate ID | Flowgate Description | PJM Total Congestion ($) | MISO Total Congestion ($) | Total Congestion ($) | Comments
23418 | Marblehead 161/138kV XFMR l/o Maywood-Herleman 345kV | 4008599 | 18198321.97 | 22206920.97 | Planned MISO project(s), no longer M2M
20993 2442 25232 | Paradise-Big River Tap l/o Wilson1 Paradise-BR Tap 161kV (flo) Phipps Bend-Volunteer 500kV Paradise_BR_Tap_161kV_flo_Gibson_AB_Brown_345kV | 5436650 | 15559945.49 | 20996595.49
25783 | Monroe - Brownstown1 345 l/o Monroe - Wayne 345 | -1056659.4 | 18736730.72 | 17680071.32
23339 23934 23937 25249 26272 | Tanners Creek-Miamifort 345kV lo East Bend-Terminal 345kV Tanners Creek - Miami Fort 345 kV l/o Tanners Creek - East Bend 345 kV Tanners Creek-Miami Fort 345 kV l/o Miami Fort Unit 8 Tanners Creek-Miami Fort 345 kV l/o Tanners Creek-East Bend 345 kV Tanners Creek - Miami Fort 345 kV l/o Marysville - Sorenson 765 kV | 15309221.2 | 1414079.5 | 16723300.7 | Planned b2968, b2831 Planned b2634
24435 25363 | Palisades Argenta 345 1 l/o Palisades Argenta 345 2 Palisad Vergnne and Palisad - Argenta l/o Palisad Aux XF 1 | 9085729.6 | 5199116.62 | 14284846.22
24980 25010 25646 | Sub85-RockIsland-161kV-flo-EastMoline-345-161-T1 SUB_85_TO_ROCK_ISLAND_161KV_FLO_OAK_GROVE_TO_LOUISA_345KV Sub85 - Sub18 161 flo OakGrove - Louisa 345 | 1303946.8 | 8238139.83 | 9542086.63
21139 25308 25354 | Shadeland-LafayetteS l/o Westwod-NWTap1-WestLafayett Shadeland_LafayetteSouth13808_flo_Westwood_Laf_Cat_13820 Shadland_LafayetteSouth13808_flo_Westwood_WestLafayette13806 | 341482.4 | 7547078.26 | 7888560.66
575 | Quad Cities - Cordova 0402 345kV l/o Quad Cities - Cordova 0403 345kV | 1742853.8 | 5868499.32 | 7611353.12
25944 | Northwest Tap - Purdue 138 kV l/o Westwood - W Lafayette 138 kV | 619208.4 | 5599981.8 | 6219190.2
24981 25663 | East-Moline-345-161kV-9T1-flo-QuadCities-Sub91-345kV Sub 39 - TR9T1 flo Quadcity Sub - 91 345kV | 2364163.2 | 3624683.65 | 5988846.85
21553 2457 26135 | Cayuga Starbus TR 9-P l/o Cayuga-Nucor 345 Cayuga 345/230 XFMR 9 (flo) Cayuga 345/230 XFMR 10 Cayuga_345_230_Bk9_flo_Nucor_Whitestown_345 | -1747889.6 | 7347723.41 | 5599833.81
21476 25223 25227 25229 | Vermilion-Tilton 138 kV l/o Bunsonville-Sidney 345 kV Vermilion-Tilton Energy Center 138 kV l/o Rising-Sidney 345 kV VERMILION_TILTON_138_flo_NCHAMPAIGN_VERMILION_138 VERMILION_TILTON_138_flo_PAXTON_GIFFORD_138 | 3387496.8 | 2111689.82 | 5499186.62 | Planned Pana - Sugar Creek MVP
24127 2577 2581 | Roxana-Praxair l/o Gary Ave-Sheffield+Dumont-WiltonCenter Roxana-Praxair 1 138 kV l/o Wilton Center-Dumont 765 kV Roxana-Praxair 138 kV l/o Gary Ave-Sheffield 345 kV | -13074424.4 | 18425559.02 | 5351134.62 | Planned TMEP b2975/14268
24817 25230 | Mohomet - ChampTP 138 kV l/o Clinton - Oreana - GooseCrk 345 kV Mahomet_ChampaignTap_138_flo_WiltonCenter_Dumont_765 | 5588634.4 | -803364.59 | 4785269.81
25146 25475 | Map - Chrysler 138 kV l/o Greentown 765/230/138 KV TR2 MapleST - Chrysler 138 kV l/o HighlandPark - New London 230 kV | -533154.2 | 5020234.23 | 4487080.03
23184 24261 26061 | Goodland-Reynolds 138 kV l/o Bunsonville-Eugene 345 kV Goodland-Reynolds 138 kV l/o Goodland-Remington 69 kV Goodland - Reynolds 138 kV l/o Bunsonvil - Eugene 345 kV | 172183.4 | 3826349.63 | 3998533.03
26058 26128 | N Coultervil 138/230 kV l/o Prairie State - W Mt.Vernon 3 N Coulterville 138/230 Xfmr flo W Frankfort-E Mt Vernon 345 | 3027095.8 | 909355.25 | 3936451.05
23427 2647 | Monroe-Lallendorf l/o Morocco-Allen Junction Monroe-Lallendorf 345 kV l/o Lulu 345 kV Sub | -313119.6 | 4095265.81 | 3782146.21 | Planned TMEP b2972/14265
24139 | Gibson-Petersburg 345kV l/o Edwardsport-AMMO 345 kV | -318806.6 | 3924578.11 | 3605771.51 | Planned TMEP upgrade
2975 | Crete-St Johns Tap 345 kV l/o Dumont-Wilton Center 765 kV line | 2191292.8 | 1363984.33 | 3555277.13
22508 | NWTap-Purdue 138kV l/o Westwood-Nrthwest Tap1-West Lafayette | -32473.2 | 3550327.61 | 3517854.41
23572 24172 24936 24955 | Fargo XF 3 l/o Maple Rid-Tazwell 345kV Fargo 345/138 kv Xfmr l/o Duck Creek-Ipava 345 kV Fargo_XF_3_flo_Powerton_UN_5 Fargo 345/138 kv xfmr l/o Nelson-Electric Junction 345 kV | -321081 | 3503848.71 | 3182767.71 | 4483 - Install 2nd. 345/138 kV, 560 MVA Transformer
24894 26203 | QuadCity-RockCreek-345kV-flo-QuadCity-Sub91 345kV QuadCities-RockCreek 345 kV l/o QuadCities-Sub91 345/161 kV Sub91 XF | 1920625.6 | 675002.28 | 2595627.88
2205 2286 | Burnham-Munster 345 kV l/o Braidwood-E. Frankfort 345 kV Burnham-Munster 345 l/o Dumont-Wilton Center 765 | 450403.2 | 1684923.19 | 2135326.39 | Planned TMEP b2971/14264
26275 3424 | MtVernonWest - SalemWest 138 kV l/o Coffeen - Roxford 345 kV Mt Vernon-W Salem 138 kV l/o Newton-Xenia 345 kV | 568653.6 | 1511180.43 | 2079834.03
25103 | Cayuga_HilsdaleN_230_flo_Dresser_SugarCreek_345 | 596247.2 | 1423674.25 | 2019921.45
23977 24835 | North Lake George-Burlington 138kV l/o University-Mukwonago 138kV NorthLakeGeneva_Burlington_138kV_flo_Paris_StMartin_138kV | 715303.2 | 1267758.69 | 1983061.89
25009 25938 26188 | Chicago_PraxAir3_138kV_flo_WiltonCtr_Dumont_765 Chicago-Praxair 13831 l/o Wilton CenterDumont 765 Chicago_Praxair_13831_flo_Burnham_Munster_345KV | -4634225.6 | 6408383.37 | 1774157.77
2299 3431 | Dumont-Stillwell 345 flo Dumont-Wilton Center 765 Stillwell-Dumont 345 kV l/o Wilton Center-Dumont 765 kV | 228774.8 | 1524359.51 | 1753134.31
24526 | Grand Mound - Maquoketa 161 kV l/o Rock Creek - Salem 345 kV | 497658.8 | 1025207.23 | 1522866.03
24848 | Miami Fort 345/138 kV TX9 lo Miami Fort-Terminal 345kV | 1465192.4 | 38400.37 | 1503592.77 | Planned b2634
24931 24950 | Turkey-River-Stoneman-161kV-flo-Nelson-Cordova 345kV TurkeyRiver-Stoneman 161 kV l/o Genoa-Seneca 161 kV | 437619.4 | 914907.85 | 1352527.25
3288 | State Line 345/138 TR82 l/o Blue Island - Burnham 345 kV + Blue Island TR81 | 1321388.2 | -99611 | 1221777.2
24891 24995 25162 | Rock-Creek-BeaverChannel-161-flo-Cordova EastMoline_345_and_XF Rock Creek - Beaver Channel 161 kV l/o Quad City - Sterling Steel 345 kV RockCreek_BeaverChannel_161kV_flo_QuadCity_Sub91_345kV | 2889202.6 | -1673001.7 | 1216200.9
24487 25299 2548 | Reynold - Magnetation 138 kV l/o Greentown Reynolds 765 kV Reynolds_Magnetation_138kv_line_138_109_flo_Cayuga_Eugene_345kV Reynolds-Magnetation 138 l/o Cayuga2-Cayuga3 345 | -42985.8 | 1259146.14 | 1216160.34 | Planned TMEP b2974/14267