## 1. Interest Identification
CDS
Cyclic Peaking And Starting Factors
Interest Identification
1 | Preserving values fo Technologies which are older and no longer being built with no new recommendations.
2 | Identifying if these are still relevants following the change in Overhauls and Inspections on june 1, 2015.
3 | Update these factors where they are needed to reflect the OEM values.
4 | Reflecting the correct cost components for plant commitment and operations.
5 | Do not under value the cost of achieving peak output.
6 | Update these factors to reflect the OEM values and ensure the market compensates the wear and tear of cycling an asset.
7
8
9
10
11
12
13
14
15

## 2. Options Matrix- Design Comp.
CDS
Cyclic Peaking and Starting Factors
OPTIONS MATRIX
Strive for simplicity
Solution Options2
# | Design Components1 | Priority (high/med/low) | Status Quo | A | B | C | D | E
1 | OEM Values factored into manual usage |  | Manual 15 specifies these to be 5 for aircraft type starts, 10 for Industrial type starts, and 3 for peaking | Grandfather in OEM values for Technologies no longer being built | Use OEM values if Available
2 | Consider Technology Specific Values for Peaking Modes |  | There are no Technology Specific values for peaking in M15. Peaking factors for all unit technology types are 3. | Use OEM Defined values for Peaking Modes where identified
| Consider Technology Specific Values for Starting factors |  | Manual 15 specifys 5 for aircraft type starts & 10 for Industrial type starts. | Use OEM Defined values for Starting factors where identified
| Equivalent Service Hours/Operating hours |  | Equivalent service Hours | Cyclic peaking and Cyclic Starting factor values shall be consistently used for equivalent service Hours and cost based offer calculations.
3 | What to use when no values are available or known |  | Manual 15 specifies these to be 5 for aircraft type starts, 10 for Industrial type starts, and 3 for peaking | Consider similar Units | Use some sort of Average for Technology Type |  |  |  | High
4 | Consider the Impact of current M15 Overhaul changes |  | Manual 15 specifies these to be 5 for aircraft type starts, 10 for Industrial type starts, and 3 for peaking | Eliminate Cyclic Peaking Factors due to Overhauls and Major Inspections being removed (following June 1, 2015) from VOM Calaculations | Restore the portion of Overhauls & Major Inspection Costs for peaking operation Only. Subtract any costs incurred for peaking from RPM Offer. | Continue to use Peaking Factors on remainder of VOM to address dispatch concerns with too frequent peaking operation. | Continue to use Starting Factors on remainder of VOM to address dispatch concerns with too frequent starting operation. |  | Medium
5 | Consider the impact on Technologies that don't use Cylic Starting and/or Peaking Factors. |  | Manual 15 specifies these to be 5 for aircraft type starts, 10 for Industrial type starts, and 3 for peaking | Eliminate Cyclic Starting & peaking Factors for these units. | Continue to use Cyclic Starting and/or Peaking factors for these units when appropriate | Use Just Cyclic peaking Factors | Use Just Cyclic Starting Factors |  | Low
6
7
8
9
10
11
12
Instructions:
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decsion-making method).

## Options Matrix Color Codes
Yellow | Concensus
Blue | Tony C. & dave P.
Red | Dave P.
Green | IMM - Bill Dugan

## 2a. Component Details
CDS
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 |  | <enter detailed description of this component>
2 |  | <enter detailed description of this component>
3 |  | <enter detailed description of this component>
4 |  | <enter detailed description of this component>
5 |  | <enter detailed description of this component>

## 2b. Solution Details
CDS
Cyclic Peaking and Starting Factors
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Proposal Matrix
CDS
Cyclic Peaking and Starting Factors
PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority (high/med/low) | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9
10

## Parking Lot
CDS
Cyclic Peaking and Starting Factors
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.

## Sheet1
List of Cost Components
Increase in VOM for regulating units
Non Steady State Heat Rate Degredation
Steady State Heat Rate Degradation: Fuel cost increase and Unit specific heat rate Degredation due to operating at lower loads
Margin Adder
Energy Losses for Energy Storage Devices