## Setup
Enter Stakeholder Group Name in cell A2:
Distributed Energy Resources Subcommittee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Non-Wholesale DER Observability

## 1. Interest Identification
Distributed Energy Resources Subcommittee
Non-Wholesale DER Observability
Interest Identification
Instructions: List interests of all parties on this page.
1 | Provide PJM with non-wholesale DER operational situational awareness, capability to perform security analysis, include in PCLLRW reports and communication path to non-wholesale DER to mitigate grid issues (when available).
2 | Improve long term and short term load forecast and/or better understand load forecast variance
3 | Improve RTEP load flow studies (may model explicitly as gen or implicitly through load forecast)
4 | Improve management of existing Non-Retail BTMG and BTMG requirements (including telemetry & metering)
5 | Streamline and improve DER data collection process
6 | Do not disclose retail customer confidential information or competitively sensitive information.
7 | Minimize member/stakeholder administrative cost to manage non-wholesale DER information.
8 | Identify and engage appropriate parties necessary, may include exploring going directly to EDC, towns, munis, and coops
9 | Prevent jurisdictional scope creep for resources that are non-FERC jurisdictional
10 | Secure maximum cooperation in acquiring information from resources that are non-FERC jurisdictional
11 | Not placing undue burden on non-FERC jurisdictional entities (i.e. munis, coops, etc) for gathering and sharing information
12 | Avoid passing costs onto non-FERC jurisdictional entities
13 | Explore some level of minimum metering or submetering requirements
14 | Recognize size with respect to requirements
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Distributed Energy Resources Subcommittee
Non-Wholesale DER Observability
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
* | Implementation
1 | Non-wholesale DER definition |  |  | Generation or electric storage that does not participate directly in the wholesale markets (either as "front of meter" generation or demand response) and is used to self-serve load Examples: Behind the Meter Generation (BTMG) • Cogen/CHP, emergency diesel, CTs, batteries, solar, etc. – Non-retail Behind the Meter Generation (NRBTMG) • Primarily Muni/Coop generation
2 | Primary PJM channel to communicate to non-wholesale DER resources when needed to manage the grid (emergency operations) |  | Typically through TO control zone | PJM communicates to TO. TO will typically communicate to EDC (including muni) and EDC (including muni) communicates to non-wholesale DER | PJM communicates to EDC, EDC communicates to non-wholesale DER
3 | Annual communication (and non-wholesale DER data validation) link verification process |  | not applicable | PJM to develop TO>EDC>Muni/Coop communication (and non-wholesale DER data validation) chain and verify through TO on annual basis
4 | Non-wholesale DER identification, verification and data validation process |  | add hoc process through TO | PJM to take publically available information (EIA860) and send to TO to validate & augment through EDC (including muni, where applicable).
5 | Non-wholesale DER identification, verification and data validation process frequency |  | add hoc process through TO | Annual basis. TO may update information on a more frequent basis for significant changes (new or retired units)
6 | Non-wholesale DER information requirements |  | Manual 3A, appendix D. Manual 14D, appendix A. RAA Schedule 16 | >1 MW requires basic information to be mapped in DIMA (PJM dispatch interactive mapping application), >10 MW requires additional information so it can be modelled in EMS. NRBTMG >0.1 MW requires some additional information to DIMA requirement. See Tab 2a for details | >.1 MW requires basic information to be mapped in DIMA (PJM dispatch interactive mapping application), >10 MW requires additional information so it can be modelled in EMS. Any MWs on a feeder that are part of a state retail program totaling 0.1 MW or more
7 | Training requirements | [7 empty] | Low
8 | [8 empty] | Low - Medium
9 | [8 empty] | Low - High
10 | [8 empty] | Medium
11 | [8 empty] | Medium - High
12 | [8 empty] | High
13
14
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Distributed Energy Resources Subcommittee
Non-Wholesale DER Observability
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
6 | Non-wholesale DER information requirements | Use table from slides 9 & 10 here: http://www.pjm.com/-/media/committees-groups/subcommittees/ders/20180131/20180131-item-07-non-wholesale-der-observability.ashx

## 2b. Option Details
Distributed Energy Resources Subcommittee
Non-Wholesale DER Observability
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Distributed Energy Resources Subcommittee
Non-Wholesale DER Observability
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1 | Non-wholesale DER definition |  |  | Generation or electric storage that does not participate directly in the wholesale markets (either as "front of meter" generation or demand response) and is used to self-serve load Examples: Behind the Meter Generation (BTMG) • Cogen/CHP, emergency diesel, CTs, batteries, solar, etc. – Non-retail Behind the Meter Generation (NRBTMG) • Primarily Muni/Coop generation
2 | Primary PJM channel to communicate to non-wholesale DER resources when needed to manage the grid (emergency operations) |  | Typically through TO control zone | PJM communicates to TO. TO will typically communicate to EDC (including muni) and EDC (including muni) communicates to non-wholesale DER, as needed
3 | Annual communication (and non-wholesale DER data validation) link verification process |  | not applicable | PJM to develop TO>EDC>Muni/Coop cross reference list to help with communication when necessary. PJM will verify through TO on annual basis
4 | Non-wholesale DER identification, verification and data validation process |  | Manual 3A, appendix D. Manual 14D, appendix A. RAA Schedule 16 | PJM to take publically available information (EIA860) and send to TO to validate. TO will coordinate with EDC and muni/coop where necessary. TO will provide the following information: - Transmission Substation Short Name - Transmission Voltage - Transmission Equipment Name PJM will maintain confidentiality of information under existing OA provisions See Tab 'EIA Field Directory_PJMFields' for more detail
5 | Non-wholesale DER identification, verification and data validation process frequency |  | ad hoc process through TO | Annual basis. TO may update information on a more frequent basis for significant changes (new or retired units)
Low - High
Medium
Medium - High
High

## 3a. Package Details
Distributed Energy Resources Subcommittee
Non-Wholesale DER Observability
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## EIA Field Directory_PJMFields
Content and Layout of the Annual Electric Generator Report (EIA-860) Data Files for 2015
*Highlighted fields indicate information augmented by TO. All other data included in EIA-860.
Field Name | Form EIA-860 Schedule | Form EIA-860 Line Number | Description | Notes | Utility | Plant | Generator / Operable | Generator / Proposed | Generator / Retired | Wind / Operable | Wind / Retired | Solar / Operable | Solar / Retired | MultiFuel / Operable | MultiFuel / Proposed | MultiFuel / Retired | Ownership | EnviroAssoc / Boiler Generator | EnviroAssoc / Boiler Cooling | EnviroAssoc / Boiler Particulate Matter | EnviroAssoc / Boiler SO2 | EnviroAssoc / Boiler Nox | EnviroAssoc / Boiler Mercury | EnviroAssoc / Boiler Stack Flue | EnviroAssoc / Emissions Control Equipment | EnviroEquip / Emission Standards & Strategies | EnviroEquip / Boiler Info & Design Parameters | EnviroEquip / Cooling | EnviroEquip / FGP | EnviroEquip / FGD | EnviroEquip / StackFlue
Transmission Substation Short Name 1 | n/a | n/a | Electrically connected Transmission Substation PJM 8 char EMS name. | If plant to connected to more than 1 that include up to 3
Transmission Voltage 1 | n/a | n/a | Voltage (PJM EMS terminal voltage at high side of load transformer). .If connected at distribution system then this should be the high side voltage at PJM interconnection facility. | If plant to connected to more than 1 that include up to 3
Transmission Equipment Name 1 | n/a | n/a | PJM transformer load name. | If plant to connected to more than 1 that include up to 3
Transmission Substation Short Name 2 | n/a | n/a | Electrically connected Transmission Substation PJM 8 char EMS name. | If plant to connected to more than 1 that include up to 3
Transmission Voltage 2 | n/a | n/a | Voltage (PJM EMS terminal voltage at high side of load transformer). .If connected at distribution system then this should be the high side voltage at PJM interconnection facility. | If plant to connected to more than 1 that include up to 3
Transmission Equipment Name 2 | n/a | n/a | PJM transformer load name. | If plant to connected to more than 1 that include up to 3
Transmission Substation Short Name 3 | n/a | n/a | Electrically connected Transmission Substation PJM 8 char EMS name. | If plant to connected to more than 1 that include up to 3
Transmission Voltage 3 | n/a | n/a | Voltage (PJM EMS terminal voltage at high side of load transformer). .If connected at distribution system then this should be the high side voltage at PJM interconnection facility. | If plant to connected to more than 1 that include up to 3
Transmission Equipment Name 3 | n/a | n/a | PJM transformer load name. | If plant to connected to more than 1 that include up to 3
Utility ID |  |  | EIA-assigned identification number for the company that is responsible for the day-to-day operations of the generator |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
Utility Name | 1 | 3 | Legal name of the company that is responsible for the day-to-day operations of the generator |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
Street Address | 1 | 3 | Street address of the operator/owner |  | x
City | 1 | 3 | Name of the city in which operator/owner is located |  | x
State | 1 | 3 | State of the operator/owner |  | x
Zip | 1 | 3 | Zip code of the operator/owner |  | x
Entity Type | 1 | 5 | Entity type of principle owner | C = Cooperative I = Investor-Owned Utility Q = Independent Power Producer M = Municipally-Owned Utility P = Political Subdivision F = Federally-Owned Utility S = State-Owned Utility IND = Industrial COM = Commercial | x
Plant Code | 2 | 1 | EIA-assigned plant code |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
Plant Name | 2 | 1 | Plant name |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
Street Address | 2 | 2 | Plant street address |  |  | x
City | 2 | 2 | Plant city |  |  | x
State | 2 | 2 | Plant state |  |  | x | x | x | x | x | x | x | x | x | x | x | x | [8 empty] | x | x | x | x | x | x
Zip | 2 | 2 | Plant zip code |  |  | x
County | 2 | 2 | Plant County |  |  | x | x | x | x | x | x | x | x | x | x | x
Latitude | 2 | 3 | The latitude of a plant's coordinates |  |  | x
Longitude | 2 | 3 | The longitude of a plant's coordinates |  |  | x
NERC Region | 2 | 4 | NERC region in which the plant is located | See Reference Table 30 |  | x
Balancing Authority Code | 2 | 5 | The plant's balancing authority | 5 character code |  | x
Balancing Authority Name | 2 | 5 | The plant's balancing authority | A balancing authority manages supply, demand, and interchanges within an electrically defined area. |  | x
Regulatory Status |  |  | Indicates whether the plant is regulated or non-regulated |  |  | x
Sector |  |  | Plant-level sector name, designated by the primary purpose, regulatory status and plant-level combined heat and power status | Commercial; Electric Utility; Industrial; Non-Combined Heat and Power Independent Power Producer (IPP); Combined Heat and Power (IPP CHP) |  | x | x | x | x | x | x | x | x | x | x | x
Sector Name |  |  | Plant-level sector number, designated by the primary purpose, regulatory status and plant-level combined heat and power status | 1 = Electric Utility 2 = Independent Power Producer, Non-Combined Heat and Power 3 = Independent Power Producer, Combined Heat and Power 4 = Commercial, Non-Combined Heat and Power 5 = Commercial, Combined Heat and Power 6 = Industrial, Non-Combined Heat and Power 7 = Industrial, Combined Heat and Power |  | x | x | x | x | x | x | x | x | x | x | x
Net Metering (for facilities with solar or wind generation) | 2 | 8b | Did this plant have a net metering agreement in effect during the reporting year? (Only displayed for facilities that report the sun or wind as an energy source) | Answers not required when North American Industry Classification System (NAICS) Code is 22 |  | x
FERC Cogeneration Status | 2 | 9a | Indicates of whether the plant has FERC qualifying facility cogenerator status | Yes / No |  | x
Transmission or Distribution System Owner | 2 | 13 | Name of the owner of the transmission or distribution system to which the plant is interconnected |  |  | x
Transmission or Distribution System Owner ID | 2 | 13 | EIA-assigned code for owner of transmission/distribution system to which the plant is interconnected |  |  | x
Transmission or Distribution System Owner State | 2 | 13 | State location for owner of transmission/distribution system to which the plant is interconnected |  |  | x
Grid Voltage (kV) | 2 | 14 | Plant's grid voltage at point of interconnection to transmission or distibution facilities | If the plant is interconnected to more than three transmission / distriubtion facilites, the three highest grid voltages are reported |  | x
Grid Voltage 2 (kV) | 2 | 14 | Plant's grid voltage at point of interconnection to transmission or distibution facilities | If the plant is interconnected to more than three transmission / distriubtion facilites, the three highest grid voltages are reported |  | x
Grid Voltage 3 (kV) | 2 | 14 | Plant's grid voltage at point of interconnection to transmission or distibution facilities | If the plant is interconnected to more than three transmission / distriubtion facilites, the three highest grid voltages are reported |  | x
Generator ID | 3A | 1 | Generator identification number |  |  |  | x | x | x | x | x | x | x | x | x | x | x | x
Technology |  |  | High level description of the technology used by the generator to produce electricity |  |  |  | x | x | x | x | x | x | x | x | x | x
RTO/ISO LMP Node Designation | 3A | 7a | The designation used to identify the price node in RTO/ISO Locational Marginal Price reports |  |  |  | x | x | x
RTO/ISO Location Designation for Reporting Wholesale Sales Data to FERC | 3A | 7b | The designation used to report ths specific location of the wholesale sales transactions to FERC for the Electric Quarterly Report |  |  |  | x | x | x
Nameplate Capacity (MW) | 3B, 3C | 1a | The highest value on the generator nameplate in megawatts rounded to the nearest tenth |  |  |  | x | x | x | x | x | x | x
Nameplate Power Factor | 3B, 3C | 1b | The nameplate power factor of the generator |  |  |  | x | x | x
Summer Capacity (MW) | 3B, 3C | 2 | The net summer capacity |  |  |  | x | x | x | x | x | x | x
Winter Capacity (MW) | 3B, 3C | 2 | The net winter capacity |  |  |  | x | x | x | x | x | x | x
Minimum Load (MW) | 3B | 3 | The minimum load at which the generator can operate at continuosuly |  |  |  | x |  | x
Uprate or Derate Completed During Year | 3B | 4a | Was an uprate or derate completed on this generator during the reporting year? | Yes / No |  |  | x |  | x
Status | 3B, 3C | 3B-5a, 3C-3 | The operating status of the generator | See Reference Table 4 |  |  | x | x | x | x | x | x | x | x | x | x | x
Current Month | 3C | 5 | The most recently updated effective month on which the generator is scheduled to start operation |  |  |  |  | x
Current Year | 3C | 5 | The most recently updated effective year on which the generator is scheduled to start operation |  |  |  |  | x
Operating Month | 3B | 6 | Month the generator began commercial operation |  |  |  | x |  | x | x |  | x
Operating Year | 3B | 6 | Year the generator began commercial operation |  |  |  | x |  | x | x |  | x
Retirement Month | 3B | 7 | Month the generator retired | [5 empty] | x |  | x |  | x
Retirement Year | 3B | 7 | Year the generator retired | [5 empty] | x |  | x |  | x
Planned Retirement Month | 3B | 8 | Planned effective month of the scheduled retirement of the generator |  |  |  | x |  | x
Planned Retirement Year | 3B | 8 | Planned effective year of the scheduled retirement of the generator |  |  |  | x |  | x
Associated with Combined Heat and Power System | 3B, 3C | 3B-9, 3C-6 | Indicates whether the generator is associated with a combined heat and power system | Yes / No |  |  | x | x | x
Energy Source 1 | 3B, 3C | 3B-11, 3C-8 | The code representing the most predominant type of energy that fuels the generator | See Reference Table 28 |  |  | x | x | x
Contact Name |  |  | Operational info can share with TO | Optional PJM fields, this is to assist TO communication process
Contact Phone Number |  |  | Phone number for contact | Optional PJM fields, this is to assist TO communication process
Contact Email |  |  | email for contact | Optional PJM fields, this is to assist TO communication process
Phone Number for All Call |  |  | Phone number to be added to PJM All Call List. | Optional PJM fields, this is to assist TO communication process

## Parking Lot
Distributed Energy Resources Subcommittee
Non-Wholesale DER Observability
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Distributed Energy Resources Subcommittee
Non-Wholesale DER Observability
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2018-03-26 | Initial posting of interests, draft design components, and solution options
2 | 2018-06-05 | Package A (PJM) added
3