## NOTE - READ ME
Forecast results contained in this spreadsheet are not intended to be indicative of a forthcoming RPM or RTEP forecast. The forecast does not use up-to-date load or input data, and does not incorporate any forecast adjustments. It is purely meant to provide stakeholders a view of the impact of model changes under discussion in the materials for the September 21, 2020 Load Analysis Subcommittee meeting.

## RTO
| Actual | WN (New) | April Update | New Method
1998 | 131813
1999 | 141491
2000 | 131798
2001 | 150924
2002 | 150826
2003 | 145227
2004 | 139279
2005 | 155257 | 150370
2006 | 166929 | 153731
2007 | 162035 | 153253
2008 | 150622 | 154652
2009 | 145112 | 149604
2010 | 157247 | 152207
2011 | 165524 | 151837
2012 | 158219 | 151229
2013 | 159149 | 149218
2014 | 141509 | 148828
2015 | 143579 | 147750
2016 | 152069 | 148069
2017 | 145434 | 149428
2018 | 150565 | 148800
2019 | 151302 | 149699
2020 |  |  | 145630 | 148526
2021 |  |  | 147020 | 148936
2022 |  |  | 149090 | 149745
2023 |  |  | 150369 | 150767
2024 |  |  | 150836 | 150959
2025 |  |  | 151708 | 151484
2026 |  |  | 152859 | 152325
2027 |  |  | 153865 | 153005
2028 |  |  | 154480 | 153495
2029 |  |  | 155160 | 153328
2030 |  |  | 155821 | 153625
2031 |  |  | 156346 | 153972
2032 |  |  | 157685 | 155068
2033 |  |  | 158169 | 154636
2034 |  |  | 158591 | 155260
2035 |  |  | 158680 | 154933

## Zones
Zone | Year | Actual | WN (New) | April Update | New Method
AE | 1998 | 2265
AE | 1999 | 2473
AE | 2000 | 2329
AE | 2001 | 2635
AE | 2002 | 2677
AE | 2003 | 2485
AE | 2004 | 2454
AE | 2005 | 2838 | 2624
AE | 2006 | 3009 | 2678
AE | 2007 | 2952 | 2758
AE | 2008 | 2638 | 2745
AE | 2009 | 2707 | 2706
AE | 2010 | 2936 | 2733
AE | 2011 | 2966 | 2657
AE | 2012 | 2853 | 2727
AE | 2013 | 2739 | 2603
AE | 2014 | 2443 | 2628
AE | 2015 | 2553 | 2472
AE | 2016 | 2673 | 2539
AE | 2017 | 2541 | 2448
AE | 2018 | 2591 | 2505
AE | 2019 | 2737 | 2444
AE | 2020 | 2635 |  | 2522 | 2473
AE | 2021 |  |  | 2553 | 2468
AE | 2022 |  |  | 2576 | 2482
AE | 2023 |  |  | 2598 | 2503
AE | 2024 |  |  | 2619 | 2527
AE | 2025 |  |  | 2646 | 2545
AE | 2026 |  |  | 2664 | 2562
AE | 2027 |  |  | 2706 | 2576
AE | 2028 |  |  | 2723 | 2592
AE | 2029 |  |  | 2744 | 2605
AE | 2030 |  |  | 2763 | 2621
AE | 2031 |  |  | 2785 | 2631
AE | 2032 |  |  | 2796 | 2645
AE | 2033 |  |  | 2805 | 2653
AE | 2034 |  |  | 2817 | 2657
AE | 2035 |  |  | 2827 | 2654
AEP | 1998 | 21155
AEP | 1999 | 21887
AEP | 2000 | 20584
AEP | 2001 | 22907
AEP | 2002 | 23125
AEP | 2003 | 22572
AEP | 2004 | 21881
AEP | 2005 | 23914 | 22552
AEP | 2006 | 24834 | 23718
AEP | 2007 | 25293 | 24110
AEP | 2008 | 23825 | 24562
AEP | 2009 | 21880 | 23225
AEP | 2010 | 23499 | 23558
AEP | 2011 | 24538 | 23535
AEP | 2012 | 23499 | 23532
AEP | 2013 | 22939 | 23191
AEP | 2014 | 21407 | 22561
AEP | 2015 | 21871 | 22440
AEP | 2016 | 22483 | 22088
AEP | 2017 | 21714 | 22794
AEP | 2018 | 22249 | 22495
AEP | 2019 | 21758 | 22954
AEP | 2020 | 21653 |  | 21346 | 22392
AEP | 2021 |  |  | 21734 | 22524
AEP | 2022 |  |  | 22250 | 22756
AEP | 2023 |  |  | 22553 | 22876
AEP | 2024 |  |  | 22783 | 22964
AEP | 2025 |  |  | 22943 | 23030
AEP | 2026 |  |  | 23099 | 23077
AEP | 2027 |  |  | 23303 | 23151
AEP | 2028 |  |  | 23475 | 23221
AEP | 2029 |  |  | 23662 | 23258
AEP | 2030 |  |  | 23837 | 23288
AEP | 2031 |  |  | 23961 | 23306
AEP | 2032 |  |  | 24082 | 23367
AEP | 2033 |  |  | 24164 | 23400
AEP | 2034 |  |  | 24279 | 23407
AEP | 2035 |  |  | 24395 | 23423
APS | 1998 | 7314
APS | 1999 | 7788
APS | 2000 | 7546
APS | 2001 | 8265
APS | 2002 | 8340
APS | 2003 | 8183
APS | 2004 | 7996
APS | 2005 | 8824 | 8753
APS | 2006 | 8734 | 8459
APS | 2007 | 8638 | 8428
APS | 2008 | 8432 | 8474
APS | 2009 | 7871 | 8213
APS | 2010 | 8532 | 8515
APS | 2011 | 8975 | 8470
APS | 2012 | 8537 | 8466
APS | 2013 | 8681 | 8590
APS | 2014 | 8084 | 8708
APS | 2015 | 8256 | 8665
APS | 2016 | 8717 | 8621
APS | 2017 | 8315 | 8830
APS | 2018 | 8542 | 8773
APS | 2019 | 8446 | 8909
APS | 2020 | 8638 |  | 8374 | 8872
APS | 2021 |  |  | 8419 | 8878
APS | 2022 |  |  | 8541 | 8901
APS | 2023 |  |  | 8619 | 8933
APS | 2024 |  |  | 8653 | 8943
APS | 2025 |  |  | 8674 | 8961
APS | 2026 |  |  | 8697 | 8998
APS | 2027 |  |  | 8732 | 9029
APS | 2028 |  |  | 8775 | 9041
APS | 2029 |  |  | 8822 | 9073
APS | 2030 |  |  | 8849 | 9099
APS | 2031 |  |  | 8877 | 9124
APS | 2032 |  |  | 8896 | 9170
APS | 2033 |  |  | 8914 | 9169
APS | 2034 |  |  | 8934 | 9189
APS | 2035 |  |  | 8957 | 9199
ATSI | 1998 | 11657
ATSI | 1999 | 12713
ATSI | 2000 | 11959
ATSI | 2001 | 13145
ATSI | 2002 | 13299
ATSI | 2003 | 12165
ATSI | 2004 | 12310
ATSI | 2005 | 13578 | 13110
ATSI | 2006 | 13804 | 13428
ATSI | 2007 | 13536 | 13332
ATSI | 2008 | 12972 | 13304
ATSI | 2009 | 12310 | 12445
ATSI | 2010 | 13177 | 13022
ATSI | 2011 | 14032 | 13060
ATSI | 2012 | 13516 | 12912
ATSI | 2013 | 13480 | 12902
ATSI | 2014 | 12300 | 12869
ATSI | 2015 | 12356 | 12589
ATSI | 2016 | 12752 | 12505
ATSI | 2017 | 12053 | 12560
ATSI | 2018 | 12727 | 12443
ATSI | 2019 | 12582 | 12395
ATSI | 2020 | 12465 |  | 12127 | 12415
ATSI | 2021 |  |  | 12282 | 12475
ATSI | 2022 |  |  | 12459 | 12561
ATSI | 2023 |  |  | 12526 | 12590
ATSI | 2024 |  |  | 12545 | 12599
ATSI | 2025 |  |  | 12535 | 12597
ATSI | 2026 |  |  | 12515 | 12601
ATSI | 2027 |  |  | 12513 | 12607
ATSI | 2028 |  |  | 12522 | 12600
ATSI | 2029 |  |  | 12519 | 12572
ATSI | 2030 |  |  | 12511 | 12577
ATSI | 2031 |  |  | 12499 | 12572
ATSI | 2032 |  |  | 12478 | 12545
ATSI | 2033 |  |  | 12448 | 12514
ATSI | 2034 |  |  | 12420 | 12490
ATSI | 2035 |  |  | 12404 | 12461
BGE | 1998 | 6045
BGE | 1999 | 6670
BGE | 2000 | 6015
BGE | 2001 | 6867
BGE | 2002 | 6897
BGE | 2003 | 6572
BGE | 2004 | 6267
BGE | 2005 | 7376 | 6992
BGE | 2006 | 7484 | 7034
BGE | 2007 | 7478 | 7011
BGE | 2008 | 7150 | 6981
BGE | 2009 | 6596 | 6935
BGE | 2010 | 7125 | 6793
BGE | 2011 | 7616 | 7060
BGE | 2012 | 7435 | 6975
BGE | 2013 | 7038 | 6807
BGE | 2014 | 6665 | 6753
BGE | 2015 | 6507 | 6697
BGE | 2016 | 6932 | 6631
BGE | 2017 | 6448 | 6582
BGE | 2018 | 6626 | 6559
BGE | 2019 | 6706 | 6644
BGE | 2020 | 6700 |  | 6403 | 6624
BGE | 2021 |  |  | 6425 | 6634
BGE | 2022 |  |  | 6457 | 6655
BGE | 2023 |  |  | 6452 | 6668
BGE | 2024 |  |  | 6482 | 6695
BGE | 2025 |  |  | 6495 | 6693
BGE | 2026 |  |  | 6497 | 6712
BGE | 2027 |  |  | 6500 | 6721
BGE | 2028 |  |  | 6512 | 6728
BGE | 2029 |  |  | 6535 | 6758
BGE | 2030 |  |  | 6551 | 6758
BGE | 2031 |  |  | 6561 | 6766
BGE | 2032 |  |  | 6565 | 6785
BGE | 2033 |  |  | 6564 | 6769
BGE | 2034 |  |  | 6563 | 6787
BGE | 2035 |  |  | 6579 | 6823
COMED | 1998 | 19510
COMED | 1999 | 22157
COMED | 2000 | 20143
COMED | 2001 | 21574
COMED | 2002 | 21804
COMED | 2003 | 22054
COMED | 2004 | 19794
COMED | 2005 | 21635 | 21516
COMED | 2006 | 23995 | 21936
COMED | 2007 | 21970 | 21910
COMED | 2008 | 20975 | 22158
COMED | 2009 | 21218 | 21329
COMED | 2010 | 21915 | 22146
COMED | 2011 | 23753 | 21532
COMED | 2012 | 23601 | 21485
COMED | 2013 | 22290 | 21183
COMED | 2014 | 19722 | 21344
COMED | 2015 | 19767 | 21226
COMED | 2016 | 21187 | 21194
COMED | 2017 | 20351 | 21086
COMED | 2018 | 21359 | 20989
COMED | 2019 | 20949 | 20985
COMED | 2020 | 20220 |  | 20341 | 20811
COMED | 2021 |  |  | 20379 | 20737
COMED | 2022 |  |  | 20615 | 20811
COMED | 2023 |  |  | 20737 | 20828
COMED | 2024 |  |  | 20823 | 20860
COMED | 2025 |  |  | 20911 | 20887
COMED | 2026 |  |  | 20977 | 20894
COMED | 2027 |  |  | 21055 | 20917
COMED | 2028 |  |  | 21118 | 20945
COMED | 2029 |  |  | 21184 | 20945
COMED | 2030 |  |  | 21247 | 20931
COMED | 2031 |  |  | 21276 | 20944
COMED | 2032 |  |  | 21343 | 20947
COMED | 2033 |  |  | 21335 | 20931
COMED | 2034 |  |  | 21350 | 20897
COMED | 2035 |  |  | 21329 | 20848
DAYTON | 1998 | 3303
DAYTON | 1999 | 3460
DAYTON | 2000 | 3176
DAYTON | 2001 | 3436
DAYTON | 2002 | 3261
DAYTON | 2003 | 3366
DAYTON | 2004 | 3280
DAYTON | 2005 | 3725 | 3274
DAYTON | 2006 | 3706 | 3425
DAYTON | 2007 | 3748 | 3487
DAYTON | 2008 | 3348 | 3541
DAYTON | 2009 | 3327 | 3401
DAYTON | 2010 | 3387 | 3401
DAYTON | 2011 | 3644 | 3386
DAYTON | 2012 | 3495 | 3397
DAYTON | 2013 | 3358 | 3355
DAYTON | 2014 | 3224 | 3331
DAYTON | 2015 | 3269 | 3347
DAYTON | 2016 | 3327 | 3346
DAYTON | 2017 | 3213 | 3473
DAYTON | 2018 | 3325 | 3438
DAYTON | 2019 | 3246 | 3461
DAYTON | 2020 | 3296 |  | 3168 | 3397
DAYTON | 2021 |  |  | 3179 | 3397
DAYTON | 2022 |  |  | 3210 | 3414
DAYTON | 2023 |  |  | 3215 | 3421
DAYTON | 2024 |  |  | 3216 | 3428
DAYTON | 2025 |  |  | 3216 | 3431
DAYTON | 2026 |  |  | 3212 | 3433
DAYTON | 2027 |  |  | 3213 | 3438
DAYTON | 2028 |  |  | 3212 | 3440
DAYTON | 2029 |  |  | 3215 | 3442
DAYTON | 2030 |  |  | 3217 | 3442
DAYTON | 2031 |  |  | 3214 | 3440
DAYTON | 2032 |  |  | 3208 | 3443
DAYTON | 2033 |  |  | 3205 | 3447
DAYTON | 2034 |  |  | 3204 | 3452
DAYTON | 2035 |  |  | 3205 | 3458
DPL | 1998 | 3277
DPL | 1999 | 3714
DPL | 2000 | 3476
DPL | 2001 | 3793
DPL | 2002 | 3905
DPL | 2003 | 3687
DPL | 2004 | 3641
DPL | 2005 | 4235 | 3994
DPL | 2006 | 4328 | 4049
DPL | 2007 | 4349 | 4108
DPL | 2008 | 4015 | 4111
DPL | 2009 | 3843 | 4042
DPL | 2010 | 4055 | 4003
DPL | 2011 | 4338 | 4105
DPL | 2012 | 4152 | 4108
DPL | 2013 | 4019 | 4015
DPL | 2014 | 3875 | 4017
DPL | 2015 | 3821 | 4010
DPL | 2016 | 4127 | 4021
DPL | 2017 | 3813 | 4007
DPL | 2018 | 4002 | 4015
DPL | 2019 | 4098 | 3864
DPL | 2020 | 4086 |  | 3923 | 3876
DPL | 2021 |  |  | 3954 | 3871
DPL | 2022 |  |  | 4003 | 3874
DPL | 2023 |  |  | 4038 | 3881
DPL | 2024 |  |  | 4066 | 3890
DPL | 2025 |  |  | 4094 | 3906
DPL | 2026 |  |  | 4122 | 3915
DPL | 2027 |  |  | 4157 | 3929
DPL | 2028 |  |  | 4193 | 3944
DPL | 2029 |  |  | 4230 | 3961
DPL | 2030 |  |  | 4262 | 3974
DPL | 2031 |  |  | 4297 | 3986
DPL | 2032 |  |  | 4325 | 3996
DPL | 2033 |  |  | 4358 | 4006
DPL | 2034 |  |  | 4391 | 4015
DPL | 2035 |  |  | 4427 | 4024
DQE | 1998 | 2484
DQE | 1999 | 2756
DQE | 2000 | 2673
DQE | 2001 | 2771
DQE | 2002 | 2917
DQE | 2003 | 2686
DQE | 2004 | 2646
DQE | 2005 | 2885 | 2797
DQE | 2006 | 3053 | 2943
DQE | 2007 | 2890 | 2874
DQE | 2008 | 2822 | 2902
DQE | 2009 | 2732 | 2836
DQE | 2010 | 2889 | 2895
DQE | 2011 | 3070 | 2875
DQE | 2012 | 3054 | 2936
DQE | 2013 | 2951 | 2909
DQE | 2014 | 2693 | 2845
DQE | 2015 | 2804 | 2785
DQE | 2016 | 2796 | 2707
DQE | 2017 | 2682 | 2775
DQE | 2018 | 2727 | 2732
DQE | 2019 | 2662 | 2753
DQE | 2020 | 2667 |  | 2750 | 2755
DQE | 2021 |  |  | 2773 | 2778
DQE | 2022 |  |  | 2803 | 2804
DQE | 2023 |  |  | 2827 | 2833
DQE | 2024 |  |  | 2841 | 2859
DQE | 2025 |  |  | 2847 | 2874
DQE | 2026 |  |  | 2857 | 2883
DQE | 2027 |  |  | 2861 | 2889
DQE | 2028 |  |  | 2870 | 2900
DQE | 2029 |  |  | 2879 | 2915
DQE | 2030 |  |  | 2884 | 2919
DQE | 2031 |  |  | 2882 | 2925
DQE | 2032 |  |  | 2880 | 2925
DQE | 2033 |  |  | 2878 | 2924
DQE | 2034 |  |  | 2874 | 2923
DQE | 2035 |  |  | 2869 | 2922
DUKE | 1998 | 4851
DUKE | 1999 | 5156
DUKE | 2000 | 4872
DUKE | 2001 | 5197
DUKE | 2002 | 5423
DUKE | 2003 | 5227
DUKE | 2004 | 5106
DUKE | 2005 | 5756 | 5279
DUKE | 2006 | 5595 | 5494
DUKE | 2007 | 5769 | 5373
DUKE | 2008 | 5157 | 5486
DUKE | 2009 | 5014 | 5352
DUKE | 2010 | 5545 | 5456
DUKE | 2011 | 5600 | 5346
DUKE | 2012 | 5445 | 5340
DUKE | 2013 | 5109 | 5298
DUKE | 2014 | 5039 | 5322
DUKE | 2015 | 5123 | 5263
DUKE | 2016 | 5308 | 5289
DUKE | 2017 | 5036 | 5406
DUKE | 2018 | 5195 | 5254
DUKE | 2019 | 5052 | 5404
DUKE | 2020 | 4975 |  | 5181 | 5330
DUKE | 2021 |  |  | 5285 | 5370
DUKE | 2022 |  |  | 5374 | 5421
DUKE | 2023 |  |  | 5422 | 5454
DUKE | 2024 |  |  | 5463 | 5481
DUKE | 2025 |  |  | 5488 | 5499
DUKE | 2026 |  |  | 5516 | 5509
DUKE | 2027 |  |  | 5541 | 5526
DUKE | 2028 |  |  | 5566 | 5536
DUKE | 2029 |  |  | 5580 | 5543
DUKE | 2030 |  |  | 5592 | 5544
DUKE | 2031 |  |  | 5599 | 5562
DUKE | 2032 |  |  | 5620 | 5577
DUKE | 2033 |  |  | 5635 | 5589
DUKE | 2034 |  |  | 5647 | 5602
DUKE | 2035 |  |  | 5668 | 5608
EKPC | 1998 | 1486
EKPC | 1999 | 1657
EKPC | 2000 | 1760
EKPC | 2001 | 1805
EKPC | 2002 | 1911
EKPC | 2003 | 1804
EKPC | 2004 | 1676
EKPC | 2005 | 1894 | 1857
EKPC | 2006 | 1884 | 1933
EKPC | 2007 | 2003 | 1917
EKPC | 2008 | 1837 | 1915
EKPC | 2009 | 1783 | 1906
EKPC | 2010 | 1966 | 1906
EKPC | 2011 | 1945 | 1909
EKPC | 2012 | 1976 | 1930
EKPC | 2013 | 1901 | 2010
EKPC | 2014 | 1896 | 2001
EKPC | 2015 | 1916 | 2010
EKPC | 2016 | 2026 | 2009
EKPC | 2017 | 1986 | 2086
EKPC | 2018 | 1983 | 2040
EKPC | 2019 | 2075 | 2100
EKPC | 2020 | 1946 |  | 1975 | 2096
EKPC | 2021 |  |  | 2011 | 2107
EKPC | 2022 |  |  | 2057 | 2120
EKPC | 2023 |  |  | 2090 | 2132
EKPC | 2024 |  |  | 2129 | 2153
EKPC | 2025 |  |  | 2164 | 2165
EKPC | 2026 |  |  | 2192 | 2177
EKPC | 2027 |  |  | 2224 | 2188
EKPC | 2028 |  |  | 2256 | 2193
EKPC | 2029 |  |  | 2292 | 2206
EKPC | 2030 |  |  | 2329 | 2220
EKPC | 2031 |  |  | 2361 | 2230
EKPC | 2032 |  |  | 2391 | 2237
EKPC | 2033 |  |  | 2421 | 2244
EKPC | 2034 |  |  | 2450 | 2251
EKPC | 2035 |  |  | 2485 | 2260
JCPL | 1998 | 4998
JCPL | 1999 | 5357
JCPL | 2000 | 5046
JCPL | 2001 | 5826
JCPL | 2002 | 5919
JCPL | 2003 | 5668
JCPL | 2004 | 5457
JCPL | 2005 | 6440 | 6152
JCPL | 2006 | 6751 | 6217
JCPL | 2007 | 6313 | 6323
JCPL | 2008 | 6398 | 6249
JCPL | 2009 | 5738 | 6124
JCPL | 2010 | 6448 | 6044
JCPL | 2011 | 6675 | 5979
JCPL | 2012 | 6300 | 6034
JCPL | 2013 | 6379 | 5989
JCPL | 2014 | 5637 | 6016
JCPL | 2015 | 5818 | 5959
JCPL | 2016 | 5955 | 6091
JCPL | 2017 | 5721 | 5863
JCPL | 2018 | 5977 | 6010
JCPL | 2019 | 6057 | 5807
JCPL | 2020 | 5901 |  | 5803 | 5895
JCPL | 2021 |  |  | 5816 | 5865
JCPL | 2022 |  |  | 5843 | 5887
JCPL | 2023 |  |  | 5857 | 5920
JCPL | 2024 |  |  | 5895 | 5951
JCPL | 2025 |  |  | 5953 | 5992
JCPL | 2026 |  |  | 5989 | 6026
JCPL | 2027 |  |  | 6021 | 6057
JCPL | 2028 |  |  | 6046 | 6087
JCPL | 2029 |  |  | 6080 | 6115
JCPL | 2030 |  |  | 6104 | 6128
JCPL | 2031 |  |  | 6129 | 6149
JCPL | 2032 |  |  | 6148 | 6173
JCPL | 2033 |  |  | 6184 | 6184
JCPL | 2034 |  |  | 6196 | 6196
JCPL | 2035 |  |  | 6192 | 6214
METED | 1998 | 2225
METED | 1999 | 2491
METED | 2000 | 2342
METED | 2001 | 2600
METED | 2002 | 2616
METED | 2003 | 2513
METED | 2004 | 2556
METED | 2005 | 2862 | 2791
METED | 2006 | 3000 | 2899
METED | 2007 | 2995 | 2889
METED | 2008 | 3110 | 2969
METED | 2009 | 2839 | 2944
METED | 2010 | 2933 | 2902
METED | 2011 | 3208 | 2987
METED | 2012 | 3038 | 2938
METED | 2013 | 3013 | 2895
METED | 2014 | 2817 | 2886
METED | 2015 | 2791 | 2910
METED | 2016 | 2947 | 2931
METED | 2017 | 2897 | 2975
METED | 2018 | 3027 | 3014
METED | 2019 | 2986 | 3036
METED | 2020 | 2976 |  | 2937 | 3026
METED | 2021 |  |  | 2972 | 3054
METED | 2022 |  |  | 3031 | 3090
METED | 2023 |  |  | 3069 | 3114
METED | 2024 |  |  | 3100 | 3139
METED | 2025 |  |  | 3128 | 3163
METED | 2026 |  |  | 3153 | 3184
METED | 2027 |  |  | 3182 | 3204
METED | 2028 |  |  | 3208 | 3217
METED | 2029 |  |  | 3236 | 3236
METED | 2030 |  |  | 3261 | 3253
METED | 2031 |  |  | 3285 | 3267
METED | 2032 |  |  | 3305 | 3281
METED | 2033 |  |  | 3321 | 3290
METED | 2034 |  |  | 3337 | 3296
METED | 2035 |  |  | 3353 | 3298
PECO | 1998 | 7108
PECO | 1999 | 8230
PECO | 2000 | 7333
PECO | 2001 | 8186
PECO | 2002 | 8164
PECO | 2003 | 7696
PECO | 2004 | 7567
PECO | 2005 | 8847 | 8337
PECO | 2006 | 8995 | 8432
PECO | 2007 | 8850 | 8473
PECO | 2008 | 8837 | 8571
PECO | 2009 | 8009 | 8524
PECO | 2010 | 8911 | 8389
PECO | 2011 | 9286 | 8514
PECO | 2012 | 8727 | 8452
PECO | 2013 | 8655 | 8316
PECO | 2014 | 8258 | 8273
PECO | 2015 | 8094 | 8189
PECO | 2016 | 8364 | 8420
PECO | 2017 | 8141 | 8300
PECO | 2018 | 8517 | 8437
PECO | 2019 | 8432 | 8521
PECO | 2020 | 8148 |  | 8229 | 8375
PECO | 2021 |  |  | 8283 | 8398
PECO | 2022 |  |  | 8384 | 8470
PECO | 2023 |  |  | 8436 | 8510
PECO | 2024 |  |  | 8466 | 8551
PECO | 2025 |  |  | 8481 | 8584
PECO | 2026 |  |  | 8494 | 8590
PECO | 2027 |  |  | 8518 | 8605
PECO | 2028 |  |  | 8537 | 8611
PECO | 2029 |  |  | 8578 | 8634
PECO | 2030 |  |  | 8593 | 8638
PECO | 2031 |  |  | 8602 | 8647
PECO | 2032 |  |  | 8606 | 8621
PECO | 2033 |  |  | 8603 | 8609
PECO | 2034 |  |  | 8593 | 8589
PECO | 2035 |  |  | 8596 | 8575
PENLC | 1998 | 2419
PENLC | 1999 | 2516
PENLC | 2000 | 2482
PENLC | 2001 | 2708
PENLC | 2002 | 2706
PENLC | 2003 | 2623
PENLC | 2004 | 2638
PENLC | 2005 | 2875 | 2834
PENLC | 2006 | 3069 | 2893
PENLC | 2007 | 2902 | 2808
PENLC | 2008 | 2880 | 2849
PENLC | 2009 | 2817 | 2840
PENLC | 2010 | 2970 | 2900
PENLC | 2011 | 3128 | 2902
PENLC | 2012 | 2913 | 2873
PENLC | 2013 | 3087 | 2846
PENLC | 2014 | 2788 | 2822
PENLC | 2015 | 2819 | 2862
PENLC | 2016 | 2909 | 2806
PENLC | 2017 | 2882 | 2866
PENLC | 2018 | 2997 | 2862
PENLC | 2019 | 2866 | 2870
PENLC | 2020 | 2908 |  | 2789 | 2828
PENLC | 2021 |  |  | 2795 | 2845
PENLC | 2022 |  |  | 2839 | 2887
PENLC | 2023 |  |  | 2855 | 2908
PENLC | 2024 |  |  | 2865 | 2923
PENLC | 2025 |  |  | 2876 | 2940
PENLC | 2026 |  |  | 2892 | 2962
PENLC | 2027 |  |  | 2902 | 2976
PENLC | 2028 |  |  | 2921 | 2998
PENLC | 2029 |  |  | 2942 | 3025
PENLC | 2030 |  |  | 2953 | 3034
PENLC | 2031 |  |  | 2967 | 3058
PENLC | 2032 |  |  | 2978 | 3074
PENLC | 2033 |  |  | 2993 | 3093
PENLC | 2034 |  |  | 3003 | 3104
PENLC | 2035 |  |  | 3016 | 3119
PEPCO | 1998 | 5807
PEPCO | 1999 | 6223
PEPCO | 2000 | 5721
PEPCO | 2001 | 6399
PEPCO | 2002 | 6513
PEPCO | 2003 | 6166
PEPCO | 2004 | 6086
PEPCO | 2005 | 6766 | 6502
PEPCO | 2006 | 6947 | 6679
PEPCO | 2007 | 6892 | 6548
PEPCO | 2008 | 6752 | 6649
PEPCO | 2009 | 6325 | 6584
PEPCO | 2010 | 6718 | 6552
PEPCO | 2011 | 7024 | 6314
PEPCO | 2012 | 6758 | 6519
PEPCO | 2013 | 6533 | 6368
PEPCO | 2014 | 6345 | 6372
PEPCO | 2015 | 6268 | 6232
PEPCO | 2016 | 6584 | 6303
PEPCO | 2017 | 6097 | 6206
PEPCO | 2018 | 6203 | 6110
PEPCO | 2019 | 6191 | 6217
PEPCO | 2020 | 5887 |  | 6083 | 6166
PEPCO | 2021 |  |  | 6062 | 6068
PEPCO | 2022 |  |  | 6028 | 5994
PEPCO | 2023 |  |  | 5985 | 5957
PEPCO | 2024 |  |  | 5951 | 5926
PEPCO | 2025 |  |  | 5912 | 5881
PEPCO | 2026 |  |  | 5878 | 5835
PEPCO | 2027 |  |  | 5849 | 5792
PEPCO | 2028 |  |  | 5813 | 5757
PEPCO | 2029 |  |  | 5796 | 5728
PEPCO | 2030 |  |  | 5771 | 5684
PEPCO | 2031 |  |  | 5743 | 5644
PEPCO | 2032 |  |  | 5712 | 5603
PEPCO | 2033 |  |  | 5676 | 5562
PEPCO | 2034 |  |  | 5645 | 5520
PEPCO | 2035 |  |  | 5623 | 5484
PL | 1998 | 5809
PL | 1999 | 6415
PL | 2000 | 6068
PL | 2001 | 6790
PL | 2002 | 6946
PL | 2003 | 6480
PL | 2004 | 6446
PL | 2005 | 7176 | 6835
PL | 2006 | 7688 | 7218
PL | 2007 | 7304 | 7077
PL | 2008 | 7370 | 7280
PL | 2009 | 6853 | 7279
PL | 2010 | 7216 | 7154
PL | 2011 | 7527 | 7099
PL | 2012 | 7290 | 6994
PL | 2013 | 7328 | 6925
PL | 2014 | 6732 | 6919
PL | 2015 | 6579 | 6878
PL | 2016 | 6840 | 6580
PL | 2017 | 6729 | 6993
PL | 2018 | 7129 | 7014
PL | 2019 | 7069 | 7064
PL | 2020 | 7049 |  | 6958 | 7026
PL | 2021 |  |  | 7057 | 7086
PL | 2022 |  |  | 7176 | 7168
PL | 2023 |  |  | 7267 | 7207
PL | 2024 |  |  | 7333 | 7254
PL | 2025 |  |  | 7398 | 7312
PL | 2026 |  |  | 7459 | 7370
PL | 2027 |  |  | 7524 | 7418
PL | 2028 |  |  | 7586 | 7433
PL | 2029 |  |  | 7654 | 7480
PL | 2030 |  |  | 7702 | 7515
PL | 2031 |  |  | 7749 | 7581
PL | 2032 |  |  | 7794 | 7634
PL | 2033 |  |  | 7838 | 7672
PL | 2034 |  |  | 7864 | 7685
PL | 2035 |  |  | 7890 | 7716
PS | 1998 | 9291
PS | 1999 | 10225
PS | 2000 | 9369
PS | 2001 | 10426
PS | 2002 | 10188
PS | 2003 | 9855
PS | 2004 | 9429
PS | 2005 | 11122 | 10516
PS | 2006 | 11229 | 10436
PS | 2007 | 10478 | 10582
PS | 2008 | 10716 | 10652
PS | 2009 | 9687 | 10428
PS | 2010 | 10761 | 10111
PS | 2011 | 10998 | 9953
PS | 2012 | 10475 | 10037
PS | 2013 | 10414 | 9844
PS | 2014 | 9515 | 9739
PS | 2015 | 9595 | 9718
PS | 2016 | 9800 | 9816
PS | 2017 | 9567 | 9719
PS | 2018 | 9884 | 9802
PS | 2019 | 9754 | 9750
PS | 2020 | 9557 |  | 9712 | 9806
PS | 2021 |  |  | 9825 | 9781
PS | 2022 |  |  | 9964 | 9833
PS | 2023 |  |  | 10049 | 9906
PS | 2024 |  |  | 10134 | 9979
PS | 2025 |  |  | 10256 | 10046
PS | 2026 |  |  | 10344 | 10101
PS | 2027 |  |  | 10422 | 10146
PS | 2028 |  |  | 10495 | 10191
PS | 2029 |  |  | 10541 | 10220
PS | 2030 |  |  | 10588 | 10231
PS | 2031 |  |  | 10616 | 10260
PS | 2032 |  |  | 10642 | 10276
PS | 2033 |  |  | 10675 | 10288
PS | 2034 |  |  | 10693 | 10316
PS | 2035 |  |  | 10727 | 10330
RECO | 1998 | 364
RECO | 1999 | 438
RECO | 2000 | 386
RECO | 2001 | 437
RECO | 2002 | 437
RECO | 2003 | 394
RECO | 2004 | 383
RECO | 2005 | 435 | 430
RECO | 2006 | 441 | 420
RECO | 2007 | 423 | 434
RECO | 2008 | 440 | 430
RECO | 2009 | 371 | 414
RECO | 2010 | 430 | 405
RECO | 2011 | 436 | 388
RECO | 2012 | 430 | 402
RECO | 2013 | 438 | 407
RECO | 2014 | 389 | 402
RECO | 2015 | 398 | 388
RECO | 2016 | 402 | 401
RECO | 2017 | 402 | 393
RECO | 2018 | 415 | 404
RECO | 2019 | 393 | 397
RECO | 2020 | 398 |  | 393 | 396
RECO | 2021 |  |  | 395 | 393
RECO | 2022 |  |  | 398 | 393
RECO | 2023 |  |  | 401 | 394
RECO | 2024 |  |  | 404 | 394
RECO | 2025 |  |  | 408 | 396
RECO | 2026 |  |  | 411 | 397
RECO | 2027 |  |  | 413 | 399
RECO | 2028 |  |  | 416 | 399
RECO | 2029 |  |  | 418 | 400
RECO | 2030 |  |  | 419 | 400
RECO | 2031 |  |  | 420 | 401
RECO | 2032 |  |  | 421 | 400
RECO | 2033 |  |  | 422 | 400
RECO | 2034 |  |  | 422 | 400
RECO | 2035 |  |  | 422 | 398
UGI | 1998 | 156
UGI | 1999 | 171
UGI | 2000 | 159
UGI | 2001 | 181
UGI | 2002 | 184
UGI | 2003 | 174
UGI | 2004 | 171
UGI | 2005 | 196 | 183
UGI | 2006 | 211 | 189
UGI | 2007 | 194 | 188
UGI | 2008 | 195 | 187
UGI | 2009 | 181 | 186
UGI | 2010 | 197 | 186
UGI | 2011 | 216 | 190
UGI | 2012 | 200 | 190
UGI | 2013 | 205 | 190
UGI | 2014 | 188 | 189
UGI | 2015 | 189 | 191
UGI | 2016 | 199 | 189
UGI | 2017 | 185 | 192
UGI | 2018 | 207 | 196
UGI | 2019 | 202 | 193
UGI | 2020 | 211 |  | 190 | 193
UGI | 2021 |  |  | 187 | 192
UGI | 2022 |  |  | 186 | 193
UGI | 2023 |  |  | 185 | 193
UGI | 2024 |  |  | 184 | 194
UGI | 2025 |  |  | 184 | 195
UGI | 2026 |  |  | 183 | 196
UGI | 2027 |  |  | 183 | 196
UGI | 2028 |  |  | 183 | 197
UGI | 2029 |  |  | 182 | 197
UGI | 2030 |  |  | 182 | 198
UGI | 2031 |  |  | 181 | 198
UGI | 2032 |  |  | 181 | 198
UGI | 2033 |  |  | 181 | 199
UGI | 2034 |  |  | 180 | 199
UGI | 2035 |  |  | 179 | 199
VEPCO | 1998 | 15231
VEPCO | 1999 | 16027
VEPCO | 2000 | 15252
VEPCO | 2001 | 16440
VEPCO | 2002 | 16911
VEPCO | 2003 | 16250
VEPCO | 2004 | 16327
VEPCO | 2005 | 19028 | 18214
VEPCO | 2006 | 19375 | 18577
VEPCO | 2007 | 19749 | 18853
VEPCO | 2008 | 19111 | 19058
VEPCO | 2009 | 18153 | 18641
VEPCO | 2010 | 19428 | 19111
VEPCO | 2011 | 20147 | 19668
VEPCO | 2012 | 19322 | 19620
VEPCO | 2013 | 18838 | 19486
VEPCO | 2014 | 18760 | 19611
VEPCO | 2015 | 19023 | 19466
VEPCO | 2016 | 19558 | 19695
VEPCO | 2017 | 18902 | 19959
VEPCO | 2018 | 19244 | 20193
VEPCO | 2019 | 19607 | 20424
VEPCO | 2020 | 20087 |  | 19729 | 20325
VEPCO | 2021 |  |  | 19889 | 20310
VEPCO | 2022 |  |  | 20134 | 20372
VEPCO | 2023 |  |  | 20322 | 20523
VEPCO | 2024 |  |  | 20523 | 20682
VEPCO | 2025 |  |  | 20770 | 20838
VEPCO | 2026 |  |  | 20934 | 20950
VEPCO | 2027 |  |  | 21158 | 21099
VEPCO | 2028 |  |  | 21386 | 21234
VEPCO | 2029 |  |  | 21618 | 21383
VEPCO | 2030 |  |  | 21830 | 21515
VEPCO | 2031 |  |  | 22063 | 21663
VEPCO | 2032 |  |  | 22239 | 21757
VEPCO | 2033 |  |  | 22436 | 21816
VEPCO | 2034 |  |  | 22624 | 21887
VEPCO | 2035 |  |  | 22830 | 21929