## NOTE - READ ME
The Test Model forecasts are for informational purposes only to help guide the discussion around understanding potential methodological changes for the 2022 Load Forecast.
All models were run using the following:
- Moody's Analytics September 2020 economic forecast
- 2020 Itron/EIA end-use data (consistent with the 2020 EIA Annual Energy Outlook
- 2021 BtM Solar Capacity forecast provided to PJM by IHS Markit
- PEV forecast consistent with what was used in 2021 Load Forecast

## Summer - Pivot Data
ZONE | PJM RTO
Row Labels | Sum of Actual | Sum of WN (Test model 10/4 LAS) | Sum of 2021 Forecast | Sum of Test (10/4 LAS)
1998 | 131813
1999 | 141491
2000 | 131798 | 143192.6249
2001 | 150924 | 146096.7573
2002 | 150826 | 147834.9954
2003 | 145227 | 149580.766
2004 | 139279 | 152900.8504
2005 | 155257 | 154881.5941
2006 | 166929 | 155529.4861
2007 | 162035 | 158642.0063
2008 | 150622 | 158789.1346
2009 | 145112 | 155349.2863
2010 | 157247 | 156839.664
2011 | 165524 | 153917.8025
2012 | 158219 | 152919.3433
2013 | 159149 | 152531.9142
2014 | 141509 | 153397.8881
2015 | 143579 | 152421.1014
2016 | 152069 | 151188.2595
2017 | 145434 | 150824.4155
2018 | 150573 | 151479.0879
2019 | 151302 | 150447.8758
2020 | 144320 | 149356.4248
2021 |  |  | 149224 | 149878.3075
2022 |  |  | 149966 | 150499.4882
2023 |  |  | 150855 | 150830.2718
2024 |  |  | 151503 | 151415.5461
2025 |  |  | 151928 | 151708.6788
2026 |  |  | 152290 | 151840.127
2027 |  |  | 152571 | 151624.0583
2028 |  |  | 152971 | 151524.9361
2029 |  |  | 153268 | 151773.113
2030 |  |  | 153536 | 151692.1476
2031 |  |  | 153759 | 151635.885
2032 |  |  | 154045 | 151607.1027
2033 |  |  | 154323 | 151538.1743
2034 |  |  | 154561 | 151390.8369
2035 |  |  | 154620 | 151414.3711
2036 |  |  | 154728 | 151452.7132
Grand Total | 3440238 | 3198121.2786 | 2444148 | 2421825.7574

## Winter - Pivot Data
ZONE | PJM RTO
Row Labels | Sum of peak | Sum of WN (Test model 10/4 LAS) | Sum of 2021 Forecast | Sum of Test (10/4 LAS)
1997 | 102081
1998 | 116086
1999 | 118435 | 117020.338
2000 | 118046 | 121009.2212
2001 | 112217 | 121896.648
2002 | 129965 | 123157.187
2003 | 122424 | 126330.6652
2004 | 131234 | 130063.6336
2005 | 126777 | 131009.814
2006 | 136804 | 133193.7154
2007 | 128368 | 134600.8889
2008 | 134077 | 129924.8352
2009 | 125350 | 131395.5119
2010 | 132315 | 131391.7021
2011 | 124506 | 132821.9636
2012 | 128810 | 131757.3136
2013 | 141866 | 131349.897
2014 | 142856 | 132064.7403
2015 | 129540 | 131301.0675
2016 | 130825 | 130440.5868
2017 | 137212 | 131519.6164
2018 | 137618 | 130645.3371
2019 | 120272 | 132552.6765
2020 |  |  | 132027 | 131171.4123
2021 |  |  | 132632 | 132181.0147
2022 |  |  | 132785 | 132983.3618
2023 |  |  | 133527 | 133790.6037
2024 |  |  | 133888 | 134283.7391
2025 |  |  | 134223 | 134471.7214
2026 |  |  | 134799 | 134967.8915
2027 |  |  | 135163 | 135340.6512
2028 |  |  | 135108 | 135685.0892
2029 |  |  | 135829 | 135625.3434
2030 |  |  | 135568 | 135919.6558
2031 |  |  | 135799 | 135922.2771
2032 |  |  | 136319 | 136497.0584
2033 |  |  | 136238 | 136591.8755
2034 |  |  | 136304 | 136758.2742
2035 |  |  | 136459 | 136885.2102 | 0.2847%
Grand Total | 2927684 | 2715447.3594 | 2156668 | 2159075.1793