## NOTE - READ ME
The Test Model forecasts are for informational purposes only to help guide the discussion around understanding potential methodological changes for the 2022 Load Forecast.
All models were run using the following:
- Moody's Analytics September 2020 economic forecast
- 2020 Itron/EIA end-use data (consistent with the 2020 EIA Annual Energy Outlook
- 2021 BtM Solar Capacity forecast provided to PJM by IHS Markit
- PEV forecast consistent with what was used in 2021 Load Forecast

## Summer - Pivot Data
ZONE | PJM RTO
Row Labels | Sum of Actual | Sum of WN - New Model | Sum of 2021 Forecast | Sum of Test Fcst (Full Est Pd for Sector Models) | Sum of Test (10/4 LAS)
1998 | 131813
1999 | 141491
2000 | 131798 | 144574.05
2001 | 150924 | 147596.45
2002 | 150826 | 148847.7
2003 | 145227 | 150751.23
2004 | 139279 | 153881.62
2005 | 155257 | 156000.89
2006 | 166929 | 156580.61
2007 | 162035 | 159310.97
2008 | 150622 | 159842.11
2009 | 145112 | 156412.59
2010 | 157247 | 157793.46
2011 | 165524 | 153903.17
2012 | 158219 | 152548.22
2013 | 159149 | 152379.38
2014 | 141509 | 153163.95
2015 | 143579 | 152291.42
2016 | 152069 | 151017.25
2017 | 145434 | 150385.4
2018 | 150573 | 150838.46
2019 | 151302 | 149965.11
2020 | 144320 | 146596.21
2021 |  |  | 149224 | 149284.6 | 149878.3075
2022 |  |  | 149966 | 149919.34 | 150499.4882
2023 |  |  | 150855 | 150260.28 | 150830.2718
2024 |  |  | 151503 | 150915.63 | 151415.5461
2025 |  |  | 151928 | 151333.47 | 151708.6788
2026 |  |  | 152290 | 151452.64 | 151840.127
2027 |  |  | 152571 | 151287.3 | 151624.0583
2028 |  |  | 152971 | 150874.24 | 151524.9361
2029 |  |  | 153268 | 151327.3 | 151773.113
2030 |  |  | 153536 | 151467.34 | 151692.1476
2031 |  |  | 153759 | 151440 | 151635.885
2032 |  |  | 154045 | 151090.01 | 151607.1027
2033 |  |  | 154323 | 150840.06 | 151538.1743
2034 |  |  | 154561 | 150506.2 | 151390.8369
2035 |  |  | 154620 | 150535.12 | 151414.3711
2036 |  |  | 154728 | 151382.8 | 151452.7132
Grand Total | 3440238 | 3204680.25 | 2444148 | 2413916.33 | 2421825.7574

## Summer Fcst Data
ZONE | Year | Actual | WN | WN - New Model | 2021 Forecast | Test Fcst (Full Est Pd for Sector Models) | Test (10/4 LAS)
AE | 1998 | 2265
AE | 1999 | 2473
AE | 2000 | 2329 |  | 2520.89
AE | 2001 | 2635 |  | 2585.92
AE | 2002 | 2678 |  | 2641.58
AE | 2003 | 2485 |  | 2707.16
AE | 2004 | 2454 |  | 2776.45
AE | 2005 | 2839 | 2637.01 | 2801.79
AE | 2006 | 3009 | 2705.04 | 2821
AE | 2007 | 2953 | 2781.01 | 2845.72
AE | 2008 | 2639 | 2760.98 | 2867.52
AE | 2009 | 2707 | 2731.37 | 2847.03
AE | 2010 | 2937 | 2756.98 | 2833.99
AE | 2011 | 2967 | 2690.09 | 2798.46
AE | 2012 | 2853 | 2770.32 | 2768.24
AE | 2013 | 2740 | 2653.03 | 2725.5
AE | 2014 | 2444 | 2675.7 | 2701.32
AE | 2015 | 2553 | 2511.82 | 2666.99
AE | 2016 | 2674 | 2572.21 | 2608.59
AE | 2017 | 2541 | 2468.09 | 2556.47
AE | 2018 | 2592 | 2521.7 | 2545.03
AE | 2019 | 2738 | 2454.58 | 2516
AE | 2020 | 2635 | 2482.4 | 2485.25
AE | 2021 |  |  |  | 2470 | 2485.91 | 2525.2177
AE | 2022 |  |  |  | 2492 | 2484.26 | 2532.2424
AE | 2023 |  |  |  | 2503 | 2485.89 | 2544.8392
AE | 2024 |  |  |  | 2511 | 2482.53 | 2545.2001
AE | 2025 |  |  |  | 2517 | 2480.59 | 2547.9454
AE | 2026 |  |  |  | 2528 | 2480.93 | 2558.644
AE | 2027 |  |  |  | 2541 | 2481.66 | 2563.9099
AE | 2028 |  |  |  | 2556 | 2485.37 | 2580.2178
AE | 2029 |  |  |  | 2575 | 2491.9 | 2597.2731
AE | 2030 |  |  |  | 2590 | 2495.48 | 2606.1234
AE | 2031 |  |  |  | 2605 | 2497.57 | 2614.9047
AE | 2032 |  |  |  | 2622 | 2499.39 | 2623.5178
AE | 2033 |  |  |  | 2629 | 2492.23 | 2631.7759
AE | 2034 |  |  |  | 2633 | 2498.78 | 2647.1447
AE | 2035 |  |  |  | 2639 | 2498.18 | 2654.1992
AE | 2036 |  |  |  | 2654 | 2492.89 | 2656.0043
AEP | 1998 | 21156
AEP | 1999 | 21887
AEP | 2000 | 20584 |  | 22493.49
AEP | 2001 | 22907 |  | 22871.17
AEP | 2002 | 23126 |  | 22749.99
AEP | 2003 | 22572 |  | 22749.09
AEP | 2004 | 21882 |  | 23215.46
AEP | 2005 | 23914 | 22517.8 | 23438.69
AEP | 2006 | 24834 | 23650.89 | 23743.87
AEP | 2007 | 25293 | 24104.23 | 24492.64
AEP | 2008 | 23826 | 24605.24 | 24574.36
AEP | 2009 | 21881 | 23428.27 | 23374.46
AEP | 2010 | 23500 | 23646.55 | 23761.61
AEP | 2011 | 24538 | 23617.64 | 23384.28
AEP | 2012 | 23500 | 23622.52 | 23185.09
AEP | 2013 | 22939 | 23320.96 | 22807.28
AEP | 2014 | 21407 | 22772.65 | 22801.49
AEP | 2015 | 21872 | 22604.99 | 22636.62
AEP | 2016 | 22484 | 22205.01 | 22406.81
AEP | 2017 | 21714 | 22892.12 | 22436.49
AEP | 2018 | 22273 | 22673.6 | 22523.42
AEP | 2019 | 21758 | 22467.17 | 22319.62
AEP | 2020 | 21654 | 22075.52 | 21669.49
AEP | 2021 |  |  |  | 22609 | 22149.97 | 22161.9792
AEP | 2022 |  |  |  | 22776 | 22213.76 | 22210.6559
AEP | 2023 |  |  |  | 22887 | 22248.1 | 22206.4551
AEP | 2024 |  |  |  | 22981 | 22322.98 | 22267.6303
AEP | 2025 |  |  |  | 23039 | 22373.27 | 22294.9703
AEP | 2026 |  |  |  | 23123 | 22404.08 | 22317.0644
AEP | 2027 |  |  |  | 23188 | 22407.55 | 22335.4701
AEP | 2028 |  |  |  | 23269 | 22432.89 | 22359.8582
AEP | 2029 |  |  |  | 23347 | 22464.21 | 22380.2742
AEP | 2030 |  |  |  | 23415 | 22524.23 | 22422.3754
AEP | 2031 |  |  |  | 23471 | 22554.83 | 22466.3164
AEP | 2032 |  |  |  | 23538 | 22537.25 | 22446.5453
AEP | 2033 |  |  |  | 23613 | 22575.85 | 22473.2569
AEP | 2034 |  |  |  | 23640 | 22538.77 | 22471.6259
AEP | 2035 |  |  |  | 23678 | 22544.68 | 22471.7952
AEP | 2036 |  |  |  | 23722 | 22666.08 | 22518.6102
APS | 1998 | 7314
APS | 1999 | 7788
APS | 2000 | 7546 |  | 7905.56
APS | 2001 | 8265 |  | 8187.1
APS | 2002 | 8340 |  | 8335.6
APS | 2003 | 8183 |  | 8461.22
APS | 2004 | 7997 |  | 8674.64
APS | 2005 | 8824 | 8806.49 | 8736.72
APS | 2006 | 8735 | 8535.62 | 8333.52
APS | 2007 | 8638 | 8476.55 | 8456.89
APS | 2008 | 8432 | 8517.58 | 8539.95
APS | 2009 | 7872 | 8274.46 | 8416.18
APS | 2010 | 8532 | 8534.68 | 8562.31
APS | 2011 | 8975 | 8495.15 | 8384.88
APS | 2012 | 8537 | 8496.33 | 8366.23
APS | 2013 | 8682 | 8626.95 | 8483.03
APS | 2014 | 8085 | 8736.49 | 8648.81
APS | 2015 | 8257 | 8695.63 | 8659.5
APS | 2016 | 8718 | 8662.89 | 8583.58
APS | 2017 | 8315 | 8880.96 | 8588.54
APS | 2018 | 8632 | 8853.15 | 8682.71
APS | 2019 | 8446 | 8872.43 | 8684.69
APS | 2020 | 8645 | 8919.69 | 8507.33
APS | 2021 |  |  |  | 8859 | 8614.09 | 8688.3258
APS | 2022 |  |  |  | 8907 | 8627.3 | 8725.8842
APS | 2023 |  |  |  | 8969 | 8670.95 | 8749.9825
APS | 2024 |  |  |  | 9014 | 8711.52 | 8789.9155
APS | 2025 |  |  |  | 9047 | 8734.05 | 8833.1565
APS | 2026 |  |  |  | 9076 | 8741.38 | 8839.3034
APS | 2027 |  |  |  | 9087 | 8728.55 | 8849.1385
APS | 2028 |  |  |  | 9104 | 8704.98 | 8813.5082
APS | 2029 |  |  |  | 9113 | 8695.29 | 8849.4068
APS | 2030 |  |  |  | 9126 | 8713.82 | 8850.2497
APS | 2031 |  |  |  | 9140 | 8701.91 | 8850.941
APS | 2032 |  |  |  | 9174 | 8691.59 | 8852.2802
APS | 2033 |  |  |  | 9185 | 8678.82 | 8845.1601
APS | 2034 |  |  |  | 9193 | 8667.84 | 8839.204
APS | 2035 |  |  |  | 9220 | 8662.22 | 8844.2262
APS | 2036 |  |  |  | 9254 | 8671.86 | 8859.096
ATSI | 1998 | 11657
ATSI | 1999 | 12713
ATSI | 2000 | 11959 |  | 12963.98
ATSI | 2001 | 13145 |  | 13002.52
ATSI | 2002 | 13299 |  | 12960.21
ATSI | 2003 | 12165 |  | 12889.74
ATSI | 2004 | 12310 |  | 13196.72
ATSI | 2005 | 13578 | 13049.26 | 13391.96
ATSI | 2006 | 13804 | 13392.45 | 13392.66
ATSI | 2007 | 13536 | 13299.29 | 13562.06
ATSI | 2008 | 12972 | 13279.43 | 13376.16
ATSI | 2009 | 12310 | 12443.17 | 12480.19
ATSI | 2010 | 13177 | 13022.87 | 13017.23
ATSI | 2011 | 14033 | 13043.51 | 12774.74
ATSI | 2012 | 13516 | 12916.39 | 12651.45
ATSI | 2013 | 13480 | 12938.1 | 12803.97
ATSI | 2014 | 12365 | 12913.55 | 12977.31
ATSI | 2015 | 12357 | 12673.83 | 12654.8
ATSI | 2016 | 12753 | 12573.33 | 12567.34
ATSI | 2017 | 12054 | 12616.69 | 12487.47
ATSI | 2018 | 12835 | 12491.09 | 12574.78
ATSI | 2019 | 12582 | 12318.92 | 12315.22
ATSI | 2020 | 12476 | 12255.76 | 12212.79
ATSI | 2021 |  |  |  | 12525 | 12265.76 | 12480.0848
ATSI | 2022 |  |  |  | 12622 | 12288.93 | 12501.2197
ATSI | 2023 |  |  |  | 12673 | 12276.06 | 12501.0952
ATSI | 2024 |  |  |  | 12690 | 12322.2 | 12536.9525
ATSI | 2025 |  |  |  | 12710 | 12317.26 | 12551.8927
ATSI | 2026 |  |  |  | 12731 | 12334.73 | 12569.0536
ATSI | 2027 |  |  |  | 12749 | 12305.64 | 12568.6833
ATSI | 2028 |  |  |  | 12781 | 12307.97 | 12556.4659
ATSI | 2029 |  |  |  | 12796 | 12344.11 | 12621.1185
ATSI | 2030 |  |  |  | 12828 | 12364.98 | 12646.3583
ATSI | 2031 |  |  |  | 12842 | 12349.46 | 12652.1018
ATSI | 2032 |  |  |  | 12855 | 12331.91 | 12627.439
ATSI | 2033 |  |  |  | 12862 | 12334.51 | 12638.1479
ATSI | 2034 |  |  |  | 12843 | 12269.6 | 12591.6297
ATSI | 2035 |  |  |  | 12819 | 12306.6 | 12622.8206
ATSI | 2036 |  |  |  | 12805 | 12289.42 | 12615.9227
BGE | 1998 | 6045
BGE | 1999 | 6670
BGE | 2000 | 6015 |  | 6765.87
BGE | 2001 | 6868 |  | 6791.89
BGE | 2002 | 6898 |  | 6829.81
BGE | 2003 | 6572 |  | 6945.84
BGE | 2004 | 6267 |  | 7035.37
BGE | 2005 | 7376 | 7019.21 | 7128
BGE | 2006 | 7485 | 7048.63 | 7180.73
BGE | 2007 | 7478 | 7031.18 | 7259.67
BGE | 2008 | 7151 | 7018.77 | 7162.67
BGE | 2009 | 6596 | 6970.31 | 7142.17
BGE | 2010 | 7125 | 6819.04 | 7102.49
BGE | 2011 | 7617 | 7083.59 | 7175.14
BGE | 2012 | 7435 | 7008.95 | 6969.5
BGE | 2013 | 7039 | 6824.59 | 6865.3
BGE | 2014 | 6666 | 6768.17 | 6883.28
BGE | 2015 | 6508 | 6718.33 | 6837.8
BGE | 2016 | 6932 | 6661.07 | 6640.13
BGE | 2017 | 6449 | 6597.34 | 6588.23
BGE | 2018 | 6627 | 6571.17 | 6618.66
BGE | 2019 | 6706 | 6607.38 | 6519.93
BGE | 2020 | 6701 | 6544.34 | 6362.19
BGE | 2021 |  |  |  | 6582 | 6394.46 | 6418.7957
BGE | 2022 |  |  |  | 6606 | 6394.07 | 6412.1804
BGE | 2023 |  |  |  | 6652 | 6375.7 | 6398.9933
BGE | 2024 |  |  |  | 6688 | 6361.03 | 6406.1596
BGE | 2025 |  |  |  | 6705 | 6331.17 | 6376.7423
BGE | 2026 |  |  |  | 6696 | 6290.42 | 6343.2788
BGE | 2027 |  |  |  | 6680 | 6256.6 | 6303.7963
BGE | 2028 |  |  |  | 6677 | 6219.81 | 6271.6217
BGE | 2029 |  |  |  | 6680 | 6191.51 | 6245.9231
BGE | 2030 |  |  |  | 6676 | 6160.51 | 6218.1811
BGE | 2031 |  |  |  | 6652 | 6132.75 | 6186.525
BGE | 2032 |  |  |  | 6635 | 6091.29 | 6159.2295
BGE | 2033 |  |  |  | 6653 | 6075.27 | 6158.5759
BGE | 2034 |  |  |  | 6643 | 6041.82 | 6159.544
BGE | 2035 |  |  |  | 6650 | 6038.47 | 6156.5306
BGE | 2036 |  |  |  | 6657 | 6032.5 | 6161.7941
COMED | 1998 | 19510
COMED | 1999 | 22157
COMED | 2000 | 20143 |  | 20503.12
COMED | 2001 | 21574 |  | 21277.62
COMED | 2002 | 21804 |  | 21294.75
COMED | 2003 | 22054 |  | 21687.37
COMED | 2004 | 19794 |  | 21779.27
COMED | 2005 | 21635 | 21207.05 | 22128.57
COMED | 2006 | 23996 | 21627.5 | 22314.87
COMED | 2007 | 21970 | 21647.67 | 22591.46
COMED | 2008 | 20976 | 22032.64 | 22745.05
COMED | 2009 | 21218 | 21345.99 | 22603.03
COMED | 2010 | 21915 | 22034.27 | 22671.68
COMED | 2011 | 23754 | 21503.6 | 22243.24
COMED | 2012 | 23602 | 21531.25 | 22105.22
COMED | 2013 | 22290 | 21244.24 | 22089.14
COMED | 2014 | 19723 | 21420.76 | 22162.13
COMED | 2015 | 20165 | 21329.92 | 22017.7
COMED | 2016 | 21187 | 21272.64 | 21799.39
COMED | 2017 | 20351 | 21176.18 | 21715.71
COMED | 2018 | 21359 | 21028.35 | 21584.09
COMED | 2019 | 20949 | 20760.82 | 21476.7
COMED | 2020 | 20225 | 19657 | 20667.22
COMED | 2021 |  |  |  | 20421 | 21174.93 | 21039.5147
COMED | 2022 |  |  |  | 20304 | 21074.41 | 20907.1475
COMED | 2023 |  |  |  | 20179 | 20961.95 | 20754.7166
COMED | 2024 |  |  |  | 20064 | 20866.3 | 20640.7707
COMED | 2025 |  |  |  | 19947 | 20791.21 | 20520.6618
COMED | 2026 |  |  |  | 19876 | 20706.08 | 20403.9225
COMED | 2027 |  |  |  | 19767 | 20641.82 | 20300.0829
COMED | 2028 |  |  |  | 19699 | 20534.61 | 20181.0106
COMED | 2029 |  |  |  | 19624 | 20476.96 | 20093.2513
COMED | 2030 |  |  |  | 19533 | 20374.43 | 19970.1668
COMED | 2031 |  |  |  | 19433 | 20297.51 | 19852.9287
COMED | 2032 |  |  |  | 19362 | 20236.84 | 19743.7151
COMED | 2033 |  |  |  | 19288 | 20146.12 | 19634.4186
COMED | 2034 |  |  |  | 19201 | 20005.06 | 19484.7394
COMED | 2035 |  |  |  | 19098 | 19947.71 | 19389.1211
COMED | 2036 |  |  |  | 19004 | 19833.35 | 19254.6116
DAYTON | 1998 | 3303
DAYTON | 1999 | 3460
DAYTON | 2000 | 3176 |  | 3398.4
DAYTON | 2001 | 3436 |  | 3364.87
DAYTON | 2002 | 3283 |  | 3446.75
DAYTON | 2003 | 3366 |  | 3427.52
DAYTON | 2004 | 3280 |  | 3525.64
DAYTON | 2005 | 3725 | 3318.35 | 3555.58
DAYTON | 2006 | 3706 | 3464.53 | 3566.48
DAYTON | 2007 | 3748 | 3510.85 | 3626.65
DAYTON | 2008 | 3494 | 3562.12 | 3608.11
DAYTON | 2009 | 3327 | 3421.99 | 3378.48
DAYTON | 2010 | 3387 | 3414.67 | 3462.89
DAYTON | 2011 | 3644 | 3399.38 | 3316.35
DAYTON | 2012 | 3495 | 3419.63 | 3352.27
DAYTON | 2013 | 3398 | 3375.16 | 3322.39
DAYTON | 2014 | 3224 | 3350.85 | 3365.38
DAYTON | 2015 | 3269 | 3361.62 | 3343.31
DAYTON | 2016 | 3327 | 3355.11 | 3406.93
DAYTON | 2017 | 3213 | 3486.87 | 3371.92
DAYTON | 2018 | 3325 | 3451.27 | 3373.38
DAYTON | 2019 | 3246 | 3400.32 | 3306.1
DAYTON | 2020 | 3296 | 3273.04 | 3227.53
DAYTON | 2021 |  |  |  | 3415 | 3251.21 | 3273.9868
DAYTON | 2022 |  |  |  | 3430 | 3256.69 | 3281.2914
DAYTON | 2023 |  |  |  | 3445 | 3260.66 | 3280.4766
DAYTON | 2024 |  |  |  | 3458 | 3273.33 | 3293.901
DAYTON | 2025 |  |  |  | 3470 | 3277.14 | 3306.1568
DAYTON | 2026 |  |  |  | 3480 | 3276.28 | 3306.7408
DAYTON | 2027 |  |  |  | 3493 | 3277.09 | 3307.0065
DAYTON | 2028 |  |  |  | 3507 | 3273.55 | 3301.089
DAYTON | 2029 |  |  |  | 3523 | 3277.13 | 3308.04
DAYTON | 2030 |  |  |  | 3537 | 3291.34 | 3317.8882
DAYTON | 2031 |  |  |  | 3550 | 3297.39 | 3323.4315
DAYTON | 2032 |  |  |  | 3564 | 3296.9 | 3322.1971
DAYTON | 2033 |  |  |  | 3578 | 3288.74 | 3323.9165
DAYTON | 2034 |  |  |  | 3584 | 3282.56 | 3317.5935
DAYTON | 2035 |  |  |  | 3589 | 3278.62 | 3312.9514
DAYTON | 2036 |  |  |  | 3596 | 3308.17 | 3321.4907
DEOK | 1998 | 4851
DEOK | 1999 | 5156
DEOK | 2000 | 4872 |  | 5232.11
DEOK | 2001 | 5197 |  | 5193.82
DEOK | 2002 | 5423 |  | 5285.71
DEOK | 2003 | 5227 |  | 5299.93
DEOK | 2004 | 5106 |  | 5412.16
DEOK | 2005 | 5756 | 5281.1 | 5428.65
DEOK | 2006 | 5595 | 5489.71 | 5434.08
DEOK | 2007 | 5769 | 5378.78 | 5506.86
DEOK | 2008 | 5403 | 5492.41 | 5464.52
DEOK | 2009 | 5014 | 5376.71 | 5278.58
DEOK | 2010 | 5545 | 5473.14 | 5355.5
DEOK | 2011 | 5600 | 5357.61 | 5195.21
DEOK | 2012 | 5445 | 5344.01 | 5167.87
DEOK | 2013 | 5146 | 5308.96 | 5202.24
DEOK | 2014 | 5039 | 5337.26 | 5254.58
DEOK | 2015 | 5123 | 5273.95 | 5248.98
DEOK | 2016 | 5309 | 5301.22 | 5263.65
DEOK | 2017 | 5036 | 5413.65 | 5214.92
DEOK | 2018 | 5195 | 5257.17 | 5231.11
DEOK | 2019 | 5052 | 5294.79 | 5185.8
DEOK | 2020 | 4975 | 5114.08 | 5120.67
DEOK | 2021 |  |  |  | 5390 | 5197.42 | 5200.2804
DEOK | 2022 |  |  |  | 5440 | 5226.43 | 5220.7691
DEOK | 2023 |  |  |  | 5494 | 5249.22 | 5241.895
DEOK | 2024 |  |  |  | 5539 | 5270.73 | 5255.6258
DEOK | 2025 |  |  |  | 5578 | 5293.46 | 5272.6423
DEOK | 2026 |  |  |  | 5605 | 5313.44 | 5287.4629
DEOK | 2027 |  |  |  | 5632 | 5336.28 | 5303.0338
DEOK | 2028 |  |  |  | 5662 | 5352.07 | 5320.7722
DEOK | 2029 |  |  |  | 5697 | 5368.31 | 5338.0822
DEOK | 2030 |  |  |  | 5721 | 5392.79 | 5357.1361
DEOK | 2031 |  |  |  | 5746 | 5403.82 | 5371.7651
DEOK | 2032 |  |  |  | 5773 | 5421.9 | 5383.0612
DEOK | 2033 |  |  |  | 5796 | 5431.36 | 5387.6634
DEOK | 2034 |  |  |  | 5811 | 5443.5 | 5392.1336
DEOK | 2035 |  |  |  | 5823 | 5448.79 | 5403.5358
DEOK | 2036 |  |  |  | 5831 | 5470.36 | 5416.1138
DLCO | 1998 | 2484
DLCO | 1999 | 2756
DLCO | 2000 | 2673 |  | 2738.9
DLCO | 2001 | 2771 |  | 2801.21
DLCO | 2002 | 2917 |  | 2860.33
DLCO | 2003 | 2686 |  | 2858.67
DLCO | 2004 | 2646 |  | 2908.81
DLCO | 2005 | 2885 | 2809.21 | 2903.1
DLCO | 2006 | 3053 | 2959.34 | 2930.19
DLCO | 2007 | 2891 | 2888.68 | 2969.13
DLCO | 2008 | 2822 | 2915.2 | 2975.11
DLCO | 2009 | 2733 | 2847.37 | 2881.66
DLCO | 2010 | 2889 | 2900.75 | 2954.26
DLCO | 2011 | 3071 | 2880.38 | 2898.34
DLCO | 2012 | 3055 | 2941.71 | 2941.46
DLCO | 2013 | 2952 | 2920.63 | 2945.52
DLCO | 2014 | 2693 | 2866.06 | 2930.57
DLCO | 2015 | 2805 | 2807.01 | 2862.92
DLCO | 2016 | 2797 | 2725.02 | 2764.45
DLCO | 2017 | 2683 | 2788.22 | 2784.9
DLCO | 2018 | 2796 | 2746.78 | 2789.71
DLCO | 2019 | 2662 | 2727.73 | 2770.13
DLCO | 2020 | 2668 | 2692.82 | 2730.52
DLCO | 2021 |  |  |  | 2768 | 2805.79 | 2819.1787
DLCO | 2022 |  |  |  | 2796 | 2830.28 | 2839.0839
DLCO | 2023 |  |  |  | 2832 | 2850.86 | 2859.7719
DLCO | 2024 |  |  |  | 2855 | 2867.59 | 2876.0369
DLCO | 2025 |  |  |  | 2875 | 2882.37 | 2889.5807
DLCO | 2026 |  |  |  | 2888 | 2894.23 | 2904.6017
DLCO | 2027 |  |  |  | 2900 | 2906.93 | 2919.7582
DLCO | 2028 |  |  |  | 2915 | 2920.02 | 2927.1607
DLCO | 2029 |  |  |  | 2931 | 2935.44 | 2943.7993
DLCO | 2030 |  |  |  | 2943 | 2947 | 2954.6544
DLCO | 2031 |  |  |  | 2954 | 2958.41 | 2966.1006
DLCO | 2032 |  |  |  | 2961 | 2969.82 | 2978.9882
DLCO | 2033 |  |  |  | 2968 | 2980.41 | 2987.4659
DLCO | 2034 |  |  |  | 2973 | 2987.77 | 2988.7545
DLCO | 2035 |  |  |  | 2980 | 3001.66 | 3011.9746
DLCO | 2036 |  |  |  | 2989 | 3014.4 | 3023.2427
DOM | 1998 | 15231
DOM | 1999 | 16027
DOM | 2000 | 15252 |  | 16162.14
DOM | 2001 | 16440 |  | 16479.67
DOM | 2002 | 16911 |  | 16872.58
DOM | 2003 | 16250 |  | 17359.16
DOM | 2004 | 16327 |  | 17899.18
DOM | 2005 | 19028 | 18321.32 | 18324.35
DOM | 2006 | 19375 | 18651.81 | 18573.32
DOM | 2007 | 19749 | 18909.9 | 19040.93
DOM | 2008 | 19112 | 19088.63 | 19251.57
DOM | 2009 | 18154 | 18645.42 | 19220.51
DOM | 2010 | 19428 | 19203.48 | 19519.74
DOM | 2011 | 20148 | 19744.67 | 19140.75
DOM | 2012 | 19323 | 19669.93 | 19177.46
DOM | 2013 | 18839 | 19475.6 | 19155.64
DOM | 2014 | 18761 | 19551.09 | 19295.93
DOM | 2015 | 19024 | 19417.84 | 19304.39
DOM | 2016 | 19559 | 19574.36 | 19164.03
DOM | 2017 | 18903 | 19805.03 | 19178.24
DOM | 2018 | 19245 | 19933.85 | 19435.88
DOM | 2019 | 19608 | 20144.47 | 19634.66
DOM | 2020 | 20090 | 20428.87 | 19005.61
DOM | 2021 |  |  |  | 20150 | 20143.34 | 20381.1714
DOM | 2022 |  |  |  | 20248 | 20560.05 | 20790.7214
DOM | 2023 |  |  |  | 20491 | 20928.69 | 21170.5615
DOM | 2024 |  |  |  | 20694 | 21300.27 | 21566.859
DOM | 2025 |  |  |  | 20902 | 21685.05 | 21957.3628
DOM | 2026 |  |  |  | 20962 | 21671.27 | 21920.6323
DOM | 2027 |  |  |  | 21034 | 21664.84 | 21919.2476
DOM | 2028 |  |  |  | 21109 | 21639.89 | 21899.4694
DOM | 2029 |  |  |  | 21154 | 21634.34 | 21919.4115
DOM | 2030 |  |  |  | 21194 | 21601.93 | 21929.5752
DOM | 2031 |  |  |  | 21269 | 21676.15 | 22008.7153
DOM | 2032 |  |  |  | 21365 | 21715.71 | 21973.2548
DOM | 2033 |  |  |  | 21470 | 21784.39 | 22036.9557
DOM | 2034 |  |  |  | 21576 | 21823.9 | 22114.7032
DOM | 2035 |  |  |  | 21680 | 21909.05 | 22199.679
DOM | 2036 |  |  |  | 21775 | 21994.1 | 22361.8671
DPL | 1998 | 3277
DPL | 1999 | 3715
DPL | 2000 | 3477 |  | 3758.45
DPL | 2001 | 3793 |  | 3867.55
DPL | 2002 | 3906 |  | 3945.49
DPL | 2003 | 3687 |  | 4085.22
DPL | 2004 | 3642 |  | 4062.22
DPL | 2005 | 4235 | 4015.17 | 4114.19
DPL | 2006 | 4328 | 4077.55 | 4108.63
DPL | 2007 | 4350 | 4142.42 | 4133.21
DPL | 2008 | 4015 | 4144.97 | 4160.25
DPL | 2009 | 3844 | 4066.69 | 4135.93
DPL | 2010 | 4056 | 4023.42 | 4125.04
DPL | 2011 | 4338 | 4114.39 | 3937.37
DPL | 2012 | 4152 | 4123.61 | 3948.28
DPL | 2013 | 4019 | 4043.49 | 3922.09
DPL | 2014 | 3876 | 4046.44 | 3918.58
DPL | 2015 | 3822 | 4032.17 | 3901.58
DPL | 2016 | 4127 | 4042.85 | 3848.37
DPL | 2017 | 3813 | 4030.42 | 3836.71
DPL | 2018 | 4003 | 4036.38 | 3867.78
DPL | 2019 | 4098 | 3859.13 | 3829.33
DPL | 2020 | 4101 | 3956.84 | 3860.49
DPL | 2021 |  |  |  | 3895 | 3848.86 | 3945.1887
DPL | 2022 |  |  |  | 3906 | 3866.18 | 3964.2441
DPL | 2023 |  |  |  | 3927 | 3876.32 | 3979.4752
DPL | 2024 |  |  |  | 3941 | 3884.18 | 3988.9979
DPL | 2025 |  |  |  | 3958 | 3891.58 | 3997.0891
DPL | 2026 |  |  |  | 3962 | 3887.81 | 4010.8584
DPL | 2027 |  |  |  | 3969 | 3886.15 | 4016.4575
DPL | 2028 |  |  |  | 3977 | 3883.95 | 4012.5189
DPL | 2029 |  |  |  | 3985 | 3880.8 | 4020.9221
DPL | 2030 |  |  |  | 3976 | 3873.53 | 4014.5574
DPL | 2031 |  |  |  | 3976 | 3857.53 | 4009.407
DPL | 2032 |  |  |  | 3951 | 3840.13 | 3999.2198
DPL | 2033 |  |  |  | 3945 | 3825.94 | 3997.1198
DPL | 2034 |  |  |  | 3935 | 3821.18 | 3992.7529
DPL | 2035 |  |  |  | 3938 | 3820.34 | 3995.574
DPL | 2036 |  |  |  | 3946 | 3825.3 | 4010.3738
EKPC | 1999 | 1658
EKPC | 2000 | 1761 |  | 1750.87
EKPC | 2001 | 1805 |  | 1777.77
EKPC | 2002 | 1912 |  | 1789.9
EKPC | 2003 | 1804 |  | 1808.1
EKPC | 2004 | 1676 |  | 1839.82
EKPC | 2005 | 1895 | 1868.75 | 1859.34
EKPC | 2006 | 1885 | 1934.06 | 1870.36
EKPC | 2007 | 2003 | 1919.83 | 1881.55
EKPC | 2008 | 1837 | 1916.86 | 1884.29
EKPC | 2009 | 1783 | 1903.94 | 1876.82
EKPC | 2010 | 1966 | 1913.37 | 1882.52
EKPC | 2011 | 1946 | 1915.63 | 1850.98
EKPC | 2012 | 1977 | 1940.14 | 1876.57
EKPC | 2013 | 1901 | 2024.52 | 1902.36
EKPC | 2014 | 1896 | 2010.55 | 1933.65
EKPC | 2015 | 1916 | 2027.16 | 1949.47
EKPC | 2016 | 2026 | 2031.85 | 1966.27
EKPC | 2017 | 1987 | 2106.97 | 1987.14
EKPC | 2018 | 1983 | 2054.04 | 2007.24
EKPC | 2019 | 2076 | 2078.83 | 2029.42
EKPC | 2020 | 1946 | 2122.1 | 2012.37
EKPC | 2021 |  |  |  | 2130 | 2073.43 | 2063.7297
EKPC | 2022 |  |  |  | 2145 | 2101.66 | 2092.0755
EKPC | 2023 |  |  |  | 2166 | 2130.46 | 2119.9996
EKPC | 2024 |  |  |  | 2185 | 2160.43 | 2145.6054
EKPC | 2025 |  |  |  | 2201 | 2190.71 | 2170.8339
EKPC | 2026 |  |  |  | 2216 | 2215.83 | 2195.0288
EKPC | 2027 |  |  |  | 2228 | 2242.47 | 2217.2009
EKPC | 2028 |  |  |  | 2239 | 2270.73 | 2242.6659
EKPC | 2029 |  |  |  | 2252 | 2299.1 | 2269.4262
EKPC | 2030 |  |  |  | 2268 | 2327.31 | 2296.7883
EKPC | 2031 |  |  |  | 2280 | 2355.88 | 2322.1389
EKPC | 2032 |  |  |  | 2290 | 2381.18 | 2343.5007
EKPC | 2033 |  |  |  | 2300 | 2408.28 | 2365.684
EKPC | 2034 |  |  |  | 2310 | 2435.88 | 2394.1247
EKPC | 2035 |  |  |  | 2322 | 2463.21 | 2419.7052
EKPC | 2036 |  |  |  | 2336 | 2491.25 | 2445.7125
JCPL | 1998 | 4998
JCPL | 1999 | 5357
JCPL | 2000 | 5047 |  | 5772.05
JCPL | 2001 | 5826 |  | 5902.63
JCPL | 2002 | 5919 |  | 6030.23
JCPL | 2003 | 5669 |  | 6128.55
JCPL | 2004 | 5458 |  | 6277.95
JCPL | 2005 | 6441 | 6162.61 | 6433.44
JCPL | 2006 | 6751 | 6228.33 | 6458.68
JCPL | 2007 | 6314 | 6341.1 | 6545.99
JCPL | 2008 | 6398 | 6256.09 | 6497.98
JCPL | 2009 | 5739 | 6138.08 | 6392.16
JCPL | 2010 | 6449 | 6059.29 | 6370.21
JCPL | 2011 | 6675 | 5980.24 | 6208.19
JCPL | 2012 | 6300 | 6053.04 | 6177.81
JCPL | 2013 | 6379 | 6006.43 | 6164.18
JCPL | 2014 | 5637 | 6032.04 | 6201.83
JCPL | 2015 | 5819 | 5978.89 | 6192.37
JCPL | 2016 | 5955 | 6112.05 | 6135.86
JCPL | 2017 | 5721 | 5880.07 | 6138.06
JCPL | 2018 | 5977 | 6026.17 | 6133.37
JCPL | 2019 | 6058 | 5849.08 | 6076.34
JCPL | 2020 | 5904 | 6126.54 | 5973.51
JCPL | 2021 |  |  |  | 5876 | 5974.04 | 5931.2566
JCPL | 2022 |  |  |  | 5891 | 5975.41 | 5946.2319
JCPL | 2023 |  |  |  | 5920 | 5997.75 | 5970.4978
JCPL | 2024 |  |  |  | 5945 | 6020.04 | 5995.8834
JCPL | 2025 |  |  |  | 5972 | 6029.75 | 6015.6708
JCPL | 2026 |  |  |  | 6006 | 6049.12 | 6038.7153
JCPL | 2027 |  |  |  | 6037 | 6047.37 | 6063.5586
JCPL | 2028 |  |  |  | 6071 | 6076.21 | 6101.1791
JCPL | 2029 |  |  |  | 6121 | 6119.45 | 6141.9505
JCPL | 2030 |  |  |  | 6151 | 6161.69 | 6184.4308
JCPL | 2031 |  |  |  | 6193 | 6183.35 | 6220.2147
JCPL | 2032 |  |  |  | 6239 | 6181.01 | 6240.3635
JCPL | 2033 |  |  |  | 6262 | 6199.03 | 6268.2093
JCPL | 2034 |  |  |  | 6296 | 6240.93 | 6301.9506
JCPL | 2035 |  |  |  | 6328 | 6285.74 | 6331.7986
JCPL | 2036 |  |  |  | 6365 | 6301.4 | 6364.2637
METED | 1998 | 2225
METED | 1999 | 2492
METED | 2000 | 2342 |  | 2496.19
METED | 2001 | 2600 |  | 2590.5
METED | 2002 | 2616 |  | 2656.32
METED | 2003 | 2514 |  | 2738.93
METED | 2004 | 2557 |  | 2849.45
METED | 2005 | 2862 | 2794.27 | 2933.3
METED | 2006 | 3000 | 2908.12 | 2971.15
METED | 2007 | 2996 | 2890.82 | 3042.91
METED | 2008 | 3110 | 2978.48 | 3051.21
METED | 2009 | 2840 | 2947.9 | 3007.36
METED | 2010 | 2941 | 2899.19 | 3044.88
METED | 2011 | 3208 | 2991.99 | 2935.44
METED | 2012 | 3039 | 2945.78 | 2914.36
METED | 2013 | 3013 | 2903.27 | 2928.95
METED | 2014 | 2817 | 2899.35 | 2958.47
METED | 2015 | 2792 | 2926.96 | 2938.46
METED | 2016 | 2948 | 2950.54 | 2932.05
METED | 2017 | 2897 | 2986.4 | 2959.03
METED | 2018 | 3028 | 3019.59 | 2992.43
METED | 2019 | 2987 | 3024.17 | 2998.52
METED | 2020 | 2977 | 3027.91 | 2978.35
METED | 2021 |  |  |  | 3060 | 2964.62 | 3004.8713
METED | 2022 |  |  |  | 3085 | 2960.2 | 3015.1885
METED | 2023 |  |  |  | 3106 | 2960.94 | 3022.7431
METED | 2024 |  |  |  | 3124 | 2964.91 | 3033.8278
METED | 2025 |  |  |  | 3148 | 2971.39 | 3047.4269
METED | 2026 |  |  |  | 3165 | 2985.09 | 3064.3516
METED | 2027 |  |  |  | 3183 | 2995.4 | 3079.366
METED | 2028 |  |  |  | 3201 | 3007.37 | 3093.5039
METED | 2029 |  |  |  | 3211 | 3009.09 | 3107.8402
METED | 2030 |  |  |  | 3233 | 3019.82 | 3119.8381
METED | 2031 |  |  |  | 3255 | 3032.15 | 3133.5473
METED | 2032 |  |  |  | 3274 | 3061.71 | 3151.1935
METED | 2033 |  |  |  | 3284 | 3075.18 | 3165.0611
METED | 2034 |  |  |  | 3297 | 3061.73 | 3178.0747
METED | 2035 |  |  |  | 3309 | 3071.67 | 3190.6678
METED | 2036 |  |  |  | 3328 | 3082.79 | 3197.1012
PECO | 1998 | 7108
PECO | 1999 | 8230
PECO | 2000 | 7333 |  | 7990.55
PECO | 2001 | 8187 |  | 7998.09
PECO | 2002 | 8164 |  | 8149.62
PECO | 2003 | 7696 |  | 8236.4
PECO | 2004 | 7567 |  | 8353.34
PECO | 2005 | 8848 | 8355.45 | 8460.27
PECO | 2006 | 8995 | 8487.88 | 8578.85
PECO | 2007 | 8851 | 8527.89 | 8837.81
PECO | 2008 | 8838 | 8636.55 | 8881.19
PECO | 2009 | 8010 | 8616.77 | 8815.5
PECO | 2010 | 8911 | 8452.74 | 8858.31
PECO | 2011 | 9286 | 8594.12 | 8663.74
PECO | 2012 | 8727 | 8502.3 | 8495.1
PECO | 2013 | 8655 | 8356.77 | 8550.12
PECO | 2014 | 8258 | 8333.05 | 8582.91
PECO | 2015 | 8095 | 8245.17 | 8511.24
PECO | 2016 | 8364 | 8464.71 | 8489.84
PECO | 2017 | 8142 | 8328.79 | 8497.92
PECO | 2018 | 8608 | 8455.69 | 8576.32
PECO | 2019 | 8432 | 8510.87 | 8535.89
PECO | 2020 | 8148 | 8185.32 | 8232.85
PECO | 2021 |  |  |  | 8389 | 8500.79 | 8436.3389
PECO | 2022 |  |  |  | 8451 | 8510.4 | 8443.8923
PECO | 2023 |  |  |  | 8503 | 8518.29 | 8445.5407
PECO | 2024 |  |  |  | 8547 | 8552.43 | 8461.0429
PECO | 2025 |  |  |  | 8583 | 8561.13 | 8467.5097
PECO | 2026 |  |  |  | 8600 | 8565.1 | 8468.6591
PECO | 2027 |  |  |  | 8614 | 8564.86 | 8456.8426
PECO | 2028 |  |  |  | 8628 | 8549.71 | 8450.9513
PECO | 2029 |  |  |  | 8666 | 8581.41 | 8478.0226
PECO | 2030 |  |  |  | 8675 | 8606.18 | 8487.8748
PECO | 2031 |  |  |  | 8691 | 8620.46 | 8490.8421
PECO | 2032 |  |  |  | 8695 | 8606.78 | 8480.3356
PECO | 2033 |  |  |  | 8685 | 8620.23 | 8476.3198
PECO | 2034 |  |  |  | 8684 | 8631.98 | 8483.5364
PECO | 2035 |  |  |  | 8690 | 8647.02 | 8494.7377
PECO | 2036 |  |  |  | 8691 | 8664.4 | 8503.3078
PENLC | 1998 | 2419
PENLC | 1999 | 2516
PENLC | 2000 | 2482 |  | 2578.35
PENLC | 2001 | 2709 |  | 2617.71
PENLC | 2002 | 2707 |  | 2690.87
PENLC | 2003 | 2623 |  | 2735.99
PENLC | 2004 | 2639 |  | 2810.74
PENLC | 2005 | 2875 | 2846.26 | 2874.49
PENLC | 2006 | 3069 | 2899.62 | 2886.74
PENLC | 2007 | 2903 | 2826.81 | 2942.57
PENLC | 2008 | 2881 | 2872.18 | 2979.53
PENLC | 2009 | 2817 | 2858.26 | 2930.53
PENLC | 2010 | 2971 | 2916.71 | 2991.09
PENLC | 2011 | 3129 | 2920.12 | 2963.5
PENLC | 2012 | 2914 | 2895.26 | 2939.48
PENLC | 2013 | 3088 | 2881.75 | 2927.29
PENLC | 2014 | 2789 | 2852.93 | 2959.04
PENLC | 2015 | 2819 | 2893.93 | 2927.65
PENLC | 2016 | 2910 | 2836.22 | 2892.57
PENLC | 2017 | 2883 | 2896.27 | 2914.22
PENLC | 2018 | 2998 | 2885.67 | 2916.08
PENLC | 2019 | 2866 | 2874.36 | 2884.98
PENLC | 2020 | 2912 | 2952.19 | 2841.35
PENLC | 2021 |  |  |  | 2894 | 2882.52 | 2881.6597
PENLC | 2022 |  |  |  | 2924 | 2874.26 | 2881.1292
PENLC | 2023 |  |  |  | 2943 | 2867.24 | 2872.2014
PENLC | 2024 |  |  |  | 2962 | 2866.67 | 2867.3647
PENLC | 2025 |  |  |  | 2990 | 2871.97 | 2879.032
PENLC | 2026 |  |  |  | 3021 | 2872.19 | 2884.9619
PENLC | 2027 |  |  |  | 3041 | 2873.69 | 2889.2438
PENLC | 2028 |  |  |  | 3070 | 2874.73 | 2887.2313
PENLC | 2029 |  |  |  | 3102 | 2870.69 | 2884.3468
PENLC | 2030 |  |  |  | 3126 | 2874.51 | 2892.2736
PENLC | 2031 |  |  |  | 3164 | 2879.86 | 2900.2584
PENLC | 2032 |  |  |  | 3200 | 2880.78 | 2905.1441
PENLC | 2033 |  |  |  | 3236 | 2873.67 | 2903.5295
PENLC | 2034 |  |  |  | 3262 | 2871.42 | 2899.0392
PENLC | 2035 |  |  |  | 3291 | 2858.8 | 2894.7551
PENLC | 2036 |  |  |  | 3326 | 2869.12 | 2905.6332
PEPCO | 1998 | 5807
PEPCO | 1999 | 6224
PEPCO | 2000 | 5721 |  | 6323.26
PEPCO | 2001 | 6399 |  | 6471.54
PEPCO | 2002 | 6513 |  | 6518.4
PEPCO | 2003 | 6166 |  | 6595
PEPCO | 2004 | 6087 |  | 6689.61
PEPCO | 2005 | 6767 | 6481.04 | 6846.88
PEPCO | 2006 | 6947 | 6686.77 | 6762.75
PEPCO | 2007 | 6892 | 6555.08 | 6834.08
PEPCO | 2008 | 6753 | 6651.45 | 6838.24
PEPCO | 2009 | 6326 | 6598.6 | 6827.23
PEPCO | 2010 | 6719 | 6553.77 | 6852.78
PEPCO | 2011 | 7025 | 6326.26 | 6605.31
PEPCO | 2012 | 6759 | 6544.22 | 6496.01
PEPCO | 2013 | 6534 | 6381.04 | 6436.19
PEPCO | 2014 | 6346 | 6393.07 | 6425.32
PEPCO | 2015 | 6268 | 6253.4 | 6336.17
PEPCO | 2016 | 6584 | 6308.07 | 6344.45
PEPCO | 2017 | 6098 | 6190.74 | 6216.68
PEPCO | 2018 | 6412 | 6130.28 | 6225.82
PEPCO | 2019 | 6191 | 6147.83 | 6107.89
PEPCO | 2020 | 5887 | 5838.14 | 5766.04
PEPCO | 2021 |  |  |  | 5924 | 5915.72 | 5875.0655
PEPCO | 2022 |  |  |  | 5814 | 5915.03 | 5859.7914
PEPCO | 2023 |  |  |  | 5793 | 5908.28 | 5834.1211
PEPCO | 2024 |  |  |  | 5780 | 5885.11 | 5814.9729
PEPCO | 2025 |  |  |  | 5727 | 5852.49 | 5775.1776
PEPCO | 2026 |  |  |  | 5646 | 5803.8 | 5718.2952
PEPCO | 2027 |  |  |  | 5551 | 5756.18 | 5675.1376
PEPCO | 2028 |  |  |  | 5476 | 5704.32 | 5613.8698
PEPCO | 2029 |  |  |  | 5414 | 5650.29 | 5568.6736
PEPCO | 2030 |  |  |  | 5335 | 5585.88 | 5506.1525
PEPCO | 2031 |  |  |  | 5248 | 5543.97 | 5447.6443
PEPCO | 2032 |  |  |  | 5166 | 5506.13 | 5403.5947
PEPCO | 2033 |  |  |  | 5089 | 5462.66 | 5368.0869
PEPCO | 2034 |  |  |  | 5045 | 5428.62 | 5328.2017
PEPCO | 2035 |  |  |  | 5000 | 5413.99 | 5306.7969
PEPCO | 2036 |  |  |  | 4955 | 5396.42 | 5296.6601
PJM RTO | 1998 | 131813
PJM RTO | 1999 | 141491
PJM RTO | 2000 | 131798 |  | 144574.05
PJM RTO | 2001 | 150924 |  | 147596.45
PJM RTO | 2002 | 150826 |  | 148847.7
PJM RTO | 2003 | 145227 |  | 150751.23
PJM RTO | 2004 | 139279 |  | 153881.62
PJM RTO | 2005 | 155257 | 150587.19 | 156000.89
PJM RTO | 2006 | 166929 | 154054.4 | 156580.61
PJM RTO | 2007 | 162035 | 154291.46 | 159310.97
PJM RTO | 2008 | 150622 | 156159.19 | 159842.11
PJM RTO | 2009 | 145112 | 151524.02 | 156412.59
PJM RTO | 2010 | 157247 | 152888.26 | 157793.46
PJM RTO | 2011 | 165524 | 152461.68 | 153903.17
PJM RTO | 2012 | 158219 | 152502.29 | 152548.22
PJM RTO | 2013 | 159149 | 150387.16 | 152379.38
PJM RTO | 2014 | 141509 | 150072.42 | 153163.95
PJM RTO | 2015 | 143579 | 148826.94 | 152291.42
PJM RTO | 2016 | 152069 | 148920.08 | 151017.25
PJM RTO | 2017 | 145434 | 150166.78 | 150385.4
PJM RTO | 2018 | 150573 | 149592.82 | 150838.46
PJM RTO | 2019 | 151302 | 148889.88 | 149965.11
PJM RTO | 2020 | 144320 | 146891.32 | 146596.21
PJM RTO | 2021 |  |  |  | 149224 | 149284.6 | 149878.3075
PJM RTO | 2022 |  |  |  | 149966 | 149919.34 | 150499.4882
PJM RTO | 2023 |  |  |  | 150855 | 150260.28 | 150830.2718
PJM RTO | 2024 |  |  |  | 151503 | 150915.63 | 151415.5461
PJM RTO | 2025 |  |  |  | 151928 | 151333.47 | 151708.6788
PJM RTO | 2026 |  |  |  | 152290 | 151452.64 | 151840.127
PJM RTO | 2027 |  |  |  | 152571 | 151287.3 | 151624.0583
PJM RTO | 2028 |  |  |  | 152971 | 150874.24 | 151524.9361
PJM RTO | 2029 |  |  |  | 153268 | 151327.3 | 151773.113
PJM RTO | 2030 |  |  |  | 153536 | 151467.34 | 151692.1476
PJM RTO | 2031 |  |  |  | 153759 | 151440 | 151635.885
PJM RTO | 2032 |  |  |  | 154045 | 151090.01 | 151607.1027
PJM RTO | 2033 |  |  |  | 154323 | 150840.06 | 151538.1743
PJM RTO | 2034 |  |  |  | 154561 | 150506.2 | 151390.8369
PJM RTO | 2035 |  |  |  | 154620 | 150535.12 | 151414.3711
PJM RTO | 2036 |  |  |  | 154728 | 151382.8 | 151452.7132
PL | 1998 | 5809
PL | 1999 | 6416
PL | 2000 | 6068 |  | 6589.49
PL | 2001 | 6790 |  | 6697.54
PL | 2002 | 6946 |  | 6784.48
PL | 2003 | 6481 |  | 6873.77
PL | 2004 | 6447 |  | 7037.74
PL | 2005 | 7176 | 6857.02 | 7133.76
PL | 2006 | 7689 | 7252.34 | 7204.69
PL | 2007 | 7305 | 7121.79 | 7369.84
PL | 2008 | 7371 | 7320.79 | 7418.85
PL | 2009 | 6853 | 7326.5 | 7344.43
PL | 2010 | 7216 | 7181 | 7364.43
PL | 2011 | 7528 | 7121.88 | 7133.77
PL | 2012 | 7290 | 7024.25 | 7088.42
PL | 2013 | 7328 | 6965.48 | 7068.01
PL | 2014 | 6732 | 6960.39 | 7121.33
PL | 2015 | 6721 | 6931.05 | 7068.47
PL | 2016 | 6841 | 6647.04 | 7000.46
PL | 2017 | 6730 | 7051.93 | 6984.64
PL | 2018 | 7129 | 7065.2 | 7014.47
PL | 2019 | 7070 | 7069.11 | 7026.88
PL | 2020 | 7050 | 7041.33 | 6962.11
PL | 2021 |  |  |  | 7204 | 6994.28 | 7077.8109
PL | 2022 |  |  |  | 7269 | 6996.08 | 7095.9626
PL | 2023 |  |  |  | 7321 | 6975.07 | 7100.9947
PL | 2024 |  |  |  | 7362 | 6984.3 | 7135.8806
PL | 2025 |  |  |  | 7426 | 6995.59 | 7154.4237
PL | 2026 |  |  |  | 7486 | 7014.03 | 7172.4782
PL | 2027 |  |  |  | 7534 | 7006.37 | 7189.3281
PL | 2028 |  |  |  | 7583 | 7009.44 | 7204.7702
PL | 2029 |  |  |  | 7632 | 7026.34 | 7241.6016
PL | 2030 |  |  |  | 7691 | 7032.2 | 7270.7404
PL | 2031 |  |  |  | 7758 | 7051.4 | 7293.8994
PL | 2032 |  |  |  | 7824 | 7064.73 | 7312.2922
PL | 2033 |  |  |  | 7881 | 7072.52 | 7334.2337
PL | 2034 |  |  |  | 7922 | 7076.13 | 7344.7496
PL | 2035 |  |  |  | 7959 | 7084.41 | 7369.1779
PL | 2036 |  |  |  | 8029 | 7093.11 | 7399.0189
PS | 1998 | 9291
PS | 1999 | 10226
PS | 2000 | 9369 |  | 9980.91
PS | 2001 | 10427 |  | 10256.03
PS | 2002 | 10188 |  | 10184.05
PS | 2003 | 9856 |  | 10402.87
PS | 2004 | 9429 |  | 10674.4
PS | 2005 | 11122 | 10568.54 | 10797.64
PS | 2006 | 11229 | 10492.95 | 10755.64
PS | 2007 | 10478 | 10656.2 | 10853.56
PS | 2008 | 10716 | 10669.94 | 10796.88
PS | 2009 | 9687 | 10487.91 | 10585.67
PS | 2010 | 10762 | 10141.58 | 10508.76
PS | 2011 | 10998 | 9992.17 | 10151.59
PS | 2012 | 10475 | 10075.38 | 10056.89
PS | 2013 | 10415 | 9910.19 | 9996.37
PS | 2014 | 9516 | 9858.73 | 10049.56
PS | 2015 | 9595 | 9806.11 | 10066.8
PS | 2016 | 9801 | 9877.34 | 9899.21
PS | 2017 | 9567 | 9761.06 | 9961.45
PS | 2018 | 9979 | 9844.13 | 9992.61
PS | 2019 | 9754 | 9704.11 | 9940.47
PS | 2020 | 9558 | 9896.26 | 9760.5
PS | 2021 |  |  |  | 9871 | 9790.84 | 9795.7269
PS | 2022 |  |  |  | 9923 | 9847.89 | 9837.9367
PS | 2023 |  |  |  | 9985 | 9916.08 | 9898.6989
PS | 2024 |  |  |  | 10050 | 9973.67 | 9980.3122
PS | 2025 |  |  |  | 10104 | 10033.06 | 10008.4156
PS | 2026 |  |  |  | 10148 | 10065.96 | 10046.5179
PS | 2027 |  |  |  | 10189 | 10094.26 | 10081.2253
PS | 2028 |  |  |  | 10247 | 10183.56 | 10142.1565
PS | 2029 |  |  |  | 10311 | 10261.05 | 10225.5711
PS | 2030 |  |  |  | 10366 | 10336.97 | 10278.7139
PS | 2031 |  |  |  | 10407 | 10378.44 | 10347.9444
PS | 2032 |  |  |  | 10454 | 10421.6 | 10398.8151
PS | 2033 |  |  |  | 10492 | 10452.9 | 10442.6477
PS | 2034 |  |  |  | 10534 | 10527.95 | 10493.6763
PS | 2035 |  |  |  | 10572 | 10568.21 | 10545.9938
PS | 2036 |  |  |  | 10612 | 10600.22 | 10621.4957
RECO | 1998 | 364
RECO | 1999 | 438
RECO | 2000 | 386 |  | 408.6
RECO | 2001 | 471 |  | 409.23
RECO | 2002 | 438 |  | 409.77
RECO | 2003 | 394 |  | 411.83
RECO | 2004 | 383 |  | 414.14
RECO | 2005 | 435 | 433.47 | 416.37
RECO | 2006 | 442 | 423.84 | 418.38
RECO | 2007 | 424 | 435.82 | 418.84
RECO | 2008 | 440 | 431.43 | 418.11
RECO | 2009 | 372 | 418.02 | 417.75
RECO | 2010 | 431 | 408.06 | 417.35
RECO | 2011 | 437 | 389.3 | 403.33
RECO | 2012 | 430 | 404.8 | 404.02
RECO | 2013 | 439 | 409.8 | 401.09
RECO | 2014 | 389 | 405.1 | 403.19
RECO | 2015 | 398 | 389.62 | 403.69
RECO | 2016 | 402 | 403.63 | 404.24
RECO | 2017 | 402 | 396.08 | 405.35
RECO | 2018 | 415 | 406.42 | 407.01
RECO | 2019 | 394 | 400.78 | 407.68
RECO | 2020 | 398 | 426.45 | 399.62
RECO | 2021 |  |  |  | 396 | 408.75 | 410.9052
RECO | 2022 |  |  |  | 395 | 408.81 | 413.6693
RECO | 2023 |  |  |  | 394 | 410.09 | 416.2547
RECO | 2024 |  |  |  | 394 | 411.6 | 420.572
RECO | 2025 |  |  |  | 393 | 413.03 | 423.4185
RECO | 2026 |  |  |  | 394 | 414.14 | 427.9664
RECO | 2027 |  |  |  | 394 | 415.04 | 431.5104
RECO | 2028 |  |  |  | 395 | 416.21 | 435.8679
RECO | 2029 |  |  |  | 395 | 420.34 | 441.801
RECO | 2030 |  |  |  | 396 | 421.81 | 447.861
RECO | 2031 |  |  |  | 397 | 424.45 | 453.7459
RECO | 2032 |  |  |  | 397 | 424.8 | 456.6308
RECO | 2033 |  |  |  | 397 | 425.4 | 460.5988
RECO | 2034 |  |  |  | 397 | 427.95 | 464.4699
RECO | 2035 |  |  |  | 397 | 429.1 | 469.5544
RECO | 2036 |  |  |  | 397 | 431.38 | 477.5099
UGI | 1998 | 156
UGI | 1999 | 171
UGI | 2000 | 159 |  | 181.55
UGI | 2001 | 181 |  | 184.77
UGI | 2002 | 184 |  | 186.47
UGI | 2003 | 175 |  | 189.35
UGI | 2004 | 171 |  | 191.81
UGI | 2005 | 196 | 183.36 | 193.46
UGI | 2006 | 212 | 190.07 | 194.46
UGI | 2007 | 195 | 189.49 | 197.33
UGI | 2008 | 195 | 188.84 | 198.31
UGI | 2009 | 181 | 188.7 | 195.99
UGI | 2010 | 197 | 188.16 | 196.79
UGI | 2011 | 216 | 191.69 | 198.07
UGI | 2012 | 200 | 191.44 | 197.75
UGI | 2013 | 205 | 190.99 | 198.1
UGI | 2014 | 189 | 190.35 | 197.37
UGI | 2015 | 193 | 192.4 | 196.21
UGI | 2016 | 200 | 189.57 | 193.94
UGI | 2017 | 185 | 192.32 | 195.28
UGI | 2018 | 207 | 196.94 | 195.47
UGI | 2019 | 203 | 193.82 | 195.1
UGI | 2020 | 211 | 198.14 | 195.58
UGI | 2021 |  |  |  | 195 | 193.11 | 199.3213
UGI | 2022 |  |  |  | 195 | 193.31 | 199.7987
UGI | 2023 |  |  |  | 195 | 192.76 | 200.0195
UGI | 2024 |  |  |  | 196 | 192.62 | 200.5754
UGI | 2025 |  |  |  | 197 | 193.17 | 201.6011
UGI | 2026 |  |  |  | 198 | 193.07 | 202.7372
UGI | 2027 |  |  |  | 198 | 193.47 | 203.3614
UGI | 2028 |  |  |  | 199 | 193.45 | 203.6979
UGI | 2029 |  |  |  | 200 | 193.63 | 204.2314
UGI | 2030 |  |  |  | 200 | 193.78 | 204.6206
UGI | 2031 |  |  |  | 201 | 194.21 | 205.2333
UGI | 2032 |  |  |  | 202 | 194.83 | 206.3352
UGI | 2033 |  |  |  | 203 | 194.94 | 207.0709
UGI | 2034 |  |  |  | 203 | 194.65 | 207.2326
UGI | 2035 |  |  |  | 204 | 194.47 | 207.8852
UGI | 2036 |  |  |  | 204 | 194.22 | 208.649