## Setup
Enter Stakeholder Committee Name in cell A2:
Capacity Capability Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Effective Load Carrying Capability

## 1. Interest Identification
Capacity Capability Senior Task Force
Effective Load Carrying Capability
Interest Identification
Instructions: List interests of all parties on this page.
1 | Should be suited to reveal capacity value for energy-limited resources
2 | Configuration agnostic
3 | Reasonable risk protection for investors
4 | Allocation of value is non-discriminatory between incumbents and new entrants
5 | Accurately measures amount of tranditional generation that can be displaced while maintaining equivalent reliability
6 | Accurately captures impacts of increased resource penetration
7 | Accurately captures benefits of complementary resource types
8 | Obligations and penalty structure match assumptions used to calculate UCAP
9 | Accurately captures site-specific performance
10 | Clarity and transparancy in methods, assumptions, processes
11 | Predictability for the process over time
12 | Recognize and enable differential compensation of energy limited resources of different durations
13 | Analyses be forward looking - acknowledging future technology improvements in regard to turbines and solar panel efficiency and capability (system conditions)
14 | Financeability
15 | Creating equivalency among heterogenius characteristics and constraints (approximation)
16 | Hybrids - ELCC capability will be different depending on the duration of the battery (2,4,6, 8 hours)
17 | Ability to keep your current capacity accredidations regardless of the amount of incremental resources added
18 | Examine and incorporate resource class unique characteristics
19 | Minimal reliant on manual and pushing more on tariff for rules
20 | Transition rules for projects in queue that are energy limited
21 | Discuss impacts on CIR retention over time
22 | Evaluate and recognize incremental benefits of additional storage duration regardless of a class of duration
23 | Hyrdo - recognize study differences including water in flows, storage capability, permitting flexibility (site specific)
24 | Maintain ability to provide regulation
25 | Recognize intraday ramping value for certain resources; intraday quick start
26 | Protect existing investments with respect to existing resources (grandfathered)
27 | Account for future and historical technology improvements to determine forward ELCC
28 | Ensure the standard is maintain and the changes don't impact reliability or resource adequacy
29 | Evaluation and modeling of sub hourly capabilities for resources of interest
30 | Recognize excess capacity cleared in the market
31 | Publish a public page showing future values of ELCC per resource type
32 | Maintain a reasonable look ahead period and procedure
33 | Look at ways to avoid non-market assumptions in establishing the market
34 | Support accurate price signals for between technologies entry and exit of resources
35 | Reasonable PJM workload on implementation
36 | Accurate Forecast
37 | Market based solutions don't pick winners and losing based on non market criteria
38 | For PJM to further create robust, competitive and non-discriminatory electric power markets
39 | To establish markets that encourage the development of cost-efficient or cost-effective resources
40 | Recognize state capacity choices
41 | Review potential barriers to entry and eliminate unnecessary barriers to entry that drive up costs

## 2. Options Matrix
Capacity Capability Senior Task Force
Effective Load Carrying Capability
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E | F
* | Implementation
1 | Class distinctions/ definitions |  | NA
| Intermittent Resources |  | NA | Onshore wind, offshore wind, fixed solar, tracking solar, landfill gas, intermittent hydro
| Limited Duration Resources |  | NA | 6 hour energy storage resources, 10 hour ESR 6-hour generic limited duration resources, 10-hour generic limited duration resources. Linear derating allowed for ESR and limited duration resources. | Two classes comprising 4-hr and 10-hr storage; units between 4-10 hrs can qualify for either class | Model multiple classes (e.g., by hour) up to X-hr, where X is the duration expected to retain 100% capacity value over the study window | 4 hour, 6 hour, and 10 hour energy storage resources Allow derating along a curve
| Combination Resources (Intermittent + Limited Duration) |  | NA | solar+storage hybrids, other gen+storage hybrids, hydro with storage | Solar+4-hour-battery | Hydro with 5-hour reservoir and hydro with 10-hour reservoir
1a | Which classes is ELCC applied to |  |  | All intermittent and limited duration
2 | Timing and Function of ELCC |  |  | PJM will compute a Forward ELCC (FELCC) values (in MW blocks) that will be indicative of the CIR value obtainable going forward for those in the queue. There may be different FELCC values depending on region in which the resource is constructed within PJM.
2a | Timing of Class Assessment and Accreditation |  |  | Class ELCC for the next 10 delivery years is updated each year, rounded to the nearest percentage-point band corresponding to approx. +/-250 MW error in accredited total ELCC vs estimated total ELCC. Rounding bands to be published ahead of time and revisited every four years for potential update. The final class ELCC values for a delivery year will be released prior to the third IA in advance of the start of the delivery year. A resource faces Capacity Resource Deficiency Charges in the actual delivery year if its ELCC (based both on most recent performance/backcast adjustment and most recent class ELCC for the applicable delivery year) is below its commited Capacity MW. For any class ELCC values used in the Queue, the most recent value of class ELCC for the applicable delivery year (e.g., projected year in service) is used. A resource's final Unforced Capacity provided in given delivery year is based on the most recent unit-specific performance adjustment and class ELCC value. | Quadrennial re-study w/ 4-yr or longer lookahead; accreditation upon clearing BRA does not change for delivery year; accreditation discounted (according to ELCC curve) if entering after BRA for delivery year | Define blocks of storage capacity with given ELCC values (e.g., 0.1-4 GW of 4-hr at 100%, 0.1-18 GW of 8-hr at 100%, etc); re-study when incremental storage additions exceed block | FELCC class accreditation for a unit is locked and becomes its Capacity Interconnection Right (CIR) value at the earlier of the following; meets credit requirements for BRA, or clears a BRA. The developer may meet the credit requirements of the BRA for the applicable delivery year well in advance of the actual running of the BRA to transfer/lockset the FELCC value to the CIR by posting credit to PJM after obtaining a signed Interconnection Agreement.
2b | Unit specific performance adjustment timing |  | For wind and solar: capability is based on output during 4-hour window of each summer day, a total of 368 hour (the "368 hour rule"). The 368-hour rule is applied prospectively for units in the Queue based on class average or (optionally) unit-specific analysis. Units can offer in an auction up to the highest of last 3 years' performance results (capped at CIRs). The final unit capability prior to a delivery year beginning is the average of the last 3 years' 368-hour results; this number is released prior to the 3d IA so that resources can buy back up any deficiencies. | Unit-specific performance adjustment is performed for Planned resources (using 10 years of backcasts but no earlier than 2012) and actual resources (using actual data supplemented with backcasts for years prior to operation) reevaluated each year using data for the last 10 years (no earlier than 2012). Performance adjustments and backcasts for Planned resources are only produced as needed. The final performance/backcast ELCC values for a delivery year will be released prior to the third IA in advance of the start of the delivery year. A resource faces applicable shortfall penalties Capacity Resource Deficiency Charges in the actual delivery year if its ELCC (based both on most recent performance/backcast adjustment and most recent class ELCC for the applicable delivery year) is below its commited Capacity MW. (Moved to 2c) For any capability values used in the Queue, the most recent available value for performance adjustment is used. A resource's final Unforced Capacity provided in given delivery year is based on the most recent unit-specific performance adjustment and class ELCC value. | The unit will test/demonstrate capability to maintain CIRs for the peak hours associated with the peak FELCC hours utilized in the modeling of the applicable FELCC value. So, 10 years from now, if the peak in the ELCC model is at 5-8pm, a new unit taking on the CIR value associated with that model out will need to demonstrate capability at the 5-8pm hours each year to maintain CIRs. This means the testing hours will not change and the CIR testing will remain aligned with the original FELCC determination.
2c | Functional application of ELCC |  |  | Resources cannot sell more in a given auction than their unit ELCC based on the most recent class ELCC value and performance/backcast adjustment.
2d | ICAP |  | ICAP for wind and solar in practice is the 368 hour rule ICAP for other intermittent resources: capability of unit under site conditions coincident with last 15 years of PJM summer peaks. ICAP for limited duration resources: lesser of 10 hour rule or MFO. ICAP for combination resources: sum of their component ICAPs.
2e | UCAP |  | UCAP for wind and solar in practice is equal to ICAP UCAP for other intermittent resources and limited duration resources: ICAP*(1-EFORd) UCAP for combination resources: sum of component UCAPs
3 | Consideration of a changing ELCC (generic) |  | NA | Use average ELCC; allow ELCC to increase, not just decrease, due to changes in supply mix | Check-in annually to determine status of changing forward conditions--table of capacity values for different forward changing conditions (e.g., storage additions, change to supply mix) over look-ahead window | Define vintages of storage capacity with ELCC values (i.e., 0.1-4 GW of 4-hr at 100%, 4.1-6 GW of 4-hr at 90%, etc); units get ELCC vintage upon first clearing of BRA | A resource’s FELCC value becomes its initial CIR value as indicated in design component 2a, solution option D.
4 | Technical considerations of ELCC (generic) |  | NA | The Class ELCC MW is determined by measuring the additional load that the Class resources can serve (while maintaining reliability) relative to the additional load that a perfect generating unit can serve (while maintaining reliability). This approach is described as the "Generation approach" in previous presentations. For resources expected to grow significantly: vendor forecast for resource mix going forward 10 years, including data that supports an assessment of the share per class that are likely to participate in the Capacity Market. For other resources: use current deployment levels. Scale up hourly profiles of existing and Planned intermittent class/units consistent with vendor resource mix forecast to develop forward ELCC cases. Energy Resources (i.e., those that do not participate in RPM) are *not* included in any classes, but do contribute towards the hourly net risk shape. The ELCC model will include all available years of data on the uncertainty of Intermittent Resource output relative to load, beginning with 2012. The ELCC model does not include forced outages of limited duration and combination type resources. | Effective firm capacity ("generation-based ELCC") | Use UCAP * ELCC as equivalency metric between all resources | Forward-looking ELCC on expected changes over study look-ahead to changes in (1) storage additions, (2) supply mix & (3) load; include state policy considerations | Solar+battery combination resources are modeled and accredited according to separate modeling of their component classes that are then summed. | Solar+battery combination resources are modeled as a distinct class. The total class ELCC is allocated to each solar-battery unit according to [heuristic to be discussed].
5 | Performance adjustment (category specific) | [8 empty] | Low
| Intermittent Resources |  | 368-hour rule | For Intermittent Resources: ratio a unit is allocated a pro rata share of the total class ELCC based on of unit-specific metric to class-average metric, where the metric is: average of output during the top X daily coincident peak windows for each of last 10 years where X (the number of coincedent peak days) is the average number of days with significant LOLE in the ELCC analysis and the duration of the window is the average duration of a LOLE event from the ELCC analysis. More recent years are weighted heavier to account for expectation of slight degradation in output. The value for X and the duration of the window can be changed once every 4 years if needed. | A resource may elect to prove to PJM that it will be able to perform at a higher output/availability than the general resource class modeled in the FELCC. The resource may obtain a higher FELCC to CIR value if it produces evidence of why it is technically superior to the technology type in the general FELCC calculation. The method to maintain your CIR will not change once your accreditation and the peak hours for demonstrating capability are assigned.
| Limited Duration Resources |  |  | EFORd | Same as solution option B for Intermittent Resources
| Combination Resources (Intermittent + Limited Duration) |  |  | Solar+battery hybrids: calculate performance adjustment for the component classes, then combine according to [heuristic to be determined] | Same as solution option B for Intermittent Resources
6 | Simulated dispatch of limited-duration & combination resources (category specific) |  | NA | PJM will dispatch the resource in the FELCC simulation just as it would any other resource of the type to obtain a FELCC value for each applicable resource type. The method to maintain your CIR will not change once your accreditation and the peak hours for demonstrating capability are assigned. | [5 empty] | Low - Medium
| Intermittent Resources |  |  | Same as Option A for generic design component for Simulated Dispatch
| Limited Duration Resources |  |  | Assume reliability-preserving behavior of standalone ESR | Hour by hour dispatch such that the output of the resource is enough to prevent a loss of load, with foresight on DR availability in each hour but no other foresight. | Same as Option A for generic design component for Simulated Dispatch
| Combination Resources (Intermittent + Limited Duration) |  |  | Generation Owners to provide a simulated dispatch consistent with the capability of the combination resource. PJM to validate. | Combination resources decomposed into their component classes, which then have simulated dispatched according to their class. | Same as Option A for generic design component for Simulated Dispatch
7 | Reporting |  |  | PJM to publish on its website an annual report on ELCC analysis and results | [5 empty] | Low - High
8 | [9 empty] | Medium
9 | [9 empty] | Medium - High
10
11
Parking Lot
CIR calculation value and deliverability value consistency (potentially out of scope) [NOTE: SEE ICAP DESIGN COMPONENT AND DISPATCH OF INTERMITTENT RESOURCES DESIGN COMPONENT]
Capacity performance obligations of an ELCC resource (Potentially out of scope)
Note: the principles behind these two parking lot items also bear on the status quo for Capacity market must offer and DA energy market must offer [NOTE: THE LATTER IS GENERALLY TIED TO ICAP AS WELL].
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Capacity Capability Senior Task Force
Effective Load Carrying Capability
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 | Class distinctions/ definitions | High level descriptions (and potentially formal definitions) for the different resource classes to be considered in ELCC analysis. Each class could get its own published ELCC value(s). It lays out which diverse resources are grouped together for reliability assessment purposes, and which are divided from one another. This design component includes whether derating is allowed for Energy Storage Resources and limited duration resources in order to join a class for which the unit's actual duration is shorter. Note: pumped hydro is included as a type of Energy Storage Resource, and not included as a type of dispatchable hydro resource. Dispatchable hydro refers to hydro with ponding (i.e., storage reservoirs), while intermittent hydro refers to hydro that lacks this feature (aka, run of river hydro).
1a | Which classes are ELCC applied to | Which classes are ELCC applied to and how to handle classes that are already not defined.
2 | Timing of ELCC | This group includes timing for ELCC accreditation values and performance adjustments relative to the use of capability values in an actual devliery year, in an auction, or in the Queue. This applies to Planned resources, existing resources, and uprates, which includes Capacity uprates due to additions of incremental energy storage inventory without changes to power capability of a plant.
2a | Timing of Class Assessment and Accreditation | Overall ELCC analysis for each class based on resource mix; accreditation could apply differently to different resources
2b | Unit specific performance adjustment timing | Timing of unit specific performance adjustment.
2c | Functional application of ELCC | What ELCC accreditation values *do* in terms of policy functionality.
2d | ICAP | Installed capacity as described in Manual 21. This is conceptually related to nameplate megawatts or Maximum Facility Output, although it can be significantly less than either of those especially for intermittent resources and limited duration resources.
2e | UCAP | Unforced Capacity as defined in the RAA. This is the commodity that is transacted and delivered (or self-supplied) in the capacity market/Reliability Pricing Model.
3 | Consideration of a changing ELCC (generic) | Class ELCC can go up or down from one delivery year to another as the resource mix and load shape change. All else equal, an increase in deployment of a given class (e.g., solar) decreases the ELCC of that class, both on average for the fleet as well as on the margin for any given unit. This design component includes solutions for how to account for this feature of ELCC results, especially the different values for average ELCC per MW vs. marginal ELCC and the potential for vintage or legacy treatment, in the various contexts in which capability is used, both for economics and for reliability assessments.
4 | Technical considerations of ELCC (generic) Development of projections; eg. Resource mix, load shape, state policies | Miscellaneous technical features of the ELCC model, including inputs to the model. This could include development of projections; eg. Resource mix, load shape, state policies. This could include how actual data for intermittent resources (or backcasts) are used to develop the class ELCC values.
5 | Performance adjustment (category specific) | A method to account for actual or backcasted performance of a specific resource relative to the ELCC results calculated in the model.
6 | Simulated dispatch of limited-duration & combination resources (category specific) Consideration: How to administer CP bonus and penalties (Offer Behavior) and Type of Ownership | How the simulated dispatch of limited-duration resources (incl. ESR) is executed in the ELCC model. This design component could include considerations such as how such resources will schedule their resources given CP bonus and penalty incentives, general offer behavior, and variations in the above based on type of ownership.
7 | Reporting | Periodic (e.g., annual) reporting on ELCC study methodology and results
8 | CIR calculation value and deliverability value consistency (potentially out of scope) | TBD/parking lot
9 | Capacity performance obligations of an ELCC resource (Potentially out of scope) | TBD/parking lot
10 | Tariff versus Manual Language | Not a design component. Will be tracked in a separate document for stakeholder discussion.

## 2b. Option Details
Capacity Capability Senior Task Force
Effective Load Carrying Capability
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Capacity Capability Senior Task Force
Effective Load Carrying Capability
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Capacity Capability Senior Task Force
Effective Load Carrying Capability
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Capacity Capability Senior Task Force
Effective Load Carrying Capability
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description
CIR calculation value and deliverability value consistency (potentially out of scope)
Capacity performance obligations of an ELCC resource (Potentially out of scope)
Tariff versus Manual Language

## Revision History
Capacity Capability Senior Task Force
Effective Load Carrying Capability
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3