## Instructions
Description:
This workbook contains a simplified version of The Brattle Group's proprietary simulation model used to test demand curve performance in PJM. All cells highlighted in green are user inputs; all cells highlighted in orange are user outputs. Please see the instructions below on how to run the simplified model and how to create a user-defined demand curve.
Instructions:
Only adjust the input cells, highlighted in green, otherwise the model could break.
How To Run a Simulation: | Cell Color Coding:
1) Go to the [Auction Simulation] tab | user input
2) Select the appropriate demand curve from the pre-populated list in cell B4 | user input error
Note: Use the scroll bar in the Demand Curve list to view all available selections | user output
3) Adjust the total offer quantity in cell D4
4) Click the "Calculate Clearing Price" button to run the auction
How To Create a User-Defined Demand Curve:
1) Go to the [Demand Curve Parameters] tab
2) Set the price for the first point in cell F5
3) Fill in the remaining quantities and prices.
Note:
i. The user-defined curve can handle up to 10 points
ii. Quantities need to be inputted as a % of RR and in ascending order
iii. Prices need to be inputted as a % of Net CONE and in descending order
iv. See [Auction Simulation] tab, cells B40 and B42, for RR and Net CONE values
4) Go to the [Auction Simulation] tab and select "User-Defined Curve" from the Demand Curve list, as described above in Step 2 of "How To Run a Simulation"
5) Run the simulation, as described above in Steps 3 and 4 of "How to Run a Simulation"
Notes:
The supply curve core shape is based on historical PJM offers, using a smoothed version of the supply curve from a specific historical auction. This supply curve shape does not change in this simplified model; however, the user can shift the curve right or left by adjusting the "total offer quantity", as described above in Step 3 of "How to Run a Simulation".
This model is not a Monte Carlo simulation model. The results contained herein are not intended to exactly replicate those presented by The Brattle Group in our report or other stakeholder materials, as those results came from a more complex Monte Carlo analysis that tested demand curve performance over a distribution of draws with shocks to supply and demand.

## Auction Simulation
Inputs |  |  | Output | [8 empty] | Clearing Automation |  |  | Demand Curve Options
Demand Curve Selection (Drop-down Below) |  | Total Offer Quantity (MW must be > 150,000) | Auction Clearing Results |  |  | Input Demand Curve Definition |  |  | Corresponding Demand Curve Parameters |  |  | Initial Quantity | 113841.4336 | 160101.4336
Current VRR Curve |  | 160000 |  | Current Run | Previous Run |  | Quantity (UCAP RM %) | Price (% of Net Cone) | MW | LOLE | ($/MW-d) | SC Price | 700.4438 |  | User-Defined Curve
|  |  | Price ($/MW-d) | 495.8 | 495.8 | Point 1 | 0% | 150% | 0 | 0 | 495.795 | DC Price | 495.795 |  | Current VRR Curve
|  |  | LOLE | Below 1-in-5 | Below 1-in-5 | Point 2 | 6.191% | 150% | 161816.6068 | 0.0094174 | 495.795 | Check | -204.6488 |  | Brattle Proposed
[6 empty] | Point 3 | 9.963% | 100% | 167564.4784 | X is Too High | 330.53 |  |  |  | PJM Proposed
|  |  | Demand Curve | Current VRR Curve | Current VRR Curve | Point 4 | 13.73% | 20% | 173312.3501 | X is Too High | 66.106 |  |  |  | Vertical at RR
|  |  | UCAP Quantity (MW) | 160101.4336 | 160101.4336 | Point 5 | 13.73% | 0% | 173312.3501 | X is Too High | 0 |  |  |  | ISO-NE
[6 empty] | Point 6 | 13.73% | 0% | 173312.3501 | X is Too High | 0 |  |  |  | NYISO
[6 empty] | Point 7 | 13.73% | 0% | 173312.3501 | X is Too High | 0
[6 empty] | Point 8 | 13.73% | 0% | 173312.3501 | X is Too High | 0
[6 empty] | Point 9 | 13.73% | 0% | 173312.3501 | X is Too High | 0
[6 empty] | Point 10 | 13.73% | 0% | 173312.3501 | X is Too High | 0
[6 empty] | Supply Curve Core Shape |  |  | Final Supply Curve
[6 empty] | Block | Shape MW | Price | MW
[6 empty] | 1 | 0 | 0 | 0
[6 empty] | 2 | 1073.455 | 1.0194 | 108473.1584
[6 empty] | 3 | 2146.9101 | 1.9854 | 109546.6134
[6 empty] | 4 | 3220.3651 | 3.1232 | 110620.0685
[6 empty] | 5 | 4293.8201 | 4.3702 | 111693.5235
[6 empty] | 6 | 5367.2752 | 5.7264 | 112766.9785
[6 empty] | 7 | 6440.7302 | 7.2852 | 113840.4336
[6 empty] | 8 | 7514.1852 | 8.9919 | 114913.8886
[6 empty] | 9 | 8587.6403 | 10.719 | 115987.3436
[6 empty] | 10 | 9661.0953 | 12.139 | 117060.7987
[6 empty] | 11 | 10734.5503 | 13.7318 | 118134.2537
[6 empty] | 12 | 11808.0054 | 15.0414 | 119207.7087
[6 empty] | 13 | 12881.4604 | 16.6138 | 120281.1638
[6 empty] | 14 | 13954.9154 | 18.4843 | 121354.6188
[6 empty] | 15 | 15028.3705 | 20.6086 | 122428.0738
[6 empty] | 16 | 16101.8255 | 22.5758 | 123501.5289
[6 empty] | 17 | 17175.2805 | 24.8013 | 124574.9839
[6 empty] | 18 | 18248.7356 | 27.1201 | 125648.4389
[6 empty] | 19 | 19322.1906 | 29.407 | 126721.894
[6 empty] | 20 | 20395.6456 | 32.3652 | 127795.349
System Input Parameters (Used in Brattle Modeling) | [5 empty] | 21 | 21469.1007 | 35.5112 | 128868.804
166127.5 | Reliability Requirement (2016/17 Planning Parameters) |  |  |  |  | 22 | 22542.5557 | 38.4899 | 129942.2591
152382.6 | Peak Load (2016/17 Planning Parameters) |  |  |  |  | 23 | 23616.0107 | 41.3389 | 131015.7141
330.53 | Net CONE (2016/17 Planning Parameters) |  |  |  |  | 24 | 24689.4658 | 44.5497 | 132089.1691
[6 empty] | 25 | 25762.9208 | 48.037 | 133162.6242
[6 empty] | 26 | 26836.3758 | 52.406 | 134236.0792
[6 empty] | 27 | 27909.8309 | 56.8934 | 135309.5342
Chart Lines | Quantity (MW) | Price ($/MW-d) |  |  |  | 28 | 28983.2859 | 61.5902 | 136382.9893
RR | 166127.5 | 0 |  |  |  | 29 | 30056.7409 | 66.0184 | 137456.4443
| 166127.5 | 10000 |  |  |  | 30 | 31130.196 | 71.0645 | 138529.8993
[6 empty] | 31 | 32203.651 | 76.9809 | 139603.3544
Net CONE | 0 | 330.53 |  |  |  | 32 | 33277.106 | 83.4799 | 140676.8094
| 166127.5 | 330.53 |  |  |  | 33 | 34350.5611 | 89.9868 | 141750.2644
[6 empty] | 34 | 35424.0161 | 96.6269 | 142823.7195
[6 empty] | 35 | 36497.4711 | 102.4341 | 143897.1745
[6 empty] | 36 | 37570.9262 | 108.6532 | 144970.6295
[6 empty] | 37 | 38644.3812 | 115.159 | 146044.0846
[6 empty] | 38 | 39717.8362 | 122.3361 | 147117.5396
[6 empty] | 39 | 40791.2913 | 129.7317 | 148190.9946
[6 empty] | 40 | 41864.7463 | 138.0375 | 149264.4497
[6 empty] | 41 | 42938.2013 | 148.3275 | 150337.9047
[6 empty] | 42 | 44011.6564 | 160.0466 | 151411.3597
[6 empty] | 43 | 45085.1114 | 174.8378 | 152484.8148
[6 empty] | 44 | 46158.5664 | 191.2377 | 153558.2698
[6 empty] | 45 | 47232.0215 | 207.5739 | 154631.7248
[6 empty] | 46 | 48305.4765 | 226.0605 | 155705.1799
[6 empty] | 47 | 49378.9315 | 291.5556 | 156778.6349
[6 empty] | 48 | 50452.3866 | 355.9128 | 157852.0899
[6 empty] | 49 | 51525.8416 | 418.2221 | 158925.545
[6 empty] | 50 | 52599.2966 | 477.6869 | 159999
[6 empty] | 51 | 52600.2966 | 700 | 160000
Calculate Clearing Price

## Demand Curve Parameters
|  |  | Peak Load (MW): |  |  | 5 | # of DC Points
|  |  | User-Defined Curve |  |  |  | Current Curve
|  | Point | Quantity (UCAP RM %) | Quantity (% of RR) | Price (% of Net Cone) | Point | Quantity (UCAP RM %) | Quantity (% of RR) | Price (% of Net Cone)
User-Defined Curve | 1 | 1 | 0% | 0% |  | 1 | 0% | 0% | 150%
|  | 2 | 0% |  |  | 2 | 6.191% | 97.4% | 150%
|  | 3 | 0% |  |  | 3 | 9.963% | 100.9% | 100%
|  | 4 | 0% |  |  | 4 | 13.74% | 104.3% | 20%
|  | 5 | 0% |  |  | 5 | 13.74% | 104.3% | 0%
|  | 6 | 0%
|  | 7 | 0%
|  | 8 | 0%
|  | 9 | 0%
|  | 10 | 0%
Current VRR Curve
|  |  | Quantity (UCAP RM %) | Quantity (% of RR) | Price (% of Net Cone)
Current VRR Curve | 1 | 1 | 0% | 0% | 150%
Current VRR Curve | 2 | 2 | 6.191% | 97.4% | 150%
Current VRR Curve | 3 | 3 | 9.963% | 100.9% | 100%
Current VRR Curve | 4 | 4 | 13.74% | 104.3% | 20%
Current VRR Curve | 5 | 5 | 13.74% | 104.3% | 0%
Brattle Proposed
|  |  | Quantity (UCAP RM %) | Quantity (% of RR) | Price (% of Net Cone)
Brattle Proposed | 1 | 1 | 0% | 0% | 150%
Brattle Proposed | 2 | 2 | 7.888% | 98.96% | 150%
Brattle Proposed | 3 | 3 | 10.85% | 101.7% | 75%
Brattle Proposed | 4 | 4 | 16.39% | 106.8% | 0%
PJM Proposed
|  |  | Quantity (UCAP RM %) | Quantity (% of RR) | Price (% of Net Cone)
PJM Proposed | 1 | 1 | 0% | 0% | 150%
PJM Proposed | 2 | 2 | 8.828% | 99.82% | 150%
PJM Proposed | 3 | 3 | 11.79% | 102.5% | 75%
PJM Proposed | 4 | 4 | 17.33% | 107.6% | 0%
Vertical at RR
|  |  | Quantity (UCAP RM %) | Quantity (% of RR) | Price (% of Net Cone)
Vertical at RR | 1 | 1 | 0% | 0% | 150%
Vertical at RR | 2 | 2 | 9.02% | 100% | 150%
Vertical at RR | 3 | 3 | 9.02% | 100% | 0%
ISO-NE
|  |  | Quantity (UCAP RM %) | Quantity (% of RR) | Price (% of Net Cone)
ISO-NE | 1 | 1 | 0% | 0% | 160%
ISO-NE | 2 | 2 | 7.888% | 98.96% | 160%
ISO-NE | 3 | 3 | 18.07% | 108.3% | 0%
NYISO
|  |  | Quantity (UCAP RM %) | Quantity (% of RR) | Price (% of Net Cone)
NYISO | 1 | 1 | 0% | 0% | 183.8%
NYISO | 2 | 2 | 1.814% | 93.39% | 183.8%
NYISO | 3 | 3 | 9.02% | 100% | 118.5%
NYISO | 4 | 4 | 22.1% | 112% | 0%

## LOLE Data
LOLE |  |  | Quantities for LOLE Lines |  |  | Lines for Chart
(events/yr) | (yr/event) | (1-in-X) | (% of RR) | (% UCAP RM) | (UCAP MW) |  | X | Y
0.2 | 5 | 1-in-5 | 98.96% | 7.888% | 164401.8414 | 1-in-5 | 164401.8414 | 0
0.16667 | 6 | 1-in-6 | 99.23% | 8.184% | 164853.7539 | 1-in-5 | 164401.8414 | 600
0.14286 | 7 | 1-in-7 | 99.46% | 8.435% | 165235.8405
0.125 | 8 | 1-in-8 | 99.66% | 8.652% | 165566.819 | 1-in-10 | 166119.9152 | 0
0.11111 | 9 | 1-in-9 | 99.84% | 8.844% | 165858.7627 | 1-in-10 | 166119.9152 | 600
0.1 | 10 | 1-in-10 | 100% | 9.015% | 166119.9152
0.066667 | 15 | 1-in-15 | 100.6% | 9.675% | 167124.924 | 1-in-100 | 171827.2329 | 0
0.05 | 20 | 1-in-20 | 101% | 10.14% | 167837.989 | 1-in-100 | 171827.2329 | 600
0.033333 | 30 | 1-in-30 | 101.6% | 10.8% | 168842.9978
0.025 | 40 | 1-in-40 | 102.1% | 11.27% | 169556.0629
0.02 | 50 | 1-in-50 | 102.4% | 11.63% | 170109.1591
0.016667 | 60 | 1-in-60 | 102.7% | 11.93% | 170561.0716
0.014286 | 70 | 1-in-70 | 102.9% | 12.18% | 170943.1582
0.0125 | 80 | 1-in-80 | 103.1% | 12.4% | 171274.1367
0.011111 | 90 | 1-in-90 | 103.3% | 12.59% | 171566.0804
0.01 | 100 | 1-in-100 | 103.4% | 12.76% | 171827.2329