## Setup
Enter Stakeholder Group Name in cell A2:
Seasonal Capacity Resources Senior Task Force (SCRSTF)
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Seasonal Capacity Resources

## Workplan
2016-17 Seasonal Capacity Resources Senior Task Force (SCRSTF) Work Plan
Updated: July 25, 2016
Triennial Review Timing | 2012-07-01 | 2012-08-01 | 2012-09-01 |  | 2012-10-01 | 2012-11-01 | 2012-12-01 | 2013-01-01
üProvide Education
üProblem Investigation
üProposal Development
üBuild Consensus
üFirst Read @ MRC | [5 empty] | 2012-11-29
üVote at MRC | [6 empty] | 2012-12-20
üVote at MC
Multi-Year Pricing Mechanism | 2012-07-01 | 2012-08-01 | 2012-09-01 |  | 2012-10-01 | 2012-11-01 | 2012-12-01 | 2013-01-01 | 2013-02-01 | 2013-03-01
üProvide Education
üRefine Interests
üDevelop & Refine Design Components | bar: 2012-10-01
üDevelop & Refine Component Options | bar: 2012-10-01 to 2012-12-01
üDevelop & Refine Solution Packages | bar: 2012-11-01 to 2012-12-01
üBuild Consensus | bar: 2013-01-01
üFirst Read @ MRC |  |  |  |  | 2013-01-01: 2013-01-31
Vote at MRC |  |  |  |  | 2013-02-01: 2013-02-28
Vote at MC |  |  |  |  | 2013-02-01: 2013-02-28
FERC Filing |  |  |  |  | 2013-03-01: 2013-03-01
Issue | 2012-07-01 | 2012-08-01 | 2012-09-01 |  | 2012-10-01 | 2012-11-01 | 2012-12-01 | 2013-01-01 | 2013-02-01 | Mar. 2013 | April | May | June | July | August | September | October | November | December | 2017-01-01 | 2017-02-01 | 2017-03-01 | 2017-04-01 | 2017-05-01
Seasonal Resources Problem Statement | [10 empty] | July: Package development; August: Package narrowing and polling; September: SCRSTF Voting MRC 1st Read; October: MRC Voting MC Voting; November: PJM FERC Filing | FERC Decision | BRA Planning Parameters Posted |  |  | 2020/2021 BRA
[11 empty] | April: SCRSTF Stakeholder Process; October: Parent Committee and FERC Process |  | RPM Deadlines
Detailed Work Plan | 6.26 | 7.17 | 7.31 | 8.9 | 8.26 | 8.28 | 9.9 | 9.18 | 9.24 | 9.26 (MRC) | 2016-04-04 | 2016-04-18 | 2016-04-26 | 2016-05-06 | 2016-05-25 | 2016-06-06 | 2016-06-21 | 2016-07-11 | 2016-08-01 | 2016-08-12 | 2016-08-26 | 2016-09-08 | 2016-09-23 | 2016-10-14 | 2016-10-26 | 2016-11-01
Create Charter |  | x | x | x |  | x | x | bar: 2016-04-04 to 2016-05-06
Provide Education |  |  | x | bar: 2016-04-04 to 2016-05-25
Document Interests |  |  |  | x |  | x | x | bar: 2016-04-26 to 2016-05-06
Develop & Refine Design Components | [5 empty] | x | x |  | x | bar: 2016-05-06 to 2016-06-21
Develop & Refine Component Options | bar: 2016-06-21 to 2016-08-01
Develop & Refine Solution Packages | bar: 2016-07-11 to 2016-08-26
Build Consensus | bar: 2016-08-12 to 2016-09-08
SCRSTF Vote | bar: 2016-09-08
First Read @ MRC (9/29) | bar: 2016-09-23
Vote at MRC (10/27) | bar: 2016-10-26
Vote at MC (11/17) | bar: 2016-11-01
FERC Filing | bar: 2016-11-01

## 1. Interest Identification
Seasonal Capacity Resources Senior Task Force (SCRSTF) |  | Updated: May 12, 2016
Seasonal Capacity Resources
Interest Identification
Instructions: List interests of all parties on this page.
Manual 34, Documenting Interests: "the purpose of this step is to ensure that all stakeholders have a common understanding of each other’s interests vis-à-vis their potential positions on individual issues (interests and positions are different – positions are assertions about what people say they want, while interests are why people want what they want (needs, motivations, concerns, and desires behind the position".
| Individual Interests | Interest "Buckets" | Overarching Interests
1 | Ensure capacity resources are obligated to respond to emergency conditions throughout the year | Broad RPM Design Features
6 | Establish uniform compensation, performance and other requirements across all capacity resources.
21 | Recognize the value of reliability contributions of resources that may not be available as CP
5 | Avoid solutions that introduce complexity without adding commensurate reliability benefits.
18 | Right size customers' capacity purchase obligation given PJM's summer-peaking system
15 | Ensure that markets do not over-procure resources by accurately accounting for and valuing supply- and demand-side resources that, by themselves, inherently cannot qualify as Capacity Performance, but nevertheless contribute to installed capacity.
45 | All capacity resources shall be substitutable for one another (no inferior products)
46 | All capacity resources will respond when economic
47 | Competitive market outcomes
48 | Clear process for allocating and pricing the cost of capacity to facilitate market response
50 | Provide more supply options
2 | Avoid relaxation of 1-in-10 reliability standard as is done today to accommodate sub-annual capacity product types. | Resource Adequacy/Reliability Planning Parameters | Ensure RPM meets 1-in-10 reliability standard without overprocuring resources
12 | Ensure the capacity performance rules do not lead to an over-procurement of resources necessary to meet the reliability needs of the system
37 | Avoid changes to IRM calculations and CETO/CETL determination
3 | Ensure robust Measurement and Verification methods in place for all capacity resources | Demand Response M&V | Ensure Demand Response measurement and verification is robust, and reflects resource adequacy planning principles
9 | Establish measurement and verification of capacity performance demand resources consistent with the definition of capacity as a planning tool
4 | Must meet the comparability standards of not being unduly discriminatory or preferential | Comparable Treatment of Capacity Resources | Ensure Capacity Resources of all types have comparable, but not necessarily equal, requirements which respect inherent differences in resource types
10 | Preserve comparable treatment for all capacity resources while not requiring identical treatment
44 | Ensure performance obligations are comparable for aggregated seasonal resources when compared to traditional generation resources
40 | Recognize that different capacity resources may have different responses
43 | Ensure that aggregated resource capacity is operated and offered in a way that is no less flexible than its true capabilities.
39 | Maintain a capacity market price signal that properly incentivizes new entry and properly compensates resources meeting CP obligations | Price Signal | Ensure RPM provides a price signal that incetivizes new entry and properly values resources of all types
11 | Ensure proper valuation of all capacity resources in order for proper price signals to be sent
29 | Set prices for seasonal resources in a manner consistent with RPM clearing mechanisms
33 | If any potential barriers for renewable entry participation into the capacity market (as a full participant) are identified, these barriers should be adequately addressed | Recognizing seasonal resources in the capacity market
7 | Ensure that the rules for resource aggregation do not contain unnecessary roadblocks or barriers.
13 | Establish a framework for incorporating seasonal resources in the capacity market that will be sustainable and facilitate the incorporation of new technologies and innovation
16 | Recognize that capacity needs vary over the year and that seasonal resources can help meet seasonal variations
25 | Identify potential seasonal and other opportunities for increased participation of customers in PJM energy, ancillary, and capacity markets through growth in undeveloped resources, e.g., thermal storage such as grid interactive water heaters, ice, silica alternatives.
30 | Base any limits on seasonal resources on reliability analysis
31 | Ensure clearing of seasonal resources in constrained zones does not overstate deliverability limits
32 | Minimize the MW amount of renewable energy resources that are precluded from capacity market participation as a result of PJM's annual construct
34 | Use existing proven resources in seasons when available
35 | Consider historical energy performance to assess seasonal value (e.g. wind in January 2014)
Solution should reflect PJM procurement and cost allocation of capacity
8 | Preserve ability of the PJM capacity market to capture the maximum amount of summer only resources reasonably possible to reliably run the system in accordance with the terms of the “saturation analysis” previously adopted by PJM.
22 | Find tools for demand response to help serve as a demand-side check on capacity prices | Demand Response | Ensure Demand Response participation, either through RPM or outside RPM, is a viable option for customers to contribute to reliability and to reduce capacity obligations/costs
24 | Distinguish potential solution alternatives between demand response opportunities for larger customers versus smaller (i.e. mass market customers).
26 | Individual customers that maintain loads below their PLC should be fully credited for such reduction
36 | Ensure the continued ability for demand (load) to respond dynamically, optimally and efficiently to supply bids in BRA auctions
19 | Find ways to allow customers to utilize their interruptible capability to assist in PJM reliable operations and to help offset their own capacity costs
20 | Recognize the value of reliability contributions of resources with interruptibility
28 | Preserve ability of summer-only demand resources, including residential A/C programs, to participate as stand-alone capacity resources
42 | That the group will seriously investigate solution options outside RPM
38 | Evaluate demand side alternatives to include seasonal/limited resources in RPM with 100% CP
27 | Individual customers should be able to manage their performance risk for all hours of a winter day
14 | Preserve ability of PJM markets to continue to capture the full amount of summer available resources that have been and are currently being relied upon to meet system needs.
51 | Ensuring that customers who peak shave continue to receive the benefit associated with the peak shaving activity
52 | Ensure that the state commissions fully understand the cost implications of peak shaving, and that the associated jurisdictional boundaries are clarified
53 | Determination of demand response as a capacity resource should be consistent with FERC policies (e.g., Order On Complaint, (Issued April 21, 2016), FERC Docket No. EL14-20) establishing a standard of comparability rather than equivalence or full substitution.
23 | Evaluate and compare the cost impacts to customers of potential solution alternatives to the cost impacts to customers of the status quo. | Cost Impacts
49 | Low cost / least cost solution
41 | Interest in providing a market for resources that will help address Clean Power Plan requirements | Public Policy
17 | Avoid procuring long-lasting infrastructure that will contribute to future stranded costs by appropriately considering public policies and trends and ensuring the resource procurement process can flexibly adapt

## 2. Design Components & Options
Seasonal Capacity Resources Senior Task Force (SCRSTF)
Seasonal Capacity Resources
Design Components
Solution Options2
# | Design Components1 | Priority | Status Quo [2020/2021 Delivery Year] | A | B | C | D | E
* | Implementation
1 | Seasonal Capacity Product
2 | Seasonal Capacity Requirement
3 | Seasonal adequacy criteria (LOLE)
4 | annual adequacy criteria(LOLE)
5 | Base capacity extension | [7 empty] | Low
6 | Cap on amount of cleared sub-annual products | [7 empty] | Low - Medium
7 | [8 empty] | Low - High
8 | [8 empty] | Medium
Resource aggregation mechanism
9 | DR M & V | [7 empty] | Medium - High
10 | Demand side capacity market alternatives | [7 empty] | High
11 | Performance assessment *
13 | Performance requirements for DR
14 | Performance requirements for intermittent resources
15 | Performance requirements for EE
16 | Performance requirements for environmentally limited
17 | Treatment of sub annual products in auction clearing mechanism
18 | Treatment of "traditional" generation extra winter capacity
19 | Generator winter weekly reserve target
20 | Penalty rates for sub-annual capacity
21 | Indemnification between aggregated parties
22 | Locational aggregation rules
23 | Penalty rate/Max penalty
24 | Timing for credits, penalty charges, deficiency charges
25 | Credit requirements
26 | Proportion of capacity revenue for each resource ( for aggregated resources)
27 | Winter deliverability constraint
28 | Capacity interconnection rights calculation for seasonal resources through the interconnection process
29 | Coupled offer structure
Seasonal / Sub-annual Products / Offers
1 | Capacity market products |  | Single annual product (Capacity Performance) | Two seasonal products (performance periods), both Capacity Peformance: June 1 through Sept. 30; Oct. 1 through May 31. | Retain Base Capacity Product for 2020/2021 Delivery Year Only | Single annual product (Capacity Performance) plus seasonal capacity sell offers for those resource types listed in #9 below.
2 | Availability Requirements by Capacity Resource type |  | Generation Capacity Resources: June-May (entire delivery year); 24 hours/day Annual Demand Resources: Jun – Oct and following May: 10 AM – 10 PM Nov – April: 6 AM - 9 PM Annual Energy Efficiency Resources: Jun - Aug: HE 15:00 - 18:00 EPT Jan - Feb: HE 8:00 - 9:00 EPT and HE 19:00 - 20:00 |  |  | Status quo for Capacity Performance product (annual resources) plus: Summer-Period DR: Jun – Oct and following May, 10 AM - 10 PM; Summer-Period EE: Jun - Aug: HE 15:00 - 18:00 EPT; Intermittent, Capacity Storage, Environmentally Limited Resources Summer-Period: Jun – Oct and following May, Winter-Period: November through April |  |  | Used to denote design components that may lead to solution options that are outside the scope of the SCRSTF.
3 | Annual DR limits (Amount) |  | None |  |  |  | Set to allow defined LOLE outside of summer months.
4 | Method of clearing constrained products |  | N/A for 2020/2021 |  |  | The auction solution algorithm ensures that total cleared summer-period sell offer quantity equals total cleared winter-period sell offer quantity (in UCAP) | Clear minimum amount of unconstrained capacity, then remove constraints (original limited DR method). | Clear up to maximum amount of constrained capacity Uncleared constrained capacity in a constrained LDA may clear in containing LDAs.
5 | Capacity requirement (Amount) |  | RTO and LDA annual reliability requirement based on resource adequacy criteria | RTO Summer Season Reliability Requirement based on LOLE 0.09 (approx. 500 MW higher than annual value based on LOLE 0.1); Winter Season Reliability Requirement based on LOLE 0.01 with allowance for greater planned and maintenance outages; analogous approaches for LDA seasonal requirements. |  |  | Set to allow defined LOLE during summer months.
6 | Capacity acquisition approach |  | Sloped capacity (VRR) demand curve | Status quo; Net CONE and VRR curve shape used with seasonal Reliability Requirements.
7 | Resource adequacy criteria (LOLE) |  | 1-in-10 (0.1) LOLE criterion is based on annual risk. Summer and non-summer risks are a function of seasonal load profile and planned outages and do not have separate risk criteria (as established by Prism model) | Propose using LOLE 0.09 for Summer Season and LOLE 0.01 for Winter Season. |  |  | Sum of LOLE over entire year is 10%
8 | Offer structure |  | Not applicable (No coupled offers. Only single product) | Resource offer quantities: Based upon Summer and Winter UCAP ratings. Resource offer prices: may specify different prices for Summer and Winter performance periods. Annual offers: specify a single price, clear if Annual offer price is less than or equal to sum of Summer clearing price plus Winter clearing price. ( Note: all offer and clearing prices expressed in $/MW-day but paid 365 days, so seasonal prices are additive). |  | Intermittent, Capacity Storage, and Environmentally-Limited Resources may submit a sell offer for CP capacity and a separate sell offer for either summer-period capacity or winter-period capacity up to a total sell offer quantity for each season no greater than the UCAP capability/CIR value of the resource. Summer-only DR and summer-only EE may submit sell offers for summer-period capacity.
9 | Definition of a Seasonal Resource |  | Not a defined term in the PJM Tariff |  |  | Resources eligible to submit seasonal capacity sell offer Intermittent Resources, Capacity Storage Resources, Environmentally-Limited Resources, summer-only DR Resources and summer-only EE Resources
Resource Aggregation within CP
10 | Resource aggregation |  | Yes, allowed under a single RPM sub-account
11 | Eligible resource types |  | Capacity Storage Resources, Intermittent Resources, Demand Resources, Energy Efficiency Resources, or Environmentally-Limited Resources | Status Quo + fuel-limited resources
12 | Capacity Market Seller rights and obligations |  |  |  |  | Capacity Mkt seller must allocate aggregate resource commitment quantity to the individual resources prior to start of delivery year with updates permitted no later than 10:30 am EPT the day prior to the operating day. Total committed quantity allocated to each individual resource cannot exceed CIRs of the individual resource
13 | Mechanism for creating Aggregate Resource |  | Currently accomplished through bilateral agreements
14 | Administration |  | Individual resources must be in a single RPM account, which is the responsible Capacity Market Seller for the Aggregate Resource
15 | Locational requirements |  | Resource types must be located in same modeled LDA | Can offer into a larger LDA as long as their physical locations are both in the larger LDA |  | May be aggregated across LDAs with Aggregate Resource modeled in the smallest LDA common to all of the individual resources (Examples: an Aggregate Resource with individual resources located in the PSEG LDA and the MAAC LDA will be modeled in the MAAC LDA; an Aggregate Resource with individual resources located in the EMAAC LDA and SWMAAC LDA will be modeled in the MAAC LDA; an Aggregate Resource with individual resources located in COMED and EMAAC would be modeled in the Rest of RTO)
16 | Liability between aggregated parties |  | Same as Unit Specific Bilateral Transaction (Seller indemnifies Buyer)
17 | Capacity market revenue allocation |  | Revenue allocated to single member RPM sub-account
18 | RPM Credit requirement |  | Applicable to the extent any of the individual resources within the aggregation are Planned Resources
19 | Penalty Allocation |  | Allocated to single member RPM sub-account
20 | Timing of credits/charges |  | Same as standalone capacity resources
21 | Non-performance Charge Rates |  | Hourly charge rate = (Net CONE * number of days in Delivery Year) / 30 hours | Status quo for Annual resources; PJM to recommend Seasonal values. | Base Capacity Penalty Rate = $102,315/20 Summer PAH = $5116/MWh | Based on net CONE of LDA in which the allocated amount for each resource comprising the Aggregate Resource is located
22 | Max Non-performance Charges (Stop-loss) |  | Annual Stop-loss = 1.5 * Net CONE * UCAP MW commitment | Status quo for Annual resources; PJM to recommend Seasonal values. | Stop Loss = 1.5 * $102,315 = $153,473
Other RPM Design Features Related to Seasonal Resources
23 | Demand Response Measurement and Verification |  | FSL for summer periods; CBL for non-summer periods | Use FSL year-round |  | FSL for summer; Non-summer M&V based on modified FSL approach to be more consistent with summer FSL approach
24 | Required performance for Demand Registrations |  | For LDA or Zonal based events, the Resource is required to perform at committed levels. For sub-zonal events, all registrations in the sub zone are required to perform at prorata committed level based on registered amount. | Allow registrations to reduce committed amounts on a daily basis as long as Resource Zonal or LDA commitments are maintained.
25 | Application of balancing ratio [to seasonal resources] for the purposes of determining Expected Performance |  | For the purposes of determining Expected Performance, the Balancing Ratio is applied to Generation Capacity Resources and Capacity Storage Resources. It is not applied to Demand Resources and Energy Efficiency Resources. See OATT, Attachment DD, Section10A(c) for more detail | Apply the Balancing Ratio to determine the Expected Performance for all committed resources and concurrently amend the Balancing Ratio Equation to be BR = (All Resource Performance) + (Net Energy Imports)/All Committed Capacity (UCAP)
26 | Winter deliverability (wind) Note: does every unit have the ability to run at its capacity value under all conditions?
27 | Capacity Interconnection Rights (CIRs) |  | Synchronous generation: May request any value of CIRs up to the Maximum Facility Output (MFO). Intermittent Resources: Based on summer output (Jun-Aug; HE15:00-18:00) Wind: May request up to 13% Solar: May request up to 38% Customer may supply additional information for PJM evaluation which can be evaluated for additional capability (may not exceed MFO) All tests performed under peak summer conditions. | PJM to establish summer and winter values.
28 | Solution Implementation Timing |  | Implemented for 2017 BRA (2020/2021 Delivery Year) | May 2017 base residual auction for the 2020/21 delivery year. Possibly consider a Winter season floor price for one transitional year.
29 | Cost Allocation |  | Total UCAP quantity procured for a given delivery year is allocated to each zone in proportion to each zone's share of the final forecasted PJM summer peak load for that delivery year. Zonal capacity prices based on weighted average of capacity prices applicable to the zone from all auctions conducted for that delivery year.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Seasonal Capacity Resources Senior Task Force (SCRSTF)
Seasonal Capacity Resources
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Seasonal Capacity Resources Senior Task Force (SCRSTF)
Seasonal Capacity Resources
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Seasonal Capacity Resources Senior Task Force (SCRSTF)
Seasonal Capacity Resources
PACKAGE/ PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Solution Options2
# | Design Components1 | Priority | Status Quo [2020/2021 Delivery Year] | A (Aggregation and Seasonal Offers) | B (Seasonal Procurement) | C (Winter Performance Equivelant, WIPEs) | D (Base Capacity Extension) | E (Capacity Performance DR w/ FSL)
* | Implementation
1 | Seasonal Capacity Product
2 | Seasonal Capacity Requirement
3 | Seasonal adequacy criteria (LOLE)
4 | annual adequacy criteria(LOLE)
5 | Base capacity extension | [7 empty] | Low
6 | Cap on amount of cleared sub-annual products | [7 empty] | Low - Medium
7 | [8 empty] | Low - High
8 | [8 empty] | Medium
Resource aggregation mechanism
9 | DR M & V | [7 empty] | Medium - High
10 | Demand side capacity market alternatives | [7 empty] | High
11 | Performance assessment *
13 | Performance requirements for DR
14 | Performance requirements for intermittent resources
15 | Performance requirements for EE
16 | Performance requirements for environmentally limited
17 | Treatment of sub annual products in auction clearing mechanism
18 | Treatment of "traditional" generation extra winter capacity
19 | Generator winter weekly reserve target
20 | Penalty rates for sub-annual capacity
21 | Indemnification between aggregated parties
22 | Locational aggregation rules
23 | Penalty rate/Max penalty
24 | Timing for credits, penalty charges, deficiency charges
25 | Credit requirements
26 | Proportion of capacity revenue for each resource ( for aggregated resources)
27 | Winter deliverability constraint
28 | Capacity interconnection rights calculation for seasonal resources through the interconnection process
29 | Coupled offer structure
Seasonal or Sub-annual Products or Offers
1 | Capacity market products / offers |  | Single annual product (Capacity Performance) | Single annual product (Capacity Performance) plus seasonal capacity sell offers for those resource types listed in #9 below. Seasonal periods defined as: Summer-Period: Jun – Oct and following May, Winter-Period: November through April | Same as package A | Status quo, plus locational Winter Performance Equivalents (WIPEs) auction prior to BRA | Retain Base Capacity Product for 2020/2021 Delivery Year Only | Single annual Product
2 | Availability Requirements by Capacity Resource type |  | Generation Capacity Resources: June-May (entire delivery year); 24 hours/day Annual Demand Resources: Jun – Oct and following May: 10 AM – 10 PM Nov – April: 6 AM - 9 PM Annual Energy Efficiency Resources: Jun - Aug: HE 15:00 - 18:00 EPT Jan - Feb: HE 8:00 - 9:00 EPT and HE 19:00 - 20:00 | Status quo for Capacity Performance product (annual resources) plus: Summer-Period DR: Jun – Oct and following May, 10 AM - 10 PM; Summer-Period EE: Jun - Aug: HE 15:00 - 18:00 EPT; Intermittent, Capacity Storage, Environmentally Limited Resources Summer-Period: Jun – Oct and following May, Winter-Period: November through April | Same as package A | Same as Package A |  | Status Quo
3 | Annual DR limits (Amount) |  | None | Status quo | Status Quo | Status Quo | Staus Quo | Set to allow additional 0.01 LOLE over Oct - May
4 | Method of clearing constrained products |  | N/A for 2020/2021 | The auction solution algorithm ensures that total cleared summer-period sell offer quantity equals total cleared winter-period sell offer quantity (in UCAP) across the RTO. Only matched quantities of opposite seasonal sell offers within an LDA will be considered as contributing to that LDA's reliability requirement. To clear seasonal offers in a least-cost manner, the auction solution algorithm uses the effective average offer price of opposite season sell offers. | Status Quo | Status Quo |  | Clear minimum amount of unconstrained capacity, then remove constraints (original limited DR method).
5 | Capacity requirement (Amount) |  | RTO and LDA annual reliability requirement based on resource adequacy criteria | Status quo | RTO Summer Season Reliability Requirement based on LOLE 0.09 (approx. 500 MW higher than annual value based on LOLE 0.1); Winter Season Reliability Requirement based on LOLE 0.01 with allowance for greater planned and maintenance outages; analogous approaches for LDA seasonal requirements. | RTO Annual Reliability Requirement based on LOLE 0.09 (approx. 500 MW higher than annual value based on LOLE 0.1) As a pre/post auction, amount of WIPEs would be created based on PJM reliability analysis. . Eligible capacity providers seeking winter-only obligations would be permitted to sell additional WIPEs up to their UCAP amounts. |  | Set to allow 0.09 LOLE
6 | Capacity acquisition approach |  | Sloped capacity (VRR) demand curve | Status quo | Status quo; Net CONE and VRR curve shape used with seasonal Reliability Requirements. | No changes to BRA. WIPEs auctioned of fixed quantity or using a sloped price quantity curve |  | Status quo
7 | Resource adequacy criteria (LOLE) |  | 1-in-10 (0.1) LOLE criterion is based on annual risk. Summer and non-summer risks are a function of seasonal load profile and planned outages and do not have separate risk criteria (as established by Prism model) | Status quo | For summer-peaking LDAs, the same 90%/10% allocation of LOLE is used to determine annual reliability requirements and WIPE quantities. | Annual requirement determined based on LOLE 0.09, winter requirement to determine WIPE quantities based on LOLE 0.01. For summer-peaking LDAs, the same 90%/10% allocation of LOLE is used to determine annual reliability requirements and WIPE quantities. |  | See components 3 and 6
7a | Treatment of winter period planned outages
8 | Offer structure |  | Not applicable (No coupled offers. Only single product) | Intermittent, Capacity Storage, and Environmentally-Limited Resources may submit a sell offer for CP capacity and a separate sell offer for either summer-period capacity or winter-period capacity up to a total sell offer quantity for each season no greater than the UCAP capability/CIR value of the resource. Summer-only DR and summer-only EE may submit sell offers for summer-period capacity. -Each seasonal sell offer segment must be offered as flexible (min MW=0). | Resource offer quantities: Based upon Summer and Winter UCAP ratings. Resource offer prices: may specify different prices for Summer and Winter performance periods. Annual offers: specify a single price, clear if Annual offer price is less than or equal to sum of Summer clearing price plus Winter clearing price. ( Note: all offer and clearing prices expressed in $/MW-day but paid 365 days, so seasonal prices are additive). | No changes to BRA |  | Not applicable, single product. No opposition to also including aggregation.
9 | Eligible "Seasonal Resource" Types |  | Not a defined term in the PJM Tariff | Resources eligible to submit seasonal capacity sell offer Intermittent Resources, Capacity Storage Resources, Environmentally-Limited Resources, summer-only DR Resources and summer-only EE Resources | Not applicable; Participation in seasonal aspects of this proposal is open to all resources subject to market power mitigation. | Not applicable; Participation in seasonal aspects of this proposal is open to all resources subject to market power mitigation. |  | Not applicable, no opposition to including as part of aggregation proposal.
Existing Aggregate Resource Rules [section 5.6.1 (h) of Tariff Att. DD]
10 | Resource aggregation |  | Yes, allowed under a single RPM sub-account | Status quo | Status quo | Status quo | Status Quo | Not addressed by this package.
11 | Eligible resource types |  | Capacity Storage Resources, Intermittent Resources, Demand Resources, Energy Efficiency Resources, or Environmentally-Limited Resources | Status quo | Status quo | Status quo | Status Quo | Not addressed by this package.
12 | Capacity Market Seller rights and obligations |  | Capacity Mkt seller must allocate aggregate resource commitment quantity to the individual resources prior to start of delivery year with updates permitted no later than 12:00 pm EPT the day prior to the operating day. | Capacity Mkt seller must allocate aggregate resource commitment quantity to the individual resources for each month of the Delivery Year prior to start of delivery year with updates permitted no later than the last day of each month within the Delivery Year. Total committed quantity allocated to each individual resource cannot exceed CIRs of the individual resource | Same as Package A | Same as Package A |  | Not addressed by this package.
13 | Mechanism for creating Aggregate Resource |  | Currently accomplished through bilateral agreements | Status quo | Status quo | Status quo |  | Not addressed by this package.
14 | Administration |  | Individual resources must be in a single RPM account, which is the responsible Capacity Market Seller for the Aggregate Resource | Status quo | Status quo | Status quo |  | Not addressed by this package.
15 | Locational requirements |  | Resource types must be located in same modeled LDA | May be aggregated across LDAs with Aggregate Resource modeled in the smallest LDA common to all of the individual resources (Examples: an Aggregate Resource with individual resources located in the PSEG LDA and the MAAC LDA will be modeled in the MAAC LDA; an Aggregate Resource with individual resources located in the EMAAC LDA and SWMAAC LDA will be modeled in the MAAC LDA; an Aggregate Resource with individual resources located in COMED and EMAAC would be modeled in the Rest of RTO) | Same as Package A | Same as Package A |  | Not addressed by this package.
16 | Liability between aggregated parties |  | Same as Unit Specific Bilateral Transaction (Seller indemnifies Buyer) | Status quo | Status quo | Status quo |  | Not addressed by this package.
17 | Capacity market revenue allocation |  | Revenue allocated to single member RPM sub-account | Status quo | Status quo | Status quo |  | Not addressed by this package.
18 | RPM Credit requirement |  | Applicable to the extent any of the individual resources within the aggregation are Planned Resources | Status quo | Status quo | Status quo |  | Not addressed by this package.
19 | Penalty Allocation |  | Allocated to single member RPM sub-account | Status quo | Status quo | Status quo |  | Not addressed by this package.
20 | Timing of credits/charges |  | Same as standalone capacity resources | Status quo | Status quo | Status quo |  | Not addressed by this package.
21 | Non-performance Charge Rates |  | Based on net CONE of LDA | Based on net CONE of LDA in which the allocated amount for each underlying resource comprising the Aggregate Resource is located | Same as Package A | Same as Package A | RTO Base Capacity Penalty Rate = $102,315/20 Summer PAH = $5116/MWh | Not addressed by this package.
22 | Max Non-performance Charges (Stop-Loss) |  | Based on net CONE of LDA | Based on the non-performance charge rate associated with the common LDA in which the Aggregate Resource was modeled in the RPM auction | Same as Package A | Same as Package A | Stop Loss = 1.5 * $102,315 = $153,473 | Not addressed by this package.
Other RPM Design Features Related to Seasonal Resources
23 | Demand Response Measurement and Verification |  | FSL for summer periods; CBL for non-summer periods | FSL for summer; Non-summer M&V based on modified FSL approach to be more consistent with summer FSL approach | Same as Package A | Same as Package A |  | FSL year round.
24 | Required performance for Demand Registrations |  | For LDA or Zonal based events, the Resource is required to perform at committed levels. For sub-zonal events, all registrations in the sub zone are required to perform at registered amount. | Status quo |  | Status quo |  | Status Quo
25 | Application of balancing ratio [to seasonal resources] for the purposes of determining Expected Performance |  | For the purposes of determining Expected Performance, the Balancing Ratio is applied to Generation Capacity Resources and Capacity Storage Resources. It is not applied to Demand Resources and Energy Efficiency Resources. See OATT, Attachment DD, Section10A(c) for more detail | Status quo |  | Status quo |  | Not addressed by this package.
26 | Winter deliverability (wind) Note: does every unit have the ability to run at its capacity value under all conditions? | [6 empty] | Not addressed by this package.
27 | Capacity Interconnection Rights (CIRs) |  | Synchronous generation: May request any value of CIRs up to the Maximum Facility Output (MFO). Intermittent Resources: Based on summer output (Jun-Aug; HE15:00-18:00) Wind: May request up to 13% Solar: May request up to 38% Customer may supply additional information for PJM evaluation which can be evaluated for additional capability (may not exceed MFO) All tests performed under peak summer conditions. | PJM to establish a one-year transitional approach (2020/2021 Delivery Year) for renewable and environmentally limited resources to request additional CIRs. PJM will study those resources requesting additional megawatts and will grant CIRs based on existing additional headroom on the system for the delivery year starting June 1, 2020 and ending May 31, 2021. CIRs will be awarded at no cost if the system capability exists. No upgrades will be associated with the CIRs that are granted. PJM would require that the resource demonstrate the capability of CIRs obtained for this transitional period through submission of operational test data to be recorded during the winter period of the 2020/2021 Delivery Year. This transitional mechanism will allow PJM and stakeholders to further discuss and develop a future process for establishing winter CIRs. | Ideally, PJM to establish summer and winter values. | Ideally, PJM to establish summer and winter values. |  | Not addressed by this package.
28 | Solution Implementation Timing |  | Implemented for 2017 BRA (2020/2021 Delivery Year) | Status Quo | May 2017 base residual auction for the 2020/21 delivery year. Possibly consider a Winter season floor price for one transitional year. | May 2017 base residual auction for the 2020/21 delivery year. Possibly consider a WIPE floor price for one transition year | Status Quo | Status Quo
29 | Cost Allocation |  | Total UCAP quantity procured for a given delivery year is allocated to each zone in proportion to each zone's share of the final forecasted PJM summer peak load for that delivery year. Zonal capacity prices based on weighted average of capacity prices applicable to the zone from all auctions conducted for that delivery year. | Status Quo | Status Quo or TBD | Status Quo or TBD | Status Quo | Status quo
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
| Proposal |  | Submitter
| A |  | PJM
| B |  | Jim Wilson
| C |  | Jim Wilson (WIPEs)
| D |  | Jeff Whitehead
| E |  | Tom Rutigliano

## 3a. Package Details
Seasonal Capacity Resources Senior Task Force (SCRSTF)
Seasonal Capacity Resources
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Seasonal Capacity Resources Senior Task Force (SCRSTF)
Seasonal Capacity Resources
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Date | Description | Process | Addressed? Y/N | Requestor
2016-03-28 | Overlap of intermittent resources capacity injection rights discussion at PC / winter deliverabilty analysis (CETO/CETL) | Education; Stakeholder process alignment |  | Mike Jacobs, UCS
2016-04-04 | Demand Response Winter M&V Examples: 1. Customer load shaped like system load (winter) 2. Illustrative industrial customer load that maintains level demand for an 8 hour workday but can curtail to 25% of normal peak. (winter) 3. Load that has winter peak demand equal to FSL, FSL at 25% of PLC. Assume that Summer capability is PLC minus PSL. | Education | Y, 4/23 meeting and 5/25 | Bruce Campbell, Energy Connect
2016-04-18 | Compare time allotted for DR aggregation, registration and offers in CP transition auctions with time allotted in prospective auctions | Education |  | Jason Barker, Exelon

## Revision History
Seasonal Capacity Resources Senior Task Force (SCRSTF)
Seasonal Capacity Resources
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3