## file_format
Registration | Account | Date | Type | UOM | Value
1620578 | 01234567 | 2016-05-29 15:01 | Minute_Load | KW | 4001
1620578 | 01234567 | 2016-05-29 15:02 | Minute_Load | KW | 4021
1620578 | 01234567 | 2016-05-29 15:03 | Minute_Load | KW | 4011
1620578 | 01234567 | 2016-05-29 15:04 | Minute_Load | KW | 4015
1620578 | 01234567 | 2016-05-29 15:05 | Minute_Load | KW | 4011
1620578 | 01234567 | 2016-05-29 15:06 | Minute_Load | KW | 4000
1620578 | 01234567 | 2016-05-29 15:07 | Minute_Load | KW | 4001
1620578 | 01234567 | 2016-05-29 15:08 | Minute_Load | KW | 4005
1620578 | 01234567 | 2016-05-29 15:09 | Minute_Load | KW | 4010
1620578 | 01234567 | 2016-05-29 15:10 | Minute_Load | KW | 4000
1620578 | 01234567 | 2016-05-29 15:11 | Minute_Load | KW | 3833
1620578 | 01234567 | 2016-05-29 15:12 | Minute_Load | KW | 2003
1620578 | 01234567 | 2016-05-29 15:13 | Minute_Load | KW | 1500
1620578 | 01234567 | 2016-05-29 15:14 | Minute_Load | KW | 1500
1620578 | 01234567 | 2016-05-29 15:15 | Minute_Load | KW | 1333
1620578 | 01234567 | 2016-05-29 15:16 | Minute_Load | KW | 1333
1620578 | 01234567 | 2016-05-29 15:17 | Minute_Load | KW | 1500
1620578 | 01234567 | 2016-05-29 15:18 | Minute_Load | KW | 1167
1620578 | 01234567 | 2016-05-29 15:19 | Minute_Load | KW | 667
1620578 | 01234567 | 2016-05-29 15:20 | Minute_Load | KW | 500
1620578 | 01234567 | 2016-05-29 15:21 | Minute_Load | KW | 667
1620578 | 01234567 | 2016-05-29 15:22 | Minute_Load | KW | 667
1620578 | 01234567 | 2016-05-29 15:23 | Minute_Load | KW | 670
1620578 | 01234567 | 2016-05-29 15:24 | Minute_Load | KW | 670
1620578 | 01234567 | 2016-05-29 15:25 | Minute_Load | KW | 670
1620578 | 01234567 | 2016-05-29 15:26 | Minute_Load | KW | 670
1620578 | 01234567 | 2016-05-29 15:27 | Minute_Load | KW | 500
1620578 | 01234567 | 2016-05-29 15:28 | Minute_Load | KW | 700
1620578 | 01234567 | 2016-05-29 15:29 | Minute_Load | KW | 710
1620578 | 01234567 | 2016-05-29 15:30 | Minute_Load | KW | 690
1620578 | 01234567 | 2016-05-29 15:31 | Minute_Load | KW | 700
1620578 | 01234567 | 2016-05-29 15:32 | Minute_Load | KW | 710
1620578 | 01234567 | 2016-05-29 15:33 | Minute_Load | KW | 670
1620578 | 01234567 | 2016-05-29 15:34 | Minute_Load | KW | 680
1620578 | 01234567 | 2016-05-29 15:35 | Minute_Load | KW | 670
1620578 | 01234567 | 2016-05-29 15:36 | Minute_Load | KW | 590
1620578 | 01234567 | 2016-05-29 15:37 | Minute_Load | KW | 600
1620578 | 01234567 | 2016-05-29 15:38 | Minute_Load | KW | 610
1620578 | 01234567 | 2016-05-29 15:39 | Minute_Load | KW | 580
1620578 | 01234567 | 2016-05-29 15:40 | Minute_Load | KW | 610
1620578 | 01234567 | 2016-05-29 15:41 | Minute_Load | KW | 780
1620578 | 01234567 | 2016-05-29 15:42 | Minute_Load | KW | 1500
1620578 | 01234567 | 2016-05-29 15:43 | Minute_Load | KW | 2333
1620578 | 01234567 | 2016-05-29 15:44 | Minute_Load | KW | 3856
1620578 | 01234567 | 2016-05-29 15:45 | Minute_Load | KW | 4001
1620578 | 01234567 | 2016-05-29 15:46 | Minute_Load | KW | 4005
1620578 | 01234567 | 2016-05-29 15:47 | Minute_Load | KW | 4011
1620578 | 01234567 | 2016-05-29 15:48 | Minute_Load | KW | 4012
1620578 | 01234567 | 2016-05-29 15:49 | Minute_Load | KW | 4011
1620578 | 01234567 | 2016-05-29 15:50 | Minute_Load | KW | 4001
Formulas:
Date = [Date, row above]+TIME(0,1,0)

## Instructions
General Notes for the File Format:
1 | SR and DASR 1 minute consumption information must be uploaded into DRHUB as INTERVAL.
2 | Please note that formats for the data in the Account column is "TEXT", and Date column is "CUSTOM" (mm/dd/yyyy hh:mm). For all other columns and the Header the "GENERAL" format is acceptable.
3 | Please note that Date is in minutes, and must be Eastern Prevailing Time.
4 | Starting in row 3 (on down) please use supplied calculation in Date column to prevent datetime errors.
5 | Please upload at least 10 contiguous minutes both before and after the event period (in this example the event is from 15:11 thru 15:40) and the event period
6 | Load data must be uploaded before end of 2nd business day (if event is on Tuesday then data must be uploaded by end of day on Thursday)
Colum Headers Definition:
Registration | The registration number generated by DRHUB.
Account | EDC account number assigned to the location on the registration.
Date | Datetime of electricity consumption.
Type | Type of meter data. Must be "Minute_Load".
UOM | Units of Measurement for meter data. Must be "KW".
HE1-HE25 | Meter value of the intervals.
IMPORTANT: | Meter Data files must be in .csv format or they will not upload successfully into DRHUB.
Conversion to .CSV:
1 | Select "file_format" tab.
2 | Click "File" and then click "Save As".
3 | Choose "Save as type:" - and select the type "CSV (Comma delimited) (*.csv)" from dropdown.
4 | Click "File" and then click "Close".
5 | Excel dialog box will ask if you want to save changes - click "YES".
6 | Excel dialog box will *again* ask if you want to save changes - click "Save".
7 | Excel dialog box will point out that there may be incompatible features and ask if you want to keep the format - click "Yes"
8 | At this point the Excel book ought close.
9 | In your destination directory there will be a .CSV file with the name you assigned to it.
10 | This .csv file is ready for upload into DRHUB.
Note: | If you wish to view the contents of the .csv file, it is recommended that you
open the file with notepad since opening it in Excel will cause any leading 0 's in the Account number to vanish.