## PJM Buy Bids-Sell Offers
Configuration of 3rd Incremental Auction for 2015/2016 Delivery Year
PJM Buy Bids & Sell Offers |  |  | Updated on 2/23/15
#4349511
In Docket No. ER15-738-000, PJM filed with the FERC a request for a one-time waiver of the provisions that would require PJM to offer to release previously committed capacity in the 3rd IA for the 2015/2016 Delivery Year. The Commission granted the waiver on 2/20/2015 with an effective date of 2/23/2015. The “Revised PJM Buy Bid” column of the table below reflects PJM’s participation in the 3rd IA with the accepted waiver in place.
Price Points for PJM Buy Bids and PJM Sell Offers ***
Location | Change in Reliability Requirement (MW) | Short-Term Resource Procurement Target Applicable Share (MW) | Uncleared PJM Buy Bids from Prior IA | Additional Buy Bids * | PJM Buy Bid (MW) | Revised PJM Buy Bid (MW) ** | Capacity Type | Point 1 x-axis (MW) | Point 1 y-axis ($/MW-Day) | Point 2 x-axis (MW) | Point 2 y-axis ($/MW-Day) | Point 3 x-axis (MW) | Point 3 y-axis ($/MW-Day) | Point 4 x-axis (MW) | Point 4 y-axis ($/MW-Day)
RTO (Rest of) | -3243.7 | 1229.9814 | 584.9 | 234.2 | -1194.6 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA
MAAC (Rest of) | -196 | 222.7271 | 63.2 | 29.8 | 119.7 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA
EMAAC (Rest of) | -620 | 329.6813 | 0 | 28.1 | -262.2 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA
SWMAAC (Rest of) | -215 | 118.8725 | 0 | 7 | -89.1 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA
PS (Rest of) | -246 | 90.0714 | 39 | 11.8 | -105.1 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA
PS NORTH | -85 | 82.9762 | 0 | 4 | 2 | 2 | Limited | 0 | 136.5 | 2 | 134.23 | -- | -- | -- | --
DPL SOUTH | -80 | 39.3804 | 0 | 0 | -40.6 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA
PEPCO | -345 | 111.6241 | 0 | 6.2 | -227.2 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA
ATSI | -136 | 216.3257 | -135.9 | 0 | -55.6 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA
TOTAL | -5166.7 | 2441.64 | 551.2 | 321.1 | -1852.7 | 2
* Additional Buy Bids to account for Non-Viable DR commitments related to DR Operational Resource Flexibility Transition Provision.
** PJM participation in the 2015/16 3rd IA is restricted to only procurement of additional capacity, if needed, in the case where the original PJM Buy Bid quantity across an entire LDA is a positive value. The PS NORTH LDA is the only LDA where the original PJM Buy Bid quantity is positive across the entire LDA.
*** The price of a PJM buy bid is based on the Updated VRR Curve Increment which is the portion of the Updated VRR Curve remaining beyond the point representing all capacity already procured in prior auctions for the Delivery Year. The price of a PJM Sell Offer is based on the Updated VRR Curve Decrement which is the portion of the Updated VRR Curve to the left of the point representing all capacity already procured in prior auctions for the Delivery Year.

## Non-Viable DR
2015/2016 Non-Viable DR Commitments Related to DR Operational Resource Flexibility Transition Provision
Zone/Sub Zone | Extended Summer | Limited DR
AE | 3.5
AEP |  | 26.5
APS | 107.2 | 14.6
COMED |  | 32.8
BGE | 7
DAYTON |  | 3.6
DEOK |  | 2.5
DLCO | 27 | 2
DOM |  | 18
DPL | 2.4
DPLSOUTH
JCPL | 9 | 0
METED | 4.4 | 1.9
PECO | 13.2
PENELEC | 11.8
PEPCO | 5.6 | 0.6
PPL | 9.5 | 2.2
PS | 8.7 | 3.1
PSNORTH | 4
Total | 213.3 | 107.8
Rest of LDA | Extended Summer | Limited DR | Cumulative-Extended Summer | Cumulative-Limited DR | Total-Rest of LDA | Total-Cumulative
RTO | 134.2 | 100 | 213.3 | 107.8 | 234.2 | 321.1
MAAC | 25.7 | 4.1 | 79.1 | 7.8 | 29.8 | 86.9
EMAAC | 28.1 | 0 | 40.8 | 3.1 | 28.1 | 43.9
SWMAAC | 7 | 0 | 12.6 | 0.6 | 7 | 13.2
PS | 8.7 | 3.1 | 12.7 | 3.1 | 11.8 | 15.8
PSNORTH | 4 | 0 | 4 | 0 | 4 | 4
DPLSOUTH | 0 | 0 | 0 | 0 | 0 | 0
PEPCO | 5.6 | 0.6 | 5.6 | 0.6 | 6.2 | 6.2
ATSI | 0 | 0 | 0 | 0 | 0 | 0

## 3rd IA Configuration
2015-2016 RPM 3rd Incremental Auction Configuration
LDA
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI
Change in Reliability Requirement * | -5166.7 | -1787 | -1031 | -560 | -331 | -85 | -80 | -345 | -136
Short-Term Resource Procurement Target Applicable Share | 2441.64 | 995.3329 | 542.1092 | 230.4966 | 173.0475 | 82.9762 | 39.3804 | 111.6241 | 216.3257
Change in CETL | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Import Limit Margin ** | NA | 0 | 1609.6 | 2439.2 | 0 | 297.1 | 315.5 | 2964.4 | 0
* As per Section 5.4.(c) of the PJM OATT, the reliability requirement for the RTO and each LDA will be updated since the change in reliability requirement for the RTO and each LDA or
parent of the LDA exceeds the lesser of the 500 MW or 1% threshold.
** Capacity Import Limit Margin indicates the capacity import capability remaining into the LDA.

## 3rd IA Parameters
2015-2016 Third Incremental Auction Planning Parameters
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.6% | 1. Load data: from 2015 Load Report with EKPC and Non-Zone Load.
Pool-Wide Average EFORd | 5.6% | 2. No delays in backbone transmission upgrades; no changes in CETL values.
Forecast Pool Requirement (FPR) | 1.0913
Demand Resource (DR) Factor | 0.951
Updated Forecast Peak Load | 155823.3
Short-Term Resource Procurement Target | 0 * BRA STRPT
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI
CETO | NA | -1160 | 4100 | 3480 | 5660 | 2690 | 1320 | 2670 | 4040
CETL | NA | 6156 | 9177 | 8373 | 6220 | 2972 | 1822 | 6522 | 5417.8
Reliability Requirement | 170050 | 67692 | 37243 | 16058 | 12195 | 6272 | 3065 | 8336 | 15649
Total Peak Load of FRR Entities | 14890.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 16249.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 153800.2 | 67692 | 37243 | 16058 | 12195 | 6272 | 3065 | 8336 | 15649
Short-Term Resource Procurement Target | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net CONE, $/MW-Day (UCAP Price) | 310.0485 | 264.7278 | 307.1281 | 264.7278 | 307.1281 | 307.1281 | 307.1281 | 264.7278 | 337.3585
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 465.07 | 397.09 | 460.69 | 397.09 | 460.69 | 460.69 | 460.69 | 397.09 | 506.04
Point (b) UCAP Price, $/MW-Day | 310.05 | 264.73 | 307.13 | 264.73 | 307.13 | 307.13 | 307.13 | 264.73 | 337.36
Point (c) UCAP Price, $/MW-Day | 62.01 | 52.95 | 61.43 | 52.95 | 61.43 | 61.43 | 61.43 | 52.95 | 67.47
Point (a) UCAP Level, MW | 149808.8 | 65935.3 | 36276.5 | 15641.3 | 11878.5 | 6109.2 | 2985.5 | 8119.7 | 15242.9
Point (b) UCAP Level, MW | 155130.7 | 68277.6 | 37565.2 | 16196.9 | 12300.5 | 6326.3 | 3091.5 | 8408.1 | 15784.4
Point (c) UCAP Level, MW | 160452.5 | 70619.9 | 38853.9 | 16752.6 | 12722.5 | 6543.3 | 3197.6 | 8696.6 | 16325.9
Participant-Funded ICTRs Awarded | NA | 159 | NA | NA | NA | NA | NA | NA | NA
Min Ext Summer Resource Req'ment, MW | 146633.3 | 57914.8 | 26055 | 6722 | 5264.2 | 2955.3 | 1100.3 | 1382.4 | 9556.8
Min Annual Resource Req'ment, MW | 140343.9 | 54115.4 | 21935.6 | 5786.5 | 3863.2 | 2295.8 | 955.3 | 406.3 | 8895.6
FRR Load Requirements:
Min % Internal Resource Req'ment | NA | NA | NA | NA | NA | NA | NA | NA | NA
Min % Ext Summer Resource Req'ment | 95.34% | NA | NA | NA | NA | NA | NA | NA | NA
Min % Annual Resource Req'ment | 91.25% | NA | NA | NA | NA | NA | NA | NA | NA

## 2nd IA Parameters
2015-2016 Second Incremental Auction Planning Parameters
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.7% | 1. Load data: from 2014 Load Report with EKPC and Non-Zone Load.
Pool-Wide Average EFORd | 5.62% | 2. No delays in backbone transmission upgrades; no changes in CETL values.
Forecast Pool Requirement (FPR) | 1.092
Demand Resource (DR) Factor | 0.954
Updated Forecast Peak Load | 160538.2
Short-Term Resource Procurement Target | 0.6 * BRA STRPT
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI
CETO | NA | 2080 | 5740 | 4720 | 6030 | 2780 | 1400 | 3020 | 3980
CETL | NA | 6156 | 9177 | 8373 | 6220 | 2972 | 1822 | 6522 | 5417.8
Reliability Requirement | 175307.7 | 69479 | 38274 | 16618 | 12526 | 6357 | 3145 | 8681 | 15785
Total Peak Load of FRR Entities | 14964.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 16340.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 158966.9 | 69479 | 38274 | 16618 | 12526 | 6357 | 3145 | 8681 | 15785
Short-Term Resource Procurement Target | 2441.64 | 995.3329 | 542.1092 | 230.4966 | 173.0475 | 82.9762 | 39.3804 | 111.6241 | 216.3257
Net CONE, $/MW-Day (UCAP Price) | 310.1142 | 264.7839 | 307.1932 | 264.7839 | 307.1932 | 307.1932 | 307.1932 | 264.7839 | 337.43
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 465.17 | 397.18 | 460.79 | 397.18 | 460.79 | 460.79 | 460.79 | 397.18 | 506.14
Point (b) UCAP Price, $/MW-Day | 310.11 | 264.78 | 307.19 | 264.78 | 307.19 | 307.19 | 307.19 | 264.78 | 337.43
Point (c) UCAP Price, $/MW-Day | 62.02 | 52.96 | 61.44 | 52.96 | 61.44 | 61.44 | 61.44 | 52.96 | 67.49
Point (a) UCAP Level, MW | 152403.4 | 66682.1 | 36739.5 | 15956.6 | 12028.2 | 6109.2 | 3024.1 | 8344.3 | 15159.4
Point (b) UCAP Level, MW | 157899.2 | 69084.2 | 38062.7 | 16531.1 | 12461.2 | 6329 | 3132.8 | 8644.4 | 15705.1
Point (c) UCAP Level, MW | 163395 | 71486.2 | 39385.9 | 17105.7 | 12894.3 | 6548.7 | 3241.5 | 8944.5 | 16250.8
Participant-Funded ICTRs Awarded | NA | 159 | NA | NA | NA | NA | NA | NA | NA
Min Ext Summer Resource Req'ment, MW | 146633.3 | 57914.8 | 26055 | 6722 | 5264.2 | 2955.3 | 1100.3 | 1382.4 | 9556.8
Min Annual Resource Req'ment, MW | 140343.9 | 54115.4 | 21935.6 | 5786.5 | 3863.2 | 2295.8 | 955.3 | 406.3 | 8895.6
FRR Load Requirements:
Min % Internal Resource Req'ment | NA | NA | NA | NA | NA | NA | NA | NA | NA
Min % Ext Summer Resource Req'ment | 95.34% | NA | NA | NA | NA | NA | NA | NA | NA
Min % Annual Resource Req'ment | 91.25% | NA | NA | NA | NA | NA | NA | NA | NA

## 1st IA Parameters
2015-2016 First Incremental Auction Planning Parameters
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.3% | 1. Load data: from 2013 Load Report without EKPC.
Pool-Wide Average EFORd | 5.91% | 2. No delays in backbone transmission upgrades; no changes in CETL values.
Forecast Pool Requirement (FPR) | 1.0849
Demand Resource (DR) Factor | 0.958
Updated Forecast Peak Load | 160325
Short-Term Resource Procurement Target | 0.8 * BRA STRPT
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI
CETO | NA | 340 | 4770 | 4320 | 6080 | 2700 | 1530 | 2640 | 4300
CETL | NA | 6156 | 9177 | 8373 | 6220 | 2972 | 1822 | 6522 | 5417.8
Reliability Requirement | 173936.6 | 70348 | 38730 | 17020 | 12549 | 6389 | 3109 | 8921 | 16100
Total Peak Load of FRR Entities | 12967.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 14068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 159868.6 | 70348 | 38730 | 17020 | 12549 | 6389 | 3109 | 8921 | 16100
Short-Term Resource Procurement Target | 3255.52 | 1327.1105 | 722.8123 | 307.3288 | 230.7301 | 110.6349 | 52.5072 | 148.8322 | 288.4343
Net CONE, $/MW-Day (UCAP Price) | 311.07 | 265.6 | 308.14 | 265.6 | 308.14 | 308.14 | 308.14 | 265.6 | 338.47
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 466.61 | 398.4 | 462.21 | 398.4 | 462.21 | 462.21 | 462.21 | 398.4 | 507.71
Point (b) UCAP Price, $/MW-Day | 311.07 | 265.6 | 308.14 | 265.6 | 308.14 | 308.14 | 308.14 | 265.6 | 338.47
Point (c) UCAP Price, $/MW-Day | 62.21 | 53.12 | 61.63 | 53.12 | 61.63 | 61.63 | 61.63 | 53.12 | 67.69
Point (a) UCAP Level, MW | 152453.4 | 67190.5 | 36999.5 | 16269.8 | 11991.8 | 6112.1 | 2975.6 | 8540.1 | 15392.7
Point (b) UCAP Level, MW | 157999.6 | 69631 | 38343.1 | 16860.3 | 12427.1 | 6333.8 | 3083.5 | 8849.5 | 15951.2
Point (c) UCAP Level, MW | 163545.8 | 72071.5 | 39686.7 | 17450.7 | 12862.5 | 6555.4 | 3191.3 | 9159 | 16509.7
Participant-Funded ICTRs Awarded | NA | 159 | NA | NA | NA | NA | NA | NA | NA
Min Ext Summer Resource Req'ment, MW | 146633.3 | 57914.8 | 26055 | 6722 | 5264.2 | 2955.3 | 1100.3 | 1382.4 | 9556.8
Min Annual Resource Req'ment, MW | 140343.9 | 54115.4 | 21935.6 | 5786.5 | 3863.2 | 2295.8 | 955.3 | 406.3 | 8895.6
FRR Load Requirements:
Min % Internal Resource Req'ment | NA | NA | NA | NA | NA | NA | NA | NA | NA
Min % Ext Summer Resource Req'ment | 95.34% | NA | NA | NA | NA | NA | NA | NA | NA
Min % Annual Resource Req'ment | 91.25% | NA | NA | NA | NA | NA | NA | NA | NA

## 1st Net CONE
RPM CONE and E&AS Values for 2015/2016 - CONE Values Updated for Incremental Auctions
BRA Gross CONE Values are replaced by the Settlement values filed on November 21, 2012 in Docket ER-12-513-000 and approved by FERC on January 31, 2013.
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price/(1 - Pool-Wide Average EFORd)
Pool-Wide Average EFORd for 2015/2016 1st IA | 5.91%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, ComEd, Dayton, DEOK, Duquesne (DLCo) |  |  | 0
CONE Area 4: MetEd, Penelec, PPL
CONE Area 5: Dominion
MAAC CONE used is the lowest of the three CONE Areas 1, 2, and 4.
| CONE Area 1 | CONE Area 2 | CONE Area 3 | CONE Area 4 | CONE Area 5 | MAAC: Used Area 2 CONE | RTO
Benchmark CONE (2015/2016 BRA Value): Levelized Revenue Requirement, $/MW-Year | 140000 | 130600 | 127500 | 134500 | 114500 | 130600 | 128000
12 Months Handy Whitman Index (Not Applicable for 2015/2016) | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Region basis for the Handy Whitman Index | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
2015/2016 BRA CONE, escalated by Handy Whitman Index, $/MW-Year | 140000 | 130600 | 127500 | 134500 | 114500 | 130600 | 128000
2015/2016 BRA CONE, escalated by Handy Whitman Index, $/MW-Day | 382.5137 | 356.8306 | 348.3607 | 367.4863 | 312.8415 | 356.8306 | 349.7268
Historic (2009-2011) Net Energy Revenue Offset, $/MW-Year for the Zone in the CONE Area Specified | 31686 | 36937 | 8741 | 27734 | 30173 | 36937 | 18678
Zonal LMP used for Net Energy Offset Calculation | AE Zonal LMP | BGE Zonal LMP | ComEd Zonal LMP | MetEd Zonal LMP | Dominion Zonal LMP | BGE Zonal LMP | PJM Average LMP
Ancillary Services Offset, $/MW-Year per Tariff | 2199 | 2199 | 2199 | 2199 | 2199 | 2199 | 2199
Net CONE, $/MW-Day, ICAP Price | 289.9317 | 249.9016 | 318.4699 | 285.7022 | 224.3934 | 249.9016 | 292.6858
Net CONE, $/MW-Day, UCAP Price | 308.14 | 265.6 | 338.47 | 303.65 | 238.49 | 265.6 | 311.07

## BRA Parameters
2015-2016 RPM Base Residual Auction Planning Parameters | [5 empty] | 2012-04-17 | 680092-v5
See note below on 4-17-12 update.
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.4% | 1. Load data: from 2012 Load Report.
Pool-Wide Average EFORd | 5.9% | 2. See "Net CONE" worksheet for Net CONE calculations.
Forecast Pool Requirement (FPR) | 1.0859 | 3. Fixed Resource Requrement (FRR) load still in 5-year commitment period is included.
Demand Resource (DR) Factor | 0.955 | 4-6-12 update includes (changes in input data are shown in red):
Preliminary Forecast Peak Load | 163168 | Additional FRR load elected by FRR entities on 3-7-12.
Short-Term Resource Procurement Target | 2.5% | Changes in CETO/CETL/Reliability Requirements in LDAs.
Pre-Clearing BRA Credit Rate, $/MW | 35205.17 | Changes in Min Annual Resource and Min Extended Resource Requirements.
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI
CETO | NA | 100 | 3860 | 4720 | 4600 | 2240 | 1510 | 3380 | 5280
CETL | NA | 6156 | 9177 | 8373 | 6220 | 2972 | 1822 | 6522 | 5417.8
Reliability Requirement | 177184.1 | 71623 | 39370 | 17238 | 12824 | 6462 | 3062 | 8973 | 16201
Total Peak Load of FRR Entities | 13267.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 14406.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 162777.4 | 71623 | 39370 | 17238 | 12824 | 6462 | 3062 | 8973 | 16201
Short-Term Resource Procurement Target | 4069.4 | 1658.8881 | 903.5154 | 384.161 | 288.4126 | 138.2936 | 65.634 | 186.0402 | 360.5429
Net CONE, $/MW-Day (UCAP Price) | 320.63 | 267.61 | 313.84 | 267.61 | 313.84 | 313.84 | 313.84 | 267.61 | 358.22
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 480.95 | 401.42 | 470.76 | 401.42 | 470.76 | 470.76 | 470.76 | 401.42 | 537.33
Point (b) UCAP Price, $/MW-Day | 320.63 | 267.61 | 313.84 | 267.61 | 313.84 | 313.84 | 313.84 | 267.61 | 358.22
Point (c) UCAP Price, $/MW-Day | 64.13 | 53.52 | 62.77 | 53.52 | 62.77 | 62.77 | 62.77 | 53.52 | 71.64
Point (a) UCAP Level, MW | 154476.4 | 68102.2 | 37443 | 16405.7 | 12202.2 | 6155.7 | 2916.8 | 8553.7 | 15419.3
Point (b) UCAP Level, MW | 160118.5 | 70584.8 | 38807.6 | 17003.2 | 12646.7 | 6379.7 | 3022.9 | 8864.7 | 15980.8
Point (c) UCAP Level, MW | 165760.7 | 73067.4 | 40172.3 | 17600.7 | 13091.2 | 6603.7 | 3129 | 9175.7 | 16542.4
Participant-Funded ICTRs Awarded | NA | 159 | NA | NA | NA | NA | NA | NA | NA
Min Ext Summer Resource Req'ment, MW | 146633.3 | 57914.8 | 26055 | 6722 | 5264.2 | 2955.3 | 1100.3 | 1382.4 | 9556.8
Min Annual Resource Req'ment, MW | 140343.9 | 54115.4 | 21935.6 | 5786.5 | 3863.2 | 2295.8 | 955.3 | 406.3 | 8895.6
FRR Load Requirements:
Min % Internal Resource Req'ment | NA | 98.7% | 83.5% | 57.7% | 57.2% | 63.1% | 47.2% | 32.9% | 74.8%
Min % Ext Summer Resource Req'ment | 95.34% | NA | NA | NA | NA | NA | NA | NA | NA
Min % Annual Resource Req'ment | 91.25% | NA | NA | NA | NA | NA | NA | NA | NA
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and Zonal Short-Term Resource Procurement Target.
* (Asterisk) – LDA has adequate internal resources to meet the reliability criterion.
DPL and PS Zonal peak loads and Short-Term Resource Procurement Targets include the corresponding DPL SOUTH and PS NORTH values.
LDA/Zone | CETO | CETL (Changes shown in red) | CETL to CETO Ratio | 2011 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | Short-Term Resource Procurement Target | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load**
RTO | NA | NA | NA | 151995 | 163168 | NA | 4069.4 | 13267.1 | 149900.9
AE | 760 | > 874.0 | > 115% | 2520 | 2735 | 1.0853 | 74.2478 | 0 | 2735
AEP | 580 | > 667.0 | > 115% | 22460 | 23991 | 1.0682 | 315.6223 | 12364.7 | 11626.3
APS | 840 | > 966.0 | > 115% | 8210 | 8753 | 1.0661 | 237.62 | 0 | 8753
ATSI | 5280 | 5417.8 | 102.6% | 12620 | 13281 | 1.0524 | 360.5429 | 0 | 13281
BGE | 3630 | > 4174.5 | > 115% | 6960 | 7298 | 1.0486 | 198.1208 | 0 | 7298
COMED | 1740 | > 2001.0 | > 115% | 21480 | 23563 | 1.097 | 639.6711 | 0 | 23563
DAYTON | 440 | > 506.0 | > 115% | 3180 | 3498 | 1.1 | 94.9611 | 0 | 3498
DEOK | 2840 | > 3266.0 | > 115% | 5250 | 5665 | 1.079 | 129.2916 | 902.4 | 4762.6
DLCO | 1370 | > 1575.5 | > 115% | 2800 | 2969 | 1.0604 | 80.6002 | 0 | 2969
DOM | * | * | NA | 18530 | 20341 | 1.0977 | 552.2026 | 0 | 20341
DPL | 1230 | > 1414.5 | > 115% | 3920 | 4175 | 1.0651 | 113.3398 | 0 | 4175
DPL SOUTH | 1510 | 1822 | 120.7% | NA | 2417.7 | NA | 65.634 | 0 | 2417.7
JCPL | 3530 | > 4059.5 | > 115% | 5960 | 6349 | 1.0653 | 172.358 | 0 | 6349
METED | 1070 | > 1230.5 | > 115% | 2800 | 3061 | 1.0932 | 83.0978 | 0 | 3061
PECO | 2490 | > 2863.5 | > 115% | 8370 | 8977 | 1.0725 | 243.701 | 0 | 8977
PENLC | 880 | > 1012.0 | > 115% | 2720 | 3029 | 1.1136 | 82.2291 | 0 | 3029
PEPCO | 3380 | 6522 | 193% | 6600 | 6853 | 1.0383 | 186.0402 | 0 | 6853
PL (incl. UGI) | 500 | > 575.0 | > 115% | 7065 | 7584 | 1.0735 | 205.8849 | 0 | 7584
PS | 4600 | 6220 | 135.2% | 10150 | 10624 | 1.0467 | 288.4126 | 0 | 10624
PS NORTH | 2240 | 2972 | 132.7% | NA | 5094.2 | NA | 138.2936 | 0 | 5094.2
RECO | NA | NA | NA | 400 | 422 | 1.055 | 11.4561 | 0 | 422
EMAAC | 3860 | 9177 | 237.7% | NA | 33282 | NA | 903.5154 | 0 | ** Used to allocate Short-Term Resource Procurement Target to Zones.
SWMAAC | 4720 | 8373 | 177.4% | NA | 14151 | NA | 384.161 | 0
Western MAAC | * | * | NA | NA | 13674 | NA | 371.2118 | 0
MAAC | 100 | 6156 | 6156% | NA | 61107 | NA | 1658.8881 | 0
Western PJM | 4440 | > 5106.0 | > 115% | NA | 81720 | NA | 1858.3093 | 13267.1
Limiting conditions at the CETL for modeled LDAs:
LDA | Limiting Facility
MAAC | Loudoun - Brambleton 500 kV line.
EMAAC | Peach Bottom - Limerick 500 kV line.
SWMAAC | Voltage drop at Brighton 500 kV.
PS | Cedar Grove F - Clifton K 230 kV line.
PSNORTH | Cedar Grove F - Clifton K 230 kV line.
DPLSOUTH | Wye Mill - Long Wood 69 kV line.
PEPCO | Voltage drop at Brighton 500 kV.
ATSI | South Canton 765/345 kV transformer.
4-17-12 Update: SWMAAC and PEPCO CETL values and limiting facility were updated based on corrected rating on Pleasant View - Edwards Ferry 230 kV line.

## Updated Min Res Req'ments
Updated 2015/2016 Minimum Resource Requirements
Forecast Pool Requirement | 1.0913
Demand Resource Factor | 0.951
Quantities are in Unforced Capacity Megawatts | PJM Region | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI
Reliability Requirement adjusted for FRR | 153800.2 | 67692 | 37243 | 16058 | 12195 | 6272 | 3065 | 8336 | 15649
CETL | NA | 6156 | 9177 | 8373 | 6220 | 2972 | 1822 | 6522 | 5417.8
Updated Peak Load Forecast | 155823.3 | 57201 | 31254 | 13256 | 9926 | 4814.1 | 2329.9 | 6398 | 12742
FRR Peak Load | 14890.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peak Load Forecast adjusted for FRR | 140933 | 57201 | 31254 | 13256 | 9926 | 4814.1 | 2329.9 | 6398 | 12742
Limited Demand Resource Reliability Target
Percent of Updated Peak Load Forecast | 4.9% | 6.1% | 6.2% | 7% | 6.9% | 6.9% | 5.9% | 6.5% | 5.1%
Unforced Capacity, MW | 7166.9347 | 3621.2468 | 2011.0458 | 963.0198 | 710.801 | 344.7378 | 142.6639 | 431.6008 | 674.4231
Extended Summer Demand Resource Reliability Target
Percent of Updated Peak Load Forecast | 9.2% | 12.5% | 18.9% | 13.8% | 20.5% | 20.1% | 11.9% | 21.2% | 10.1%
Unforced Capacity, MW | 13456.2856 | 7420.5878 | 6130.4462 | 1898.5247 | 2111.8001 | 1004.2361 | 287.7457 | 1407.6827 | 1335.6223
Minimum Resource Requirements for RPM, MW
Minimum Extended Summer Resource Requirement | 146633.3 | 57914.8 | 26055 | 6722 | 5264.2 | 2955.3 | 1100.3 | 1382.4 | 9556.8
Minimum Annual Resource Requirement | 140343.9 | 54115.4 | 21935.6 | 5786.5 | 3863.2 | 2295.8 | 955.3 | 406.3 | 8895.6
Minimum Resource Requirements for FRR (% Obligation)
Minimum Extended Summer Resource Requirement | 95.34% | NA | NA | NA | NA | NA | NA | NA | NA
Minimum Annual Resource Requirement | 91.25% | NA | NA | NA | NA | NA | NA | NA | NA
Previously Committed Capacity (Cleared in BRA, 1st IA. 2nd IA) * | PJM Region | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI
Limited Resources | 7814.6 | 3392 | 1142.2 | 1173.1 | 285.2 | 108.2 | 56.6 | 411 | 237.5
Extended Summer Resources | 3016.9 | 1376.4 | 548.6 | 379.6 | 194.4 | 59.3 | 0 | 280.9 | 521.7
Annual Resources | 150679.5 | 59357.3 | 29626.3 | 9365 | 6004.4 | 3634.6 | 1638.1 | 4562 | 9772.5
Extended Summer Resources + Annual Resources | 153696.4 | 60733.7 | 30174.9 | 9744.6 | 6198.8 | 3693.9 | 1638.1 | 4842.9 | 10294.2
Total Resources | 161511 | 64125.7 | 31317.1 | 10917.7 | 6484 | 3802.1 | 1694.7 | 5253.9 | 10531.7
* Reduced by Non-Viable DR commitments related to DR Operational Resource Flexibility Transition Provision.

## Credit Rate
2015-2016 Pre-Clearing Third Incremental Auction Credit Rates
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI
Net CONE, $/MW-Day (UCAP Price) | 310.0485
Limited Resources
BRA Limited Resource Clearing Price, $/MW-Day | 118.54 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 304.62
Pre-Clearing 3rd IA Credit Rate (LMT), $/MW | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229
Extended Summer Resources
BRA Ext Summer Resource Clearing Price, $/MW-Day | 136 | 167.46 | 0 | 167.46 | 167.46 | 167.46 | 167.46 | 167.46 | 322.08
Pre-Clearing 3rd IA Credit Rate (ES), $/MW | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229
Annual Resources
BRA Annual Resource Clearing Price, $/MW-Day | 136 | 167.46 | 167.46 | 167.46 | 167.46 | 167.46 | 167.46 | 167.46 | 357
Pre-Clearing 3rd IA Credit Rate (ANL), $/MW | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229 | 34043.3229
2015-2016 Post-Clearing Third Incremental Auction Credit Rates
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI
Net CONE, $/MW-Day (UCAP Price) | 310.0485
Limited Resources
3rd IA Limited Resource Clearing Price, $/MW-Day | 100.76 | 122.33 | 122.33 | 122.33 | 122.56 | 122.56 | 122.33 | 122.33 | 100.76
Post-Clearing 3rd IA Credit Rate (LMT), $/MW | 7375.632 | 8954.556 | 8954.556 | 8954.556 | 8971.392 | 8971.392 | 8954.556 | 8954.556 | 7375.632
Extended Summer Resources
3rd IA Ext Summer Resource Clearing Price, $/MW-Day | 163.2 | 184.77 | 184.77 | 184.77 | 185 | 185 | 184.77 | 184.77 | 163.2
Post-Clearing 3rd IA Credit Rate (ES), $/MW | 11946.24 | 13525.164 | 13525.164 | 13525.164 | 13542 | 13542 | 13525.164 | 13525.164 | 11946.24
Annual Resources
3rd IA Annual Resource Clearing Price, $/MW-Day | 163.2 | 184.77 | 184.77 | 184.77 | 185 | 185 | 184.77 | 184.77 | 163.2
Post-Clearing 3rd IA Credit Rate (ANL), $/MW | 11946.24 | 13525.164 | 13525.164 | 13525.164 | 13542 | 13542 | 13525.164 | 13525.164 | 11946.24