## 2021-2022 Resource Model
Data Description:
PJM existing Capacity Resources for 2021/2022 as of 2/1/2018
ICAP MW is the Summer Installed Capacity (ICAP) rating of the unit
Modeled LDA locations of Generation Resources are consistent with 2021/2022 CETO studies
This posting includes:
• Existing Generation Resources located within the PJM footprint that qualify as Capacity Resources
This posting does not include:
• Planned Generation Resources (uprates or new units)
• Demand Resources (Planned or Existing)
• Energy Efficiency Resources (Planned or Existing)
• Qualifying Transmission Upgrades (Planned or Existing)
• Capacity rating changes not yet represented in eRPM system
• External Generation Resources
• Capacity rating changes from Publicly Announced Generation Retirements that have not yet submitted a Cap Mod
RESOURCENAME | ICAP MW | ZONENAME | LDANAME
ACCOMACK COUNTY 1 SOLAR | 14.8 | DPL | DPL-SOUTH
ACCOMACK COUNTY 2 SOLAR | 14.8 | DPL | DPL-SOUTH
ACCOMACK COUNTY 3 SOLAR | 14.8 | DPL | DPL-SOUTH
ACCOMACK COUNTY 4 SOLAR | 14.8 | DPL | DPL-SOUTH
ALLEG L/D 5-6 AGGREGATE | 14 | APS | RTO
ALLEGHENY RIDGE WF | 11.1 | PENELEC | MAAC
ALLENTOWN 1 | 14 | PPL | PPL
ALLENTOWN 2 | 14 | PPL | PPL
ALLENTOWN 3 | 14 | PPL | PPL
ALLENTOWN 4 | 14 | PPL | PPL
AMELIA LF | 15.1 | DOM | RTO
AMOS 1 | 800 | AEP | RTO
AMOS 2 | 800 | AEP | RTO
AMOS 3 | 1330 | AEP | RTO
ANDERSON 1 | 34.5 | AEP | RTO
ANDERSON 2 | 34.5 | AEP | RTO
ANDERSON 3 | 72 | AEP | RTO
ARCHBALD NUG 2 | 43.7 | PPL | PPL
ARCHIBALD NUG | 26.7 | PPL | PPL
ARDEN LF | 4 | APS | RTO
ARGONNE SOLAR | 4.9 | JCPL | EMAAC
ARMENIA MOUNTAIN WF | 14.5 | PENELEC | MAAC
AURORA CT 1 | 152 | COMED | COMED
AURORA CT 10 | 45 | COMED | COMED
AURORA CT 2 | 152 | COMED | COMED
AURORA CT 3 | 152 | COMED | COMED
AURORA CT 4 | 152 | COMED | COMED
AURORA CT 5 | 45 | COMED | COMED
AURORA CT 6 | 45 | COMED | COMED
AURORA CT 7 | 45 | COMED | COMED
AURORA CT 8 | 45 | COMED | COMED
AURORA CT 9 | 45 | COMED | COMED
AVON LAKE 10 | 21 | ATSI | ATSI-CLEVELAND
AVON LAKE 9 | 627.1 | ATSI | ATSI-CLEVELAND
BACKBONE MT WF | 6.4 | APS | RTO
BAKER POINT SOLAR | 4.5 | APS | RTO
BATH COUNTY 1 | 502.1 | DOM | RTO
BATH COUNTY 2 | 502.2 | DOM | RTO
BATH COUNTY 3 | 502.3 | DOM | RTO
BATH COUNTY 4 | 501.3 | DOM | RTO
BATH COUNTY 5 | 503.2 | DOM | RTO
BATH COUNTY 6 | 504 | DOM | RTO
BAYONNE COGEN TECH 1 | 38.8 | PSEG | PS-NORTH
BAYONNE COGEN TECH 2 | 38.8 | PSEG | PS-NORTH
BAYONNE COGEN TECH 3 | 38.8 | PSEG | PS-NORTH
BAYONNE COGEN TECH 4 | 48.8 | PSEG | PS-NORTH
BAYSHORE 1 | 136 | ATSI | ATSI
BAYSHORE CT 1 | 13.4 | ATSI | ATSI
BAYVIEW 1 | 2.1 | DPL | DPL-SOUTH
BAYVIEW 2 | 2.1 | DPL | DPL-SOUTH
BAYVIEW 3 | 2.1 | DPL | DPL-SOUTH
BAYVIEW 4 | 2.1 | DPL | DPL-SOUTH
BAYVIEW 5 | 2.1 | DPL | DPL-SOUTH
BAYVIEW 6 | 2 | DPL | DPL-SOUTH
BEAR CREEK WF | 2.6 | PPL | PPL
BEAR GARDEN | 612 | DOM | RTO
BEAVER RUN SOLAR | 3.7 | JCPL | EMAAC
BEAVER VALLEY 1 INT | 909.7 | DUQ | RTO
BEAVER VALLEY 2 INT | 902.6 | DUQ | RTO
BEAVERBROOK KINSLEY SOLAR | 1.9 | PSEG | PSEG
BELLEFONTAINE LF | 4.5 | DAY | DAY
BELLEMEADE CC 1 | 265.7 | DOM | RTO
BELLEVILLE 1 | 22.5 | AEP | RTO
BELLEVILLE 2 | 22.5 | AEP | RTO
BERGEN 1 CC | 638 | PSEG | PS-NORTH
BERGEN 2 CC | 591 | PSEG | PS-NORTH
BERNARDSVILLE SOLAR | 1.1 | JCPL | EMAAC
BERRIEN SPRINGS 1-12 | 6 | AEP | RTO
BERRIEN SPRINGS LF | 4.8 | AEP | RTO
BETH 4CC | 195 | PPL | MAAC
BETH 8CC | 195 | PPL | PPL
BETH CT1 | 118 | PPL | MAAC
BETH CT2 | 127 | PPL | MAAC
BETH CT3 | 127 | PPL | MAAC
BETH CT5 | 118 | PPL | MAAC
BETH CT6 | 127 | PPL | MAAC
BETH CT7 | 127 | PPL | MAAC
BETHEL LF | 4.4 | DOM | RTO
BETHLEHEM LF | 3.7 | PPL | PPL
BIG SANDY 1 | 280 | AEP | RTO
BIG SANDY CT1 | 50 | AEP | RTO
BIG SANDY CT2 | 50 | AEP | RTO
BIG SANDY CT3 | 50 | AEP | RTO
BIG SANDY CT4 | 50 | AEP | RTO
BIG SANDY CT5 | 50 | AEP | RTO
BIG SANDY CT6 | 50 | AEP | RTO
BIG SKY WF | 29.1 | COMED | COMED
BIRCHWOOD | 237.9 | DOM | RTO
BLOSSBURG 1 | 19 | PENELEC | MAAC
BLUE CREEK WF | 49.3 | AEP | RTO
BLUEGRASS CT 1 | 165 | EKPC | RTO
BLUEGRASS CT 2 | 165 | EKPC | RTO
BLUEGRASS CT 3 | 165 | EKPC | RTO
BLUFF POINT WF | 24 | AEP | RTO
BRAIDWOOD NUCLEAR 1 | 1183 | COMED | COMED
BRAIDWOOD NUCLEAR 2 | 1154 | COMED | COMED
BRANDON SHORES 1 | 635 | BGE | BGE
BRANDON SHORES 2 | 638 | BGE | BGE
BREMO 3 | 71 | DOM | RTO
BREMO 4 | 156 | DOM | RTO
BRESCO NUG | 57 | BGE | BGE
BRICK SOLAR | 0.7 | JCPL | EMAAC
BROAD MOUNTAIN 2 LF | 8 | PPL | PPL
BROOKSIDE FUEL CELL | 2.8 | DPL | EMAAC
BROWN COUNTY LF | 4 | DEOK | DEOK
BRUNNER ISLAND 1 | 306 | PPL | PPL
BRUNNER ISLAND 2 | 363 | PPL | PPL
BRUNNER ISLAND 3 | 742 | PPL | PPL
BRUNNER ISLAND DIESELS | 7.5 | PPL | PPL
BRUNOT ISLAND CC4 | 101 | DUQ | RTO
BRUNOT ISLAND CT1A | 15 | DUQ | RTO
BRUNOT ISLAND CT2A | 46 | DUQ | RTO
BRUNOT ISLAND CT2B | 48 | DUQ | RTO
BRUNOT ISLAND CT3 | 49 | DUQ | RTO
BRUNSWICK COUNTY CC 1 | 1376 | DOM | RTO
BRUNSWICK CTY LF | 11 | DOM | RTO
BUCHANAN 1-10 | 3.2 | AEP | RTO
BUCHANCO 1 | 40 | AEP | RTO
BUCHANCO 2 | 40 | AEP | RTO
BUCK-BYLLESBY | 30 | AEP | RTO
BUCKINGHAM COUNTY SOLAR | 13.5 | DOM | RTO
BUGGS ISLAND 1 | 69 | DOM | RTO
BUGGS ISLAND 2 | 69 | DOM | RTO
BURLINGTON 121 | 42 | PSEG | PSEG
BURLINGTON 122 | 42 | PSEG | PSEG
BURLINGTON 123 | 42 | PSEG | PSEG
BURLINGTON 124 | 42 | PSEG | PSEG
BURLINGTON CTY LF | 6 | PSEG | PSEG
BYRON NUCLEAR 1 | 1164 | COMED | COMED
BYRON NUCLEAR 2 | 1136 | COMED | COMED
CALVERT CLIFFS 1 | 866 | BGE | SWMAAC
CALVERT CLIFFS 2 | 841.8 | BGE | SWMAAC
CAMBRIA COGEN NUG | 88 | PENELEC | MAAC
CAMDEN COGEN TECH | 145 | PSEG | PSEG
CAMDEN COUNTY R.R. NUG | 21 | PSEG | PSEG
CAMP GROVE WF | 12.5 | COMED | COMED
CANTON DIESEL | 19.9 | PENELEC | MAAC
CARBON LIMESTONE LF | 20.9 | ATSI | ATSI
CARDINAL 1 | 585 | AEP | RTO
CARDINAL 2 | 585 | AEP | RTO
CARDINAL 3 | 620 | AEP | RTO
CARLLS CORNER CT 1 | 37.4 | AECO | EMAAC
CARLLS CORNER CT 2 | 39.8 | AECO | EMAAC
CARROLL COUNTY CC | 672 | AEP | RTO
CAT TRACTOR NUG | 46.2 | METED | MAAC
CATES ROAD SOLAR | 1 | AECO | EMAAC
CAYUGA RIDGE WF | 45 | COMED | COMED
CENTRAL LF | 3 | DPL | EMAAC
CENTRE COUNTY WF | 8.3 | PENELEC | MAAC
CEREDO 1 | 75 | AEP | RTO
CEREDO 2 | 75 | AEP | RTO
CEREDO 3 | 75 | AEP | RTO
CEREDO 4 | 75 | AEP | RTO
CEREDO 5 | 75 | AEP | RTO
CEREDO 6 | 75 | AEP | RTO
CHALK POINT 1 | 331 | PEPCO | PEPCO
CHALK POINT 2 | 336 | PEPCO | PEPCO
CHALK POINT 3 | 595 | PEPCO | PEPCO
CHALK POINT 4 | 585.3 | PEPCO | PEPCO
CHALK POINT CT 1 | 18 | PEPCO | PEPCO
CHALK POINT CT 2 | 24 | PEPCO | PEPCO
CHALK POINT CT 3 | 86 | PEPCO | PEPCO
CHALK POINT CT 4 | 86 | PEPCO | PEPCO
CHALK POINT CT 5 | 109 | PEPCO | PEPCO
CHALK POINT CT 6 | 109 | PEPCO | PEPCO
CHAMB1-3 | 7 | APS | RTO
CHAMB4-7 | 22.4 | APS | RTO
CHAMBERS CCLP | 239.9 | AECO | EMAAC
CHARLES CITY LF | 16.3 | DOM | RTO
CHESAPEAKE CT 1 | 45 | DPL | DPL-SOUTH
CHESAPEAKE CT 2 | 44 | DPL | DPL-SOUTH
CHESAPEAKE CT 3 | 45 | DPL | DPL-SOUTH
CHESAPEAKE CT 5 | 45 | DPL | DPL-SOUTH
CHESAPEAKE CT4 | 45 | DPL | DPL-SOUTH
CHESAPEAKE CT6 | 44.8 | DPL | DPL-SOUTH
CHESAPEAKE CT7 | 44.7 | DPL | DPL-SOUTH
CHESAPEAKE GT1 DOM | 14.9 | DOM | RTO
CHESAPEAKE GTS DOM | 36 | DOM | RTO
CHESTER 7 | 13 | PECO | EMAAC
CHESTER 8 | 13 | PECO | EMAAC
CHESTER 9 | 13 | PECO | EMAAC
CHESTERFIELD 3 | 97.5 | DOM | RTO
CHESTERFIELD 4 | 162 | DOM | RTO
CHESTERFIELD 5 | 336.8 | DOM | RTO
CHESTERFIELD 6 | 670 | DOM | RTO
CHESTERFIELD CC 7 | 190.7 | DOM | RTO
CHESTERFIELD CC 8 | 194.8 | DOM | RTO
CHESTERFIELD LF | 14.9 | DOM | RTO
CHESTNUT FLATS WF | 6.4 | PENELEC | MAAC
CHESWICK 1 | 565 | DUQ | RTO
CHMBRSBRG GUILFORD 12 | 44 | APS | RTO
CHMBRSBRG GUILFORD 13 | 44 | APS | RTO
CHRISTIANA 11 | 23.3 | DPL | EMAAC
CHRISTIANA 14 | 22.6 | DPL | EMAAC
CLAYTOR 1 | 18.8 | AEP | RTO
CLAYTOR 2 | 18.8 | AEP | RTO
CLAYTOR 3 | 18.8 | AEP | RTO
CLAYTOR 4 | 18.8 | AEP | RTO
CLAYVILLE 1 | 55 | AECO | EMAAC
CLINCH RIVER 1 | 225 | AEP | RTO
CLINCH RIVER 2 | 230 | AEP | RTO
CLOVER 1 | 440 | DOM | RTO
CLOVER 2 | 437.1 | DOM | RTO
CLOYD MOUNTAIN LF | 4.1 | AEP | RTO
COCHRAN MILL | 750 | DOM | RTO
COGENTRIX HOPE 1-2 | 89 | DOM | RTO
COLVER NUG | 110 | PENELEC | MAAC
COMMUNITY REFUSE LF | 5.6 | PENELEC | MAAC
CONEMAUGH 1 | 850.4 | PENELEC | MAAC
CONEMAUGH 2 | 849.3 | PENELEC | MAAC
CONEMAUGH DAM NUG | 4 | PENELEC | MAAC
CONEMAUGH DIESEL | 11 | PENELEC | MAAC
CONESVILLE 4 | 780 | AEP | RTO
CONESVILLE 5 | 405 | AEP | RTO
CONESVILLE 6 | 405 | AEP | RTO
CONETOE SOLAR | 55.5 | DOM | RTO
CONOWINGO 1 | 48 | PECO | EMAAC
CONOWINGO 10 | 65 | PECO | EMAAC
CONOWINGO 11 | 65 | PECO | EMAAC
CONOWINGO 2 | 36 | PECO | EMAAC
CONOWINGO 3 | 48 | PECO | EMAAC
CONOWINGO 4 | 48 | PECO | EMAAC
CONOWINGO 5 | 36 | PECO | EMAAC
CONOWINGO 6 | 48 | PECO | EMAAC
CONOWINGO 7 | 48 | PECO | EMAAC
CONOWINGO 8 | 65 | PECO | EMAAC
CONOWINGO 9 | 65 | PECO | EMAAC
CONSTANTINE 1-4 | 0.9 | AEP | RTO
COOK NUCLEAR 1 | 1006 | AEP | RTO
COOK NUCLEAR 2 | 1148 | AEP | RTO
COOPER 1 | 116 | EKPC | RTO
COOPER 2 | 225 | EKPC | RTO
CORDOVA CC 1 | 150 | COMED | COMED
CORDOVA CT 1 | 175 | COMED | COMED
CORDOVA CT 2 | 175 | COMED | COMED
COUNTRYSIDE LF | 6.4 | COMED | COMED
CRANBURY SOLAR | 1.9 | PSEG | PSEG
CRESCENT RIDGE WF | 8.8 | COMED | COMED
CRETE CT 1 | 75.2 | COMED | COMED
CRETE CT 2 | 75.2 | COMED | COMED
CRETE CT 3 | 75.2 | COMED | COMED
CRETE CT 4 | 75.2 | COMED | COMED
CRISFIELD 1 | 2.5 | DPL | DPL-SOUTH
CRISFIELD 2 | 2.5 | DPL | DPL-SOUTH
CRISFIELD 3 | 2.5 | DPL | DPL-SOUTH
CRISFIELD 4 | 2.5 | DPL | DPL-SOUTH
CRITERION WF | 11 | APS | RTO
CROWN POINT | 731.5 | AECO | EMAAC
CROYDON 11 | 49 | PECO | EMAAC
CROYDON 12 | 49 | PECO | EMAAC
CROYDON 21 | 49 | PECO | EMAAC
CROYDON 22 | 49 | PECO | EMAAC
CROYDON 31 | 49 | PECO | EMAAC
CROYDON 32 | 48 | PECO | EMAAC
CROYDON 41 | 49 | PECO | EMAAC
CROYDON 42 | 49 | PECO | EMAAC
CUMBERLAND 2 | 92 | AECO | EMAAC
CUMBERLAND CT | 86.3 | AECO | EMAAC
CUMBERLAND CTY LF | 2.8 | AECO | EMAAC
CUSHAW | 2 | DOM | RTO
DARBY 1 | 80 | DAY | DAY
DARBY 2 | 81 | DAY | DAY
DARBY 3 | 80 | DAY | DAY
DARBY 4 | 80 | DAY | DAY
DARBY 5 | 80 | DAY | DAY
DARBY 6 | 79 | DAY | DAY
DARBYTOWN GT1 | 85 | DOM | RTO
DARBYTOWN GT2 | 85 | DOM | RTO
DARBYTOWN GT3 | 85 | DOM | RTO
DARBYTOWN GT4 | 85 | DOM | RTO
DAVIS BESSE 1 | 894 | ATSI | ATSI
DEEP CREEK 1-2 | 19.8 | PENELEC | MAAC
DEER CREEK SOLAR | 1.3 | AEP | RTO
DELANCY STREET | 705 | PSEG | PS-NORTH
DELAWARE CITY 10 | 17.8 | DPL | EMAAC
DELAWARE CITY 3 NUG | 72 | DPL | EMAAC
DELAWARE CITY 6 | 55 | DPL | EMAAC
DELAWARE CITY 7 | 57 | DPL | EMAAC
DELAWARE CT 10 | 13 | PECO | EMAAC
DELAWARE CT 11 | 13 | PECO | EMAAC
DELAWARE CT 12 | 13 | PECO | EMAAC
DELAWARE CT 9 | 17 | PECO | EMAAC
DELTA CT1 | 118 | PECO | EMAAC
DELTA CT2 | 127 | PECO | EMAAC
DELTA CT3 | 127 | PECO | EMAAC
DELTA ST 1 | 193 | PECO | EMAAC
DEMEC 1 | 46.6 | DPL | DPL-SOUTH
DEMEC 2 | 49 | DPL | DPL-SOUTH
DEPTFORD KINSLEY SOLAR | 1.4 | PSEG | PSEG
DESERT WF | 31.9 | DOM | RTO
DICKERSON 1 | 179 | PEPCO | PEPCO
DICKERSON 2 | 179 | PEPCO | PEPCO
DICKERSON 3 | 179 | PEPCO | PEPCO
DICKERSON CT 1 | 18 | PEPCO | PEPCO
DICKERSON HCT1 | 147 | PEPCO | PEPCO
DICKERSON HCT2 | 147 | PEPCO | PEPCO
DICKS CREEK 1 | 69 | DEOK | DEOK
DICKS CREEK 3 | 12.9 | DEOK | DEOK
DICKS CREEK 4 | 15 | DEOK | DEOK
DICKS CREEK 5 | 15 | DEOK | DEOK
DINWIDDIE DIESEL | 3 | DOM | RTO
DOMIN LANE SOLAR | 3.3 | JCPL | EMAAC
DORCHESTER SOLAR | 1.3 | DPL | DPL-SOUTH
DRESDEN CT 1 | 151 | AEP | RTO
DRESDEN CT 2 | 151 | AEP | RTO
DRESDEN NUCLEAR 2 | 902 | COMED | COMED
DRESDEN NUCLEAR 3 | 895 | COMED | COMED
DRESDEN ST 1 | 253 | AEP | RTO
DRMI NUG | 75 | PECO | EMAAC
EAGLE POINT 1 | 82 | PSEG | PSEG
EAGLE POINT 2 | 82 | PSEG | PSEG
EAGLE POINT 3 | 46 | PSEG | PSEG
EAGLE POINT 4 | 27 | PSEG | PSEG
EAST AMWELL SOLAR | 1 | JCPL | EMAAC
EAST BEND 2 | 600 | DEOK | DEOK
EAST CARBONDALE WF | 8.6 | PPL | PPL
EAST FLEMINGTON SOLAR | 2.1 | JCPL | EMAAC
EASTAMPTON SOLAR | 1.1 | PSEG | PSEG
EASTERN LF | 4 | BGE | BGE
EASTLAKE 6 | 24 | ATSI | ATSI-CLEVELAND
EASTON 10 | 3.5 | DPL | DPL-SOUTH
EASTON 101 | 1.5 | DPL | DPL-SOUTH
EASTON 102 | 1.5 | DPL | DPL-SOUTH
EASTON 11 | 3.6 | DPL | DPL-SOUTH
EASTON 12 | 4.1 | DPL | DPL-SOUTH
EASTON 13 | 5.6 | DPL | DPL-SOUTH
EASTON 14 | 5.6 | DPL | DPL-SOUTH
EASTON 201 | 1.5 | DPL | DPL-SOUTH
EASTON 202 | 1.5 | DPL | DPL-SOUTH
EASTON 203 | 4.5 | DPL | DPL-SOUTH
EASTON 204 | 4.5 | DPL | DPL-SOUTH
EASTON 21 | 6.3 | DPL | DPL-SOUTH
EASTON 22 | 6.2 | DPL | DPL-SOUTH
EASTON 23 | 6.3 | DPL | DPL-SOUTH
EASTON 24 | 6.3 | DPL | DPL-SOUTH
EASTON 7 | 2 | DPL | DPL-SOUTH
EASTON 8 | 2 | DPL | DPL-SOUTH
EASTON 9 | 2.5 | DPL | DPL-SOUTH
EBENSBURG NUG | 50 | PENELEC | MAAC
ECOGROVE WF | 19.3 | COMED | COMED
EDDYSTONE 3 | 380 | PECO | EMAAC
EDDYSTONE 4 | 380 | PECO | EMAAC
EDDYSTONE CT 10 | 13 | PECO | EMAAC
EDDYSTONE CT 20 | 13 | PECO | EMAAC
EDDYSTONE CT 30 | 17 | PECO | EMAAC
EDDYSTONE CT 40 | 17 | PECO | EMAAC
EDGE MOOR 10 | 14.3 | DPL | EMAAC
EDGE MOOR 3 | 86 | DPL | EMAAC
EDGE MOOR 4 | 174 | DPL | EMAAC
EDGE MOOR 5 | 450 | DPL | EMAAC
EDGEBORO LF | 9 | PSEG | PSEG
EDGECOMB ROCKY 1-2 | 115.5 | DOM | RTO
ELGIN CT 1 | 121 | COMED | COMED
ELGIN CT 2 | 121 | COMED | COMED
ELGIN CT 3 | 120.1 | COMED | COMED
ELGIN CT 4 | 121 | COMED | COMED
ELIZABETH CITY SOLAR | 13.2 | DOM | RTO
ELIZABETH RIVER 1 | 109 | DOM | RTO
ELIZABETH RIVER 2 | 107 | DOM | RTO
ELIZABETH RIVER 3 | 109 | DOM | RTO
ELKHART 1-3 | 2.6 | AEP | RTO
ELKHART LF | 4.8 | AEP | RTO
ELWOOD CT 1 | 150 | COMED | COMED
ELWOOD CT 2 | 150 | COMED | COMED
ELWOOD CT 3 | 150 | COMED | COMED
ELWOOD CT 4 | 150 | COMED | COMED
ELWOOD CT 5 | 150 | COMED | COMED
ELWOOD CT 6 | 150 | COMED | COMED
ELWOOD CT 7 | 150 | COMED | COMED
ELWOOD CT 8 | 150 | COMED | COMED
ELWOOD CT 9 | 150 | COMED | COMED
EQUISTAR MORRIS | 130 | COMED | COMED
ERIE COUNTY LF | 2 | ATSI | ATSI
ESSEX 9 | 81 | PSEG | PS-NORTH
ESSEX CO. RES. RCRVRY 1 | 28.7 | PSEG | PS-NORTH
ESSEX CO. RES. RCRVRY 2 | 31.6 | PSEG | PS-NORTH
EVERGREEN | 25 | METED | MAAC
FAIRFIELD ROAD SOLAR | 4.2 | JCPL | EMAAC
FAIRFIELD TOWNSHIP SOLAR | 3.8 | AECO | EMAAC
FAIRLESS HILLS USX A | 30 | PECO | EMAAC
FAIRLESS HILLS USX B | 30 | PECO | EMAAC
FALLS CT 1 | 17 | PECO | EMAAC
FALLS CT 2 | 17 | PECO | EMAAC
FALLS CT 3 | 17 | PECO | EMAAC
FALLS SOLAR | 1 | PECO | EMAAC
FIELD MOUNTAIN WF | 13.9 | APS | RTO
FISHBACH 1 | 14 | PPL | PPL
FISHBACH 2 | 14 | PPL | PPL
FISK CT 31 | 49.1 | COMED | COMED
FISK CT 32 | 50.8 | COMED | COMED
FISK CT 33 | 47.9 | COMED | COMED
FISK CT 34 | 22.9 | COMED | COMED
FLATLICK 1 | 166.5 | AEP | RTO
FLATLICK 2 | 165.6 | AEP | RTO
FLATLICK 3 | 169.6 | AEP | RTO
FLATLICK 4 | 165.5 | AEP | RTO
FLATLICK 5 | 168.2 | AEP | RTO
FLEMINGTON SOLAR | 3 | JCPL | EMAAC
FLORENCE TOWNSHIP SOLAR | 5 | PSEG | PSEG
FLUVANNA GS12 | 401.4 | DOM | RTO
FLUVANNA GT12 | 175.9 | DOM | RTO
FLUVANNA GT22 | 175.9 | DOM | RTO
FLUVANNA GT32 | 182.3 | DOM | RTO
FORD MILL 1 ST | 276 | PECO | EMAAC
FORD MILL 1A CT | 172 | PECO | EMAAC
FORD MILL 1B CT | 172 | PECO | EMAAC
FORD MILL 2 ST | 276 | PECO | EMAAC
FORD MILL 2A CT | 172 | PECO | EMAAC
FORD MILL 2B CT | 172 | PECO | EMAAC
FORKED RIVER C-1 | 34 | JCPL | EMAAC
FORKED RIVER C-2 | 31 | JCPL | EMAAC
FORT MARTIN 1 | 552 | APS | RTO
FORT MARTIN 2 | 545.5 | APS | RTO
FORWARD WF | 3.2 | PENELEC | MAAC
FOSTER WHEELER NUG | 42.7 | PPL | PPL
FOUL RIFT SOLAR | 0.8 | JCPL | EMAAC
FOUR MILE RIDGE WF | 5.2 | APS | RTO
FOUR RIVERS 1 | 170 | DOM | RTO
FOUR RIVERS 5 | 626 | DOM | RTO
FOWLER RIDGE 2 WF | 25.9 | AEP | RTO
FOWLER RIDGE 3 WF | 12.5 | AEP | RTO
FOWLER RIDGE WF | 37.5 | AEP | RTO
FRACKVILLE FLUID ENERGY | 43 | PPL | PPL
FRANKLIN TWP SOLAR | 3.7 | JCPL | EMAAC
FREMONT CT1 | 166.2 | ATSI | ATSI
FREMONT CT2 | 165.1 | ATSI | ATSI
FREMONT ST1 | 343 | ATSI | ATSI
FRENCHTOWN I SOLAR | 1.1 | JCPL | EMAAC
FRENCHTOWN II SOLAR | 1.1 | JCPL | EMAAC
FRENCHTOWN III SOLAR | 3 | JCPL | EMAAC
GANS 8 | 44 | APS | RTO
GANS 9 | 44 | APS | RTO
GARRISON CC | 309 | DPL | DPL-SOUTH
GASTON 1-4 | 220 | DOM | RTO
GAVIN 1 | 1331 | AEP | RTO
GAVIN 2 | 1350 | AEP | RTO
GENEVA 1-5 LF | 3.8 | ATSI | ATSI
GF NORTHST IPP | 15 | DPL | DPL-SOUTH
GILBERT 4 | 49 | JCPL | EMAAC
GILBERT 5 | 49 | JCPL | EMAAC
GILBERT 6 | 51 | JCPL | EMAAC
GILBERT 7 | 49 | JCPL | EMAAC
GILBERT 8 | 90 | JCPL | EMAAC
GILBERT 9 | 150 | JCPL | EMAAC
GILBERTON POWER CORP NUG | 82 | PPL | PPL
GLADES PIKE LF | 1.5 | PENELEC | MAAC
GLEN FERRIS | 5.5 | AEP | RTO
GLEN GARDNER SOLAR | 0.8 | JCPL | EMAAC
GLENDON LF | 2.5 | METED | MAAC
GLOUCESTER COUNTY NUG | 11.3 | PSEG | PSEG
GOSPORT | 40 | DOM | RTO
GOULD STREET | 97 | BGE | BGE
GRAND CENTRAL LF | 6 | METED | MAAC
GRAND RIDGE 2 WF | 9.1 | COMED | COMED
GRAND RIDGE 3 WF | 8.4 | COMED | COMED
GRAND RIDGE 4 WF | 1.8 | COMED | COMED
GRAND RIDGE WF | 17.5 | COMED | COMED
GRANT TOWN 1 | 80 | APS | RTO
GRAVEL NECK GT3 | 85 | DOM | RTO
GRAVEL NECK GT4 | 85 | DOM | RTO
GRAVEL NECK GT5 | 85 | DOM | RTO
GRAVEL NECK GT6 | 85 | DOM | RTO
GRAVEL NECK GTS | 28 | DOM | RTO
GRAYS FERRY 1 CT | 118 | PECO | EMAAC
GRAYS FERRY 1 GEN | 45 | PECO | EMAAC
GREAT FALLS HYDRO | 5 | PSEG | PS-NORTH
GREATER LEBANON LF | 1.5 | METED | MAAC
GREENLAND GAP WF | 38.2 | APS | RTO
GREENUP | 66 | EKPC | RTO
GREENVILLE 1 | 49 | DAY | DAY
GREENVILLE 2 | 49 | DAY | DAY
GREENVILLE 3 | 49 | DAY | DAY
GREENVILLE 4 | 49 | DAY | DAY
GROVER DIESEL | 19.9 | PENELEC | MAAC
HALL BRANCH | 51 | DOM | RTO
HAMILTON 1 | 19.6 | METED | MAAC
HAMILTON TOWNSHIP SOLAR | 3 | PSEG | PSEG
HANDSOME LAKE 1 | 53.5 | PENELEC | MAAC
HANDSOME LAKE 2 | 53.5 | PENELEC | MAAC
HANDSOME LAKE 3 | 53.5 | PENELEC | MAAC
HANDSOME LAKE 4 | 53.5 | PENELEC | MAAC
HANDSOME LAKE 5 | 53.5 | PENELEC | MAAC
HANGING ROCK 1GT1 | 217.8 | AEP | RTO
HANGING ROCK 1GT2 | 217.8 | AEP | RTO
HANGING ROCK 2GT1 | 217.7 | AEP | RTO
HANGING ROCK 2GT2 | 218.8 | AEP | RTO
HANGING ROCK CC1 | 228.4 | AEP | RTO
HANGING ROCK CC2 | 229.4 | AEP | RTO
HANNIBAL | 19 | APS | RTO
HANOVER SOLAR | 1.9 | JCPL | EMAAC
HARMONY SOLAR | 1.1 | JCPL | EMAAC
HARRISBURG 1 | 14 | PPL | PPL
HARRISBURG 2 | 14 | PPL | PPL
HARRISBURG 3 | 14 | PPL | PPL
HARRISBURG STEAM NUG | 9 | PPL | PPL
HARRISON 1-3 | 1954 | APS | RTO
HARWOOD 1 | 13.5 | PPL | PPL
HARWOOD 2 | 13.5 | PPL | PPL
HAY ROAD 1 | 126 | DPL | EMAAC
HAY ROAD 2 | 126 | DPL | EMAAC
HAY ROAD 3 | 126 | DPL | EMAAC
HAY ROAD 4 | 182.3 | DPL | EMAAC
HAY ROAD 5 | 126 | DPL | EMAAC
HAY ROAD 6 | 126 | DPL | EMAAC
HAY ROAD 7 | 126 | DPL | EMAAC
HAY ROAD 8 | 187 | DPL | EMAAC
HAZELTON CT 2 | 28.3 | PPL | PPL
HAZELTON CT 3 | 29.3 | PPL | PPL
HAZELTON CT 4 | 29.1 | PPL | PPL
HAZELTON NUG | 58.9 | PPL | PPL
HENRICO COUNTY LF | 4 | DOM | RTO
HIGH TRAIL WF | 33.1 | COMED | COMED
HIGHLAND WF | 8.1 | PENELEC | MAAC
HOGS CREEK WF | 12 | AEP | RTO
HOLLAND TWP SOLAR | 1.1 | JCPL | EMAAC
HOLMDEL SOLAR | 1.3 | JCPL | EMAAC
HOLTWOOD 1-19 | 245 | PPL | PPL
HOMER CITY 1 | 620 | PENELEC | MAAC
HOMER CITY 2 | 614 | PENELEC | MAAC
HOMER CITY 3 | 650 | PENELEC | MAAC
HONEY BROOK LF | 1.5 | PPL | PPL
HOPE CREEK 1 | 1172 | PSEG | EMAAC
HOPEWELL HCF | 374.6 | DOM | RTO
HORNERSTOWN SOLAR | 1.5 | JCPL | EMAAC
HOWELL SOLAR | 2.6 | JCPL | EMAAC
HUNLOCK 3 | 29 | PPL | PPL
HUNLOCK 4 | 44.3 | PPL | PPL
HUNLOCK 5 | 48 | PPL | PPL
HUNLOCK 6 | 48 | PPL | PPL
HUNTERDON COUNTY SOLAR | 3 | JCPL | EMAAC
HUNTERSTOWN 1 | 20 | METED | MAAC
HUNTERSTOWN 101 | 165 | METED | MAAC
HUNTERSTOWN 2 | 20 | METED | MAAC
HUNTERSTOWN 201 | 165 | METED | MAAC
HUNTERSTOWN 3 | 20 | METED | MAAC
HUNTERSTOWN 301 | 165 | METED | MAAC
HUNTERSTOWN 401 | 315 | METED | MAAC
HURT | 83 | DOM | RTO
HUTCHINGS 7 | 25 | DAY | DAY
INDIAN RIVER 10 | 16.1 | DPL | DPL-SOUTH
INDIAN RIVER 4 | 410 | DPL | DPL-SOUTH
IRONWOOD 3 | 219.7 | METED | MAAC
IRONWOOD CT-1 | 218.7 | METED | MAAC
IRONWOOD CT-2 | 221.7 | METED | MAAC
IUP NUG | 13 | PENELEC | MAAC
JACOBSTOWN SOLAR | 1.9 | JCPL | EMAAC
JAY COUNTY LF | 2.4 | AEP | RTO
JENKINS 1 | 14 | PPL | PPL
JENKINS 2 | 14 | PPL | PPL
JOLIET COAL 6 | 290 | COMED | COMED
JOLIET COAL 7 | 518 | COMED | COMED
JOLIET COAL 8 | 518 | COMED | COMED
KANKAKEE WF | 35 | COMED | COMED
KEARNY 121 | 43.8 | PSEG | PS-NORTH
KEARNY 122 | 43.7 | PSEG | PS-NORTH
KEARNY 123 | 43.8 | PSEG | PS-NORTH
KEARNY 124 | 43.7 | PSEG | PS-NORTH
KEARNY 1301 | 187.6 | PSEG | PS-NORTH
KEARNY 14 | 93.8 | PSEG | PS-NORTH
KELFORD SOLAR | 14.8 | DOM | RTO
KELSO GAP WF | 6 | APS | RTO
KENDALL CC 1 | 303.9 | COMED | COMED
KENDALL CC 2 | 303.9 | COMED | COMED
KENDALL CC 3 | 306 | COMED | COMED
KENDALL CC 4 | 303.9 | COMED | COMED
KENILWORTH NUG | 5 | PSEG | PSEG
KENT CT 1 | 44 | DPL | DPL-SOUTH
KENT CT 2 | 44 | DPL | DPL-SOUTH
KERR DAM 1-7 | 267 | DOM | RTO
KEYSTONE 1 | 849.4 | PENELEC | MAAC
KEYSTONE 2 | 850.4 | PENELEC | MAAC
KEYSTONE DIESEL | 11 | PENELEC | MAAC
KEYSTONE NUG | 4.8 | PPL | PPL
KEYSTONE SOLAR | 1.9 | PPL | PPL
KILLEN | 600 | DAY | DAY
KILLEN GT1 | 18 | DAY | DAY
KIMBERLY CLARK | 9.4 | PECO | EMAAC
KINCAID COAL 1 | 554 | COMED | COMED
KINCAID COAL 2 | 554 | COMED | COMED
KING GEORGE LF | 8.5 | DOM | RTO
KING-QUEEN LF | 11.8 | DOM | RTO
LADYSMITH GT1 | 151 | DOM | RTO
LADYSMITH GT2 | 151 | DOM | RTO
LADYSMITH GT3 | 159.8 | DOM | RTO
LADYSMITH GT4 | 160 | DOM | RTO
LADYSMITH GT5 | 160.6 | DOM | RTO
LAKE LYNN 1-4 | 52 | APS | RTO
LAKEVIEW LANDFILL NUG | 5 | PENELEC | MAAC
LAKEWOOD CT1 | 168.4 | JCPL | EMAAC
LAKEWOOD CT2 | 167.7 | JCPL | EMAAC
LAKEWOOD NUG | 250.1 | JCPL | EMAAC
LANCASTER COUNTY NUG | 25 | METED | MAAC
LANIER DIESEL | 7 | DOM | RTO
LASALLE NUCLEAR 1 | 1130.5 | COMED | COMED
LASALLE NUCLEAR 2 | 1133.9 | COMED | COMED
LAUREL HYDRO | 70 | EKPC | RTO
LAUREL MOUNTAIN WF | 11.7 | APS | RTO
LAWRENCEBURG 1 | 243 | AEP | RTO
LAWRENCEBURG 2 | 156 | AEP | RTO
LAWRENCEBURG 3 | 161 | AEP | RTO
LAWRENCEBURG 4 | 243 | AEP | RTO
LAWRENCEBURG 5 | 156 | AEP | RTO
LAWRENCEBURG 6 | 161 | AEP | RTO
LEBANON 1 | 1.2 | METED | MAAC
LEE COUNTY CT 1 | 78.5 | COMED | COMED
LEE COUNTY CT 2 | 78.6 | COMED | COMED
LEE COUNTY CT 3 | 77.2 | COMED | COMED
LEE COUNTY CT 4 | 77.1 | COMED | COMED
LEE COUNTY CT 5 | 79.1 | COMED | COMED
LEE COUNTY CT 6 | 78.7 | COMED | COMED
LEE COUNTY CT 7 | 77.2 | COMED | COMED
LEE COUNTY CT 8 | 77.1 | COMED | COMED
LEE DEKALB WF | 40 | COMED | COMED
LEESVILLE 1-2 | 50 | AEP | RTO
LIBERTY EDDY CC 3 | 223.8 | PECO | EMAAC
LIBERTY EDDY CT 1 | 158.6 | PECO | EMAAC
LIBERTY EDDY CT 2 | 158.6 | PECO | EMAAC
LIMERICK 1 | 1119.7 | PECO | EMAAC
LIMERICK 2 | 1122.1 | PECO | EMAAC
LINCOLN CT 1 | 77 | COMED | COMED
LINCOLN CT 2 | 77 | COMED | COMED
LINCOLN CT 3 | 77 | COMED | COMED
LINCOLN CT 4 | 77 | COMED | COMED
LINCOLN CT 5 | 77 | COMED | COMED
LINCOLN CT 6 | 77 | COMED | COMED
LINCOLN CT 7 | 77 | COMED | COMED
LINCOLN CT 8 | 77 | COMED | COMED
LINDEN 1 CC | 478.8 | PSEG | PS-NORTH
LINDEN 2 CC | 795 | PSEG | PSEG
LINDEN 5 | 86 | PSEG | PSEG
LINDEN 6 | 86 | PSEG | PSEG
LINDEN 7 | 84 | PSEG | PS-NORTH
LINDEN 8 | 80.2 | PSEG | PS-NORTH
LOCKHAVEN 1 | 14 | PPL | PPL
LOCUST RIDGE 2 WF | 11.5 | PPL | PPL
LOCUST RIDGE WF | 3 | PPL | PPL
LOGAN KCS | 219 | AECO | EMAAC
LONDON 1-3 | 14.4 | AEP | RTO
LOOKOUT WF | 6.3 | PENELEC | MAAC
LOUISA G1 | 76.5 | DOM | RTO
LOUISA G2 | 77 | DOM | RTO
LOUISA G3 | 77.3 | DOM | RTO
LOUISA G4 | 77.2 | DOM | RTO
LOUISA G5 | 158 | DOM | RTO
LOWER MT BETHEL CT1 | 160.9 | PPL | PPL
LOWER MT BETHEL CT2 | 162.6 | PPL | PPL
LOWER MT BETHEL ST1 | 214 | PPL | PPL
LOWMOOR GT1 | 12 | DOM | RTO
LOWMOOR GT2 | 12 | DOM | RTO
LOWMOOR GT3 | 12 | DOM | RTO
LOWMOOR GT4 | 12 | DOM | RTO
MAHONING CREEK HYDRO | 6.8 | APS | RTO
MAHONING LF | 3.8 | ATSI | ATSI
MANALAPAN SOLAR | 1.4 | JCPL | EMAAC
MANCHESTER MRPC NUG | 5 | JCPL | EMAAC
MANSFIELD 1-3 | 2490 | ATSI | ATSI
MARCAL PAPER NUG | 70 | PSEG | PS-NORTH
MARLOWE SOLAR | 7.6 | APS | RTO
MARMET 1-3 | 14.4 | AEP | RTO
MARSH RUN CT1 | 161 | DOM | RTO
MARSH RUN CT2 | 159.3 | DOM | RTO
MARSH RUN CT3 | 161 | DOM | RTO
MARTINS CREEK 3 | 850 | PPL | PPL
MARTINS CREEK 4 | 850 | PPL | PPL
MARTINS CREEK CT 1 | 18 | PPL | PPL
MARTINS CREEK CT 2 | 18 | PPL | PPL
MARTINS CREEK CT 3 | 18 | PPL | PPL
MARTINS CREEK CT 4 | 18 | PPL | PPL
MCKEE 3 | 102 | DPL | DPL-SOUTH
MCRRF | 52 | PEPCO | PEPCO
MEADOW LAKE 2 WF | 16 | AEP | RTO
MEADOW LAKE 3 WF | 15.4 | AEP | RTO
MEADOW LAKE 4 WF | 12.9 | AEP | RTO
MEADOW LAKE 5 WF | 20.1 | AEP | RTO
MEADOW LAKE WF | 25.9 | AEP | RTO
MEDFORD SOLAR | 0.4 | PSEG | PSEG
MEHOOPANY WF | 21.9 | PENELEC | MAAC
MELDAHL 1 | 37.3 | DEOK | DEOK
MELDAHL 2 | 37.3 | DEOK | DEOK
MELDAHL 3 | 37.4 | DEOK | DEOK
MENDOTA HILLS WF | 4.9 | COMED | COMED
MEYERDALE WF | 5.1 | PENELEC | MAAC
MIAMI FORT 7 | 510 | DEOK | DEOK
MIAMI FORT 8 | 510 | DEOK | DEOK
MIAMI FORT GT3 | 12.7 | DEOK | DEOK
MIAMI FORT GT4 | 12.3 | DEOK | DEOK
MIAMI FORT GT5 | 13 | DEOK | DEOK
MIAMI FORT GT6 | 14 | DEOK | DEOK
MICKLETON 1 CT | 63.7 | AECO | EMAAC
MIDDLE PENINSULA LF | 6 | DOM | RTO
MIDDLESEX SOLAR | 2.5 | PSEG | PSEG
MIDDLETOWN COKE | 47 | DEOK | DEOK
MILAN DIESEL | 19.9 | PENELEC | MAAC
MILHURST SOLAR | 0.8 | JCPL | EMAAC
MILL RUN WF | 1.7 | APS | RTO
MILLERSVILLE LF | 3 | BGE | BGE
MILLSTONE 2 SOLAR | 3.3 | JCPL | EMAAC
MILLSTONE SOLAR | 3 | JCPL | EMAAC
MILLVILLE SOLAR | 1.5 | AECO | EMAAC
MINERAL COUNTY WF | 25.3 | DOM | RTO
MINONK WF | 39.9 | COMED | COMED
MINOTOLA SOLAR | 2.2 | AECO | EMAAC
MITCHELL 1 AEP | 770 | AEP | RTO
MITCHELL 2 AEP | 790 | AEP | RTO
MMLP | 28 | PECO | EMAAC
MONMOUTH NUG | 6.4 | JCPL | EMAAC
MONTOUR 1 | 752 | PPL | PPL
MONTOUR 11 AUX | 11 | PPL | PPL
MONTOUR 2 | 752 | PPL | PPL
MONTPELIER 1 | 59 | AEP | RTO
MONTPELIER 2 | 59 | AEP | RTO
MONTPELIER 3 | 59 | AEP | RTO
MONTPELIER 4 | 59 | AEP | RTO
MONUMENT D 1-5 | 12 | DAY | DAY
MORGANS CORNER SOLAR | 7.6 | DOM | RTO
MORGANTOWN 1 | 610 | PEPCO | PEPCO
MORGANTOWN 2 | 619 | PEPCO | PEPCO
MORGANTOWN CT 1 | 16 | PEPCO | PEPCO
MORGANTOWN CT 2 | 16 | PEPCO | PEPCO
MORGANTOWN CT 3 | 54 | PEPCO | PEPCO
MORGANTOWN CT 4 | 54 | PEPCO | PEPCO
MORGANTOWN CT 5 | 54 | PEPCO | PEPCO
MORGANTOWN CT 6 | 54 | PEPCO | PEPCO
MORRIS COGEN | 1.9 | COMED | COMED
MOSER CT 1 | 17 | PECO | EMAAC
MOSER CT 2 | 17 | PECO | EMAAC
MOSER CT 3 | 17 | PECO | EMAAC
MOTTVILLE 1-4 | 1.6 | AEP | RTO
MOUNT HOLLY SOLAR | 3.8 | PSEG | PSEG
MOUNT LAUREL SOLAR | 1 | PSEG | PSEG
MOUNT SAINT MARY SOLAR | 5.3 | APS | RTO
MOUNTAIN 1 | 19.7 | METED | MAAC
MOUNTAIN 2 | 20 | METED | MAAC
MOUNTAINEER 1 | 1305 | AEP | RTO
MOXIE LIBERTY | 756 | PENELEC | MAAC
MOXIE PATRIOT | 756 | PPL | PPL
MT. STORM 1 | 550 | DOM | RTO
MT. STORM 2 | 553 | DOM | RTO
MT. STORM 3 | 520 | DOM | RTO
MT. STORM GT1 | 11 | DOM | RTO
MUDDY RUN 1 | 134 | PECO | EMAAC
MUDDY RUN 2 | 133 | PECO | EMAAC
MUDDY RUN 3 | 134 | PECO | EMAAC
MUDDY RUN 4 | 134 | PECO | EMAAC
MUDDY RUN 5 | 134 | PECO | EMAAC
MUDDY RUN 6 | 133 | PECO | EMAAC
MUDDY RUN 7 | 134 | PECO | EMAAC
MUDDY RUN 8 | 134 | PECO | EMAAC
MURPHY SOLAR | 3.2 | DOM | RTO
N HAVERHILL | 53 | AEP | RTO
NELSON CC 1 | 287.5 | COMED | COMED
NELSON CC 2 | 287.5 | COMED | COMED
NEPCO NUG | 51 | PPL | PPL
NESQUEHONING SOLAR | 3.8 | PPL | PPL
NEW CASTLE 3 | 93 | ATSI | ATSI
NEW CASTLE 4 | 92 | ATSI | ATSI
NEW CASTLE 5 | 140 | ATSI | ATSI
NEW CASTLE DIESEL | 2.5 | ATSI | ATSI
NEW COVERT CC 1 | 345 | AEP | RTO
NEW COVERT CC 2 | 345 | AEP | RTO
NEW COVERT CC 3 | 345 | AEP | RTO
NEW KENT COUNTY SOLAR | 13.8 | DOM | RTO
NEW LISBON 1 SOLAR | 3.2 | JCPL | EMAAC
NEW LISBON 2 SOLAR | 3.2 | JCPL | EMAAC
NEWARK BAY | 120.2 | PSEG | PS-NORTH
NEWARK CT 1 | 2 | PSEG | PSEG
NEWLAND PARK LF | 6 | DPL | EMAAC
NEWSOMS SOLAR | 38 | DOM | RTO
NEWTON SOLAR | 1.1 | JCPL | EMAAC
NILES A CT | 24.6 | ATSI | ATSI
NIMO PENNTECH | 42 | PENELEC | MAAC
NORTH ALLEGHENY WF | 9.1 | PENELEC | MAAC
NORTH ANNA 1 | 948 | DOM | RTO
NORTH ANNA 2 | 944 | DOM | RTO
NORTH HIGHLAND WF | 12.5 | PENELEC | MAAC
NORTH LONGVIEW | 700 | APS | RTO
NORTH MESHOPPEN DIESEL | 19.9 | PENELEC | MAAC
NORTH RUN SOLAR | 2.5 | JCPL | EMAAC
NORTH WALES DEISEL | 2 | PECO | EMAAC
NORTHAMPTON NUG | 111.4 | PPL | PPL
NORTHEAST LF | 6.2 | DOM | RTO
NORTHERN NECK GT1 | 12 | DOM | RTO
NORTHERN NECK GT2 | 12 | DOM | RTO
NORTHERN NECK GT3 | 12 | DOM | RTO
NORTHERN NECK GT4 | 11 | DOM | RTO
NORTHERN TIER | 1 | PENELEC | MAAC
NOTCH CLIFF CT 1 | 14 | BGE | BGE
NOTCH CLIFF CT 2 | 14 | BGE | BGE
NOTCH CLIFF CT 3 | 14 | BGE | BGE
NOTCH CLIFF CT 4 | 14 | BGE | BGE
NOTCH CLIFF CT 5 | 14.6 | BGE | BGE
NOTCH CLIFF CT 6 | 15.6 | BGE | BGE
NOTCH CLIFF CT 7 | 14.5 | BGE | BGE
NOTCH CLIFF CT 8 | 16 | BGE | BGE
OAK GROVE CT1 | 160.2 | APS | RTO
OAK GROVE CT2 | 161.1 | APS | RTO
OAKS LF | 2 | PEPCO | PEPCO
OBERLIN LORAIN COUNTY 2 LF | 15.8 | ATSI | ATSI
OCCOQUAN LF | 2.9 | DOM | RTO
OCCOQUAN LF 2 | 3 | DOM | RTO
OCEAN COUNTY LF | 9.1 | JCPL | EMAAC
OCEANA SOLAR | 11.2 | DOM | RTO
OGDEN MARTIN | 70 | DOM | RTO
OLD TRAIL 2 WF | 34.3 | COMED | COMED
OLIVE WEST SOLAR | 2.5 | AEP | RTO
ONTELAUNEE CC 3 | 146.9 | METED | MAAC
ONTELAUNEE CT 1 | 203.5 | METED | MAAC
ONTELAUNEE CT 2 | 203.5 | METED | MAAC
ORCHARD HILLS LF | 3 | AEP | RTO
OREGON CC | 819 | ATSI | ATSI
ORRTANNA | 19.5 | METED | MAAC
OTTAWA COUNTY LF | 2.2 | ATSI | ATSI
OUTER BANKS DIESELS | 18 | DOM | RTO
P.H. GLATFELTER NUG | 35 | METED | MAAC
PANDA | 230 | PEPCO | PEPCO
PANTHER CREEK NUG | 80 | METED | MAAC
PARADISE SOLAR | 1.9 | PSEG | PSEG
PARKLAND SOLAR | 3 | PSEG | PSEG
PARLIN NUG | 113.1 | JCPL | EMAAC
PATTON WF | 5.3 | PENELEC | MAAC
PAXTON CREEK | 12 | PPL | PPL
PE HYDRO | 9.2 | APS | RTO
PEACH BOTTOM 2 | 1223.7 | PECO | EMAAC
PEACH BOTTOM 3 | 1226.7 | PECO | EMAAC
PEDRICKTOWN PCLP | 115.3 | AECO | EMAAC
PEMBERTON TOWNSHIP SOLAR | 2.7 | PSEG | PSEG
PENN MAR WF | 4.8 | PENELEC | MAAC
PENNSBURY GROWS 1 | 2.4 | PECO | EMAAC
PENNSBURY GROWS 2 | 2.8 | PECO | EMAAC
PERRY 1 | 1240 | ATSI | ATSI-CLEVELAND
PERRYMAN 6 | 109.8 | BGE | BGE
PERRYMAN CT 1 | 52 | BGE | BGE
PERRYMAN CT 3 | 51 | BGE | BGE
PERRYMAN CT 4 | 52 | BGE | BGE
PERRYMAN CT 51 | 139 | BGE | BGE
PHILADELPHIA ROAD CT 1 | 15.3 | BGE | BGE
PHILADELPHIA ROAD CT 2 | 15.1 | BGE | BGE
PHILADELPHIA ROAD CT 3 | 14.8 | BGE | BGE
PHILADELPHIA ROAD CT 4 | 14.8 | BGE | BGE
PHILLIPS ISLAND CT1 | 163 | PECO | EMAAC
PHILLIPS ISLAND CT2 | 163 | PECO | EMAAC
PHILLIPS ISLAND CT3 | 163 | PECO | EMAAC
PHILLIPS ISLAND ST4 | 271 | PECO | EMAAC
PHILPOTT 1-3 | 15 | AEP | RTO
PILESGROVE SOLAR | 7.6 | AECO | EMAAC
PILOT HILL WF | 35 | COMED | COMED
PINE GROVE LF | 6 | PPL | PPL
PINEY 1-3 | 32.2 | PENELEC | MAAC
PINNACLE WF | 10.6 | APS | RTO
PIONEER | 6.6 | METED | MAAC
PLEASANTS 1-2 | 1278 | APS | RTO
PLEASANTVILLE LF | 1.3 | AECO | EMAAC
POLYESTER 1 | 51 | DOM | RTO
PORTLAND 3 | 15 | METED | MAAC
PORTLAND 4 | 20 | METED | MAAC
PORTLAND 5 | 134 | METED | MAAC
POSSUM POINT 3 | 96 | DOM | RTO
POSSUM POINT 4 | 220 | DOM | RTO
POSSUM POINT 5 | 783.1 | DOM | RTO
POSSUM POINT G6S | 573 | DOM | RTO
POSSUM POINT GTS | 71.5 | DOM | RTO
POWERTON COAL 5 | 769 | COMED | COMED
POWERTON COAL 6 | 769 | COMED | COMED
POWHATAN COUNTY SOLAR | 13.8 | DOM | RTO
PRICE SOLAR | 2.3 | DPL | DPL-SOUTH
PROVIDENCE HEIGHTS WF | 10.3 | COMED | COMED
PS BLACKROCK MATRIX SOLAR | 0.9 | PSEG | PSEG
PS CENTRAL HQ SOLAR | 0.3 | PSEG | PSEG
PS EDISON TRAINING SOLAR | 0.2 | PSEG | PSEG
PS JESSUP ROAD THOROFARE SOLAR | 0.2 | PSEG | PSEG
PS MATRIX BLDG SOLAR | 0.9 | PSEG | PSEG
PS MILL CREEK SOLAR | 1.2 | PSEG | PSEG
PS POLE TOP SOLAR | 6.6 | PSEG | PSEG
PS RARITAN CENTER SUMMIT SOLAR | 0.7 | PSEG | PSEG
PS RIDER UNIV SOLAR | 0.2 | PSEG | PSEG
PS SILVER LAKE SOLAR | 0.6 | PSEG | PSEG
PS SOUTHERN HQ SOLAR | 0.3 | PSEG | PSEG
PS STULTS ROAD MATRIX SOLAR | 1 | PSEG | PSEG
PS TRENTON SOLAR | 0.4 | PSEG | PSEG
PS YARDVILLE SOLAR | 1.3 | PSEG | PSEG
PSEG PS-NORTH BARRINGER SOLAR | 0.2 | PSEG | PS-NORTH
PSEG PS-NORTH CAMDEN SOLAR | 0.3 | PSEG | PS-NORTH
PSEG PS-NORTH FOOD BANK | 0.3 | PSEG | PS-NORTH
PSEG PS-NORTH HACKENSACK SOLAR | 0.3 | PSEG | PS-NORTH
PSEG PS-NORTH LINDEN SOLAR | 1 | PSEG | PS-NORTH
PSEG PS-NORTH METRO HQ SOLAR | 0.2 | PSEG | PS-NORTH
PSEG PS-NORTH NEW CENTRAL SOLAR | 0.1 | PSEG | PS-NORTH
PSEG PS-NORTH NJMC SOLAR | 0.9 | PSEG | PS-NORTH
PSEG PS-NORTH PARK SOLAR | 0.2 | PSEG | PS-NORTH
PSEG PS-NORTH POLE TOP SOLAR | 4 | PSEG | PS-NORTH
PSEG PS-NORTH WEA TEXAS BAYONNE SOLAR | 0.5 | PSEG | PS-NORTH
QUAD CITIES 1 | 908 | COMED | COMED
QUAD CITIES 2 | 911 | COMED | COMED
QUEEN ANNES COUNTY SOLAR | 3.8 | DPL | EMAAC
R.P MONE 1 | 145 | AEP | RTO
R.P MONE 2 | 145 | AEP | RTO
R.P MONE 3 | 145 | AEP | RTO
RACINE 1-2 | 46 | AEP | RTO
RALEIGH COUNTY LF | 2.4 | AEP | RTO
RANDOLPH COUNTY WF | 26 | AEP | RTO
RARITAN RIVER | 722.9 | JCPL | EMAAC
RAYSTOWN | 21 | PENELEC | MAAC
RED LION FUEL CELL | 23.8 | DPL | EMAAC
RED OAK CC 1 | 244 | JCPL | EMAAC
RED OAK CT 1 | 174 | JCPL | EMAAC
RED OAK CT 2 | 174 | JCPL | EMAAC
RED OAK CT 3 | 174 | JCPL | EMAAC
REEDY CREEK | 45.4 | DOM | RTO
REEVES 2 SOLAR | 2.2 | PSEG | PSEG
REEVES SOLAR | 1.9 | PSEG | PSEG
REICHS FORD LF | 1.2 | APS | RTO
REMINGTON GT1 | 151.5 | DOM | RTO
REMINGTON GT2 | 151 | DOM | RTO
REMINGTON GT3 | 151 | DOM | RTO
REMINGTON GT4 | 151 | DOM | RTO
REMINGTON SOLAR | 7.6 | DOM | RTO
REUSENS 1-5 | 4 | AEP | RTO
RICHLAND 1 | 11 | ATSI | ATSI
RICHLAND 2 | 11 | ATSI | ATSI
RICHLAND 3 | 11 | ATSI | ATSI
RICHLAND 4 | 118 | ATSI | ATSI
RICHLAND 5 | 118 | ATSI | ATSI
RICHLAND 6 | 118 | ATSI | ATSI
RICHMOND 1 | 34.5 | AEP | RTO
RICHMOND 2 | 34.5 | AEP | RTO
RICHMOND CT 91 | 49 | PECO | EMAAC
RICHMOND CT 92 | 49 | PECO | EMAAC
RIVER ENERGY CT 1 | 162 | COMED | COMED
RIVER ENERGY CT 2 | 165 | COMED | COMED
RIVERSIDE CT 7 | 19 | BGE | BGE
RIVERSIDE CT 8 | 20 | BGE | BGE
ROANOKE RAPIDS 1-4 | 95 | DOM | RTO
ROCK SPRINGS CT1 | 163 | DPL | EMAAC
ROCK SPRINGS CT2 | 163 | DPL | EMAAC
ROCK SPRINGS CT3 | 163.6 | DPL | EMAAC
ROCK SPRINGS CT4 | 166.4 | DPL | EMAAC
ROCKFORD CT 11 | 149.1 | COMED | COMED
ROCKFORD CT 12 | 147.8 | COMED | COMED
ROCKFORD CT 21 | 153 | COMED | COMED
ROCKPORT 1 | 1315 | AEP | RTO
ROCKPORT 2 | 1300 | AEP | RTO
ROCKVILLE DIESEL | 4 | DOM | RTO
ROCKWOOD WF | 5.8 | PENELEC | MAAC
ROCKY ROAD CT 31 | 100.6 | COMED | COMED
ROCKY ROAD CT 32 | 101.6 | COMED | COMED
ROCKY ROAD CT 33 | 27.6 | COMED | COMED
ROCKY ROAD CT 34 | 104 | COMED | COMED
RONCO CT1 | 174.3 | APS | RTO
RONCO CT2 | 174.3 | APS | RTO
RONCO STG | 316.4 | APS | RTO
ROSEMARY | 160 | DOM | RTO
ROTH ROCK WF | 6.5 | APS | RTO
SAFE HARBOR 1-12 | 416.5 | PPL | PPL
SALEM 1 | 1153 | PSEG | EMAAC
SALEM 2 | 1147.6 | PSEG | EMAAC
SALEM COUNTY LF | 1.4 | AECO | EMAAC
SAMMIS 1 | 160 | ATSI | ATSI
SAMMIS 2 | 160 | ATSI | ATSI
SAMMIS 3 | 160 | ATSI | ATSI
SAMMIS 4 | 160 | ATSI | ATSI
SAMMIS 5 | 290 | ATSI | ATSI
SAMMIS 6 | 600 | ATSI | ATSI
SAMMIS 7 | 600 | ATSI | ATSI
SAMMIS DIESEL | 13 | ATSI | ATSI
SAYREVILLE C-1 | 57 | JCPL | EMAAC
SAYREVILLE C-2 | 54.6 | JCPL | EMAAC
SAYREVILLE C-3 | 54.6 | JCPL | EMAAC
SAYREVILLE C-4 | 49.9 | JCPL | EMAAC
SCHUYKILL ENERGY NUG | 86 | PPL | PPL
SCHUYLKILL CT 10 | 13 | PECO | EMAAC
SCHUYLKILL CT 11 | 17 | PECO | EMAAC
SCRUBGRASS NUG | 85 | PENELEC | MAAC
SENECA 1 | 234 | PENELEC | MAAC
SENECA 2 | 219.6 | PENELEC | MAAC
SENECA 3 | 30 | PENELEC | MAAC
SEWARD 1 | 525 | PENELEC | MAAC
SHADY OAKS WF | 21.9 | COMED | COMED
SHAWNEE 1 | 20 | METED | MAAC
SHAWVILLE 1 | 118 | PENELEC | MAAC
SHAWVILLE 2 | 121 | PENELEC | MAAC
SHAWVILLE 3 | 163 | PENELEC | MAAC
SHAWVILLE 4 | 163 | PENELEC | MAAC
SHAWVILLE 5-7 DIESEL | 6 | PENELEC | MAAC
SHERMAN AVENUE CT 1 | 83.9 | AECO | EMAAC
SIDNEY D 1-5 | 12 | DAY | DAY
SMECO | 80.2 | PEPCO | PEPCO
SMITH CT 1 | 110 | EKPC | RTO
SMITH CT 10 | 76 | EKPC | RTO
SMITH CT 2 | 105 | EKPC | RTO
SMITH CT 3 | 106 | EKPC | RTO
SMITH CT 4 | 71 | EKPC | RTO
SMITH CT 5 | 70.6 | EKPC | RTO
SMITH CT 6 | 69 | EKPC | RTO
SMITH CT 7 | 69 | EKPC | RTO
SMITH CT 9 | 76 | EKPC | RTO
SMITH MOUNTAIN 1 | 65 | AEP | RTO
SMITH MOUNTAIN 2 | 175 | AEP | RTO
SMITH MOUNTAIN 3 | 105 | AEP | RTO
SMITH MOUNTAIN 4 | 175 | AEP | RTO
SMITH MOUNTAIN 5 | 65 | AEP | RTO
SOMERSET WF | 0.9 | PENELEC | MAAC
SOUTH ANNA 1 | 109 | DOM | RTO
SOUTH ANNA 2 | 109 | DOM | RTO
SOUTH BEND CT1 | 159.4 | APS | RTO
SOUTH BEND CT2 | 158.7 | APS | RTO
SOUTH BEND CT3 | 161.1 | APS | RTO
SOUTH BEND CT4 | 159.6 | APS | RTO
SOUTH CHESTNUT WF | 5.5 | APS | RTO
SOUTH RIVER NUG | 297.8 | JCPL | EMAAC
SOUTHEAST CHICAGO CT 10 | 37 | COMED | COMED
SOUTHEAST CHICAGO CT 11 | 37 | COMED | COMED
SOUTHEAST CHICAGO CT 12 | 37 | COMED | COMED
SOUTHEAST CHICAGO CT 5 | 37 | COMED | COMED
SOUTHEAST CHICAGO CT 6 | 37 | COMED | COMED
SOUTHEAST CHICAGO CT 7 | 37 | COMED | COMED
SOUTHEAST CHICAGO CT 8 | 37 | COMED | COMED
SOUTHEAST CHICAGO CT 9 | 37 | COMED | COMED
SOUTHERN LF | 4.1 | DPL | EMAAC
SOUTHERN LF 5 | 0.9 | DPL | DPL-SOUTH
SOUTHHAMPTON 1 | 51 | DOM | RTO
SOUTHWARK CT 3 | 13 | PECO | EMAAC
SOUTHWARK CT 4 | 13 | PECO | EMAAC
SOUTHWARK CT 5 | 13 | PECO | EMAAC
SOUTHWARK CT 6 | 13 | PECO | EMAAC
SPRINGDALE 1 | 44 | APS | RTO
SPRINGDALE 2 | 44 | APS | RTO
SPRINGDALE CC 3-5 | 529.6 | APS | RTO
SPRINGFIELD TWP SOLAR | 2.7 | PSEG | PSEG
SPRUANCE 1 RICH 1-2 | 115.5 | DOM | RTO
SPRUANCE 2 RICH 3-4 | 85 | DOM | RTO
SPURLOCK 1 | 300 | EKPC | RTO
SPURLOCK 2 | 510 | EKPC | RTO
SPURLOCK 3 | 268 | EKPC | RTO
SPURLOCK 4 | 268 | EKPC | RTO
STAFFORD 1 | 2 | DOM | RTO
STEWARTSVILLE SOLAR | 3.6 | JCPL | EMAAC
STILLMAN VALLEY LF | 10 | COMED | COMED
STONY CREEK WF | 8.5 | PENELEC | MAAC
STREATOR LF | 10 | COMED | COMED
STRYKER CT | 13 | ATSI | ATSI
STUART 2 | 577 | DAY | DAY
STUART 3 | 577 | DAY | DAY
STUART 4 | 577 | DAY | DAY
STUART DIESEL 1-4 | 9.2 | DAY | DAY
SUBLETTE WF | 3.2 | COMED | COMED
SUMMERSVILLE 1-2 | 80 | AEP | RTO
SUNBURY CT 1-2 | 36 | PPL | PPL
SUNBURY DIESELS | 5 | PPL | PPL
SURRY 1 | 842 | DOM | RTO
SURRY 2 | 842 | DOM | RTO
SUSQUEHANNA 1 | 1247 | PPL | PPL
SUSQUEHANNA 2 | 1247 | PPL | MAAC
SUSSEX COUNTY LF | 2 | JCPL | EMAAC
SUSSEX COUNTY SOLAR | 13.8 | DOM | RTO
TAIT DIESELS 1-4 | 10 | DAY | DAY
TAIT GT 1 | 88 | DAY | DAY
TAIT GT 2 | 89 | DAY | DAY
TAIT GT 3 | 79 | DAY | DAY
TAIT GT 4 | 80 | DAY | DAY
TAIT GT 5 | 80 | DAY | DAY
TAIT GT 6 | 80 | DAY | DAY
TAIT GT 7 | 80 | DAY | DAY
TASLEY 10 | 30.2 | DPL | DPL-SOUTH
TIMBER ROAD II WF | 22.9 | AEP | RTO
TIMBER ROAD III WF | 20.1 | AEP | RTO
TINTON FALLS SOLAR | 6.4 | JCPL | EMAAC
TITUS 4 | 15 | METED | MAAC
TITUS 5 | 15.1 | METED | MAAC
TMI 1 | 802.8 | METED | MAAC
TOLNA 1 | 20 | METED | MAAC
TOLNA 2 | 18.7 | METED | MAAC
TOP CROP 2 WF | 34.1 | COMED | COMED
TOP CROP WF | 18.4 | COMED | COMED
TOSCO | 20 | PSEG | PSEG
TROY 1 | 160 | ATSI | ATSI
TROY 2 | 160 | ATSI | ATSI
TROY 3 | 160 | ATSI | ATSI
TROY 4 | 160 | ATSI | ATSI
TWIN BRANCH 1-8 | 4.2 | AEP | RTO
TWIN BRANCH SOLAR | 1.3 | AEP | RTO
TWIN RIDGES WF | 23 | APS | RTO
UNION COUNTY RES. RCRVRY | 37.4 | PSEG | PS-NORTH
UNIVERSITY PARK CT 31-1 | 53.1 | COMED | COMED
UNIVERSITY PARK CT 31-2 | 53.2 | COMED | COMED
UNIVERSITY PARK CT 32-1 | 53.2 | COMED | COMED
UNIVERSITY PARK CT 32-2 | 53.2 | COMED | COMED
UNIVERSITY PARK CT 33-1 | 53.2 | COMED | COMED
UNIVERSITY PARK CT 33-2 | 53.2 | COMED | COMED
UNIVERSITY PARK NORTH CT 1 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT 2 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT 3 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT 4 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT 5 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT 6 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT 7 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT 8 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT 9 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT10 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT11 | 45 | COMED | COMED
UNIVERSITY PARK NORTH CT12 | 45 | COMED | COMED
UPTON | 15 | APS | RTO
VANSANT NORTHST 1 | 45 | DPL | DPL-SOUTH
VIENNA 10 | 14.3 | DPL | DPL-SOUTH
VIENNA 8 | 153 | DPL | DPL-SOUTH
VINELAND 11 | 55 | AECO | EMAAC
VINELAND CT | 22.9 | AECO | EMAAC
VIRGINIA BEACH LF | 11.3 | DOM | RTO
VIRGINIA CITY | 610 | AEP | RTO
WAGNER 1 | 126 | BGE | BGE
WAGNER 2 | 118 | BGE | BGE
WAGNER 3 | 305 | BGE | BGE
WAGNER 4 | 397 | BGE | BGE
WAGNER CT 1 | 12.9 | BGE | BGE
WALDORF | 723.9 | PEPCO | PEPCO
WALLENPAUPACK 1-2 | 44 | PPL | PPL
WANTAGE TOWNSHIP SOLAR | 2.8 | JCPL | EMAAC
WARREN COUNTY CC | 1350 | DOM | RTO
WARREN COUNTY NUG | 10 | JCPL | EMAAC
WARREN COUNTY SOLAR | 0.5 | JCPL | EMAAC
WARREN CT | 57 | PENELEC | MAAC
WARRIOR RUN | 180 | APS | RTO
WASHINGTON 1 | 236 | AEP | RTO
WASHINGTON 2 | 214.5 | AEP | RTO
WASHINGTON 3 | 214.5 | AEP | RTO
WATERFORD 1 | 362 | AEP | RTO
WATERFORD 2 | 168 | AEP | RTO
WATERFORD 3 | 168 | AEP | RTO
WATERFORD 4 | 168 | AEP | RTO
WATERVLIET SOLAR | 2.3 | AEP | RTO
WAUKEGAN COAL 7 | 328 | COMED | COMED
WAUKEGAN COAL 8 | 354.4 | COMED | COMED
WAUKEGAN CT 31 | 52.5 | COMED | COMED
WAUKEGAN CT 32 | 48.3 | COMED | COMED
WEAKLEY DIESEL | 7 | DOM | RTO
WEST BROOKLYN WF | 7.1 | COMED | COMED
WEST KINGSPORT | 45 | AEP | RTO
WEST LORAIN 2 | 76.2 | ATSI | ATSI-CLEVELAND
WEST LORAIN 3 | 77.5 | ATSI | ATSI-CLEVELAND
WEST LORAIN 4 | 76.6 | ATSI | ATSI-CLEVELAND
WEST LORAIN 5 | 77.9 | ATSI | ATSI-CLEVELAND
WEST LORAIN 6 | 78.2 | ATSI | ATSI-CLEVELAND
WEST LORAIN A | 49.6 | ATSI | ATSI-CLEVELAND
WEST LORAIN B | 51.5 | ATSI | ATSI-CLEVELAND
WEST PULLMAN 1 SOLAR | 1.7 | COMED | COMED
WEST PULLMAN 2 SOLAR | 1.7 | COMED | COMED
WEST SHORE 1 | 14 | PPL | PPL
WEST SHORE 2 | 14 | PPL | PPL
WEST SUB | 17.2 | DPL | EMAAC
WESTPORT CT 5 | 115.8 | BGE | BGE
WESTWOOD NUG | 32.5 | PPL | PPL
WHEELABRATOR FALLS | 43 | PSEG | PSEG
WHITAKERS SOLAR | 8.4 | DOM | RTO
WICOMICO COUNTY SOLAR | 5.7 | DPL | DPL-SOUTH
WILDCAT 1A WF | 13.2 | AEP | RTO
WILDCAT 1B WF | 12.8 | AEP | RTO
WILDWOOD SOLAR | 40.2 | DOM | RTO
WILL COUNTY COAL 4 | 510 | COMED | COMED
WILLIAMSPORT 1 | 13.5 | PPL | PPL
WILLIAMSPORT 2 | 13.5 | PPL | PPL
WILLOW ISLAND HYDRO 1 | 21.6 | APS | RTO
WILLOW ISLAND HYDRO 2 | 21.6 | APS | RTO
WINCHESTER CT | 3 | APS | RTO
WINFIELD 1-3 | 14.8 | AEP | RTO
WOLFHILLS CT 1 | 48.9 | AEP | RTO
WOLFHILLS CT 2 | 48 | AEP | RTO
WOLFHILLS CT 3 | 48.3 | AEP | RTO
WOLFHILLS CT 4 | 49.4 | AEP | RTO
WOLFHILLS CT 5 | 49.3 | AEP | RTO
WOODBINE LF | 2 | AECO | EMAAC
WOODSDALE GT1 | 77 | DEOK | DEOK
WOODSDALE GT2 | 77 | DEOK | DEOK
WOODSDALE GT3 | 77 | DEOK | DEOK
WOODSDALE GT4 | 77 | DEOK | DEOK
WOODSDALE GT5 | 77 | DEOK | DEOK
WOODSDALE GT6 | 77 | DEOK | DEOK
WRIGHTSTOWN SOLAR | 1.8 | JCPL | EMAAC
WVU | 50 | APS | RTO
YANKEE 1 | 19.5 | DAY | DAY
YANKEE 2 | 19.5 | DAY | DAY
YANKEE 3 | 19.3 | DAY | DAY
YANKEE 4 | 11 | DAY | DAY
YANKEE 5 | 8.4 | DAY | DAY
YANKEE 6 | 11.8 | DAY | DAY
YANKEE 7 | 11 | DAY | DAY
YANKEE SOLAR | 0.5 | DAY | DAY
YARDS CREEK 1 | 140 | JCPL | EMAAC
YARDS CREEK 2 | 140 | JCPL | EMAAC
YARDS CREEK 3 | 140 | JCPL | EMAAC
YORK COUNTY NUG | 30 | METED | MAAC
YORK HAVEN 1-20 | 19 | METED | MAAC
YORKTOWN 3 | 788.9 | DOM | RTO
YOUGH HYDRO NUG | 5 | PENELEC | MAAC
ZELDA 1 RIVERSIDE | 171.5 | AEP | RTO
ZELDA 2 RIVERSIDE | 170.2 | AEP | RTO
ZELDA 3 RIVERSIDE | 170.2 | AEP | RTO
ZELDA 4 FOOTHILLS | 173.3 | AEP | RTO
ZELDA 5 FOOTHILLS | 170.7 | AEP | RTO
ZIMMER 1 | 1300 | DEOK | DEOK
ZION 1 | 165 | COMED | COMED
ZION 2 | 165 | COMED | COMED
ZION 3 | 165 | COMED | COMED