## PJM Buy Bids-Sell Offers
Configuration of 2nd Incremental Auction for 2021/2022 Delivery Year |  |  |  |  | 2020-06-05
PJM Buy Bids & Sell Offers
These Planning Parameters are based on a revised PJM load forecast that was updated in April 2020. In an order issued on June 15, 2020, FERC accepted PJM’s waiver request (Docket No. ER20-1870-000) to allow PJM to base the parameters of the 2021/2022 2nd IA on a revised updated PJM load forecast that reflects a substantial change (as a result of the current pandemic) in the economic forecast relied on by the load forecast.
Price Points for PJM Buy Bids and PJM Sell Offers **
Location | Rest of LDA PJM Buy Bid (MW) * | Point 1 x-axis (MW) | Point 1 y-axis ($/MW-Day) | Point 2 x-axis (MW) | Point 2 y-axis ($/MW-Day) | Point 3 x-axis (MW) | Point 3 y-axis ($/MW-Day)
RTO (Rest of) | -768.8 | 0 | 0 | 768.8 | 0 | -- | --
MAAC (Rest of) | -477 | 0 | 85.3 | 477 | 116.99 | -- | --
EMAAC (Rest of) | -97 | 0 | 161.69 | 97 | 174.01 | -- | --
SWMAAC (Rest of) | 0 | -- | -- | -- | -- | -- | --
PS (Rest of) | 58.9 | 0 | 230.94 | 58.9 | 206.54 | -- | --
PS NORTH | 0 | -- | -- | -- | -- | -- | --
DPL SOUTH | 0 | -- | -- | -- | -- | -- | --
PEPCO | -104 | 0 | 54.04 | 104 | 108.55 | -- | --
ATSI (Rest of) | -852 | 0 | 0 | 495.9 | 0 | 852 | 109.27
ATSI-CLEVELAND | -165 | 0 | 47.37 | 165 | 180.53 | -- | --
COMED | -2191 | 0 | 0 | 1339.1 | 0 | 2191 | 178.81
BGE | -185 | 0 | 77.35 | 185 | 163.97 | -- | --
PL | 0 | -- | -- | -- | -- | -- | --
DAYTON | -302 | 0 | 0 | 202.2 | 0 | 302 | 123.68
DEOK | -243.4 | 0 | 0 | 42 | 0 | 243.4 | 133.42
TOTAL | -5326.3
* A PJM Sell Offer is indicated by a negative PJM Buy Bid.
** The price of a PJM buy bid is based on the Updated VRR Curve Increment which is the portion of the Updated VRR Curve remaining beyond the point representing all capacity already procured in prior auctions for the Delivery Year. The price of a PJM Sell Offer is based on the Updated VRR Curve Decrement which is the portion of the Updated VRR Curve to the left of the point representing all capacity already procured in prior auctions for the Delivery Year.

## 2nd IA Configuration
2021-2022 2nd Incremental Auction Configuration
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-C | COMED | BGE | PL | DAYTON | DEOK
2nd IA Reliability Requirement | 147948.6 | 64229 | 36041 | 15010 | 11639 | 6109 | 3108 | 7941 | 14581 | 5544 | 23921 | 7609 | 10160 | 3677 | 6885.681
1st IA Reliability Requirement | 152212.4 | 64893 | 36025 | 15270 | 11526 | 6111 | 2884 | 8101 | 15370 | 5709 | 25611 | 7844 | 9917 | 3895 | 7068.4513
Change in Reliability Requirement * (1) | -4263.8 | -664 | 16 | -260 | 113 | -2 | 224 | -160 | -789 | -165 | -1690 | -235 | 243 | -218 | -182.7703
Change in CETL from 1st IA to 2nd IA ** | NA | 511 | 0 | 0 | 0 | 0 | 0 | -127 | 0 | 0 | 0 | -50 | 0 | 0 | 0
Capacity Import Limit Margin remaining after 1st IA | NA | 2309.6 | 0 | 2942 | 0 | 0 | 330.4 | 4137.8 | 662.4 | 766.8 | 182.4 | 0 | 7301.3 | 854.7 | 184.8
Uncleared PJM Buy Bids from Previous IA (2) | -1062.5 | -140.1 | -54.1 | -29 | -54.1 | 0 | 0 | 0 | -228 | 0 | -501 | 0 | -57 | -84 | -60.6
Additional Buy Bids *** (3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net of (1), (2), and (3) | -5326.3 | -804.1 | -38.1 | -289 | 58.9 | -2 | 224 | -160 | -1017 | -165 | -2191 | -235 | 186 | -302 | -243.3703
Rest of LDA PJM Buy Bid Quantity Unadjusted | -768.8297 | -663 | -321 | 106 | 60.9 | -2 | 224 | -160 | -852 | -165 | -2191 | -235 | 186 | -302 | -243.3703
Rest of LDA PJM Buy Bid Quantity Adjusted **** | -768.8 | -477 | -97 | 0 | 58.9 | 0 | 0 | -104 | -852 | -165 | -2191 | -185 | 0 | -302 | -243.4
Capacity Import Limit Margin for 2nd IA | NA | 2820.6 | 0 | 2942 | 0 | 0 | 106.4 | 4066.8 | 662.4 | 766.8 | 182.4 | 0 | 7115.3 | 854.7 | 184.8
* As per Section 5.4.(c) of the PJM OATT, the reliability requirement for the RTO and each LDA will be updated since the change in reliability requirement for the RTO exceeds the lesser of the 500 MW or 1% threshold.
** The CETL of MAAC, SWMAAC, BGE and PEPCO were updated to reflect removal of a backbone projects (b2743.1 and b2743.2) that did not meet the applicable milestones of section 5.11A of Attachment DD.
*** Additional Buy Bids to account for election of Non-Viable MWs related to Prior CIL Exception External Resources which were deemed not Operationally Deliverable for the Delivery Year to be requested for 3rd Incremental Auction.
**** PJM Sell Offer and PJM Buy Bid quantities in nested LDAs may be adjusted in some cases to take into account any reliability impacts on the total LDA.

## 2nd IA Parameters
2021-2022 RPM Second Incremental Auction Planning Parameters
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.1% | 2019 IRM Study
Pool-Wide Average EFORd | 5.56% | 2019 IRM Study
Forecast Pool Requirement (FPR) | 1.087 | 2019 IRM Study
Preliminary Forecast Peak Load | 147501.6 | Load data: from 2020 Load Report (B-10: "PJM RTO") with adjustments due to load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
CETO | NA | -9110 | 2760 | 2960 | 5500 | 2600 | 1390 | 1350 | 4750 | 3130 | -2640 | 4590 | -690 | 2470 | 2680
CETL | NA | 4210 | 9000 | 8770 | 6902 | 3180 | 1624 | 6710 | 8439 | 5256 | 5574 | 5860 | 6609 | 3502 | 4959
Reliability Requirement | 160334.2 | 64229 | 36041 | 15010 | 11639 | 6109 | 3108 | 7941 | 14581 | 5544 | 23921 | 7609 | 10160 | 3677 | 7260
Total Peak Load of FRR Entities | 11394.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 823.8
Preliminary FRR Obligation | 12385.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895.5
Reliability Requirement adjusted for FRR | 147948.6 | 64229 | 36041 | 15010 | 11639 | 6109 | 3108 | 7941 | 14581 | 5544 | 23921 | 7609 | 10160 | 3677 | 6885.681
Gross CONE, $/MW-Day (UCAP Price) | 392.5336 | 391.1484 | 386.2556 | 408.9062 | 386.2556 | 386.2556 | 386.2556 | 408.9062 | 385.8869 | 385.8869 | 385.8869 | 408.9062 | 389.0956 | 385.8869 | 385.8869
Net CONE, $/MW-Day (UCAP Price) | 320.4463 | 291.6673 | 312.6736 | 263.9544 | 329.4548 | 329.4548 | 299.1311 | 284.4227 | 305.7977 | 305.7977 | 343.1567 | 243.4762 | 299.6692 | 311.4678 | 311.707
EE Addback (UCAP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 480.67 | 437.5 | 469.01 | 408.91 | 494.18 | 494.18 | 448.7 | 426.63 | 458.7 | 458.7 | 514.74 | 408.91 | 449.5 | 467.2 | 467.56
Point (b) UCAP Price, $/MW-Day | 240.33 | 218.75 | 234.51 | 197.97 | 247.09 | 247.09 | 224.35 | 213.32 | 229.35 | 229.35 | 257.37 | 182.61 | 224.75 | 233.6 | 233.78
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 147691.5 | 64117.4 | 35978.4 | 14983.9 | 11618.8 | 6098.4 | 3102.6 | 7927.2 | 14555.7 | 5534.4 | 23879.4 | 7595.8 | 10142.3 | 3670.6 | 6873.7
Point (b) UCAP Level, MW | 151676.2 | 65847.3 | 36949.1 | 15388.2 | 11932.3 | 6262.9 | 3186.3 | 8141.1 | 14948.4 | 5683.7 | 24523.7 | 7800.7 | 10416 | 3769.6 | 7059.2
Point (c) UCAP Level, MW | 159260 | 69139.6 | 38796.5 | 16157.6 | 12528.9 | 6576.1 | 3345.6 | 8548.1 | 15695.8 | 5967.9 | 25749.9 | 8190.7 | 10936.8 | 3958.1 | 7412.1
Nominated PRD Value, MW | 510 | 510 | 75 | 435 | 0 | 0 | 35.7 | 195 | 0 | 0 | 0 | 240 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 480.67 | 437.5 | 469.01 | 408.91 | 494.18 | 494.18 | 448.7 | 426.63 | 458.7 | 458.7 | 514.74 | 408.91 | 449.5 | 467.2 | 467.56
Point (b1) UCAP Price, $/MW-Day | 240.33 | 218.75 | 234.51 | 197.97 | 247.09 | 247.09 | 224.35 | 213.32 | 229.35 | 229.35 | 257.37 | 182.61 | 224.75 | 233.6 | 233.78
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a1) UCAP Level, MW | 147137.1 | 63563 | 35896.9 | 14511.1 | 11618.8 | 6098.4 | 3063.8 | 7715.2 | 14555.7 | 5534.4 | 23879.4 | 7334.9 | 10142.3 | 3670.6 | 6873.7
Point (b1) UCAP Level, MW | 151121.8 | 65292.9 | 36867.6 | 14915.4 | 11932.3 | 6262.9 | 3147.5 | 7929.1 | 14948.4 | 5683.7 | 24523.7 | 7539.8 | 10416 | 3769.6 | 7059.2
Point (prd1) UCAP Level, MW | 158705.3 | 68585 | 38714.9 | 15684.8 |  |  | 3306.8 | 8336.1 |  |  |  | 7929.8
Point (prd2) UCAP Level, MW | 159259.7 | 69139.4 | 38796.4 | 16157.6 |  |  | 3345.6 | 8548.1 |  |  |  | 8190.7
Point (c) UCAP Level, MW | 159260 | 69139.6 | 38796.5 | 16157.6 | 12528.9 | 6576.1 | 3345.6 | 8548.1 | 15695.8 | 5967.9 | 25749.9 | 8190.7 | 10936.8 | 3958.1 | 7412.1
Pre-Auction Credit Rate, $/MW | 58481.46 | 53229.27 | 57062.93 | 48171.68 | 60125.49 | 60125.49 | 54591.42 | 51907.14 | 55808.08 | 55808.08 | 62626.1 | 44434.41 | 54689.63 | 56842.88 | 56886.53
Post-Auction Credit Rate, $/MW | 58481.46 | 53229.27 | 57062.93 | 48171.68 | 60125.49 | 60125.49 | 54591.42 | 51907.14 | 55808.08 | 55808.08 | 62626.1 | 44434.41 | 54689.63 | 56842.88 | 56886.53
Participant-Funded ICTRs Awarded | NA | 1557 | 40 | NA | 41 | 21 | 72 | NA | NA | NA | 1376 | 65.7 | NA | NA | 155
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 100% | 83.4% | 47.6% | NA | NA | NA | NA | NA | NA | 86.2% | 26% | NA | NA | 41.8%

## April2020Forecast
APRIL 2020 FORECAST: TABLE B-10
Summer Coincident Peak Load (MW)
Zone | 2021
AE | 2449
BGE | 6187
DPL | 3814
JCPL | 5631
METED | 2866
PECO | 8019
PENLC | 2696
PEPCO | 5865
PL | 6828
PS | 9534
RECO | 380
UGI | 180
AEP | 20978
APS | 8382
ATSI | 11820
COMED | 19575
DAYTON | 3044
DEOK | 5060
DLCO | 2665
EKPC | 1934
OVEC | 59
DOM | 19273
PJM RTO | 147239
PJM MID-ATLANTIC | 54449
EASTERN MID-ATLANTIC | 29827
SOUTHERN MID-ATLANTIC | 12052

## 1st IA Parameters
2021-2022 RPM First Incremental Auction Planning Parameters
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.8% | 2018 IRM Study
Pool-Wide Average EFORd | 6.01% | 2018 IRM Study
Forecast Pool Requirement (FPR) | 1.0884 | 2018 IRM Study
Preliminary Forecast Peak Load | 151832.3 | Load data: from 2019 Load Report (B-10: "PJM RTO") with adjustments due to load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
CETO | NA | -8740 | 2320 | 3370 | 5500 | 2670 | 1070 | 1680 | 4470 | 3320 | -1140 | 4800 | -970 | 2340 | 2880
CETL | NA | 3699 | 9000 | 8770 | 6902 | 3180 | 1624 | 6837 | 8439 | 5256 | 5574 | 5910 | 6609 | 3502 | 4959
Reliability Requirement | 165254.3 | 64893 | 36025 | 15270 | 11526 | 6111 | 2884 | 8101 | 15370 | 5709 | 25611 | 7844 | 9917 | 3895 | 7465
Total Peak Load of FRR Entities | 11982.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 829.9
Preliminary FRR Obligation | 13041.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 903.3
Reliability Requirement adjusted for FRR | 152212.4 | 64893 | 36025 | 15270 | 11526 | 6111 | 2884 | 8101 | 15370 | 5709 | 25611 | 7844 | 9917 | 3895 | 7068.4513
Gross CONE, $/MW-Day (UCAP Price) | 394.4129 | 393.0211 | 388.1049 | 410.8639 | 388.1049 | 388.1049 | 388.1049 | 410.8639 | 387.7344 | 387.7344 | 387.7344 | 410.8639 | 390.9585 | 387.7344 | 387.7344
Net CONE, $/MW-Day (UCAP Price) | 321.9806 | 293.0637 | 314.1706 | 265.2182 | 331.0321 | 331.0321 | 300.5632 | 285.7844 | 307.2618 | 307.2618 | 344.7997 | 244.6419 | 301.1039 | 312.9591 | 313.1994
EE Addback (UCAP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 482.97 | 439.6 | 471.26 | 410.86 | 496.55 | 496.55 | 450.84 | 428.68 | 460.89 | 460.89 | 517.2 | 410.86 | 451.66 | 469.44 | 469.8
Point (b) UCAP Price, $/MW-Day | 241.49 | 219.8 | 235.63 | 198.91 | 248.27 | 248.27 | 225.42 | 214.34 | 230.45 | 230.45 | 258.6 | 183.48 | 225.83 | 234.72 | 234.9
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 151949.5 | 64780.9 | 35962.8 | 15243.6 | 11506.1 | 6100.4 | 2879 | 8087 | 15343.5 | 5699.1 | 25566.8 | 7830.5 | 9899.9 | 3888.3 | 7056.2
Point (b) UCAP Level, MW | 156024.3 | 66518.1 | 36927.2 | 15652.4 | 11814.6 | 6264 | 2956.2 | 8303.9 | 15754.9 | 5852 | 26252.4 | 8040.4 | 10165.4 | 3992.5 | 7245.5
Point (c) UCAP Level, MW | 163779.5 | 69824.4 | 38762.7 | 16430.4 | 12401.9 | 6575.4 | 3103.2 | 8716.6 | 16538 | 6142.8 | 27557.3 | 8440.1 | 10670.6 | 4191 | 7605.6
Nominated PRD Value, MW | 510 | 510 | 75 | 435 | 0 | 0 | 35.7 | 195 | 0 | 0 | 0 | 240 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 482.97 | 439.6 | 471.26 | 410.86 | 496.55 | 496.55 | 450.84 | 428.68 | 460.89 | 460.89 | 517.2 | 410.86 | 451.66 | 469.44 | 469.8
Point (b1) UCAP Price, $/MW-Day | 241.49 | 219.8 | 235.63 | 198.91 | 248.27 | 248.27 | 225.42 | 214.34 | 230.45 | 230.45 | 258.6 | 183.48 | 225.83 | 234.72 | 234.9
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a1) UCAP Level, MW | 151394.4 | 64225.8 | 35881.2 | 14770.1 | 11506.1 | 6100.4 | 2840.1 | 7874.8 | 15343.5 | 5699.1 | 25566.8 | 7569.3 | 9899.9 | 3888.3 | 7056.2
Point (b1) UCAP Level, MW | 155469.2 | 65963 | 36845.6 | 15178.9 | 11814.6 | 6264 | 2917.3 | 8091.7 | 15754.9 | 5852 | 26252.4 | 7779.2 | 10165.4 | 3992.5 | 7245.5
Point (prd1) UCAP Level, MW | 163224.1 | 69269.1 | 38681 | 15956.9 |  |  | 3064.3 | 8504.4 |  |  |  | 8178.9
Point (prd2) UCAP Level, MW | 163779.2 | 69824.2 | 38762.6 | 16430.4 |  |  | 3103.2 | 8716.6 |  |  |  | 8440.1
Point (c) UCAP Level, MW | 163779.5 | 69824.4 | 38762.7 | 16430.4 | 12401.9 | 6575.4 | 3103.2 | 8716.6 | 16538 | 6142.8 | 27557.3 | 8440.1 | 10670.6 | 4191 | 7605.6
Pre-Auction Credit Rate, $/MW | 58761.45 | 53484.12 | 57336.13 | 48402.32 | 60413.36 | 60413.36 | 54852.79 | 52155.65 | 56075.28 | 56075.28 | 62925.94 | 44647.15 | 54951.47 | 57115.03 | 57158.88
Participant-Funded ICTRs Awarded | NA | 1557 | 40 | NA | 41 | 21 | 72 | NA | NA | NA | 1097 | 65.7 | NA | NA | 155
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 100% | 83.1% | 48% | NA | NA | NA | NA | NA | NA | 87.4% | 28.1% | NA | NA | 43.9%

## BRA Parameters
2021-2022 RPM Base Residual Auction Planning Parameters |  |  | 2018-05-03
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.8% | 2017 IRM Study
Pool-Wide Average EFORd | 5.89% | 2017 IRM Study
Forecast Pool Requirement (FPR) | 1.0898 | 2017 IRM Study
Preliminary Forecast Peak Load | 152647.4 | Load data: from 2018 Load Report with adjustments due to load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
CETO | NA | -8870 | 2500 | 2870 | 5620 | 2410 | 1080 | 1550 | 6020 | 4100 | -640 | 4470 | -850 | 2480 | 3110
CETL | NA | 4019 | 9000 | 9082 | 6902 | 3180 | 1624 | 6915 | 8439 | 5256 | 5574 | 6005 | 6609 | 3502 | 4959
Reliability Requirement | 166355.1 | 64919 | 35994 | 15259 | 11501 | 5810 | 2907 | 8073 | 15598 | 5258 | 26112 | 7910 | 9974 | 3979 | 7557
Total Peak Load of FRR Entities | 12107.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 878.5
Preliminary FRR Obligation | 13194.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 957.4
Reliability Requirement adjusted for FRR | 153160.8 | 64919 | 35994 | 15259 | 11501 | 5810 | 2907 | 8073 | 15598 | 5258 | 26112 | 7910 | 9974 | 3979 | 7129.0422
Gross CONE, $/MW-Day (UCAP Price) | 393.91 | 392.52 | 387.61 | 410.34 | 387.61 | 387.61 | 387.61 | 410.34 | 387.24 | 387.24 | 387.24 | 410.34 | 390.46 | 387.24 | 387.24
Net CONE, $/MW-Day (UCAP Price) | 321.57 | 292.69 | 313.77 | 264.88 | 330.61 | 330.61 | 300.18 | 285.42 | 306.87 | 306.87 | 344.36 | 244.33 | 300.72 | 312.56 | 312.8
EE Addback (UCAP) | 3912.9 | 1341.9 | 932.4 | 231.2 | 377.4 | 83.8 | 17.2 | 119.1 | 254.6 | 49.9 | 843.1 | 112.1 | 104 | 110.7 | 123.4
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 482.36 | 439.04 | 470.66 | 410.34 | 495.92 | 495.92 | 450.27 | 428.13 | 460.31 | 460.31 | 516.54 | 410.34 | 451.08 | 468.84 | 469.2
Point (b) UCAP Price, $/MW-Day | 241.18 | 219.52 | 235.33 | 198.66 | 247.96 | 247.96 | 225.14 | 214.07 | 230.15 | 230.15 | 258.27 | 183.25 | 225.54 | 234.42 | 234.6
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 156809.2 | 66148.8 | 36864.2 | 15463.8 | 11858.5 | 5883.8 | 2919.2 | 8178.2 | 15825.7 | 5298.8 | 26910 | 8008.4 | 10060.8 | 4082.8 | 7240.1
Point (b) UCAP Level, MW | 160909.3 | 67886.7 | 37827.8 | 15872.3 | 12166.4 | 6039.3 | 2997 | 8394.3 | 16243.2 | 5439.6 | 27609 | 8220.2 | 10327.8 | 4189.3 | 7431
Point (c) UCAP Level, MW | 168712.9 | 71194.3 | 39661.7 | 16649.8 | 12752.4 | 6335.3 | 3145.1 | 8805.6 | 17037.9 | 5707.5 | 28939.4 | 8623.2 | 10836 | 4392.1 | 7794.2
Nominated PRD Value, MW | 510 | 510 | 75 | 435 | 0 | 0 | 35.7 | 195 | 0 | 0 | 0 | 240 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 482.36 | 439.04 | 470.66 | 410.34 |  |  | 450.27 | 428.13 |  |  |  | 410.34
Point (b1) UCAP Price, $/MW-Day | 241.18 | 219.52 | 235.33 | 198.66 |  |  | 225.14 | 214.07 |  |  |  | 183.25
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0
Point (a1) UCAP Level, MW | 156253.4 | 65593 | 36782.5 | 14989.7 |  |  | 2880.3 | 7965.7 |  |  |  | 7746.8
Point (b1) UCAP Level, MW | 160353.5 | 67330.9 | 37746.1 | 15398.2 |  |  | 2958.1 | 8181.8 |  |  |  | 7958.6
Point (prd1) UCAP Level, MW | 168156.8 | 70638.3 | 39579.9 | 16175.7 |  |  | 3106.2 | 8593.1 |  |  |  | 8361.6
Point (prd2) UCAP Level, MW | 168712.6 | 71194.1 | 39661.6 | 16649.8 |  |  | 3145.1 | 8805.6 |  |  |  | 8623.2
Point (c) UCAP Level, MW | 168712.9 | 71194.3 | 39661.7 | 16649.8 |  |  | 3145.1 | 8805.6 |  |  |  | 8623.2
Pre-Auction Credit Rate, $/MW | 58686.53 | 53415.93 | 57263.03 | 48340.6 | 60336.33 | 60336.33 | 54782.85 | 52089.15 | 56003.78 | 56003.78 | 62845.7 | 44590.23 | 54881.4 | 57042.2 | 57086
Participant-Funded ICTRs Awarded | NA | 1557 | 40 | NA | 41 | 21 | 72 | NA | NA | NA | 1097 | 65.7 | NA | NA | 155
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 100% | 83.2% | 45.4% | NA | NA | NA | NA | NA | NA | 87.8% | 27.4% | NA | NA | 44.7%
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO | CETL | CETL to CETO Ratio % | 2017 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load
RTO | NA | NA | NA | 146876.5 | 152647.4 | NA | 12107.1 | 140540.3
AE | 800 | >920 | > 115% | 2350 | 2308 | 0.98213 | 0 | 2308
AEP | -580 | * | * | 21940 | 22124 | 1.0084 | 11209.3 | 10914.7
APS | 2410 | >2772 | > 115% | 8260 | 8862 | 1.0729 | 0 | 8862
ATSI | 6020 | 8439 | 140.2% | 12070 | 12424 | 1.0293 | 0 | 12424
ATSI-CLEVELAND | 4100 | 5256 | 128.2% | NA | 4200.6 | NA | 0 | 4200.6
BGE | 4470 | 6005 | 134.3% | 6100 | 6386 | 1.0469 | 0 | 6386
COMED | -640 | 5574 | * | 19640 | 21458 | 1.0926 | 0 | 21458
DAYTON | 2480 | 3502 | 141.2% | 3210 | 3252 | 1.0131 | 0 | 3252
DEOK | 3110 | 4959 | 159.5% | 4970 | 5336 | 1.0736 | 878.5 | 4457.5
DLCO | 2610 | >3002 | > 115% | 2620 | 2744 | 1.0473 | 0 | 2744
DOM | -1780 | * | * | 18330 | 19330 | 1.0546 | 0 | 19330
DPL | 700 | >805 | > 115% | 3650 | 3756 | 1.029 | 0 | 3756
DPL SOUTH | 1080 | 1624 | 150.4% | NA | 2213.4 | NA | 0 | 2213.4
EKPC | 530 | >610 | > 115% | 2181.5 | 2196.4 | 1.0068 | 19.3 | 2177.1
JCPL | 3400 | >3910 | > 115% | 5570 | 5616 | 1.0083 | 0 | 5616
METED | 1210 | >1392 | > 115% | 2810 | 2867 | 1.0203 | 0 | 2867
PECO | 2460 | >2829 | > 115% | 7950 | 8351 | 1.0504 | 0 | 8351
PENLC | -330 | * | * | 2760 | 2754 | 0.99783 | 0 | 2754
PEPCO | 1550 | 6915 | 446.1% | 5850 | 6112 | 1.0448 | 0 | 6112
PL (incl. UGI) | -850 | 6609 | * | 6785 | 7029 | 1.036 | 0 | 7029
PS | 5620 | 6902 | 122.8% | 9450 | 9363 | 0.99079 | 0 | 9363
PS NORTH | 2410 | 3180 | 132% | NA | 4583.2 | NA | 0 | 4583.2
RECO | NA | NA | NA | 380 | 379 | 0.99737 | 0 | 379
EMAAC | 2500 | 9000 | 360% | NA | 29773 | NA | 0
SWMAAC | 2870 | 9082 | 316.4% | NA | 12498 | NA | 0
Western MAAC | -10440 | * | * | NA | 12650 | NA | 0
MAAC | -8870 | 4019 | * | NA | 54921 | NA | 0
Western PJM | 3860 | >4439 | * | NA | 78396.4 | NA | 12107.1
* LDA has adequate internal resources to meet the reliability criterion.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation/Limiting Facility
MAAC | Thermal / High Ridge - Sandy Springs 230 kV for the loss of the parallel High Ridge - Sandy Springs - Burtonsville 230 kV circuit
EMAAC | Voltage / Voltage drop at Cochranville 230 kV for loss of Keeney - Rock Springs 500 kV circuit
SWMAAC | Voltage / Voltage drop at multiple BES buses for the loss of the Burchess Hill - Possum Point 500 kV circuit
PS | Thermal / Roseland - Cedar Grove 230 kV for the loss of the Roseland - Williams Pipeline 230 kV circuit; McCarter - Essex 230 kV pre- contingency
PSNORTH | Thermal / Roseland - Cedar Grove 230 kV for the loss of the Roseland - Williams Pipeline 230 kV circuit; McCarter - Essex 230 kV pre- contingency
DPLSOUTH | Thermal / Cedar Creek - Sliver Run 230 kV for loss of Cartanza - Milford 230 kV circuit
PEPCO | Voltage / Voltage drop at multiple BES buses for the loss of the Burchess Hill - Possum Point 500 kV circuit
ATSI | Thermal / South Canton - Harmon 345 kV for loss of the Sammis - Star 345 kV circuit
ATSI-CLEVELAND | Thermal / South Canton - Harmon 345 kV for loss of the Sammis - Star 345 kV circuit
COMED | Thermal / Dumont - Stillwell 345kV line for the loss of Dumont - Wilton 765 kV circuit
BGE | Voltage / Voltage drop at multiple BES buses for the loss of the Waugh Chapel 230 kV capacitor
PL | Thermal / Wescosville 500/138 kV transformer pre-contingency
DAYTON | Thermal / O.H. Hutchings - Sugarcreek 138 kV line for the loss of Sugarcreek - Centerville and Sugarcreek - Normandy 138 kV line
DEOK | Thermal / Pierce 345/138 kV transformer for loss of the Pierce - Foster 345 kV circuit; Greendale - Miami Forte 138 kV for loss of the Tanners Creek - Miami Forte 345 kV circuit
Original 2/1/2018: Reliability Requirement not adjusted for FRR load.
Revision 4/13/2018: Reliability Requirement adjusted for FRR load. Revisions made in CETO, CETL, and Reliability Requirement values as shown in red.
Revision 4/18/2018: Corrected DEOK Reliability Requirement adjusted for FRR load. OVEC zone removed as its integration is delayed. EMAAC CETO, CETL changes shown in red.
Revision 5/3/2018: VRR Curve updated to reflect adjustments for total quantity of EE Resources for which PJM accepted an EE M&V Plan submitted for the auction.