## Sheet1
ELCC Class | Effective Nameplate (MW) | Installed Capacity (MW)
Onshore Wind | 11957 | 2405
Offshore Wind | Small Sample Size | Small Sample Size
Solar Fixed Panel | 3058 | 1469
Solar Tracking Panel | 12249 | 7504
Landfill Gas Intermittent | 172 | 125
Hydro Intermittent | 736 | 528
4-hr Storage, 6-hr Storage, 8-hr Storage, 10-hr Storage | 5704 | 5704
Solar-Storage Hybrid | Small Sample Size | Small Sample Size
DR | 7814 | 7814
Nuclear | Not Applicable | 32181
Coal | Not Applicable | 36270
Gas CC (Single and Dual Fuel) | Not Applicable | 56960
Gas CT | Not Applicable | 12612
Gas CT Dual Fuel | Not Applicable | 13123
Diesel | Not Applicable | 333
Steam | Not Applicable | 9857
Hydro with Non-Pumped Storage | 1959 | 1948
Other Thermal | Not Applicable | 2841