## Base and FSA 2025&2028
2020/2021 Market Efficiency Model - Congestion Results* (updated 10/25/2021) (This is NOT the list of Eligible Congestion Drivers)** |  |  | Base Case ($Million) |  | Base Case (Hours Binding) |  | FSA Sensitivity ($Million) |  | FSA Sensitivity (Hours Binding)
Constraint | FROM AREA | TO AREA | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | Type | Comments
B:130836N.WAV115 20067626E.SAYRE 1 FLO PN-P1-2-PN-230-101T | NYZC | PENELEC | 2.4322 | 3.5852 | 2125 | 2065 | 3.8122 | 3.9983 | 3920 | 3722 |  | NY Tie line may be open in Operations to mitigate congestion
B:200008HOSE 200007ELROY 1 FLO E:501 ALBURTIS 500-BRANCHBG 500 (PLGRP-PSEG) [1] | PLGRP | PECO | 0.2789 | 0 | 4 | 0 | 0 | 0 | 0 | 0
B:200009JUNI 208005JUNI BU2 2 FLO PL:10:P13:100595 | PLGRP | PLGRP | 0 | 0.074382 | 0 | 2 | 0 | 0 | 0 | 0
B:200023WESC 211321WESC 3 FLO PL:20:P12:000092 | PLGRP | PLGRP | 0.47183 | 0.77176 | 38 | 31 | 1.3713 | 2.5497 | 103 | 174
B:20052226SHADE GP 20052026ROXBURY 1 FLO AP-P1-2-PE-230-020T | PENELEC | PENELEC | 0.0080569 | 0 | 1 | 0 | 0.009598 | 0.019632 | 3 | 4
B:20052226SHADE GP 20052026ROXBURY 1 FLO ME-P1-2-ME-500-007 | PENELEC | PENELEC | 0.00031271 | 0.001319 | 1 | 3 | 0 | 0.039227 | 0 | 6
B:20052226SHADE GP 20052026ROXBURY 1 FLO TS_P1-3_#T1_RICE 500_230 | PENELEC | PENELEC | 0.066014 | 0.0025497 | 5 | 1 | 0.05482 | 0.085524 | 5 | 14
B:20067526E.TWANDA 20092426CANYON 1 FLO AP-P1-2-WP-230-324T_FSA_A | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.15416 | 0.19299 | 107 | 118
B:20067526E.TWANDA 20094026SCOTCHHLLW1 FLO AP-P1-2-WP-230-324T_FSA_A | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 5.91 | 6.1929 | 3355 | 3215
B:20067626E.SAYRE 130836N.WAV115 1 FLO PL_P1-2_000193_SRT-A | PENELEC | NYZC | 0.019355 | 0.014666 | 42 | 30 | 0.51515 | 0.43374 | 280 | 228
B:20094026SCOTCHHLLW20393426AA1-144POI1 FLO AP-P1-2-WP-230-324T_FSA_A | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.97038 | 0.85158 | 664 | 585
B:20452927GERMANTN 20453827STRABAN 1 FLO AP-P1-2-PE-230-020T | METED | METED | 0 | 0 | 0 | 0 | 0.0082057 | 0 | 2 | 0
B:20453827STRABAN 20454427LINCOLN 1 FLO AP-P1-2-PE-230-020T | METED | METED | 0.15459 | 0.025084 | 32 | 7 | 0.076484 | 0.039176 | 11 | 3
B:20469327BOONETOWN 20451227S.RDG 1 FLO BASE CASE | METED | METED | 0 | 0 | 0 | 0 | 0.0094311 | 0 | 4 | 0
B:20469327BOONETOWN 20451227S.RDG 1 FLO PL:04:P13:101211 | METED | METED | 0.033274 | 0.18921 | 5 | 13 | 0.022257 | 0.0096922 | 7 | 4
B:207930BUSH 20624228KITATINY 1 FLO ME-P1-2-ME-230-212T | PLGRP | JCPL | 1.3627 | 2.0424 | 81 | 98 | 0.070363 | 0.079374 | 3 | 6 |  | Congestion decreases significantly (less than $1 million FSA Sensitivity)
B:207965ELDR TR2 207975FRAC TR3 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0 | 0.16248 | 0 | 5 | 0 | 0.076353 | 0 | 3
B:208069PPL-BGE TIE 220964GRACETON 1 FLO PL:05:P12:000260a | PLGRP | BGE | 0.022202 | 0.0032806 | 7 | 2 | 0.017237 | 0.033733 | 2 | 2
B:208109SUNB 207964ELDR TR1 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0 | 0.038457 | 0 | 2 | 0 | 0.026607 | 0 | 1
B:208393FARO FF 208395FARO FF 1 FLO BASE CASE | PLGRP | PLGRP | 0.092398 | 0.0032115 | 7 | 1 | 0.11063 | 0.06984 | 5 | 4
B:208396FARO 208395FARO FF 1 FLO PL_P21_000390 | PLGRP | PLGRP | 0.014644 | 0 | 2 | 0 | 0.059954 | 0.040745 | 6 | 4
B:213819N PHILA8 213783MASTER 1 FLO PECO_P1-2_220-18/* $ MONTCO $ PECO_P1-2_220-18 $ | PECO | PECO | 0.0050757 | 0.092962 | 4 | 7 | 0.08309 | 0.094123 | 37 | 27
B:213906PLYMTG 1 214035WHITPAN1 1 FLO PECO_P1-2_220-61/* $ MONTCO $ PECO_P1-2_220-61 $ | PECO | PECO | 4.3626 | 3.6678 | 86 | 102 | 1.7962 | 2.4452 | 81 | 123
B:216914WORANGE 217766ORNGHGHTS2301 FLO BASE CASE | PSEG | PSEG | 0.017859 | 0.026997 | 390 | 509 | 0.01184 | 0.042676 | 206 | 239
B:216915CDRGV 217808CDRGV_Y 1 FLO BASE CASE | PSEG | PSEG | 0.051991 | 0.0042616 | 85 | 96 | 0.0363 | 0.090549 | 232 | 301
B:217101STANTER_3 217170MCCARTER 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.0064985 | 0.0074314 | 687 | 757 | 0.0054181 | 0.0080725 | 968 | 1062
B:218307ALDENE_2 218430STANTER_1 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.012256 | 0.0026368 | 53 | 79 | 0.0081003 | 0.0018596 | 84 | 108
B:218311SEWAREN 218353MINUEST_R 1 FLO BASE CASE | PSEG | PSEG | 0 | 0 | 0 | 0 | 0.11691 | 0.10265 | 59 | 52
B:220941H.RDGE16 220983SANDY14T 1 FLO PEPCO_P1_PP28 | BGE | BGE | 0 | 0.0055385 | 0 | 1 | 0.034939 | 0.036442 | 16 | 29
B:220960BRANDN.S 220955W.CHAPEL 42 FLO BG_P1_2343 | BGE | BGE | 0 | 0 | 0 | 0 | 0.032604 | 0.27121 | 7 | 26
B:221092FIVE.FOR 221096ROCKRGE1 1 FLO BASE CASE | BGE | BGE | 0 | 0 | 0 | 0 | 0.0062186 | 0 | 1 | 0
B:223937DICK 230 3142906EDFERRY 1 FLO PEPCO_P1_5070 | PEPCO | DOM | 0 | 0 | 0 | 0 | 1.3263 | 1.0644 | 56 | 45
B:223938DICKH230 223937DICK 230 2 FLO PEPCO_P1_PP1 | PEPCO | PEPCO | 0.25312 | 0.15203 | 49 | 35 | 0.17424 | 0.10959 | 29 | 21
B:223991TALBT082 223994BURCH230 1 FLO PEPCO_P1_CHALK-KEYS_SRT-A | PEPCO | PEPCO | 0.010427 | 0.0029842 | 18 | 12 | 0.055129 | 0.045427 | 53 | 39
B:223998PALM093 224008ALA 089 1 FLO PEPCO_P1_PP68 | PEPCO | PEPCO | 0.036247 | 0.029935 | 143 | 113 | 0.027488 | 0.040493 | 165 | 145
B:224014BUZZ 138 224012BUZZ 026 1 FLO PEPCO_P1_PP73 | PEPCO | PEPCO | 0.01705 | 0.017111 | 480 | 406 | 0.15035 | 0.16987 | 1296 | 1457
B:224014BUZZ 138 224092SW 138 2 FLO PEPCO_P1_PP78 | PEPCO | PEPCO | 0.04908 | 0.044456 | 762 | 785 | 0.092325 | 0.097731 | 1441 | 1445
B:224059NEW HARRISON224079BETH T7 1 FLO PEPCO_P1_PP21 | PEPCO | PEPCO | 0.034398 | 0.041191 | 263 | 259 | 0.028486 | 0.03088 | 207 | 218
B:224086O ST 138 224088O ST T6 1 FLO BASE CASE | PEPCO | PEPCO | 0.012241 | 0.010995 | 1024 | 1077 | 0.036266 | 0.036929 | 2474 | 2584
B:231205DARLEY 231211NAAMANS 1 FLO DPL_P1_3_EDGE MR AT20 | DPL | DPL | 0.020044 | 0.061664 | 2 | 5 | 0.018441 | 0.054369 | 3 | 4
B:232003CARTANZA 232004MILF_230 1 FLO CKT 23030B | DPL | DPL | 0.31114 | 0.40838 | 22 | 28 | 0.13116 | 0.16766 | 16 | 14
B:232013SILVER RUN 232012HOPE CREEK 1 FLO PJM500_PS_P1-2_5015 | PSEG | PSEG | 0 | 0 | 0 | 0 | 0.096838 | 0.087758 | 7 | 5
B:23513901AL&D6T 23520401KITTAN 1 FLO AP-P1-2-WP-345-311T | APS | APS | 0.001798 | 0 | 1 | 0 | 0.10426 | 0.068476 | 27 | 18
B:23513901AL&D6T 23520401KITTAN 1 FLO ATSI-P1-2-CEI-345-700T | APS | APS | 0 | 0 | 0 | 0 | 0.061254 | 0.04025 | 38 | 34
B:23515201BUTLER 23519701KARNSC 1 FLO ATSI-P1-2-CEI-345-700T | APS | APS | 0.00080592 | 0.0061822 | 4 | 7 | 0.0027556 | 0.0068689 | 2 | 6
B:23515201BUTLER 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 0.14352 | 0.062248 | 8 | 4 | 0 | 0 | 0 | 0
B:23517301EDGEWT 23559601VASC T 1 FLO AP-P1-2-WP-500-008 | APS | APS | 0.032507 | 0 | 1 | 0 | 0 | 0 | 0 | 0
B:23524001COLMBGPN 23520201KISKIV 1 FLO AP-P1-2-WP-138-087 | APS | APS | 0 | 0 | 0 | 0 | 0.0025073 | 0.0060491 | 3 | 5
B:23547901JUNCTN 23546701FRNCHM 1 FLO AP-P1-2-PE-500-001 | APS | APS | 21.6588 | 21.1543 | 456 | 422 | 33.7868 | 39.225 | 714 | 804
B:23548301MDWBRK 23551301STRASB 1 FLO DVP_P1-2: LN 550 | APS | APS | 0 | 0 | 0 | 0 | 0.039277 | 0.01121 | 1 | 1
B:23549401OLDFRM 23548801MONOCY 1 FLO AP-P1-2-PE-230-001 | APS | APS | 0.026709 | 0 | 10 | 0 | 0.044071 | 0.28464 | 11 | 15
B:23549401OLDFRM 23548801MONOCY 1 FLO ME-P1-2-ME-500-004 | APS | APS | 0 | 0.0036438 | 0 | 1 | 0 | 0.015838 | 0 | 3
B:23550601RINGLD 23549401OLDFRM 1 FLO AP-P1-2-PE-230-001 | APS | APS | 0.31143 | 0.16188 | 24 | 10 | 0.088588 | 0.016748 | 7 | 3
B:237056AA2-161 TAP 23527701YUKON 1 FLO BASE CASE | APS | APS | 0 | 0 | 0 | 0 | 8.4267 | 9.5076 | 4515 | 4553
B:23731001DANSMTN 23550401RIDGLY 1 FLO BASE CASE | APS | APS | 0.026465 | 0.018298 | 4 | 3 | 0.02126 | 0.025614 | 4 | 5
B:23905202PV Q4 23876302GR Q-4 1 FLO ATSI-P1-2-SYS-345-701 | FE-ATSI | FE-ATSI | 0 | 0.020738 | 0 | 3 | 0 | 0.061472 | 0 | 1
B:24190102LALLENDORF26461219MON12 1 FLO ATSI-P1-2-TE-345-605T | FE-ATSI | DECO | 0.23381 | 0.15666 | 48 | 44 | 0.036793 | 0.011007 | 18 | 5 | M2M
B:24262005DANVL2 24263105EDAN 1 1 FLO AEP_P1-2_#7422_16 | AEP | AEP | 0 | 0 | 0 | 0 | 0 | 0.33177 | 0 | 6
B:24262005DANVL2 24263105EDAN 1 1 FLO BASE CASE | AEP | AEP | 1.9746 | 1.9282 | 84 | 81 | 1.251 | 1.7689 | 76 | 108
B:24263105EDAN 1 24262005DANVL2 1 FLO AEP_P2-1_242520 05J.FERR 500 242514 05J.FERR 765 | AEP | AEP | 0 | 0 | 0 | 0 | 1.33 | 0.57613 | 51 | 24
B:24269105KENOVA 24308805S.POINT1 1 FLO AEP_P1-3_#1267_05NPROCT 765_1 | AEP | AEP | 0 | 0.011026 | 0 | 1 | 0 | 0 | 0 | 0
B:24270105LEESVI 3146674ALTVSTA 1 FLO BASE CASE | AEP | DOM | 0 | 0.15639 | 0 | 3 | 0 | 0 | 0 | 0
B:24286505JEFRSO 24800006CLIFTY Z1 FLO AEP_P1-2_#709_546 | AEP | OVEC | 0.020646 | 0.23755 | 4 | 12 | 0.015826 | 0.28128 | 2 | 11
B:24302605KAMMER13 24606705NATRIUM34 1 FLO AEP_P1-2_#5152_716 | AEP | AEP | 0 | 0 | 0 | 0 | 0 | 0.092212 | 0 | 2
B:24302605KAMMER13 24606705NATRIUM34 1 FLO BASE CASE | AEP | AEP | 0.98754 | 3.7192 | 27 | 101 | 0.20953 | 1.8369 | 12 | 65 |  | Congestion decreases significantly (less than $1 million FSA Sensitivity)
B:24303905MELMOR 24298405CHATFL 1 FLO AEP_P1-2_#7105_8900707 | AEP | AEP | 0 | 0 | 0 | 0 | 0.041912 | 0.0125 | 16 | 2
B:24321905DUMONT 25511317STILLWELL 1 FLO AEP_P1-2_#695_1681 | AEP | NIPS | 0.1664 | 0.07951 | 13 | 9 | 0.77346 | 0.26885 | 39 | 22 | M2M
B:24322905OLIVE 274804UNIV PK N;RP1 FLO AEP_P1-2_#695_1681 | AEP | COMED | 0.35909 | 0.54478 | 14 | 17 | 0.76294 | 1.5564 | 26 | 59
B:24323305TANNER 24956708M.FORT 1 FLO DEOK_P1_TERMINAL-EAST BEND 4516 | AEP | DEOK | 0.32352 | 0.0043725 | 13 | 1 | 0 | 0 | 0 | 0
B:24326205COLLEGE C 25000108COLINV 1 FLO AEP_P1-2_#144_1696 | AEP | DEOK | 0.056021 | 0.016696 | 2 | 1 | 0 | 0 | 0 | 0
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#5996_26117 | AEP | EKPC | 0.39154 | 0.21665 | 10 | 6 | 0.17816 | 0.40252 | 3 | 5
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#707_8315 | AEP | EKPC | 0.039207 | 0.29105 | 1 | 12 | 0 | 0 | 0 | 0
B:24748905BOSSERMAN 25515317MICH_CITY 1 FLO AEP_P1-2_#7265_21601 | AEP | NIPS | 0 | 0.00015308 | 0 | 2 | 0 | 0.092257 | 0 | 7 | M2M
B:24771205SULLIVAN 3468097CASEY 1 FLO AEP_P1-2_#363_1682 | AEP | AMIL | 0 | 0 | 0 | 0 | 0.1243 | 0.0087656 | 9 | 5 | M2M
B:24800906CLIFTY 3242274CARROLLTON 1 FLO BASE CASE | OVEC | LKE | 0 | 0 | 0 | 0 | 0.060204 | 0 | 2 | 0
B:24800906CLIFTY 3242274CARROLLTON 1 FLO EXT_249532 08TRIMBL 345 324105 7GHENT 345 1 | OVEC | LKE | 0.57492 | 0.3489 | 19 | 6 | 0.53933 | 0.33865 | 17 | 9
B:24883107HUBBL8 24969108BATESV 1 FLO AEP_P1-2_#144_1696 | HE | DUK-IN | 0.074964 | 0.17798 | 5 | 5 | 0 | 0 | 0 | 0 | M2M
B:24951008GIBSON 24953108FRNCSC 1 FLO EXT_P12:345:SIGE:GIBSON-BROWN:GIBSON:AB_BROWN_34 | DUK-IN | DUK-IN | 0.13339 | 0.47747 | 5 | 22 | 0.090037 | 0.28083 | 4 | 17 | M2M
B:24962108KOK HP 24963808TIPTN 1 FLO EXT_P12:345:DEI:CAYUGA-NUCOR 34501 | DUK-IN | DUK-IN | 0.44978 | 0.28634 | 43 | 29 | 0.36102 | 0.20179 | 37 | 19 | M2M
B:24970408CHRYS2 24979608MAPLE 1 FLO KOKOMO-NEW LONDON | DUK-IN | DUK-IN | 0.00083356 | 0.032103 | 1 | 1 | 0 | 0.15735 | 0 | 10 | M2M
B:25511317STILLWELL 25518017STILLWELL 1 FLO AEP_P1-2_#701 | NIPS | NIPS | 0.19807 | 0.15597 | 60 | 46 | 0.12788 | 0.047705 | 28 | 17 | M2M
B:25512417CHICAGO_AV25516917PRAXAIR-3 1 FLO AEP_P1-2_#695_1681 | NIPS | NIPS | 0.24921 | 0.78907 | 72 | 135 | 0.13271 | 0.37772 | 70 | 105 | M2M
B:26461219MON12 26469219WAYNE 1 FLO EXT_P12:345:ITCT:LN:MON12:BNSTNS:1 | DECO | DECO | 0 | 0 | 0 | 0 | 0.079891 | 0.16319 | 5 | 13 | M2M
B:26461219MON12 26470719BNSTNS 1 FLO EXT_P12:345:ITCT:LN:MON12:WAYNE:1 | DECO | DECO | 0.10005 | 0.077524 | 6 | 5 | 1.4249 | 4.1711 | 132 | 259 | M2M
B:270073FUR RUN_230 270072FUR RUN_500 1 FLO PECO_P1-2_5012/* $ CHESCO $ 5012 $ L | AEP | AEP | 0.023918 | 0 | 1 | 0 | 0 | 0 | 0 | 0
B:270695CHERRY VA; R275167CHERRY VA;3M1 FLO COMED_P1-3_TR81_CHERR_R-R | COMED | COMED | 0 | 0 | 0 | 0 | 0.17191 | 0.17976 | 12 | 9
B:270703CRAWFORD ; R270923WEST LOOP; R1 FLO COMED_P1-2_345-L1310__B-C | COMED | COMED | 0.0058324 | 0.0041917 | 148 | 124 | 0.0032764 | 0.0017632 | 101 | 75
B:270717DRESDEN ; R275180DRESDEN ;3M1 FLO COMED_P1-2_345-L1222__R-S | COMED | COMED | 0.68139 | 0.30736 | 36 | 23 | 0.9429 | 0.97136 | 59 | 42
B:270717DRESDEN ; R275180DRESDEN ;3M1 FLO COMED_P1-3_TR81_LASCO_B-S | COMED | COMED | 0 | 0.29838 | 0 | 11 | 0 | 0.42079 | 0 | 12
B:270728E FRANKFO; B274750CRETE EC ;BP1 FLO AEP_P1-2_#695_1681 | COMED | COMED | 2.0671 | 3.1863 | 115 | 113 | 1.0247 | 1.8971 | 89 | 106
B:270729E FRANKFO; R270767GOODINGS ;1R1 FLO BASE CASE | COMED | COMED | 0 | 0.00027343 | 0 | 1 | 0.0043141 | 0.080978 | 3 | 11
B:270736ELWOOD ; B270770GOODINGS ;4B1 FLO COMED_P1-2_345-L11622_R-S | COMED | COMED | 0 | 0.01611 | 0 | 9 | 0 | 0 | 0 | 0
B:271218CLYBOURN ; B271326DIVERSEY ; B1 FLO BASE CASE | COMED | COMED | 0.055083 | 0.048667 | 2012 | 1984 | 0.058398 | 0.054747 | 2481 | 2799
B:271230CRAWFORD ; G271236CRAWFORD ;GS1 FLO BASE CASE | COMED | COMED | 0.013704 | 0.016463 | 1660 | 1660 | 0.012173 | 0.012681 | 1769 | 1707
B:271231CRAWFORD ; Y271237CRAWFORD ;YS1 FLO BASE CASE | COMED | COMED | 0.0097138 | 0.013051 | 1017 | 1009 | 0.0087654 | 0.0094917 | 1019 | 897
B:271246CROSBY ; B272370ROCKWELL ; B1 FLO BASE CASE | COMED | COMED | 0.009971 | 0.0067728 | 1057 | 908 | 0.010616 | 0.0087256 | 1124 | 1106
B:271247CROSBY ; R271327DIVERSEY ; R1 FLO COMED_P1-2_138-L14818_R-C | COMED | COMED | 0.083935 | 0.076865 | 3276 | 3165 | 0.088513 | 0.080341 | 3796 | 3927
B:271247CROSBY ; R272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.0035504 | 0.0040335 | 431 | 428 | 0.005207 | 0.0049129 | 570 | 485
B:271321DEVON ;6R272129NORTHWEST; R1 FLO COMED_P2-1_088-L8803___ | COMED | COMED | 0.089179 | 0.09564 | 513 | 588 | 0.10125 | 0.074813 | 584 | 551
B:271322DEVON ;9B272384ROSE HILL;BT1 FLO COMED_P2-1_088-L8810___ | COMED | COMED | 0.38178 | 0.3286 | 2917 | 2837 | 0.39513 | 0.3097 | 3504 | 3307
B:271323DEVON ;3R272385ROSE HILL;RT1 FLO COMED_P2-1_088-L11416__ | COMED | COMED | 0.257 | 0.19835 | 2356 | 2176 | 0.25682 | 0.20224 | 2656 | 2474
B:271406ELMHURST ;3I271490FRANKL PK; B1 FLO TR81_ELMHU_R-C | COMED | COMED | 0.01062 | 0.011885 | 293 | 270 | 0.014827 | 0.015976 | 377 | 327
B:271428ESS H452 ;RT272730WATERMAN ;3B1 FLO BASE CASE | COMED | COMED | 0.060165 | 0.044006 | 6 | 4 | 0.048125 | 0.031809 | 6 | 3
B:271490FRANKL PK; B271492FRANKL PK;5S1 FLO BASE CASE | COMED | COMED | 0.021991 | 0.020271 | 1899 | 1785 | 0.022264 | 0.020887 | 2265 | 2240
B:271491FRANKL PK; R271493FRANKL PK;0S1 FLO BASE CASE | COMED | COMED | 0.013517 | 0.013496 | 822 | 913 | 0.015491 | 0.02163 | 1042 | 1210
B:271543GARDEN PL; 272512ESS H71 ;BT1 FLO COMED_P1-2_345-L0405___-R | COMED | COMED | 0.38203 | 1.6556 | 14 | 35 | 1.0558 | 2.7156 | 35 | 43
B:271578GRENSHAW ; B272586TAYLOR ; B1 FLO BASE CASE | COMED | COMED | 0.0068635 | 0.0080959 | 761 | 825 | 0.010813 | 0.01496 | 1397 | 1447
B:271578GRENSHAW ; B272650UNIVERSIT; B1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.021383 | 0.009286 | 326 | 290 | 0.016635 | 0.0091794 | 372 | 323
B:271579GRENSHAW ; R272727WASHINGTO; R1 FLO BASE CASE | COMED | COMED | 0.041076 | 0.031593 | 3596 | 3439 | 0.034538 | 0.042987 | 4283 | 4222
B:271634HARBOR ; B271632HARBOR ;8S1 FLO BASE CASE | COMED | COMED | 0.0046695 | 0.0035853 | 729 | 614 | 0.0047873 | 0.0051447 | 860 | 849
B:271652HEGEWISCH; B271654HEGEWISCH;BT1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.0055935 | 0.0040977 | 87 | 92 | 0.0041135 | 0.0040512 | 78 | 93
B:271656HIGGINS ; B272092NATOMA ; B1 FLO BASE CASE | COMED | COMED | 0.010975 | 0.0081139 | 368 | 301 | 0.010567 | 0.014917 | 354 | 385
B:271680HAUMESSER; B272756W DEKALB ;3T1 FLO COMED_P1-2_345-L15502_B-R | COMED | COMED | 1.0312 | 1.1619 | 63 | 60 | 0.81413 | 0.93305 | 52 | 53 |  | Congestion decreases significantly (less than $1 million FSA Sensitivity)
B:272092NATOMA ; B272132NORTHWEST;2I1 FLO BASE CASE | COMED | COMED | 0.0049079 | 0.0044838 | 249 | 259 | 0.0060955 | 0.0059918 | 308 | 334
B:272092NATOMA ; B272184OAK PARK ; B1 FLO BASE CASE | COMED | COMED | 0.069771 | 0.057932 | 2591 | 2434 | 0.072358 | 0.055628 | 3062 | 2871
B:272191OHIO ; Y272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.01354 | 0.0088572 | 331 | 286 | 0.015114 | 0.011187 | 433 | 436
B:272269POWERTON ; 272607TOULON ; R1 FLO Fargo-Sandburg 345 kV | COMED | COMED | 0.14165 | 0.094701 | 13 | 7 | 0.21979 | 0.065528 | 19 | 5 | M2M
B:272352RIDGELAND; B272354RIDGELAND;BS1 FLO BASE CASE | COMED | COMED | 0.012799 | 0.01258 | 1055 | 998 | 0.014929 | 0.015252 | 1312 | 1427
B:272502STATELINE; B25517217ROXANA 1 FLO EXT_P12:345:NIPS:34520:17SHEFFIELD:17GARY_AVE:1 | COMED | NIPS | 0.015258 | 0.011791 | 20 | 17 | 0.0010172 | 0.039772 | 9 | 51
B:272607TOULON ; R272269POWERTON ; 1 FLO BASE CASE | COMED | COMED | 0 | 0.0055427 | 0 | 1 | 0 | 0 | 0 | 0
B:272726WASHINGTO; B272506STATELINE;2S1 FLO COMED_P2-1_170-L0708___ | COMED | COMED | 0.01765 | 0.014313 | 2257 | 2010 | 0.017046 | 0.016243 | 2223 | 2207
B:3138543CONSLDL 3145543BTLEBRO 1 FLO DVP_P1-2: LN 2056 | DOM | DOM | 0 | 0 | 0 | 0 | 0.13138 | 0.14174 | 126 | 121
B:3141426STAFORD 3141456AQUI_HARB_B1 FLO DVP_P1-2: LN 568 | DOM | DOM | 0 | 0 | 0 | 0 | 0.37135 | 0.017543 | 5 | 2
B:3142826CARSON 3142856CHAPARRAL T1 FLO DVP_P1-2: LN 563 | DOM | DOM | 0 | 0 | 0 | 0 | 0.65736 | 0.75204 | 33 | 35
B:3142906EDFERRY 3140726PL VIEW 1 FLO PEPCO_P1_5070 | DOM | DOM | 0 | 0 | 0 | 0 | 0.013375 | 0.0198 | 8 | 5
B:3145543BTLEBRO 3042233ROCKYMT115T1 FLO DVP_P1-2: LN 2058_SRT-A | DOM | CPLE | 0.16891 | 0.36797 | 14 | 21 | 9.9154 | 10.6786 | 1014 | 1002
B:3145623CLUBHSE 3145636CLUBHSE 1 FLO DVP_P1-2: LN 2201 | DOM | DOM | 0 | 0 | 0 | 0 | 0.94053 | 1.1591 | 116 | 121
B:3145746EVERETS 3044516GREENVILE T1 FLO EXT_WILSON230TT-WILSON115TT-230-115-#1-&BUS_SRT- | DOM | CPLE | 0 | 0.056869 | 0 | 2 | 7.6372 | 12.1368 | 272 | 321
B:3146233WITAKRS 3138543CONSLDL 1 FLO DVP_P1-2: LN 2056 | DOM | DOM | 0 | 0 | 0 | 0 | 0.1644 | 0.24032 | 197 | 185
B:3146674ALTVSTA 24274105OTTER 1 FLO BASE CASE | DOM | AEP | 0.078962 | 0.086442 | 4 | 4 | 3.8469 | 4.1414 | 297 | 277
B:3146976SEDGE HILL 316218AC1-221 TAP 1 FLO DVP_P1-2: LN 570 | DOM | DOM | 0.11519 | 0.072959 | 9 | 7 | 0.2931 | 0.1048 | 48 | 23
B:3147426BARRCK2 3147516CROZET1 1 FLO 314752 6CROZET2 230kV - 314794 6DOOMS230 kV (DO | DOM | DOM | 0 | 0 | 0 | 0 | 0.024809 | 0.01298 | 1 | 1
B:3147476BREMO 3147443BREMO 1 FLO DVP_P1-2: LN 2193 | DOM | DOM | 0.19794 | 0.36498 | 56 | 71 | 52.3534 | 60.3391 | 925 | 947
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 534 | DOM | DOM | 0 | 0.023475 | 0 | 4 | 0 | 0.12495 | 0 | 4
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 553 | DOM | DOM | 8.8568 | 12.4706 | 177 | 183 | 4.5737 | 6.5325 | 82 | 93
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 574_SRT-SL | DOM | DOM | 0.4305 | 0.23743 | 17 | 10 | 0.32648 | 0.26242 | 11 | 11
B:3149038CHCKAHM 3149088ELMONT 1 FLO DVP_P1-2: LN 563 | DOM | DOM | 0 | 0 | 0 | 0 | 0 | 0.10339 | 0 | 2
B:3149118LADYSMITH 3149228POSSUM 1 FLO DVP_P1-2: LN 539 | DOM | DOM | 0 | 0 | 0 | 0 | 0.041293 | 0.089214 | 4 | 5
B:3149118LADYSMITH 3149228POSSUM 1 FLO DVP_P1-2: LN 581 | DOM | DOM | 0.071773 | 0 | 1 | 0 | 2.6712 | 2.2591 | 71 | 51
B:3149148MDLTHAN 3149188NO ANNA 1 FLO DVP_P1-2: LN 574 | DOM | DOM | 0 | 0 | 0 | 0 | 0.43723 | 0.10783 | 8 | 7
B:3149188NO ANNA 3149118LADYSMITH 1 FLO DVP_P1-2: LN 594 | DOM | DOM | 0 | 0 | 0 | 0 | 0.015192 | 0 | 2 | 0
B:3149258PL VIEW 3140726PL VIEW 1 FLO AP-P1-2-PE-500-406T | DOM | DOM | 0.36696 | 0.20026 | 8 | 3 | 0.64847 | 0.76288 | 18 | 19
B:3149258PL VIEW 3140726PL VIEW 1 FLO DVP_P1-2: LN 558 | DOM | DOM | 0.50721 | 0.72968 | 78 | 100 | 1.9214 | 2.013 | 115 | 138
B:316218AC1-221 TAP 3040706PERSON230 T1 FLO DVP_P1-2: LN 570 | DOM | CPLE | 0.3892 | 0.3119 | 30 | 38 | 2.0866 | 1.339 | 142 | 105
B:631141ROCK CK3 270864QUAD 1 3-11 1 FLO COMED_P1-2_345-L0401___-R | ALTW | COMED | 0.090172 | 0.64897 | 6 | 25 | 0.55955 | 1.0092 | 25 | 35 | M2M
I:50045005 FLO VINCO-RICE | 0 | 0 | 1.4508 | 3.1181 | 55 | 92 | 0.33279 | 1.0078 | 21 | 31 |  | Interface
I:AEP-DOM FLO BASE CASE | 0 | 0 | 0.15905 | 0.49377 | 13 | 19 | 0.03034 | 0.50857 | 5 | 14 |  | Interface
I:AP SOUTH FLO BLACKO-BEDNG | 0 | 0 | 0.14533 | 2.3603 | 12 | 102 | 0.36754 | 2.5815 | 17 | 67
I:BC_PEP FLO BASE CASE | 0 | 0 | 2.4791 | 0.73695 | 47 | 23 | 4.8601 | 1.7765 | 90 | 53 |  | Interface
I:BLABED FLO BASE CASE | 0 | 0 | 1.9826 | 1.4053 | 22 | 25 | 1.6497 | 1.9541 | 28 | 30
I:CENTRAL FLO WESCO-SUSQ | 0 | 0 | 0.07034 | 0.0010522 | 8 | 1 | 0.0015392 | 0.10241 | 1 | 29
I:EAST FLO BASE CASE | 0 | 0 | 0.2142 | 0.16735 | 6 | 8 | 0 | 0 | 0 | 0 |  | Interface
I:WEST FLO BASE CASE | 0 | 0 | 0.43918 | 1.2313 | 17 | 34 | 0.04328 | 0.50741 | 4 | 24 |  | Interface
B:207977HARW 208113SUSQ 2 FLO PL:40:P12:000182*** | PLGRP | PLGRP | 2.0266 | 2.8646 | 167 | 218 | 0.92451 | 1.2886 | 82 | 114
B:207950CUMB TR2 208004JUNI BU1 1 FLO ME-P1-2-ME-500-001*** | PLGRP | PLGRP | 11.4064 | 12.9452 | 253 | 227 | 9.3263 | 13.8858 | 210 | 244
*Note: Included PJM internal and prospective M2M constraints >= $10,000 in either 2025 or 2028 with or without FSA units. This list DOES NOT represent the list of congestion drivers for the 2020/21 Long-Term Window.
** The list of eligible congestion drivers is posted separately before the window start. (For description of eligible congestion drivers see Manual 14F, 8.2.1.1 Eligible Congestion Drivers)
***DLR impact on Susq- Harw 230 kV line and Juni-Cumb 230 kV line has been modeled using PROMOD nomograms. The remaining congestion on the flowgate was calculated as nomogram shadow price x flows on the corresponding flowgate.

## Base Cumulative All Years
2020/2021 Market Efficiency Model - Congestion Results* (updated 10/25/2021) (This is NOT the list of Eligible Congestion Drivers)
Constraint | From Area | To Area | Cumulative Congestion Cost 2021, 2025, 2028, 2031 ($Million) | Average Congestion Cost 2021, 2025, 2028, 2031 ($Million) | Cumulative # of Binding Hours 2021, 2025, 2028, 2031 | Average # of Binding Hours 2021, 2025, 2028, 2031
B:23547901JUNCTN 23546701FRNCHM 1 FLO AP-P1-2-PE-500-001 | APS | APS | 80.4711 | 20.1178 | 1581 | 395.25
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 553 | DOM | DOM | 42.5023 | 10.6256 | 660 | 165
B:213906PLYMTG 1 214035WHITPAN1 1 FLO PECO_P1-2_220-61/* $ MONTCO $ PECO_P1-2_220-61 $ | PECO | PECO | 22.5979 | 5.6495 | 431 | 107.75
B:130836N.WAV115 20067626E.SAYRE 1 FLO PN-P1-2-PN-230-101T | NYZC | PENELEC | 22.2811 | 5.5703 | 11636 | 2909
B:24302605KAMMER13 24606705NATRIUM34 1 FLO BASE CASE | AEP | AEP | 11.8703 | 2.9676 | 291 | 72.75
B:207930BUSH 20624228KITATINY 1 FLO ME-P1-2-ME-230-212T | PLGRP | JCPL | 9.2036 | 2.3009 | 457 | 114.25
I:BC_PEP FLO BASE CASE | 0 | 0 | 8.659 | 2.1648 | 178 | 44.5
B:270728E FRANKFO; B274750CRETE EC ;BP1 FLO AEP_P1-2_#695_1681 | COMED | COMED | 8.089 | 2.0222 | 333 | 83.25
B:24262005DANVL2 24263105EDAN 1 1 FLO BASE CASE | AEP | AEP | 7.796 | 1.949 | 353 | 88.25
I:AP SOUTH FLO BLACKO-BEDNG | 0 | 0 | 7.1702 | 1.7926 | 339 | 84.75
I:50045005 FLO VINCO-RICE | 0 | 0 | 6.8703 | 1.7176 | 235 | 58.75
I:BLABED FLO BASE CASE | 0 | 0 | 5.5172 | 1.3793 | 62 | 15.5
B:271543GARDEN PL; 272512ESS H71 ;BT1 FLO COMED_P1-2_345-L0405___-R | COMED | COMED | 4.8713 | 1.2178 | 127 | 31.75
B:271680HAUMESSER; B272756W DEKALB ;3T1 FLO COMED_P1-2_345-L15502_B-R | COMED | COMED | 3.9125 | 0.97812 | 219 | 54.75
B:3149258PL VIEW 3140726PL VIEW 1 FLO DVP_P1-2: LN 558 | DOM | DOM | 3.1835 | 0.79586 | 344 | 86
B:20453827STRABAN 20454427LINCOLN 1 FLO AP-P1-2-PE-230-020T | METED | METED | 2.8887 | 0.72217 | 334 | 83.5
I:WEST FLO BASE CASE | 0 | 0 | 2.6847 | 0.67117 | 115 | 28.75
B:200023WESC 211321WESC 3 FLO PL:20:P12:000092 | PLGRP | PLGRP | 2.4258 | 0.60645 | 106 | 26.5
B:270717DRESDEN ; R275180DRESDEN ;3M1 FLO COMED_P1-2_345-L1222__R-S | COMED | COMED | 2.2135 | 0.55338 | 118 | 29.5
B:631141ROCK CK3 270864QUAD 1 3-11 1 FLO COMED_P1-2_345-L0401___-R | ALTW | COMED | 2.1677 | 0.54192 | 83 | 20.75
I:EAST FLO BASE CASE | 0 | 0 | 2.0142 | 0.50356 | 49 | 12.25
B:316218AC1-221 TAP 3040706PERSON230 T1 FLO DVP_P1-2: LN 570 | DOM | CPLE | 1.859 | 0.46474 | 136 | 34
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#5996_26117 | AEP | EKPC | 1.5932 | 0.3983 | 37 | 9.25
B:271322DEVON ;9B272384ROSE HILL;BT1 FLO COMED_P2-1_088-L8810___ | COMED | COMED | 1.5929 | 0.39823 | 12768 | 3192
B:24322905OLIVE 274804UNIV PK N;RP1 FLO AEP_P1-2_#695_1681 | AEP | COMED | 1.4359 | 0.35897 | 48 | 12
B:24962108KOK HP 24963808TIPTN 1 FLO EXT_P12:345:DEI:CAYUGA-NUCOR 34501 | DUK-IN | DUK-IN | 1.3951 | 0.34878 | 120 | 30
B:23550601RINGLD 23549401OLDFRM 1 FLO AP-P1-2-PE-230-001 | APS | APS | 1.3878 | 0.34695 | 128 | 32
B:3147476BREMO 3147443BREMO 1 FLO DVP_P1-2: LN 2193 | DOM | DOM | 1.3132 | 0.3283 | 237 | 59.25
B:3145543BTLEBRO 3042233ROCKYMT115T1 FLO DVP_P1-2: LN 2058_SRT-A | DOM | CPLE | 1.313 | 0.32825 | 92 | 23
B:223938DICKH230 223937DICK 230 2 FLO PEPCO_P1_PP1 | PEPCO | PEPCO | 1.2917 | 0.32291 | 207 | 51.75
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 574_SRT-SL | DOM | DOM | 1.1845 | 0.29613 | 50 | 12.5
B:24951008GIBSON 24953108FRNCSC 1 FLO EXT_P12:345:SIGE:GIBSON-BROWN:GIBSON:AB_BROWN_34 | DUK-IN | DUK-IN | 1.1823 | 0.29557 | 47 | 11.75
B:25512417CHICAGO_AV25516917PRAXAIR-3 1 FLO AEP_P1-2_#695_1681 | NIPS | NIPS | 1.1662 | 0.29155 | 266 | 66.5
B:23549401OLDFRM 23548801MONOCY 1 FLO AP-P1-2-PE-230-001 | APS | APS | 1.1493 | 0.28732 | 100 | 25
B:23515201BUTLER 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 1.1257 | 0.28141 | 58 | 14.5
B:232003CARTANZA 232004MILF_230 1 FLO CKT 23030B | DPL | DPL | 1.1062 | 0.27656 | 84 | 21
I:AEP-DOM FLO BASE CASE | 0 | 0 | 1.0837 | 0.27092 | 57 | 14.25
B:271323DEVON ;3R272385ROSE HILL;RT1 FLO COMED_P2-1_088-L11416__ | COMED | COMED | 1.0352 | 0.25881 | 9903 | 2475.75
B:24321905DUMONT 25511317STILLWELL 1 FLO AEP_P1-2_#695_1681 | AEP | NIPS | 0.93549 | 0.23387 | 58 | 14.5
B:24800906CLIFTY 3242274CARROLLTON 1 FLO EXT_249532 08TRIMBL 345 324105 7GHENT 345 1 | OVEC | LKE | 0.92383 | 0.23096 | 25 | 6.25
B:24323305TANNER 24956708M.FORT 1 FLO DEOK_P1_TERMINAL-EAST BEND 4516 | AEP | DEOK | 0.92177 | 0.23044 | 46 | 11.5
B:270073FUR RUN_230 270072FUR RUN_500 1 FLO PECO_P1-2_5012/* $ CHESCO $ 5012 $ L | AEP | AEP | 0.91803 | 0.22951 | 104 | 26
B:213489CHICHST1 213588EDDYSTN4 1 FLO PECO_P1-2_220-25_SRT-A | PECO | PECO | 0.87429 | 0.21857 | 4 | 1
B:3146976SEDGE HILL 316218AC1-221 TAP 1 FLO DVP_P1-2: LN 570 | DOM | DOM | 0.79358 | 0.19839 | 42 | 10.5
B:272269POWERTON ; 272607TOULON ; R1 FLO Fargo-Sandburg 345 kV | COMED | COMED | 0.66485 | 0.16621 | 54 | 13.5
B:25511317STILLWELL 25518017STILLWELL 1 FLO AEP_P1-2_#701 | NIPS | NIPS | 0.61945 | 0.15486 | 176 | 44
B:24190102LALLENDORF26461219MON12 1 FLO ATSI-P1-2-TE-345-605T | FE-ATSI | DECO | 0.61001 | 0.1525 | 130 | 32.5
B:20469327BOONETOWN 20451227S.RDG 1 FLO PL:04:P13:101211 | METED | METED | 0.59752 | 0.14938 | 97 | 24.25
B:3149258PL VIEW 3140726PL VIEW 1 FLO AP-P1-2-PE-500-406T | DOM | DOM | 0.57749 | 0.14437 | 12 | 3
B:23548301MDWBRK 23551301STRASB 1 FLO DVP_P1-2: LN 550 | APS | APS | 0.51715 | 0.12929 | 44 | 11
B:20452927GERMANTN 20453827STRABAN 1 FLO AP-P1-2-PE-230-020T | METED | METED | 0.45908 | 0.11477 | 27 | 6.75
B:3146674ALTVSTA 24274105OTTER 1 FLO BASE CASE | DOM | AEP | 0.45667 | 0.11417 | 24 | 6
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#707_8315 | AEP | EKPC | 0.45047 | 0.11262 | 19 | 4.75
B:26461219MON12 26470719BNSTNS 1 FLO EXT_P12:345:ITCT:LN:MON12:WAYNE:1 | DECO | DECO | 0.42934 | 0.10734 | 44 | 11
B:271321DEVON ;6R272129NORTHWEST; R1 FLO COMED_P2-1_088-L8803___ | COMED | COMED | 0.39847 | 0.099618 | 2224 | 556
B:208396FARO 208395FARO FF 1 FLO PL_P21_000390 | PLGRP | PLGRP | 0.38201 | 0.095502 | 25 | 6.25
B:271247CROSBY ; R271327DIVERSEY ; R1 FLO COMED_P1-2_138-L14818_R-C | COMED | COMED | 0.36041 | 0.090104 | 13523 | 3380.75
B:208393FARO FF 208395FARO FF 1 FLO BASE CASE | PLGRP | PLGRP | 0.34215 | 0.085536 | 22 | 5.5
B:23905202PV Q4 23876302GR Q-4 1 FLO ATSI-P1-2-SYS-345-701 | FE-ATSI | FE-ATSI | 0.32555 | 0.081387 | 21 | 5.25
B:270717DRESDEN ; R275180DRESDEN ;3M1 FLO COMED_P1-3_TR81_LASCO_B-S | COMED | COMED | 0.32365 | 0.080913 | 15 | 3.75
B:23512401MITCHL 25401815WILSON 1 FLO AP-P1-2-WP-500-303T | APS | DUQ | 0.30327 | 0.075817 | 6 | 1.5
B:208069PPL-BGE TIE 220964GRACETON 1 FLO PECO_P1-2_5012/* $ CHESCO $ 5012 $ L | PLGRP | BGE | 0.2854 | 0.07135 | 22 | 5.5
B:272092NATOMA ; B272184OAK PARK ; B1 FLO BASE CASE | COMED | COMED | 0.28506 | 0.071265 | 10717 | 2679.25
B:200008HOSE 200007ELROY 1 FLO E:501 ALBURTIS 500-BRANCHBG 500 (PLGRP-PSEG) [1] | PLGRP | PECO | 0.2789 | 0.069725 | 4 | 1
B:24883107HUBBL8 24969108BATESV 1 FLO AEP_P1-2_#144_1696 | HE | DUK-IN | 0.27827 | 0.069567 | 12 | 3
B:24970408CHRYS2 24979608MAPLE 1 FLO KOKOMO-NEW LONDON | DUK-IN | DUK-IN | 0.26149 | 0.065373 | 13 | 3.25
B:24286505JEFRSO 24800006CLIFTY Z1 FLO AEP_P1-2_#709_546 | AEP | OVEC | 0.2582 | 0.06455 | 16 | 4
B:224014BUZZ 138 224092SW 138 2 FLO PEPCO_P1_PP78 | PEPCO | PEPCO | 0.25624 | 0.064061 | 4626 | 1156.5
B:20052226SHADE GP 20052026ROXBURY 1 FLO TS_P1-3_#T1_RICE 500_230 | PENELEC | PENELEC | 0.23759 | 0.059398 | 36 | 9
B:271218CLYBOURN ; B271326DIVERSEY ; B1 FLO BASE CASE | COMED | COMED | 0.23066 | 0.057666 | 8392 | 2098
B:23520501KRENDL 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 0.21629 | 0.054073 | 4 | 1
B:213819N PHILA8 213783MASTER 1 FLO PECO_P1-2_220-18/* $ MONTCO $ PECO_P1-2_220-18 $ | PECO | PECO | 0.21046 | 0.052615 | 24 | 6
B:271428ESS H452 ;RT272730WATERMAN ;3B1 FLO BASE CASE | COMED | COMED | 0.20946 | 0.052364 | 20 | 5
B:23549401OLDFRM 23548801MONOCY 1 FLO ME-P1-2-ME-500-004 | APS | APS | 0.17601 | 0.044004 | 14 | 3.5
B:24326205COLLEGE C 25000108COLINV 1 FLO AEP_P1-2_#144_1696 | AEP | DEOK | 0.17275 | 0.043188 | 4 | 1
B:207965ELDR TR2 207975FRAC TR3 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0.16248 | 0.040621 | 5 | 1.25
B:3244252BARDT IND T3414072E BARDSTOWN1 FLO EKPC_P1-2_BULL-SUMSH161 | LKE | EKPC | 0.15809 | 0.039523 | 1 | 0.25
B:224059NEW HARRISON224079BETH T7 1 FLO PEPCO_P1_PP21 | PEPCO | PEPCO | 0.15683 | 0.039207 | 1302 | 325.5
B:271579GRENSHAW ; R272727WASHINGTO; R1 FLO BASE CASE | COMED | COMED | 0.15669 | 0.039172 | 15266 | 3816.5
B:24270105LEESVI 3146674ALTVSTA 1 FLO BASE CASE | AEP | DOM | 0.15639 | 0.039098 | 3 | 0.75
B:231205DARLEY 231211NAAMANS 1 FLO DPL_P1_3_EDGE MR AT20 | DPL | DPL | 0.13212 | 0.033029 | 22 | 5.5
B:200009JUNI 208005JUNI BU2 2 FLO PL:10:P13:100595 | PLGRP | PLGRP | 0.12427 | 0.031068 | 5 | 1.25
B:23550401RIDGLY 23548401MESSCK 1 FLO AP-P1-2-PE-500-001 | APS | APS | 0.11388 | 0.028471 | 5 | 1.25
B:20067626E.SAYRE 130836N.WAV115 1 FLO PL_P1-2_000193_SRT-A | PENELEC | NYZC | 0.11302 | 0.028255 | 185 | 46.25
B:216914WORANGE 217766ORNGHGHTS2301 FLO BASE CASE | PSEG | PSEG | 0.10536 | 0.026339 | 2089 | 522.25
B:224014BUZZ 138 224012BUZZ 026 1 FLO PEPCO_P1_PP73 | PEPCO | PEPCO | 0.10137 | 0.025343 | 1812 | 453
B:271490FRANKL PK; B271492FRANKL PK;5S1 FLO BASE CASE | COMED | COMED | 0.09352 | 0.02338 | 8098 | 2024.5
B:223998PALM093 224008ALA 089 1 FLO PEPCO_P1_PP68 | PEPCO | PEPCO | 0.089466 | 0.022367 | 445 | 111.25
B:3149118LADYSMITH 3149228POSSUM 1 FLO DVP_P1-2: LN 581 | DOM | DOM | 0.071773 | 0.017943 | 1 | 0.25
I:CENTRAL FLO WESCO-SUSQ | 0 | 0 | 0.071392 | 0.017848 | 9 | 2.25
B:271578GRENSHAW ; B272650UNIVERSIT; B1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.070331 | 0.017583 | 1197 | 299.25
B:216915CDRGV 217808CDRGV_Y 1 FLO BASE CASE | PSEG | PSEG | 0.070169 | 0.017542 | 394 | 98.5
B:270736ELWOOD ; B270770GOODINGS ;4B1 FLO COMED_P1-2_345-L11622_R-S | COMED | COMED | 0.069467 | 0.017367 | 20 | 5
B:271406ELMHURST ;3I271490FRANKL PK; B1 FLO TR81_ELMHU_R-C | COMED | COMED | 0.069133 | 0.017283 | 1258 | 314.5
B:20052226SHADE GP 20052026ROXBURY 1 FLO ME-P1-2-ME-500-007 | PENELEC | PENELEC | 0.068122 | 0.01703 | 20 | 5
B:272726WASHINGTO; B272506STATELINE;2S1 FLO COMED_P2-1_170-L0708___ | COMED | COMED | 0.065096 | 0.016274 | 8293 | 2073.25
B:24263105EDAN 1 24262005DANVL2 1 FLO AEP_P2-1_242520 05J.FERR 500 242514 05J.FERR 765 | AEP | AEP | 0.064862 | 0.016215 | 2 | 0.5
B:3145746EVERETS 3044516GREENVILE T1 FLO EXT_WILSON230TT-WILSON115TT-230-115-#1-&BUS_SRT- | DOM | CPLE | 0.064306 | 0.016076 | 3 | 0.75
B:271491FRANKL PK; R271493FRANKL PK;0S1 FLO BASE CASE | COMED | COMED | 0.063386 | 0.015847 | 3561 | 890.25
B:272352RIDGELAND; B272354RIDGELAND;BS1 FLO BASE CASE | COMED | COMED | 0.061725 | 0.015431 | 4053 | 1013.25
B:271230CRAWFORD ; G271236CRAWFORD ;GS1 FLO BASE CASE | COMED | COMED | 0.061467 | 0.015367 | 7031 | 1757.75
B:224086O ST 138 224088O ST T6 1 FLO BASE CASE | PEPCO | PEPCO | 0.060333 | 0.015083 | 5976 | 1494
B:23731001DANSMTN 23550401RIDGLY 1 FLO BASE CASE | APS | APS | 0.059403 | 0.014851 | 12 | 3
B:270695CHERRY VA; R275167CHERRY VA;3M1 FLO COMED_P1-3_TR81_CHERR_R-R | COMED | COMED | 0.056985 | 0.014246 | 3 | 0.75
B:272502STATELINE; B25517217ROXANA 1 FLO EXT_P12:345:NIPS:34520:17SHEFFIELD:17GARY_AVE:1 | COMED | NIPS | 0.05697 | 0.014243 | 72 | 18
B:24731905WOLFCK 24353305LAYMAN 1 FLO FE-P1-3-MP-765-501T | AEP | AEP | 0.055658 | 0.013915 | 3 | 0.75
B:272191OHIO ; Y272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.055368 | 0.013842 | 1494 | 373.5
B:208069PPL-BGE TIE 220964GRACETON 1 FLO PL:05:P12:000260a | PLGRP | BGE | 0.046395 | 0.011599 | 16 | 4
B:217101STANTER_3 217170MCCARTER 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.045524 | 0.011381 | 4443 | 1110.75
B:271231CRAWFORD ; Y271237CRAWFORD ;YS1 FLO BASE CASE | COMED | COMED | 0.045159 | 0.01129 | 4139 | 1034.75
B:24269105KENOVA 24308805S.POINT1 1 FLO AEP_P1-3_#1267_05NPROCT 765_1 | AEP | AEP | 0.044732 | 0.011183 | 4 | 1
B:26461219MON12 26469219WAYNE 1 FLO EXT_P12:345:ITCT:LN:MON12:BNSTNS:1 | DECO | DECO | 0.04172 | 0.01043 | 7 | 1.75
B:271578GRENSHAW ; B272586TAYLOR ; B1 FLO BASE CASE | COMED | COMED | 0.041261 | 0.010315 | 4330 | 1082.5
B:271656HIGGINS ; B272092NATOMA ; B1 FLO BASE CASE | COMED | COMED | 0.040157 | 0.010039 | 1322 | 330.5
B:208109SUNB 207964ELDR TR1 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0.038457 | 0.0096141 | 2 | 0.5
B:271246CROSBY ; B272370ROCKWELL ; B1 FLO BASE CASE | COMED | COMED | 0.036732 | 0.0091829 | 3800 | 950
B:23517301EDGEWT 23559601VASC T 1 FLO AP-P1-2-WP-500-008 | APS | APS | 0.036551 | 0.0091378 | 3 | 0.75
B:23515201BUTLER 23515301CABOT E FLO AP-P1-3-WP-138-051 | APS | APS | 0.032568 | 0.008142 | 3 | 0.75
B:20052226SHADE GP 20052026ROXBURY 1 FLO AP-P1-2-PE-230-020T | PENELEC | PENELEC | 0.031931 | 0.0079827 | 6 | 1.5
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 534 | DOM | DOM | 0.030387 | 0.0075967 | 6 | 1.5
B:223991TALBT082 223994BURCH230 1 FLO PEPCO_P1_CHALK-KEYS_SRT-A | PEPCO | PEPCO | 0.024675 | 0.0061687 | 61 | 15.25
B:272092NATOMA ; B272132NORTHWEST;2I1 FLO BASE CASE | COMED | COMED | 0.02246 | 0.0056149 | 1050 | 262.5
B:272607TOULON ; R272269POWERTON ; 1 FLO BASE CASE | COMED | COMED | 0.021353 | 0.0053383 | 2 | 0.5
B:218307ALDENE_2 218430STANTER_1 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.021004 | 0.0052509 | 279 | 69.75
B:271247CROSBY ; R272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.01972 | 0.00493 | 1771 | 442.75
B:271634HARBOR ; B271632HARBOR ;8S1 FLO BASE CASE | COMED | COMED | 0.017276 | 0.0043189 | 2747 | 686.75
B:270703CRAWFORD ; R270923WEST LOOP; R1 FLO COMED_P1-2_345-L1310__B-C | COMED | COMED | 0.017115 | 0.0042787 | 497 | 124.25
B:271435ESS H447 ; R272363ESS H440 ; R1 FLO COMED_P2-1_186-L16914__ | COMED | COMED | 0.016868 | 0.004217 | 1 | 0.25
B:271652HEGEWISCH; B271654HEGEWISCH;BT1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.015651 | 0.0039128 | 296 | 74
B:271247CROSBY ; R272371ROCKWELL ; R1 FLO BASE CASE | COMED | COMED | 0.01471 | 0.0036776 | 907 | 226.75
B:207955DAUP TR2 208005JUNI BU2 1 FLO ME-P1-2-ME-500-001 | PLGRP | PLGRP | 0.014449 | 0.0036123 | 2 | 0.5
B:271241CRESCENT ; R3489354CORBIN 1 FLO EXT_348921 4PRINCETN TP 138 348923 4EKEWANEE N 1 | COMED | AMIL | 0.013348 | 0.003337 | 4 | 1
B:24321205BENTON 24780305SEGRETO 1 FLO AEP_P1-2_#7023_8101690 | AEP | AEP | 0.010752 | 0.0026879 | 6 | 1.5
B:272507STATELINE;5S272727WASHINGTO; R1 FLO COMED_P1-2_138-L13803_R-C | COMED | COMED | 0.010601 | 0.0026502 | 804 | 201
B:24748905BOSSERMAN 25515317MICH_CITY 1 FLO AEP_P1-2_#7265_21601 | AEP | NIPS | 0.010122 | 0.0025306 | 3 | 0.75
B:272190OHIO ; G272762WEST LOOP; G1 FLO BASE CASE | COMED | COMED | 0.010091 | 0.0025228 | 395 | 98.75
B:20469327BOONETOWN 20451227S.RDG 1 FLO BASE CASE | METED | METED | 0.0094825 | 0.0023706 | 4 | 1
B:23515201BUTLER 23519701KARNSC 1 FLO ATSI-P1-2-CEI-345-700T | APS | APS | 0.0078263 | 0.0019566 | 15 | 3.75
B:217079ESSEX 217913KEARNY_L 1 FLO PS_P1-2_R-2296 | PSEG | PSEG | 0.0077229 | 0.0019307 | 234 | 58.5
B:272135NORTHWEST;8S272129NORTHWEST; R1 FLO BASE CASE | COMED | COMED | 0.007604 | 0.001901 | 384 | 96
B:23550601RINGLD 23549401OLDFRM 1 FLO ME-P1-2-ME-500-004 | APS | APS | 0.0056732 | 0.0014183 | 1 | 0.25
B:220941H.RDGE16 220983SANDY14T 1 FLO PEPCO_P1_PP28 | BGE | BGE | 0.0055385 | 0.0013846 | 1 | 0.25
B:23513901AL&D6T 23520401KITTAN 1 FLO AP-P1-2-WP-345-311T | APS | APS | 0.005196 | 0.001299 | 2 | 0.5
B:271315DES PL198;1I272113NORRIDGE ; R1 FLO BASE CASE | COMED | COMED | 0.0046374 | 0.0011594 | 539 | 134.75
B:272504STATELINE;3B272506STATELINE;2S1 FLO COMED_P1-2_138-L0708__B-C | COMED | COMED | 0.004239 | 0.0010598 | 615 | 153.75
B:270729E FRANKFO; R270767GOODINGS ;1R1 FLO BASE CASE | COMED | COMED | 0.0036544 | 0.0009136 | 5 | 1.25
B:223937DICK 230 3142906EDFERRY 1 FLO PEPCO_P1_5070 | PEPCO | DOM | 0.0033956 | 0.0008489 | 2 | 0.5
B:200004CNASTONE 200064PCHBTM1S 1 FLO TS_P1-3_#T2_FUR RUN 500_230 | BGE | PECO | 0.0033899 | 0.00084747 | 1 | 0.25
B:20052226SHADE GP 20052026ROXBURY 1 FLO PN-P1-2-PN-500-007 | PENELEC | PENELEC | 0.0032395 | 0.00080988 | 1 | 0.25
B:271320DES PL 46;7I271656HIGGINS ; B1 FLO BASE CASE | COMED | COMED | 0.003221 | 0.00080524 | 379 | 94.75
B:274750CRETE EC ;BP25511217STJOHN 1 FLO AEP_P1-2_#695_1681 | COMED | NIPS | 0.0026381 | 0.00065953 | 1 | 0.25
B:270735ELMHURST ; R275185ELMHURST ;1M1 FLO COMED_P1-3_TR84_ELMHU_R-C | COMED | COMED | 0.0022142 | 0.00055355 | 11 | 2.75
B:272650UNIVERSIT; B272726WASHINGTO; B1 FLO BASE CASE | COMED | COMED | 0.0013552 | 0.00033879 | 3864 | 966
B:20067426TOWANDA 20067726NO MESHO 1 FLO PN-P1-2-PN-230-013A | PENELEC | PENELEC | 0.001225 | 0.00030626 | 3 | 0.75
B:270898TAYLOR ; B270922WEST LOOP; B1 FLO COMED_P1-2_345-L1309__R-C | COMED | COMED | 0.0012185 | 0.00030462 | 14 | 3.5
B: 9876898768_STAR 271230CRAWFORD ; G1 FLO COMED_P1-2_138-L5107__B-C | COMED | COMED | 0.00036 | 9e-05 | 122 | 30.5
B:271989MCCOOK ; R272353RIDGELAND; R1 FLO COMED_P1-3_TR83_CRAWF_Y-C | COMED | COMED | 0.00026483 | 6.6208e-05 | 65 | 16.25
B:20072126TRADE CI 20076026DIXONVLL 1 FLO AP-P1-2-WP-345-311T | PENELEC | PENELEC | 0.00024887 | 6.2217e-05 | 1 | 0.25
B:272504STATELINE;3B272506STATELINE;2S1 FLO COMED_P1-2_138-L17008_B-C | COMED | COMED | 0.0001822 | 4.555e-05 | 42 | 10.5
B:272504STATELINE;3B272506STATELINE;2S1 FLO BASE CASE | COMED | COMED | 0.00017269 | 4.3173e-05 | 285 | 71.25
B:272504STATELINE;3B272506STATELINE;2S1 FLO COMED_P2-1_170-L0708___ | COMED | COMED | 5.73e-05 | 1.4325e-05 | 5 | 1.25
B:20067526E.TWANDA 20092426CANYON 1 FLO PL:03:P12:001029 | PENELEC | PENELEC | 4.377e-05 | 1.0943e-05 | 1 | 0.25
B:217913KEARNY_L 217061KEARNY 1 FLO PS_P1-2_R-2296_SRT-A | PSEG | PSEG | 3.053e-05 | 7.6325e-06 | 2 | 0.5
B:272726WASHINGTO; B272506STATELINE;2S1 FLO COMED_P1-2_138-L17008_B-C | COMED | COMED | 2.908e-05 | 7.27e-06 | 3 | 0.75
B:270702CRAWFORD ; B 9876898768_STAR 1 FLO BASE CASE | COMED | COMED | 1.86e-05 | 4.65e-06 | 4 | 1
B:216915CDRGV 217808CDRGV_Y 1 FLO PJM500_PS_P1-2_5018 | PSEG | PSEG | 1.662e-05 | 4.155e-06 | 1 | 0.25
B:274780RIVER EC ;BU270952ESS Z725 ;BT1 FLO COMED_P2-1_007-L0703___ | COMED | COMED | 1.172e-05 | 2.93e-06 | 1 | 0.25
B:270702CRAWFORD ; B 9876898768_STAR 1 FLO COMED_P1-2_138-L5107__B-C | COMED | COMED | 6.6e-07 | 1.65e-07 | 1 | 0.25
B:207977HARW 208113SUSQ 2 FLO PL:40:P12:000182** | PLGRP | PLGRP | 15.5564 | 3.8891 | 999 | 249.75
B:207950CUMB TR2 208004JUNI BU1 1 FLO ME-P1-2-ME-500-001** | PLGRP | PLGRP | 50.5995 | 12.6499 | 1000 | 250
*DLR impact on Susq- Harw 230 kV, Juni-Cumb 230 kV line has been modeled using PROMOD nomograms. Nomogram congestion is not indicative
**DLR impact on Susq- Harw 230 kV line and Juni-Cumb 230 kV line has been modeled using PROMOD nomograms. The remaining congestion on the flowgate was calculated as nomogram shadow price x flows on the corresponding flowgate.